## DTR Failures
DTR Failures 2020-21
Service area | Overall Standard of Performance | No. of complaints
|  | Pending at the start of the year | Filed by the consumers in FY 2020-21 | Total C= (A+B) | Redressed within the stipulated time for Overall standards | Pending at the end of the FY 2020-21
Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in Cities and Towns and in Rural areas | 0 | 16750 | 16750 | 16750 | 0
DTR Failures 2021-22
Service area | Overall Standard of Performance | No. of complaints
|  | Pending at the start of the year (A) | Filed by the consumers in FY 2021-22 (B) | Total C= (A+B) | Redressed within the stipulated time for Overall standards (D) | Pending at the end of the FY 2021-22 (C-D)
Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in Cities and Towns and in Rural areas | 0 | 19783 | 19783 | 19783 | 0
DTR Failures 2022-23
Service area | Overall Standard of Performance | No. of complaints
|  | Pending at the start of the Year | Filed by the consumers in this current Year(FY 2022-23) | Total C= (A+B) | Redressed within the stipulated time for Overall standards (D) | Pending at the end of the Year (FY 2022-23) (C-D)
Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in both Cities and Towns and in Rural areas | 0 | 35783 | 35783 | 35783 | 0

## SAIDI&SAFI
REPORT ON RELIABILITY INDICES
FY 2020-21
The proforma for submission of quaterly report on reliability indices shall be as follows
S. No. | Quarter | Ni = Connected Load of ith feeder affected for each interruption | Ai = Total number of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter(Nos) | Nt = Total connected load at 11 kV in licensees area of supply (1) | = ∑ (Ai * Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIFI = (2) / (1) (Nos)
1 | Q1(2020-21) | 980355 | 7653 | 980355 | 24553745 | 25
2 | Q2(2020-21) | 991400 | 6210 | 991400 | 20628323 | 21
3 | Q3(2020-21) | 995328 | 4764 | 995328 | 15534764 | 16
4 | Q4(2020-21) | 1076300 | 12765 | 1076300 | 46380430 | 43
S. No. | Quarter | Ni = Connected Load of ith feeder affected for each interruption | Bi = Total duration of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter(Hours) | Nt = Total connected load at 11 kV in licensees area of supply (1) | = ∑ (Bi * Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIDI = (2) / (1) (Hours)
1 | Q1(2020-21) | 980355 | 6137 | 980355 | 19340735.2333 | 20
2 | Q2(2020-21) | 991400 | 5067 | 991400 | 16860751.7667 | 17
3 | Q3(2020-21) | 995328 | 3978 | 995328 | 13102663.6667 | 13
4 | Q4(2020-21) | 1076300 | 12232 | 1076300 | 42465914.02 | 39
S. No. | Quarter | Ni = Connected Load of ith feeder affected for each interruption | Ci = Total number of momentary interruptions (each less than or equal to 5 minutes) on ith feeder for the quarter(Nos) | Nt = Total connected load at 11 kV in licensees area of supply (1) | = ∑ (Ci * Ni) for all 11 kV feeders excluding agriculturefeeders (2) | MAIFI = (2) / (1) (Nos)
1 | Q1(2020-21) | 588087 | 4389 | 588087 | 12934615 | 22
2 | Q2(2020-21) | 559032 | 4741 | 559032 | 13665107 | 24
3 | Q3(2020-21) | 522022 | 3624 | 522022 | 10481205 | 20
4 | Q4(2020-21) | 725071 | 3697 | 725071 | 11908648 | 16
ANNEXURE - II ( April-22 to March-23)
The proforma for submission of year report on reliability indices shall be as follows
S. No. | FY | Ni = Connected Consumers of ith feeder affected for each interruption | Ai = Total number of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter(Nos) | Nt = Total connected Consumers at 11 kV in licensees area of supply (1) | = ∑ (Ai * Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIFI = (2) / (1) (Nos)
1 | 2022-23 | 6071203 | 184323 | 6071203 | 378655407 | 62.3691
S. No. | FY | Ni = Connected Consumers of ith feeder affected for each interruption | Bi = Total duration of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter(Hours) | Nt = Total connected Consumers at 11 kV in licensees area of supply (1) | = ∑ (Bi * Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIDI = (2) / (1) (Hours)
1 | 2022-23 | 6071203 | 1761275.0692 | 6071203 | 1309185456.6578 | 215.6386
S. No. | FY | Ni = Connected Consumers of ith feeder affected for each interruption | Ci = Total number of momentary interruptions (each less than or equal to 5 minutes) on ith feeder for the quarter(Nos) | Nt = Total connected Consumers at 11 kV in licensees area of supply (1) | = ∑ (Ci * Ni) for all 11 kV feeders excluding agriculturefeeders (2) | MAIFI = (2) / (1) (Nos)
1 | 2022-23 | 6071203 | 184323 | 6071203 | 378655407 | 62.3691

## Billing Mistakes
Billing Mistakes 2020-21
Service area | Overall Standard of Performance | No. of complaints
|  | Pending at the start of the year | Filed by the consumers in FY 2020-21 | Total C= (A+B) | Redressed within the stipulated time for Overall standards | Pending at the end of the FY 2020-21
% billing mistakes | Not exceeding 0.1% | 0 | 2540 | 2540 | 2540 | 0
Billing Mistakes 2021-22
Service area | Overall Standard of Performance | No. of complaints
|  | Pending at the start of the year (A) | Filed by the consumers in FY 2021-22 (B) | Total C= (A+B) | Redressed within the stipulated time for Overall standards (D) | Pending at the end of the FY 2021-22 (C-D)
% billing mistakes | Not exceeding 0.1% | 0 | 617 | 617 | 617 | 0
Billing Mistakes 2022-23
Service area | Overall Standard of Performance | No. of complaints
|  | Pending at the start of the Year | Filed by the consumers in this current Year(FY 2022-23) | Total C= (A+B) | Redressed within the stipulated time for Overall standards (D) | Pending at the end of the Year (FY 2022-23) (C-D)
% billing mistakes | Not exceeding 0.1% | 0 | 1212 | 1212 | 1212 | 0

## Faulty Meters
FAULTY METERS - TSNPDCL( FY 2020-21)
The quarterly information regarding faulty meters shall be submitted by Licensee in the following format:
No. of faulty meters at the start of the quarter | No. of faulty meters added during the quarter | Total No. of faulty meters | No. of meters rectified/replaced | No. of faulty mteres pending at the end of the quarter | Quarter
36917 | 88024 | 124941 | 84493 | 40448 | Q1&Q2
40448 | 72120 | 112568 | 73993 | 38575 | Q3
38575 | 40013 | 78588 | 53720 | 24868 | Q4
FAULTY METERS - TSNPDCL( FY 2021-22)
The quarterly information regarding faulty meters shall be submitted by Licensee in the following format:
No. of faulty meters at the start of the quarter | No. of faulty meters added during the quarter | Total No. of faulty meters | No. of meters rectified/replaced | No. of faulty meters pending at the end of the quarter | Quarter
24868 | 41038 | 65906 | 39224 | 26682 | Q1
26682 | 48916 | 75598 | 47503 | 28095 | Q2
28095 | 56757 | 84852 | 59238 | 25614 | Q3
25614 | 29889 | 55503 | 36847 | 18656 | Q4
FAULTY METERS - TSNPDCL( FY 2022-23)
The Yearly information regarding faulty meters shall be submitted by Licensee in the following format:
No. of faulty meters at the start of the Year | No. of faulty meters added during the Year | Total No. of faulty meters | No. of meters rectified/replaced | No. of faulty meters pending at the end of the Year
18656 | 166067 | 184723 | 168481 | 16242