## NCE PPA Details_NP (3)
Annexure-8
DETAILS OF NCE PPAs
S.No. | Type | Name of the Developer | Address of the Company | Type of Plant | DISCOM | Sanctioned capacity (MW) | Connectivity voltage(11kV/33kV/132kV) | Connectivity Substation | District | Name of the District | Inter Connecting Sub Station | Agreement Date | Actual commissioning date | Commissioned capacity (MW) | CUF | Auxiliary Consumption | Tariff | Excess Energy | Duration Period of PPA | PPA expiry date | Power Injection (Yes / No) | Termination of PPA (Yes / No) | Date of Termination | Remarks
1 | Solar | M/s. Pennar Renewables Pvt. Ltd | 9th Floor (West Wing), DHFLVC Silicon Towers, Kondapur, Hyderabad – 500 084. | Solar - 2012 | TSNPDCL | 5 | 33 kV | 33/11 KV SS Manakondur | Karimnagar | Karimnagar | 33/11 KV SS Manakondur | 2014-01-21 | 2023-07-07 | 5 | 25% | 0.1% | 6.45 | 3 | 20 | 2036-02-24 | Yes | No | NA
2 | Solar | M/s. Pennar Renewables Pvt. Ltd | 9th Floor (West Wing), DHFLVC Silicon Towers, Kondapur, Hyderabad – 500 084. | Solar - 2012 | TSNPDCL | 10 | 33 kV | 33/11 KV SS Peddalingapur | Karimnagar | Karimnagar | 33/11 KV SS Peddalingapur | 2014-01-21 | 2016-03-28 | 10 | 25% | 0.1% | 6.45 | 3 | 20 | 2036-03-27 | Yes | No | NA
3 | Solar | M/s Oberon Power Corporation Ltd | 860/1, Vivekananda Nagar, Kukatpally, Hyderabad - 500072 | Solar - 2012 | TSNPDCL | 5 | 33 kV | 33/11 KV SS Tippareddygudem | Khammam | Khammam | 33/11 KV SS Tippareddygudem | 2014-01-31 | 2019-08-10 | 5 | 25% | 0.1% | 5.52 | 2.55 | 20 | 2039-08-09 | Yes | No | NA
4 | Solar | M/s Oberon Power Corporation Ltd | 860/1, Vivekananda Nagar, Kukatpally, Hyderabad - 500072 | Solar - 2012 | TSNPDCL | 5 | 33 kV | 33/11 KV SS Kakaravai | Khammam | Khammam | 33/11 KV SS Kakaravai | 2014-01-31 | 2019-08-10 | 5 | 25% | 0.1% | 5.52 | 2.55 | 20 | 2039-08-09 | Yes | No | NA
5 | Solar | M/s Premier Photovoltaic Medak Private Limited | 3rd Floor, V V Towers, Karkhnana Main Road, Secunderabad - 500009 | Solar - 2012 | TSNPDCL | 10 | 33 kV | 33/11 KV SS Kommera | Mancherial | Mancherial | 33/11 KV SS Kommera | 2014-01-21 | 2016-03-30 | 10 | 25% | 0.1% | 6.45 | 3 | 20 | 2036-03-29 | Yes | No | NA
6 | Solar | M/s Premier Photovoltaic Medak Private Limited | 3rd Floor, V V Towers, Karkhnana Main Road, Secunderabad - 500009 | Solar - 2012 | TSNPDCL | 10 | 33 kV | 33/11 KV SS Talamadla | Kamareddy | Kamareddy | 33/11 KV SS Talamadla | 2014-01-21 | 2016-03-28 | 10 | 25% | 0.1% | 6.45 | 3 | 20 | 2036-03-27 | Yes | No | NA
7 | Solar | M/s. Ujjvalatejas Solaire URJA Pvt. Ltd | # 203, Level 2, Pantagaon P-3, Magarpatta City, Hadapsar, Pune - 411013 | Solar - 2014 | TSNPDCL | 20 | 132 KV | 132/33 KV SS Nandipet | Nizamabad | Nizamabad | 132/33 KV SS Nandipet | 2015-03-19 | 2016-11-13 | 20 | 25% | 0.2% | 6.79 | 50% of tariff | 20 | 2036-11-12 | Yes | No | NA
8 | Solar | M/s. ACME Karimnagar Solar Power Pvt. Ltd. (SPV of ACME Fazilka Power Private Limited) | Plot No. 152, Sector - 44, Gurgaon | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Kalvasrirampur SS | Peddapalli | Peddapalli | 132/33KV Kalvasrirampur SS | 2016-02-26 | 2017-03-02 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-03-01 | Yes | No | NA
9 | Solar | M/s. ACME Warangal Solar Power Pvt. Ltd. (SPV of ACME Fazilka Power Private Limited) | Plot No. 152, Sector - 44, Gurgaon | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Mallaram SS | Sircilla Rajanna | Sircilla Rajanna | 132/33KV Mallaram SS | 2016-02-26 | 2017-03-11 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-03-10 | Yes | No | NA
10 | Solar | M/s. Neemuch Solar Power Pvt. Ltd. (SPV of ACME Fazilka Power Private Limited) | Plot No. 152, Sector - 44, Gurgaon | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Godhur SS | Jagitial | Jagitial | 132/33KV Godhur SS | 2016-02-26 | 2017-03-25 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-03-24 | Yes | No | NA
11 | Solar | M/s. Mythrah Adarsh Power Private Limited (SPV of M/s Mytrah Engery (I) Ltd) | 8001, S.No.109, Q-city, Nanakramguda,Gachibowli, Hyderabad-32 | Solar - 2015 | TSNPDCL | 15 | 33 kV | 132/33 Shanigaram SS | Karimnagar | Kamareddy | 132/33KV Reddypet SS | 2016-03-08 | 2017-12-05 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-12-04 | Yes | No | NA
12 | Solar | M/s. Purvanchal Solar Power Pvt. Ltd. (SPV of ACME Fazilka Power Private Limited) | Plot No. 152, Sector - 44, Gurgaon | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Manthani SS | Peddapalli | Peddapalli | 132/33KV Manthani SS | 2016-02-26 | 2017-02-23 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-02-22 | Yes | No | NA
13 | Solar | M/s.Vayudoot Solarfarms Pvt. Ltd., (SPV of M/s. Suzlon Energy Ltd.) | Suzlon, 5, Shrimali Society, Near Shri Krishna Complex, Navrangpura, Ahmedabad. | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Bhainsa SS | Nirmal | Nirmal | 132/33KV Bhainsa SS | 2016-02-29 | 2017-06-30 | 15 | 25% | 0.1% | 5.5171 | 50% of tariff | 25 | 2042-06-29 | Yes | No | NA
14 | Solar | M/s. TATA Power Renewable Energy Limited, | 34 Sant Tukaram Road, Carnac Bunder, Mumbai. | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Bellampally SS | Mancherial | Mancherial | 132/33KV Bellampally SS | 2016-02-23 | 2017-02-27 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-02-26 | Yes | No | NA
15 | Solar | M/s. Amun Solar farms Pvt. Ltd., (SPV of M/s. Suzlon Energy Ltd.) | Suzlon, 5 , Shrimali Society, Near Shri Krishna Complex, Navrangpura, Ahmedabad - 380 009 | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Kamareddy (Lingapuram) SS | Kamareddy | Kamareddy | 132/33KV Kamareddy (Lingapuram) SS | 2016-02-29 | 2017-06-12 | 15 | 25% | 0.1% | 5.5459 | 50% of tariff | 25 | 2042-06-11 | Yes | No | NA
16 | Solar | M/s.ACME Narwana Solar Power Pvt. Ltd (SPV of ACME Fazilka Power Private Limited) | Plot No. 152, Sector - 44, Gurgaon | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Lingampet SS | Kamareddy | Kamareddy | 132/33KV Lingampet SS | 2016-02-26 | 2017-03-23 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-03-22 | Yes | No | NA
17 | Solar | M/s. Renjal Solar Private Limited, (SPV of M/s.Solarpack Corporacion Tecnologica S.L.,) | 4th Floor, Rectangle One, D-1, Dist. Center, Saket, New Delhi. | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Renjal SS | Nizamabad | Nizamabad | 132/33KV Nandipet SS | 2016-03-01 | 2017-10-10 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-10-09 | Yes | No | NA
18 | Solar | M/s. ACME Fazilka Power Pvt. Ltd (SPV of ACME Fazilka Power Private Limited) | Plot No. 152, Sector - 44, Gurgaon | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Nandipet SS | Nizamabad | Nizamabad | 132/33KV Nandipet SS | 2016-02-26 | 2017-03-25 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-03-24 | Yes | No | NA
19 | Solar | M/s. Mytrah Abhinav Power Pvt. Ltd. (SPV of M/s Mytrah Engery (I) Ltd) | 8001, Q-City, S.No.109, Nankramguda, Gachibowli, Hyd. | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Domakonda SS | Kamareddy | Kamareddy | 132/33KV Domakonda SS | 2016-03-08 | 2017-12-05 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-12-04 | Yes | No | NA
20 | Solar | M/s. Padmajiwadi Solar Private Limited, (SPV of M/s.Solarpack Corporacion Tecnologica S.L.,) | 4th Floor, Rectangle One, D-4, Dist. Center, Saket, New Delhi. | Solar - 2015 | TSNPDCL | 10 | 33 KV | 132/33KV Padmajiwadi SS | Kamareddy | Kamareddy | 132/33KV Padmajiwadi SS | 2016-03-01 | 2017-08-23 | 10 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-08-22 | Yes | No | NA
21 | Solar | M/s. Rewanchal Solar Power Pvt Ltd. (SPV of ACME Fazilka Power Private Limited) | Plot No. 152, Sector - 44, Gurgaon | Solar - 2015 | TSNPDCL | 15 | 33 KV | 132/33KV Jangaon SS | Jangaon | Jangaon | 132/33KV Jangaon SS | 2016-02-26 | 2017-08-09 | 15 | 25% | 0.1% | 5.7249 | 50% of tariff | 25 | 2042-08-08 | Yes | No | NA
22 | Solar | M/s. Sun Shakthi Solar Power Projects Pvt. Ltd., (SPV of M/s. Sky Power Southeast Asia 111 Investments Ltd., ) | 16A/20 W.E.A Main Ajmal Khan Road, Karol Bagh, New Delhi - 110 005. | Solar - 2015 | TSNPDCL | 50 | 132 KV | 220/132KV Kamareddy SS | Kamareddy | Kamareddy | 220/132KV Kamareddy SS | 2016-02-10 | 2017-11-02 | 50 | 25% | 0.1% | 5.3497 | 50% of tariff | 25 | 2042-11-01 | Yes | No | NA
23 | Solar | M/s. Renew Solar Energy (Telangana) Private Limited, | 138, Ansal Chambers II, Bikaji Cama Place, Delhi - 110066. | Solar - 2015 | TSNPDCL | 143 | 220 KV | 400/220KV Dichpally SS | Nizamabad | Nizamabad | 400/220KV Dichpally SS | 2016-03-03 | 2017-07-12 | 143 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-07-11 | Yes | No | NA
24 | Solar | M/s. Mytrah Agriya Power Pvt. Ltd., (SPV of M/s Mytrah Engery (I) Ltd) | 8001, Q. City, S.No.109, Nankramguda, Gachibowli, Hyderabad - 032 | Solar - 2015 | TSNPDCL | 50 | 132 KV | 220/132KV Kamareddy SS | Kamareddy | Kamareddy | 220/132KV Kamareddy SS | 2016-03-08 | 2018-11-26 | 50 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2043-11-25 | Yes | No | NA
25 | Solar | M/s. Sprng Suryoday Energy Private Limited, (Formerly M/s. Suryoday Energy Pvt. Ltd.,) (SPV of M/s.Shapoorji Pallonji Energy (Gujarat) Pvt. Ltd.) | Office: A 001, Upper Ground, P5, Pentagon Tower, Magarpatta City, Hadapsar, Pune – 411013. | Solar - 2015 | TSNPDCL | 34 | 132 KV | 220/132KV Kamareddy SS | Kamareddy | Kamareddy | 220/132KV Kamareddy SS | 2016-02-23 | 2017-06-01 | 34 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-05-31 | Yes | No | NA
26 | Solar | M/s. ACME Nizamabad Solar Energy Pvt. Ltd., (SPV of ACME Fazilka Power Private Limited) | Plot No.152, Sector-44, Gurgaon. | Solar - 2015 | TSNPDCL | 50 | 132 KV | 220/132KV Nirmal SS | Nirmal | Nirmal | 220/132KV Nirmal SS | 2016-02-26 | 2017-09-15 | 50 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-09-14 | Yes | No | NA
27 | Solar | M/s. Renew Mega Solar Power Pvt. Ltd. (SPV of M/s. Renew Solar Power Pvt. Ltd.) | 138, Ansal Chambers II, Bikaji Cama Place, Delhi - 110066. | Solar - 2015 | TSNPDCL | 48 | 132 KV | 220/132KV Mandamarri SS | Mancherial | Mancherial | 220/132KV Mandamarri SS | 2016-03-03 | 2017-02-21 | 48 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-02-20 | Yes | No | NA
28 | Solar | M/s. Divine Solren Private Limited, (SPV of M/s. Mahindra Susten Private Limited. ) | Mahindra towers, Dr. G.M. Bhosale Marg, P.K.Kurne Chowk, Worli, Mumbai - 400 018. | Solar - 2015 | TSNPDCL | 50 | 132 KV | 220/132KV Nirmal SS | Nirmal | Nirmal | 220/132KV Nirmal SS | 2016-02-24 | 2017-07-22 | 50 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-07-21 | Yes | No | NA
29 | Solar | M/s. ACME Ranga Reddy Solar Power Private Limited, (SPV of ACME Fazilka Power Private Limited) | Plot No.152, Sector-44, Gurgaon. | Solar - 2015 | TSNPDCL | 30 | 132 KV | 132/33KV Siricilla SS | Sircilla Rajanna | Sircilla Rajanna | 132/33KV Siricilla SS | 2016-02-26 | 2017-07-06 | 30 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-07-05 | Yes | No | NA
30 | Solar | M/s. Renew Saur Shakti Private Limited., (SPV of M/s. Renew Solar Power Pvt. Ltd.) | 10th Floor, DLF Square,M-Block, Jacaranda Marg, DLF City, Phase-II, Gurgaon 12202 | Solar - 2015 | TSNPDCL | 30 | 132 KV | 132/33KV Mulkanoor SS | Hanmakonda | Hanmakonda | 132/33KV Mulkanoor SS | 2016-03-03 | 2017-06-11 | 30 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-06-10 | Yes | No | NA
31 | Solar | M/s. Sunworld Solar Power Pvt. Ltd., (SPV of ACME Fazilka Power Private Limited) | Plot No.152, Sector-44, Gurgaon | Solar - 2015 | TSNPDCL | 30 | 132 KV | 132/33KV Jagitial SS | Jagitial | Jagitial | 132/33KV Jagitial SS | 2016-02-26 | 2017-11-16 | 30 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-11-15 | Yes | No | NA
32 | Solar | M/s. Neo Solren Pvt.Ltd., (SPV of M/s. Mahindra Susten Private Limited. ) | Mahindra Towers, Dr. G.M. Bhosale Marg, P.K.Kurne Chowk, Worli, Mumbai – 400 018, India. | Solar - 2015 | TSNPDCL | 42 | 132 KV | 220/132 KV Waddekothapally SS | Mahabubabad | Mahabubabad | 220/132 KV Waddekothapally SS | 2016-02-24 | 2017-11-06 | 42 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2042-11-05 | Yes | No | NA
33 | Solar | M/s. Jilesh Power Private Limited, (SPV of M/s. Sun Solar B.V) | Menon Eternity, 10th Floor, New #165, Old # 110, St.Mary’s Road, Alwarpet, Chennai - 600 018. | Solar - 2015 | TSNPDCL | 45 | 132 KV | 220/132 KV Waddekothapally SS | Mahabubabad | Mahabubabad | 220/132 KV Waddekothapally SS | 2016-03-04 | 2018-04-23 | 45 | 25% | 0.1% | 5.5949 | 50% of tariff | 25 | 2043-04-22 | Yes | No | NA
34 | Solar | M/s ACME Mahbubnagar Solar Energy Pvt Ltd., | [7 empty] | Jagitial | 132/33 KV SS Godhur | 2016-08-08 | 18/8/2017 | 10 | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
35 | Solar | M/s ACME Mahbubnagar Solar Energy Pvt Ltd., | [7 empty] | Peddapalli | 132/33 KV SS Manthani | 2016-08-08 | 18/8/2017 | 10 | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
36 | Solar | M/s ACME Mahbubnagar Solar Energy Pvt Ltd., | [7 empty] | Kamareddy | 132/33 KV SS Padmajiwada | 2016-08-08 | 18/8/2017 | 10 | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
37 | Solar | M/s Achintya Solar Power Ltd., | [7 empty] | Mancherial | 220/132KV SS Mandamarri | 2016-08-08 | 18/8/2017 | 40 | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
|  | M/s Achintya Solar Power Ltd., | [7 empty] | Mancherial | 220/132KV SS Mandamarri |  | 18/8/2017 |  | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
|  | M/s Grinibhrit Solar Power Ltd., | [7 empty] | Mancherial | 220/132KV SS Mandamarri |  | 18/8/2017 |  | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
|  | M/s Suvarchas Solar Power Ltd., | [7 empty] | Mancherial | 220/132KV SS Mandamarri |  | 18/8/2017 |  | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
38 | Solar | M/s Vishwarupa Solar Power Ltd., | [7 empty] | Mahabubabad | 220/132/33 KV SS Waddekothapally | 2016-08-08 | 18/8/2017 | 10 | 25% | 0.1% | 4.67 |  | 25 | 17/8/2042 | Yes | No | NA
39 | Solar | M/S NTPC (10) MW | [9 empty] | 30/12/2011 | 29/01/2014 | 10 | 25% | 0.1% |  |  |  | 29/12/2039 | Yes | No | NA
40 | Bagasse | M/s Gayathri Sugars Limited | Maagi (V), Nizamsagar (M), Kamareddy District. | Bagasse | TSNPDCL | 16.25 | 132KV | 132/33KV SS Nizamsagar | Kamareddy | Kamareddy | 132/33KV SS Nizamsagar | 2006-05-12 | 2007-05-16 | 16.25 | 55% | 9.75% ( 1.61 MW Aux.consumption) | 5.06 (1.43+3.63) |  | 20 | 2027-05-15 | Yes | No | NA
41 | Bagasse | M/s Gayathri Sugars Limited | Adloor, Yellareddy (V), Sadasivanagar (M), Kamareddy | Bagasse | TSNPDCL | 6 | 33 KV | 132/33KV SS Kamareddy | Kamareddy | Kamareddy | 132/33KV SS Kamareddy | 1/17/2000 12/3/2021 | 2001-05-23 | 6 | 55% | - | 3.14 |  | 25 | 2026-05-22 | Yes | No | NA | PPA extended for 5 years
42 | Bagasse | M/s Nizam Deccan Sugars Limited | Shakarnagar (V), Bodan (M), Nizamabad Dist. | Bagasse | TSNPDCL | 20 | 132 KV | 132/33KV SS Shakkarnagar. | Nizamabad | Nizamabad | 132/33KV SS Shakkarnagar. | 2004-03-15 | 2006-01-17 | 20 | 55% | 12% ( 2.4 MW Aux.) | Registered in BIFR as Sick industry |  | 20 | 2026-01-16 | No | No |  | Registered in BIFR as Sick industry
43 | Bagasse | M/s Madhucon Sugars & Power Industries Ltd. (COD:20.09.2008) | Rejeswarapuram (V), Nelakondapally (M), KMM Dist. | Bagasse | TSNPDCL | 24.2 | 132 KV | 132/33KV SS Kusumanchi | Khammam | Khammam | 132/33KV SS Kusumanchi | 2020-12-10 | 2008-10-20 | 24.2 | 55% | 7.02% (1.7 MW Aux.Cons) | 5.00 ( 1.37+3.63) |  | 20 | 2028-10-19 | Yes | No | NA
44 | Industrial Waste | M/s. MSR Mega Bio Power private Limited | Nidigonda(V), Raghunadhapally (M) Jangaon Dist. | Industrial Waste | TSNPDCL | 7.5 | 33KV | 33/11 KV SS Raghunadhapally | Jangaon | Jangaon | 33/11 KV SS Raghunadhapally | 2016-04-30 | 2016-06-01 | 7.5 | 80% | 9% | 7.19 ( 1.67+5.52) |  | 20 | 2036-05-31 | Yes | No | NA
45 | Mini-Hydel | M/s. AAAL Power Pvt., Limited (Formally M/s. Saraswathi Power and Industries Pvt. Ltd.) | Kakatiya Canal at Velchala (V), Karimnagar (M), Karimanagar Dist. | Mini & Micro Hydro | TSNPDCL | 2 | 33 KV | 33/11KV SS Padmanagar | Karimnagar | Karimnagar | 33/11KV SS Padmanagar | 7/24/2001 11/27/2021 | 2001-10-02 | 2 | 45% | 0.1% | 2.15 |  | 25 | 2026-10-01 | Yes | No | NA | PPA extended for 5 years
[13 empty] | Total(MW) | 1037.95
0.070248