## Annexure-II
ANNEXURE-II (REPORTING FORMATS - OVERALL STANDARDS) | [11 empty] | ANNEXURE-II (REPORTING FORMATS - OVERALL STANDARDS)
Licensee shall furnish the information with respect to the overall standards every quarter to the Commission in the following format | [11 empty] | Licensee shall furnish the information with respect to the overall standards every quarter to the Commission in the following format
|  | April'23-June'23 |  |  |  |  | Jul'23-Sep'23 | [6 empty] | Oct'23-Dec'23 |  |  |  |  | Jan'24-Mar'24
Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints
|  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter |  |  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter
Normal Fuse-off Calls | At least 99% calls received should be rectified within prescribed time limits in both Cities and Towns and in Rural Areas | 7 | 183989 | 183996 | 168522 | 2 | 2 | 165165 | 165167 | 160331 | 0 | Normal Fuse-off Calls | At least 99% calls received should be rectified within prescribed time limits in both Cities and Towns and in Rural Areas | 0 | 154611 | 154611 | 145457 | 3 | 3 | 141543 | 141546 | 108616 | 0
Line Breakdowns | At least 95% of cases resolved within time limit in both cities and Towns and in Rural areas | 0 | 5747 | 5747 | 4767 | 7 | 7 | 5638 | 5645 | 3920 | 6 | Line Breakdowns | At least 95% of cases resolved within time limit in both cities and Towns and in Rural areas | 6 | 5173 | 5179 | 2461 | 8 | 8 | 4211 | 4219 | 2684 | 1
Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in both Cities and Towns and in Rural areas | 0 | 10853 | 10853 | 10849 | 4 | 4 | 13502 | 13506 | 13521 | 15 | Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in both Cities and Towns and in Rural areas | 15 | 9494 | 9509 | 9509 | 0 | 0 | 7687 | 7687 | 7687 | 0
Period of Scheduled outage | [11 empty] | Period of Scheduled outage
Maximum duration in a single stretch |  | 0 | 926 | 926 | 884 | 0 | 0 | 1041 | 1041 | 990 | 0 | Maximum duration in a single stretch |  | 0 | 1646 | 1646 | 1578 | 0 | 0 | 1846 | 1846 | 1763 | 0
Restoration of supply by 6.00 PM | At least 95% of cases resolved within time limit | 0 | 203 | 203 | 137 | 0 | 0 | 180 | 180 | 140 | 0 | Restoration of supply by 6.00 PM | At least 95% of cases resolved within time limit | 0 | 632 | 632 | 584 | 0 | 0 | 681 | 681 | 605 | 0
Street Light Faults | [11 empty] | Street Light Faults
Rectification of line faults |  | 0 | 239 | 239 | 239 | 0 | 0 | 0 | 0 | 0 | 0 | Rectification of line faults
Replacement of fused/defective unit | At least 90% cases should be complied within prescribed time limits | NIL |  |  |  |  | NIL |  |  |  |  | Replacement of fused/defective unit | At least 90% cases should be complied within prescribed time limits | NIL |  |  |  |  | NIL
Continuity Indices | [11 empty] | Continuity Indices
SAIFI | To be laid down later by the Commission | NIL |  |  |  |  | NIL |  |  |  |  | SAIFI | To be laid down later by the Commission | NIL |  |  |  |  | NIL
SAIDI | [11 empty] | SAIDI
MAIFI | [11 empty] | MAIFI
Frequency Variations | To Maintain supply frequency within 49-50Hz as per IEGC | NIL |  |  |  |  | NIL |  |  |  |  | Frequency Variations | To Maintain supply frequency within 49-50Hz as per IEGC | NIL |  |  |  |  | NIL
Voltage unbalance | Maximum of 3% at point of commencement of supply | 58 | 3425 | 3483 | 3408 | 75 | 481 | 2569 | 3050 | 2268 | 703 | Voltage unbalance | Maximum of 3% at point of commencement of supply | 294 | 1533 | 1827 | 1221 | 571 | 252 | 1350 | 1602 | 1421 | 181
% billing mistakes | Not Exceeding 0.1% | 164 | 1173 | 1337 | 1173 | 164 | 622 | 2415 | 3037 | 2304 | 593 | % billing mistakes | Not Exceeding 0.1% | 559 | 1164 | 1723 | 1143 | 453 | 615 | 3045 | 3660 | 3099 | 303
% faulty meters | Not Exceeding 3% | 37025 | 93401 | 130426 | 78425 | 52001 | 45714 | 84557 | 130271 | 96046 | 34225 | % faulty meters | Not Exceeding 3% | 33045 | 98442 | 131487 | 110487 | 21000 | 21000 | 73071 | 92960 | 72294 | 20666