**Distribution Loss : -**

| **Year** | **Actual** | | **No. of 11 kV T&MHQ feeders for which energy audit done** |
| --- | --- | --- | --- |
| **Excl. EHT** | **Incl. EHT** |
| 2023-24 | 9.70 | 8.55 | 2789 |
| 2024-25 H1 (Apr’24 to Sep’24) | 9.73 | 8.49 | 2803 |

As seen from the above table, the actual losses for the FY 2024-25 (H1) are 8.49 %. However, it is expected to reduce the losses further with the implementation of the following measures.

1. Reduction of both technical and commercial losses by vigorously conducting 11 kV feeder wise energy audits around 2803Nos. feeders in the company.
2. During the year 2024-25, 2803Nos. feeders (Towns and Mandal Headquarters) are available in EAUDIT for which energy audit is done on regular basis at corporate office level.

**Energy Conservation Measures**

Licensee has taken the following initiatives for Energy Conservation during F.Y. 2024- 25.

* Energy Audit of 104 Towns feeders and 162 Mandal Head Quarter feeders.