# Annexure B - Power Procurement Cost for Current Year Second Half and Ensuing Year

## Basis of estimating the quantity and cost of Power Purchased

This section discusses the methodology and assumptions used for estimating the quantum and corresponding cost of power purchase of the Licensee for the second half of the financial year ending March 31, 2007 and for the financial year ending March 31, 2008.

With the implementation of Multi-Buyer Model (MBM) in the state from June 9, 2005, each Discom has been allocated a certain share of the generating stations contracted by APTransco.  Non-conventional Energy sources have been allocated to the discoms based on their locations while the two mini-power plants LVS and Sri Vathsa have been allocated to EPDCL. The allocation percentages for the different discoms are as follows:

| S.No. | Name of the Distribution Company | Allocation Percentage |
| --- | --- | --- |
| 1 | EPDCL | 16.70% |
| 2 | SPDCL | 22.90% |
| 3 | CPDCL | 43.48% |
| 4 | NPDCL | 16.92% |

In the following paragraphs the capacities and availabilities of all the generating sources have been described. The actual energy availability in MU for each Discom is simply the total generation availability for each source (except NCEs and the mini-power plants) multiplied by the percentage allocation as per MBM. The energy availability of NCEs for each discom has been shown separately.

## Capacity break-up of major generating sources

APGenco

The table below shows the installed capacities of the Thermal and Hydel generating stations of APGenco as on 30-9-2006 including share in the interstate projects.  The Licensee purchases the generation of APGenco according to its share in MBM.

| Source | Installed Capacity (MW) |
| --- | --- |
| - Thermal |  |
| Kothagudem-A | 240.0 |
| Kothagudem-B | 240.0 |
| Kothagudem-C | 240.0 |
| Kothagudem-D | 500.0 |
| Ramagundam-B | 62.5 |
| Vijaywada | 1,260.0 |
| RTPP Stage – I | 420.0 |
| Total Thermal | 2,962.5 |
| Hydel |  |
| Interstate projects: |  |
| Machkund, Orissa (AP share 70%) | 84.0 |
| T.B. Station, Karnataka (AP share 80%) | 57.6 |
| State projects: |  |
| Donkarayi | 25.0 |
| Upper Sileru | 240.0 |
| Lower Sileru | 460.0 |
| Srisailam right bank PH | 770.0 |
| Srisailam left bank PH | 900.0 |
| Nagarjunsagar | 815.6 |
| Nagarjunsagar right canal PH | 90.0 |
| Nagarjunsagar left canal PH | 60.0 |
| Nizam Sagar | 10.0 |
| Pochampadu | 27.0 |
| Penna Ahobilam | 20.0 |
| Mini hydro | 12.6 |
| Wind | 2.0 |
| Singur | 15.0 |
| Total Hydel | 3,588.8 |
| Total APGenco | 6,551.3 |

Central Generating Stations

Southern region:

The Licensee has Power Purchase Agreements with Central Generating Stations of Southern Region to purchase power from Ramagundam STPS (“RSTPS”), NTPC Ramagundam Stage-III, Neyveli Lignite Corporation Ltd (“NLC”), Madras Atomic Power Station (“MAPS”) and Talcher stage II. The licensees have requested GOI to restore allocation of power in Kaiga Atomic Power Station and the orders are awaited. The allocated and unallocated share of the licensee in the total capacity of the stations is provided below:

| Name of the Station | Capacity | AP Share (including un-allocated power) |  |
| --- | --- | --- | --- |
|  | MW | MW | % |
| NTPC-RSTPS | 2,100 | 677.25 | 32.25 |
| NTPC-RAMAGUNDAM STAGE-III | 500 | 160.70 | 32.14 |
| NTPC-TALCHER-II | 2,000 | 450.00 | 22.50 |
| NLC TPS II Stage-I | 630 | 105.71 | 16.78 |
| NLC TPS II Stage-II | 840 | 191.52 | 22.80 |
| MAPS | 340 | 31.76 | 9.34 |
| TOTAL | 6,410 | 1,616.94 | 25.23 |
| NTPC-SIMHADRI | 1,000 | 1,000.00 | 100.00 |
| GRAND-TOTAL (CGS) | 7,410 | 2,616.94 | 35.32 |

IPPs

The following IPPs are under commercial operations in the State:

- 216 MW gas-based plant at Jegurupadu by GVK Industries (“GVK”);

- 208 MW gas-based plant at Kakinada by Spectrum Power Generation Ltd.,

- 351.49 MW gas-based plant at Vijaywada by Lanco Kondapalli Power Ltd (“Lanco Kondapalli”).  .

- 220 MW gas based plant at Samalkota, East Godavari District by M/s. Reliance Power Ltd. (formerly M/s.BSES).

AP Gas Power Corporation Ltd (“APGPCL”): Joint Sector

APGPCL is a joint sector gas-based power project. The allocation of power from this project is in proportion to the equity share capital of participating industries.  The total installed capacity of the project along with the Licensee’s share is as given below:

| Source | Installed Capacity (MW) | APTransco Share (MW) | APTransco Share (%) |
| --- | --- | --- | --- |
| Stage I | 100 | 16 | 16 |
| Stage II | 172 | 42.8 | 25.0 |
| Total | 272 | 58.8 | 21.62 |

Inter-State purchases

PTC & NTPC V V N L

The Licensee proposes to procure power from Power Trading Corporation, NTPC Vidyut Vyapara Nigam Ltd., Tata Power, Reliance Energy Trading Ltd. Adani etc., on need basis.

Non-Conventional Energy (NCE) Sources

The capacity installation of NCE projects in the state for FY 2006-07 and FY 2007-08 are as follows:

| Type of Project | FY 2006-07 (MW) (MW) | FY 2007-08 (MW) |
| --- | --- | --- |
| Bio Mass Power Projects | 192.75 | 198.75 |
| Bagasse Cogeneration Projects. | 163.00 | 184.70 |
| Wind Power Projects | 54.50 | 94.50 |
| Mini Hydel Power Projects | 56.95 | 71.45 |
| Industrial Waste Based Power Projects | 18.00 | 27.66 |
| Municipal Waste Based Power Projects | 12.60 | 12.60 |
| TOTAL | 497.80 | 589.66 |

Mini-Power Plants

APTransco had entered into adhoc agreement with LVS (36.8 MW) for purchase of power as per direction of Supreme Court and had a PPA with Sri Vathsa (17.202 MW) power plant. These have been allocated to EPDCL. APDISCOMs propose power purchase from CPPs of VSP, NBFAL, Sponge Iron India Ltd, Heavy Water Plant etc., during the year 2006-07 on need basis at the rates approved by the Commission.

### Expected major capacity additions

FY 2007

Two units of RTPP-Stage II (APGenco Coal based plants) of 210 MW each are expected to be commissioned in July and October of 2006.

FY 2008

| S. No. | Unit |  | Type | Capacity (MW) |
| --- | --- | --- | --- | --- |
| 1 | #### GVK Extension | #### IPP | #### Gas | 220 |
| 2 | Vemagiri | IPP | Gas | 370 |
| 3 | Konaseema EPS Oakwell Power Ltd. | IPP | Gas | 445 |
| 4 | Gouthami | IPP | Gas | 464 |

The licensee expects new capacity additions of 1499 MW from GVK – Extension project, Vemagiri, Goutami and Konaseema during FY 2008.  Generation is expected to be available from the above projects from 6/2007 when additional gas of 1.18 MCMD is expected to be made available.  Considering the availability of additional gas, the expected additional capacity would be only 300 MW during FY 2008.

### Basis of estimation of power availability for the FY 2008

#### APGenco

Thermal:

The power availability for the second half of FY 2007 has been estimated by the Licensee based on actual performance for the first half of FY 2007 and the expected plant performance and maintenance schedules of APGenco for the remaining six months of FY 2007.

| APGENCO Thermal ( Energy Availability- MUs) |  |  |  |
| --- | --- | --- | --- |
| Sl No | Station Name | H2 2006-07 | 2007-08 |
| 1 | VTPS- I | 1,191 | 3,050 |
| 2 | VTPS- II | 1,512 | 2,963 |
| 3 | VTPS- III | 1,529 | 2,963 |
| 4 | RTPP Stage-I | 1,569 | 3,038 |
| 5 | RTPP Stage-II | 414 | 2,345 |
| 5 | KTPS-A | 766 | 1,716 |
| 6 | KTPS-B | 818 | 1,695 |
| 7 | KTPS-C | 899 | 1,734 |
| 8 | KTPS-D | 1,692 | 3,534 |
| 9 | RTS-B | 153 | 454 |
| Total |  | 10,543 | 23,492 |

Hydel:

The availability from Hydel plants of APGenco for the second half of FY 2007 been estimated taking into consideration of inflows in the reservoirs of  Srisailam and Nagarjuna Sagar owing to good rainfall in the Krishna catchment areas during the monsoon.

The projection for ensuing year is based on the expected reservoir levels at end of current year and the assumption of a normal rainfall in the ensuing year.

The following table shows the projected availability for Second half of FY 2006-07 and FY 2007-08:

| APGENCO Hydel (Energy Availability-MUs) |  |  |  |
| --- | --- | --- | --- |
| Sl No | Station Name | H2 2006-07 | 2007-08 |
| 1 | MACHKUND PH AP Share | 193 | 347 |
| 2 | TUNGBHADRA PH AP Share | 76 | 116 |
| 3 | USL | 228 | 522 |
| 4 | LSR | 519 | 1,176 |
| 5 | DONKARAYI | 51 | 90 |
| 6 | SSLM (Right Bank) | 576 | 1,864 |
| 7 | NSPH | 926 | 2,042 |
| 8 | NSRCPH | 101 | 203 |
| 9 | NSLCPH | 44 | 117 |
| 10 | POCHAMPAD PH | 56 | 86 |
| 11 | NIZAMSAGAR PH | 6 | 10 |
| 12 | PABM | 5 | 10 |
| 13 | MINI HYDRO&OTHERS | 7 | 20 |
| 14 | SINGUR | 3 | 8 |
| 15 | SSLM LCPH | 865 | 1,796 |
| Total |  | 3,656 | 8,407 |

#### CGS

NTPC- Southern region:

The estimate of availability from the CGS of the Southern Region for the second half of FY 2007 and FY 2008 is based on the availability projections of generators.

The total power availability estimate from CGS for FY 07 and FY 08 is as stated below:

#### NTPC- Simhadri: Availability for second half of FY 07 and FY 08 is as declared by NTPC (Simhadri)

| Central Generating Stations (Energy Availability-MUs ) |  |  |  |
| --- | --- | --- | --- |
| Sl No | Station Name | H2 2006-07 | 2007-08 |
| 1 | NTPC (SR) | 2,339 | 4,844 |
| 2 | NTPC- Simhadri | 3,965 | 7,399 |
| 3 | NTPC (SR) Stage III | 598 | 1,156 |
| 4 | NLC TS-II - Stage I | 311 | 615 |
| 5 | NLC TS-II - Stage II | 578 | 1,091 |
| 6 | NPC-MAPS | 100 | 187 |
| 7 | Talcher - Stage 2 | 1,465 | 3,217 |
| Total |  | 9,356 | 18,509 |

#### APGPCL

The Licensee has not projected any power available from the unutilized capacity of other shareholders in APGPCL as it is in the nature of infirm power.

As per the agreement with APGPCL, unutilized energy in stage-I has to be purchased by AP Discoms.

| APGPCL Allocated Capacity (Energy Availability- MUs ) |  |  |  |
| --- | --- | --- | --- |
| Sl No | Station Name | H2 2006-07 | 2007-08 |
| 1 | APGPCL I - Allocated capacity | 23 | 62 |
| 2 | APGPCL II - Allocated capacity | 144 | 280 |
| Total |  | 167 | 342 |

#### IPPs

The availability of power from the generating stations of GVK, Spectrum, Lanco Kondapalli and BSES are based on existing gas supply position.

| IPP's (Energy Availability-MUs ) |  |  |  |
| --- | --- | --- | --- |
| Sl No | Station Name | H2 2006-07 | 2007-08 |
| 1 | GVK | 580 | 1,161 |
| 2 | Spectrum | 517 | 1,034 |
| 3 | Kondapalli (Gas) | 924 | 1,848 |
| 4 | BSES | 491 | 981 |
| Total |  | 2,512 | 5,024 |

The projections for FY 2007 H2 and FY 2008 are based on existing gas supply position.

The availability of power from generating stations of GVK Extension, Vemagiri, Goutami and Konaseema is considered at 25% PLF in the light of gas supplies of natural gas by GAIL as per present indications.

| New IPPs | FY 06-07 (projected) All figures in MUs | FY 2007-08 projected in MUs |
| --- | --- | --- |
| #### GVK Extension | 0 | 403 |
| Vemagiri | 0 | 677 |
| Goutami | 0 | 849 |
| Konaseema EPS Oakwell Power Ltd. | 0 | 814 |
| Total | 0 | 2,743 |

#### Availability from stations with Discom Specific Allocations

The NCE projects and the two mini power plants are not allocated on pro-rata basis but allocated to specific discoms based on their locations. The availability from these sources for each discom is as shown below:

#### Mini Power Plants:

| Mini-Power Plants Allocated to EPDCL (Energy Availability-MUs) |  |  |  |
| --- | --- | --- | --- |
| Sl No | Station Name | H2 2006-07 | 2007-08 |
| 1 | Srivathsa | 59 | 110 |
| 2 | LVS | 0 | 0 |
| Total |  | 59 | 110 |

#### Non-Conventional Energy (NCE) Sources

The NCE capacities are allocated to Discoms as follows on the basis of their location except for NCL Energy Ltd. which allocated to all the Discoms based on their respective allocation percentages.

| NCE DISCOM - wise Allocation (Energy Availability - MUs) H2 2006-07 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S. No. | Station Name | EPDCL | SPDCL | CPDCL | NPDCL | Total |
| 1 | NCE - Bio-Mass | 85 | 315 | 117 | 76 | 593 |
| 2 | NCE – Bagasse | 89 | 82 | 33 | 111 | 315 |
| 3 | NCE - Municipal Waste to Energy | 0 | 17 | 18 | 0 | 35 |
| 4 | NCE - Industrial Waste based power project | 46 | 0 | 6 | 0 | 51 |
| 5 | NCE - Wind Power | 0 | 2 | 38 | 0 | 40 |
| 6 | NCE - Mini Hydel | 10 | 23 | 31 | 6 | 70 |
| 7 | NCE - NCL Energy Ltd | 2 | 2 | 4 | 2 | 10 |
| Total Availability (DISCOM - wise) |  | 231 | 441 | 247 | 195 | 1,114 |

The availability of power from non-conventional sources is shown below:

| NCE DISCOM - wise Allocation (Energy Availability - MUs) 2007-08 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S. No. | Station Name | EPDCL | SPDCL | CPDCL | NPDCL | Total |
| 1 | NCE - Bio-Mass | 171 | 654 | 261 | 153 | 1,239 |
| 2 | NCE – Bagasse | 189 | 212 | 66 | 260 | 727 |
| 3 | NCE - Municipal Waste to Energy | 0 | 33 | 37 | 0 | 70 |
| 4 | NCE - Industrial Waste based power project | 98 | 0 | 32 | 0 | 130 |
| 5 | NCE - Wind Power | 0 | 4 | 114 | 0 | 118 |
| 6 | NCE - Mini Hydel | 37 | 47 | 74 | 21 | 179 |
| 7 | NCE - NCL Energy Ltd | 3 | 5 | 9 | 3 | 20 |
| Total Availability (DISCOM - wise) |  | 498 | 955 | 592 | 437 | 2,482 |

#### Summary

A summary of the source wise current estimate of availability for FY 2007 H2 and FY 2008 is presented below.

| Summary Energy Availability Table MUs |  |  |  |
| --- | --- | --- | --- |
| S. No. | Sector | H2 2006-07 | 2007-08 |
| 1 | APGENCO - Thermal | 10,542 | 23,493 |
| 2 | APGENCO - Hydel | 3,656 | 8,406 |
| 3 | CGS | 9,357 | 18,509 |
| 4 | APGPCL | 167 | 342 |
| 5 | IPPs | 2,511 | 7,766 |
| 6 | NCE | 1,114 | 2,482 |
| 7 | Mini Power Plants | 59 | 110 |
| Total |  | 27,407 | 61,109 |

## Power purchase tariffs

### APGenco

APGENCO filed petition before APERC for approval of Rs.1,836.87 Crs as fixed cost for the existing projects for the year 06-07.  In the counter filed on APGENCO petition, the APPCC computed fixed costs based on APERC’s order dated.24.3.2003 and CERC Notification dated 26.3.2000 as Rs.1,311.93 Crs.  Adopting the same procedure, fixed costs for the existing stations of APGENCO for the year 2007-08 has been estimated as Rs.1,284.34 crores  and the  same  has been considered in the ARR. In addition, Rs.322 crores is the fixed cost for RTPP Stage II. The total fixed cost is thus Rs.1606.34 crores.

The station-wise variable rates for APGENCO thermal plants that have been adopted for second half of FY 2006-07 and full year FY 2007-08 are as shown below. These are based on APGENCO FCA bill for the month of September 2006.  The variable cost of RTPP Stage II is 147 paise/kWh.

| Station | Variable rate (paise / kWh) |
| --- | --- |
| VTPS (I, II, III) | 125.83 |
| RTPP Stage I | 162.96 |
| RTPP Stage II | 147.00 |
| KTPS (A, B, C) | 99.53 |
| KTPS- D | 101.18 |
| RTS-B | 120.89 |

VARIABLE COSTS FOR SLBPH

For Srisailam Laft Bank power house, a weighted average variable cost of Rs. 1.06 / unit (Non-monsoon = Rs. 1.63, Monsoon = Rs. 0.64) has been adopted. The period of June-October has been considered as Monsoon and November-March has been considered as Non-Monsoon.

### Talcher Stage-2

CERC vide order dt.1-9-2005 approved provisional fixed charges of Rs.990.7265 Crs. w.e.f. 1-8-2005.  Fixed charges payable by APDISCOMs for 2006-07 are estimated based on revised allocation of 22.5% w.e.f. 1-11-2005.  The variable cost of September’ 2006 has been considered for projecting the cost of H2 FY 07 and FY 08.

| Fixed charges for FY 2007 | Rs.222.92 Crs. |
| --- | --- |
| Variable Charge | Rs. 0.6389/unit |

### NTPC Ramagundam Stage-I, II & III.

The tariff applicable w e f 1.4.2005 has been approved by CERC vide order dt.30.6.2006 for NTPC Ramagundam (2100 MW) project.  Tariff applicable for Ramagundam Stage III project for the period 2004-09 is yet to be approved by CERC.  Fixed cost for Ramagundam Stg-III is projected based on September bill.

For both stations the variable rate charged for the month of September 2006 has been adopted for the second half of FY 2007 and for FY 2008.

NTPC Ramagundam STPS (2,100 MW)

- Total capacity charges of 2,100 MW Ramagundam station = Rs. 470.03 Crs/year.

- Capacity charges payable by APDISCOMs for 677.25 MW entitlement=Rs.151.59 Crs/year.

- Variable charge = Rs. 0.9724 /Unit.

NTPC Ramagundam Stage-III  (500 MW)

- Total capacity charges of 500 MW Ramagundam Stg-III = Rs. 235.14 Crs

- Capacity charges payable by APDISCOMs for 160.7 MW entitlement = Rs.75.6 Crs.

- Variable charge = Rs.1.092/unit.

NLC TPS II

CERC vide order dt.2-11-2005 approved provisional capacity charge and provisional energy charge which shall be computed on the basis of 80% of the lignite price in the respective years considered by the petitioner in the petition.

Based on CERC order projections for FY 07 and FY 08 are estimated as follows.

Tariff Estimates for FY 2006-07 and FY 2007-08

Stage –I

Fixed cost based on the CERC order 					= Rs. 114.03 Crs/year.

Fixed cost payable by APDISCOMs for 105.71 MW entitlement 	= Rs. 19.13 Crs/year

Variable charge 								= 114.08 paise / kWh

Stage –II

Fixed cost based on the CERC order 					= Rs. 218.16 Crs/year.

Fixed cost payable by APDISCOMs for 191.52 MW entitlement 	= Rs. 49.74 Crs/year

Variable charge 								= 114.08 paise / kWh

MADRAS ATOMIC POWER STATION (MAPS)

Government of India, Department of Atomic Energy (Power Section) notified the tariff for supply of power from MAPS from 1.4.06 onwards vide ‘Tariff Notification ‘dated 22.9.2006. As per the notification the tariff effective from 1.4.2006 is fixed at 181.18 paise / kWh. The tariff is subject to fuel and Heavy water adjustment charges. Taking into account the revisions subsequent to 1.4.2006 in insurance and in the rates of fuel and Heavy water, the tariff applicable for September 2006 is 182.11 paise / kWh. The tariff applicable for September 2006 has been projected for H2 of current year and ensuing year.

Other Costs for CGS (SR)

The Other Costs for NTPC (SR), NTPC(ER), NLC has been calculated based on the average cost that the Licensee has incurred during FY 2003, FY 2004, FY 2005 and FY 2006.

NTPC (SR) incentive:

Incentive for CGS (SR) for 2006-07 and 2007-08 is arrived at based on CERC notification dt.26-3-04.

Total Incentive payable        :-	Incentive shall be payable at a flat rate of 25.0 paise / kWh for ex-bus scheduled energy corresponding to scheduled generation in excess of ex-bus energy corresponding to target PLF (80%).

As per CERC orders, the incentive amount payable to NTPC is to be shared by the beneficiaries in the ratio of energy scheduled beyond target PLF.

### NTPC- Simhadri

The fixed cost of NTPC (Simhadri) is projected based on CERC order dt.10-5-2005 and variable cost is based on September’ 2006 bill.

Fixed cost for FY 2007-08: 	Rs. 458.72 crores

Variable cost: 			Rs. 0.9215/unit

### APGPCL

The cost structure for purchase from APGPCL as per existing Memorandum of Understanding is as follows:

| Cost component |  |
| --- | --- |
| Demand Charges (Rs./KVA) |  |
| Stage-I | 75 |
| Stage-II | - |
| Stage-I |  |
| Fixed cost (Rs per kWh) | 0.22 |
| Variable cost (Rs per kWh) | 1.12 |
| Stage –II |  |
| Fixed cost (Rs per kWh) | 0.66 |
| Variable cost (Rs per kWh) | 1.23 |

There are no demand charges for Stage II of the generating station under the terms of the Memorandum of Understanding of April 1997.

### IPPs

GVK: - Jegurupadu Power Project

The fixed cost is fully recoverable at 68.5% PLF. Based on a calorific value of gas of 9567.51 kcal/scm, a station heat rate of 2,000 kcal/kWh and auxiliary consumption of 3 percent, average gas cost of Rs 5514.20/1000 scm, the variable cost using the PPA formula is 118.83 paise / kWh, which has been adopted for the cost computations.

The capital cost of this plant is Rs.816 crores. The fixed cost is Rs.155.95 Crs FY 2008. The fixed cost includes foreign exchange variations payable by APDISCOMs to the company as per the provisions of Power Purchase Agreement. The actual fixed cost as settled by the Licensees may be different from the estimates as presented above on account of the monthly Foreign Exchange Rate Variation (FERV).  The Licensee submits to the Hon’ble Commission to allow the Licensee to subsequently claim the change in fixed cost on account of FERV to the Discoms.

Spectrum:

The fixed cost is fully recoverable at 68.5% PLF. A variable rate has been computed by the Licensee based on the information provided in the bill of August 2006 drawn by the generator.  Based on the calorific value of 9738 kcal/scm, station heat rate of 2,000kcal/kWh and auxiliary consumption of 3 percent, the variable cost works out to Rs 1.13.1/kWh, which has been adopted for the cost computations, with cost of gas as Rs. 5341.58/1000scm including transportation charges.

A fixed cost of Rs 142.267 Crores has been adopted for FY 2008.  The fixed cost is inclusive of foreign exchange variations payable by APDISCOMs to the company as per the provisions of Power Purchase Agreement.

The actual fixed cost as settled by the Licensee may be different from the estimates as presented above on account of the monthly Foreign Exchange Rate Variation (FERV).  The Licensee submits to the Hon’ble Commission to allow the Licensee to subsequently claim the change in fixed cost on account of FERV from the Discoms.

Incentives for GVK and Spectrum:

The PLF used for estimating incentives is based on the energy estimated to be available at the existing gas supplies.  As the estimated PLF is less than 68.5%PLF, no incentive amount is projected for GVK and Spectrum.

Lanco Kondapalli

The fixed charges are fully recoverable at 80% PLF

For computation of variable charges for the station with gas, the weighted average cost of gas, including monthly transportation charges with all taxes is Rs.6291.90 per 1000 SCM.    Based on the gross calorific value of 9562.50 kcal/SCM, station heat rate of 1900 kcal/kWh and auxiliary consumption of 3%, the variable cost works out to Rs 1.288/kWh for July 2006.  Variable cost of July 06 has been considered for ARR projections as STG is shutdown since August 06 and no gas from Ravva Satellite Fields since Sep’06

Estimated fixed cost for FY 2008		:	Rs.316.30 Crs.

Reliance Power Ltd. (BSES)

The Fixed charge is fully recoverable at 85% PLF.

Based on the GCV of 9814.29 K.cal/scm , Gas cost of Rs.5773.10 per 1000 scm, Station heat rate of 1900 K.cal/Kwh, Auxiliary consumption of 2.5%, the variable cost works out to Rs.1.146 / kWh for the month of Sep’06

### LVS Power Ltd (36.8 MW)

LVS is a Mini Power Plant originally contemplated for sale of power to third parties.  The Commission directed the developer to sell energy to APTransco, which after the MBM was allocated to APEPDCL.

However the company was directed to back down the plant from 3.4.2003 onwards due to increase in variable cost.  During the back down period fixed charges payable to the company for FY 2007 is Rs.28.20 Crs. and for FY 2008 is Rs.28.29 Crs.

### SRIVATHSA POWER PROJECTS LTD ( 17.202 MW)

It is also a Mini power plant originally contemplated for sale of power to third parties. However, as directed by the Commission, the developer has agreed to sell the energy to APTranso withdrawing the court case against APERC order passed in O.P.No.70-A/2001, Dt. 4.5.2001 and after series of negotiations developer furnished their proposals with a capital cost of Rs.56.88 crores. After the MBM implementation in the State from 9th June 2005, the plant was allocated to APEPDCL. For the year 2007-08, fixed cost of Rs.1.166/unit and variable cost of Rs.1.3887/unit has been adopted.  The annual fixed charges work out to Rs.12.83 Crs for 2007-08.  The variable cost of September’06 has been adopted for projections for considering in the ARR FY 08.

### Non Conventional Energy (NCE) Sources:

The Commission as per its Order in R.P.84/2003 in O.P.-1075.2000 dated March 20, 2004 has announced the tariff applicable to NCE projects with effect from 1.4.2004. Subsequently, the Commission has revised the incentive in these projects for generation above threshold PLF and tariff for Mini Hydel projects in its orders on review petitions filed by NCE developers/associations against orders dt.20.3.2004.  The NCE developers approached Hon’ble High Court on the Commission’s orders. Hon’ble High Court issued interim directions allowing APTRANSCO to implement the revised tariff in addition to payment of 50% of the differential amount between the old rate and revised tariff. Hon’ble High Court in June’ 2005 disposed the cases filed by NCE developers, giving liberty to the Developers to file appeals before Appellate Tribunal for Electricity, New Delhi.  NCE developers filed appeals before Appellate Tribunal.  Hon’ble Appellate Tribunal passed interim orders directing licensees to continue to pay 50% differential amount between the old rate and revised tariff in addition to payment of tariff as fixed by APERC till disposal of appeals.

The Appellate Tribunal for Electricity vide orders dated.2.6.2006 set aside the APERC orders dated.20.3.2004 with a direction to APTransco & APDISCOMs to continue the power purchases and at the same rate at which the power generated by NCE developers supplied are being paid before passing of APERC order dated.20.3.2004.

APTransco/DISCOMs before Hon’ble Supreme Court filed appeals against Appellate Tribunal order dated 2.6.2006.  The Hon’ble Supreme Court on 24.7.2006 directed issue of notice to NCE developers and order that no coercive steps shall be taken till passing of further orders in the appeals.

The APTransco and DISCOMs are continuing payment of 50% difference amount between the old rate and revised tariff in addition to payment of tariff as fixed by APERC.

The appeals are yet to be posted for hearing before Supreme Court.