Appendix 4: Sales Forecast

Category-wise Load Forecast

HT-I Industrial:

This category is predominantly driven by two types of industries, Singareni Collieries and Cement Industry, drawing about 53% and 25% of the HT-I sales. In respect of Singareni Collieries, in the recent periods they have closed some of the underground mines and the new mines are based on opencast. As per historical data, there has been downward trend in the consumption due to fewer loads required for opencast mining. In addition to the above, they are adopting energy conservation measures, which resulted in reduction in energy consumption. In the last 3 years, sales recorded negative growths of   -3%, -5% and -1% and in 1st half of the current year -4%. Therefore -4% and -2% negative growth is expected for Singareni services for 2007-08H2 and 2008-09 respectively.

At the same time, there is much significant growth in production in the Cement industry due to increased consumption of cement by the various State Govt. programmes such as Irrigation projects, providing houses under Indiramma programme. The yearly growth rates of power consumption for the past two years in major cement industries were found to be of 5% and 7% and followed by 13% in the first half of the current year 2007-08.      It is expected that similar trend will continue for second half of the current year. Hence growth in this industry is expected to be 13% in the 2007-08H2 and 3% in the FY     2008-09.

Apart from Singareni and Cement industries, the growth in sales under HT-I category is mainly due to new services released under 11 KV supply. As seen from the past, 40 services on an average per annum with 150 KVA load, & 40% load factor will be released during the FY 2008-09.

Considering all above factors, 3.39% CAGR of past five years is expected in sales during the FY 2008-09.

(In MU)

| HT-I | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 587.13 | 599.91 | 312.81 | 308.66 | 621.48 | 628.15 |
| 33kV | 92.72 | 86.84 | 39.44 | 50.96 | 90.40 | 103.71 |
| 11kV | 138.47 | 159.62 | 79.46 | 86.18 | 165.64 | 175.37 |
| Total | 818.33 | 846.37 | 431.72 | 445.80 | 877.52 | 907.23 |

HT-II Non-Industrial:

In this category one service each in 132 kv and 33 kv having captive generation as main source, consume about 3 MU per annum. Other services existing in 11KV voltage have shown an average growth of 7% in the last three years. New services released in HT-II are in 11 KV only.

Due to the release of new services, the consumption in 11KV is expected to grow by 8%for FY 2008-09. Accordingly, the growth rate is 6.8% considered on sales of base year 2007-08 for the ensuing FY 2008-09, after considering the CAGR for five years works out to be 6.66% and releasing of new services.

(in MU)

| HT-II | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 2.56 | 2.4 | 1.88 | 0.96 | 2.84 | 2.40 |
| 33kV | 0.62 | 0.61 | 0.41 | 0.37 | 0.77 | 0.81 |
| 11kV | 48.57 | 52.12 | 28.92 | 24.21 | 53.13 | 56.50 |
| Total | 51.75 | 55.13 | 31.20 | 25.54 | 56.74 | 60.62 |

HT-IV Irrigation:

As per the recent years trend, 10 nos small capacity LI schemes are expected each year with 200 KVA each in the first control period. Out of 3 nos. major LI schemes, Devadula, Gutpa and Alisagar with 126 MW load, Gutpa has been put in operation and balance two nos LIs are expected to be operational during 2007-08H2, which will result in increase of growth in sales 102.67MU.Also Devadula stage –I and Choutpally LI with a connected loads of 51 MW & 6.42 MW respectively are expected to be operational in the ensuing FY 2008-09 with an estimated consumption of 97.92MU.

(in MU)

| HT-IV | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV |  | 176.08 |  | 91.49 | 91.49 | 182.97 |
| 33kV | 4.24 | 13.84 | 1.62 | 8.78 | 10.41 | 16.57 |
| 11kV | 17.14 | 29.09 | 6.56 | 10.58 | 17.14 | 26.15 |
| Total | 21.38 | 219.01 | 8.18 | 110.85 | 119.03 | 225.69 |

HT-V Traction:

Railway Traction has shown a growth rate in consumption by 1.31% during 2007-08H1 and 1% growth rate is expected in 2007-08H2. An average growth rate 1% for the past three years is expected for FY2008-09.

(in MU)

| HT-V | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 307.55 | 332.4 | 162.11 | 149.01 | 311.12 | 314.73 |
| 33kV |  | 28.83 |  |  | 0 |  |
| 11kV |  |  |  |  | 0 |  |
| Total | 307.55 | 361.23 | 162.11 | 149.01 | 311.12 | 314.73 |

HT-VI Colony Lighting:

The consumption in this category has decreased by -8.8% during the first half of  FY 2007-08 due to transfer of 3500 services from HT-VI to LT-I at Mandamarry. Previously this category was limited to link services i.e. the HT consumers under HT-I to HT-V can take service connection under HT-VI for colony and township purpose, but from the FY 2008-09, this category is also applicable to Co-operative group housing societies or any person availing supply for supply to his employees for domestic purpose. With this change, 5 new services are expected each year and a growth rate of 0.89% is expected for the FY 2008-09.

| HT-VI | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 87.38 | 100.43 | 41.15 | 37.82 | 78.97 | 79.68 |
| 33kV | 42.36 | 28.83 | 22.40 | 20.59 | 42.98 | 43.37 |
| 11kV | 9.12 | 11.8 | 5.34 | 4.91 | 10.25 | 10.35 |
| Total | 138.86 | 141.06 | 68.89 | 63.32 | 132.21 | 133.39 |

HT-VII RESCO:

The consumption in this category has increased by 15.64% for the first half of FY2007-08 and   accordingly same growth rate is expected for the second half of 2007-08. In the second half of the previous FY 2006-07, a load relief to the extent of 32.65MU was given in this category due to shortage of power, which has not been given for the first half of current FY 2007-08. In anticipation of sufficient availability of power during the second half of FY2007-08 and next FY2008-09, load relief is not expected. Accordingly, the growth rate is expected to be 30.96% instead of 16% for the second half of FY2007-08. For the next FY 2008-09, NPDCL’s LT overall growth rate 6.35% on the projected figures of 2007-08 is adopted for estimating consumption in this category as this category has a bulk consumer in turn supplying to various LT category loads.

| Resco | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV |  |  |  |  | - |  |
| 33kV |  |  |  |  | - |  |
| 11kV | 390.54 | 406.46 | 205.15 | 279.13 | 484.28 | 515.04 |
| Total | 390.54 | 406.46 | 205.15 | 279.13 | 484.28 | 515.04 |

LT-I Domestic:

The Domestic category sales growth is driven by the following factors.

- Release of new service connections under RGGVY

- Release of new service connections other than RGGVY

- Increase in specific consumption

Due to the release of RGGVY services the growth rate is increased in the second half of 2006-07 to 2007-08 is 9.24% to 10.0%, on the whole the average growth rate for the FY 2007-08 is 7.24%.

For the FY 2008-09 the growth rate is expected to be 9.41% which is higher than previous year’s growth rate i.e 7.21% due to transfer of 3500 services from HT VI to LT I category, expected increase in specific consumption and release of new services.

In the second half of the previous FY 2006-07  the load relief to the extent of 90.22MU was given in this category due to shortage of power, which has not been given for the first half of current FY 2007-08. In anticipation of sufficient availability of power during the second half of FY2007-08 and next FY2008-09, load relief is not expected. Accordingly, the growth rate is expected to be 25.42% instead of 10% for the second half of FY 2007-08. For the next FY 2008-09, growth rate 9.41% on the projected figures of 2007-08 is adopted for estimating consumption in this category is as follows.

| LT-I Domestic | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales (MU) | 1,248.20 | 1,385.33 | 690.32 | 738.08 | 1,428.40 | 1,562.87 |

LT-II Commercial:

In first half of the FY 2007-08 the growth rate in sales is  10.63% and for second half of FY 2007-08 is expected to be 9.60% i.e. 5 years CAGR, which is also expected for the ensuing FY 2008-09 considering release of  new services.

In the second half of the previous FY 2006-07, the load relief to the extent of 17.65MU was given in this category due to shortage of power, which has not been given for the first half of current FY 2007-08. In anticipation of sufficient availability of power during the second half of FY2007-08 and next FY2008-09, load relief is not expected. Accordingly, the growth rate is expected to be 24.92% instead of 9.60% for the second half of FY 2007-08. For the next FY 2008-09, growth rate 9.60% on the projected figures of 2007-08 is adopted for estimating consumption in this category is as follows.

| LT-II Commercial | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales (MU) | 243.85 | 262.22 | 142.29 | 143.95 | 286.24 | 313.72 |

LT-III Industrial:

In first half of the FY 2007-08 the growth rate in sales is  8.50% and for second half of FY 2007-08 is expected to be 7.5% i.e. 5 years CAGR, which is also expected for the ensuing FY 2008-09.

In the second half of the previous FY 2006-07, the load relief to the extent of 23.07MU was given in this category due to shortage of power, which has not been given for the first half of current FY 2007-08. In anticipation of sufficient availability of power during the second half of FY2007-08 and next FY2008-09, load relief is not expected. Accordingly, the growth rate is expected to be 22.82% instead of 7.5% for the second half of FY 2007-08. For the next FY 2008-09, growth rate 7.0% on the projected figures of 2007-08 is adopted for estimating consumption in this category is as follows.

| LT-III Industrial | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales (MU) | 278.08 | 271.59 | 138.34 | 184.94 | 323.28 | 345.91 |

LT-IV Cottage Industries:

In first half of the FY 2007-08 the growth rate in sales is  9.86% and for second half of FY 2007-08 is expected to be 8.0% i.e. 5 years CAGR, which is also expected for the ensuing FY 2008-09.

In the second half of the previous FY 2006-07, the load relief to the extent of 0.39 MU was given in this category due to shortage of power, which has not been given for the first half of current FY 2007-08. In anticipation of sufficient availability of power during the second half of FY2007-08 and next FY2008-09, load relief is not expected. Accordingly, the growth rate is expected to be 25.32% instead of 10.0% for the second half of FY 2007-08. For the next FY 2008-09, growth rate 8.0% on the projected figures of 2007-08 is adopted for estimating consumption in this category is as follows.

| LT-IV Cottage Industries | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales (MU) | 4.95 | 5.39 | 2.67 | 3.15 | 5.82 | 6.29 |

LT-V Agriculture:

NPDCL area is predominantly driven by the agriculture consumption. The agriculture contributes more than 45% of sales of NPDCL. Moreover  good enough rainfall for the past two years resulted in increase of ground water levels and in the catchments area of various projects in the State including NPDCL area. There is a significant increase in agriculture consumption during the year 2006-07 at 3399.23 MU as against 2909.06 MU approved by the Hon’ble commission in the Tariff Order 06-07.

Further, the annual target for release of agriculture services has increased to 41000 for FY 07-08. This will further increase the consumption in this category. This year also has witnessed good rain fall to run the pump sets (open wells) to the full extent in the coming period. The consumption for the first half of the FY 07-08 is 1537.09MU and the consumption for the second half of the FY 07-08 is estimated at 2137.70MU i.e. actual of 2006-07 H2  in addition to the   expected consumption due to release of new agricultural services in FY2007-08  and increase in specific consumption in existing services due to availability of adequate ground water levels. Hence for the current FY 2007-08 the consumption in this category is estimated at 3675MU.

It is expected that the same trend will continue for the ensuing FY 2008-09 duly considering all the factors as explained above for the FY 07-08. Accordingly,1610.82 MU sales is projected  for the  first half of FY 08-09 and  2239.94 MU  for the second half of FY 08-09 totaling to  3850.76 MU for FY 2008-09.

Details of Services and Actual Consumption:

| No. of Services as on 31.03.2007 | 753271 |
| --- | --- |
| Consumption for the year 2006-07 (MU) | 3,399.23 |
| Consumption for the year 2007-08 H1 (MU) | 1,537.29 |
| Average Consumption per service (kwh) | 4,512.62 |
| No. of Services released in 2007-08 H1 | 4,018 |
| Balance Services to be released during 2007-08 H2 | 36,982 |
| No. of Services to be released in 2008-09 | 41000 |

Estimation of Consumption for 2007-08:

| Sl. No. | Details | Consumption (MU) |
| --- | --- | --- |
| 1 | 2007-08 H1 actuals | 1,537.09 |
| 2 | 2006-07 H2 actuals for 2007-08 H2 | 1,959.13 |
| 3 | Cons. due to new services to be released in 2007-08 H2 & expected increase in average cons. in 07-08 H2 | 178.57 |
|  | Total consumption for 2007-08 (1 to 3) | 3,675.00 |

Estimation of Consumption for 2008-09:

| Sl. No. | Details | Consumption (MU) |
| --- | --- | --- |
| 1 | 2007-08 H1 actuals | 1,537.09 |
| 2 | 2006-07 H2 actuals for 2007-08 H2 | 1,959.13 |
| 3 | Consumption due to new services released in 2007-08 | 178.57 |
| 4 | Consumption due to new services to be released during 2008-09 & expected increase in average cons. in 08-09 H2 | 191.76 |
| 5 | 0.43% Reduction in consumption over previous year due to LI schemes coming. | -15.79 |
|  | Total consumption for 2007-08 (1 to 6) | 3850.76 |

From the above the sales in this category would be as follows.

| LT-V Agriculture | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales (MU) | 3,399.23 | 2,909.06 | 1,537.29 | 2,137.70 | 3,675.00 | 3,850.76 |

LT-VI Public Lighting & PWS Schemes:

In first half of the FY 2007-08 the growth rate in sales is  4.87% and for second half of FY 2007-08 is expected to be 7.0% i.e. 4 years CAGR, which is also expected for the ensuing FY 2008-09.

In the second half of the previous FY 2006-07, the load relief to the extent of 17.51 MU was given in this category due to shortage of power, which has not been given for the first half of current FY 2007-08. In anticipation of sufficient availability of power during the second half of FY2007-08 and next FY2008-09, load relief is not expected. Accordingly, the growth rate is expected to be 20.32% instead of 5.0% for the second half of FY 2007-08. For the next FY 2008-09, growth rate 7.0% on the projected figures of 2007-08 is adopted for estimating consumption in this category is as follows.

| LT-VI Public Lighting | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales (MU) | 232.20 | 269.92 | 123.63 | 137.54 | 261.17 | 279.45 |

LT-VII General Purpose:

In first half of the FY 2007-08 the growth rate in sales is  14.18% and for second half of FY 2007-08 is expected to be 10.0% i.e. 5 years CAGR, which is also expected for the ensuing FY 2008-09.

In the second half of the previous FY 2006-07, the load relief to the extent of 1.36 MU was given in this category due to shortage of power, which has not been given for the first half of current FY 2007-08. In anticipation of sufficient availability of power during the second half of FY2007-08 and next FY2008-09, load relief is not expected. Accordingly, the growth rate is expected to be 29.32% instead of 14.0% for the second half of FY 2007-08. For the next FY 2008-09, growth rate 7.0% on the projected figures of 2007-08 is adopted for estimating consumption in this category is as follows.

| LT-VII General Purpose | 2006-07 | 2007-08 | 2007-08H1 | 2007-08H2 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales (MU) | 16.85 | 17.91 | 9.12 | 11.46 | 20.58 | 22.64 |

Category wise Abstract of sales 06-07, 07-08 and 08-09 is given below:

| Consumer category | 2006-07 | 2007-08 | 2007-08 | 2008-09 | Growth Rate |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | APERC | Revised Estimate | Projection | 2007-08 | 2008-09 |
| Domestic Supply : Category I | 1248 | 1385 | 1428 | 1563 | 14% | 9% |
| Non-Domestic Supply : Category II | 244 | 262 | 286 | 314 | 17% | 10% |
| Industrial Supply : Category III | 278 | 272 | 323 | 346 | 16% | 7% |
| Cottage Industries : Category IV | 5 | 5 | 6 | 6 | 18% | 8% |
| Irrigation & Agriculture : Category V | 3399 | 2909 | 3675 | 3851 | 8% | 5% |
| Public Lighting : Category VI | 232 | 270 | 261 | 279 | 12% | 7% |
| General Purpose : Category VII | 17 | 18 | 21 | 23 | 22% | 10% |
| Temporary Supply : Category VIII | 0 | 0 | 0 | 0 |  |  |
| TOTAL 'LOW TENSION' | 5424 | 5122 | 6000 | 6382 | 11% | 6% |
| Industrial Segregated : Category I | 818 | 846 | 878 | 907 | 7% | 3% |
| Industrial Non-Segregated : Category II | 52 | 55 | 57 | 61 | 10% | 7% |
| Irrigation & Agriculture : Category IV | 21 | 219 | 119 | 226 | 457% | 90% |
| Railway Traction : Category V | 308 | 332 | 311 | 315 | 1% | 1% |
| Colony Lighting | 139 | 141 | 132 | 133 | -5% | 1% |
| Electric Co-Op Societies | 391 | 406 | 484 | 515 | 24% | 6% |
| Temporary | 0 | 0 | 0 | 0 | 0% | 0% |
| TOTAL 'HIGH TENSION' | 1729 | 2000 | 1981 | 2157 | 15% | 9% |
| TOTAL (LT + HT) | 7152 | 7122 | 7982 | 8538 | 12% | 7% |