# Chapter 5 - Status of Directives

| Sl. No. | Description of the directive |  | Concerned Wing |
| --- | --- | --- | --- |
|  | ANNEXURE-A – List of directives carried forward & requiring continuing compliance. |  |  |
| 1. | APTRANSCO shall conduct regular and thorough energy audit to ensure accountability. The Energy Audit Reports to be filed. |  | #### APTRANSCO |
| 2. | The Commission hereby directs that the licensee shall ensure that: (i). Metering for individual agricultural services is completed by March 2005. (ii). All new agriculture connections including unauthorized agriculture connections regularized, if any, are metered with immediate effect. (iii). All dysfunctional meters are set right within 3 months. All new meters to be fixed within the same period of 3 months. (iv). All service connections to all consumer categories except LT Agricultural are metered. |  | (i).Govt. of A.P. approved metering plan for agricultural services, filed with the Commission by APTRANSCO on 22-09-2003. - The plan proposes implementation in stages & completion by March 2007. The year wise Action Plan is as follows: 2003-04 26500 2004-05 71000 2005-06 300000 2006-07 394472 (ii) The new agriculture connections are being released with meters. (iii)The dysfunctional meters are being replaced within 3 months period. (iv) Metering is available to all the categories other than agriculture. |
| 3. | The DISCOMS shall disconnect all unauthorized and not regularized agricultural services within three months and file a compliance report with the Commission. |  | Instructions have been issued to all the Superintending Engineers to disconnect the unauthorised agricultural connections and are being disconnected. |
| 4. | All new connections given from 01-04-2003 onwards for agricultural purpose under LT Category V (A) should be provided with meters. All agricultural connections released under LT Category V(B) out-of-turn (Tatkal) scheme should be released with meters and appropriate metered tariff should be charged. To motivate the agricultural consumers to get the meters fixed, Commission froze the meter tariff for agriculture for a period of 3 years w.e.f. 01-04-2003 and this was also made applicable to the existing agriculture consumers who opted for metered tariff by 30-9-2003. |  | All new agricultural connections under LT-Cat V(A) & LT- Cat V (B) are being released with meters. |
| 5. | Regulated 9 hrs supply to agriculture should be strictly enforced. Any purchase of power for additional supply to agriculture can be only with the prior approval of Commission. |  | 3-Phase supply for agriculture is made available for a period of 8 to 9 hours in one or two spells. |
| 6. | The DISCOMS shall give wide publicity for metered tariff for Agricultural consumption. The applications for meters by Agricultural Consumers shall be attended to on a priority basis and the meters shall be installed within fifteen days from the date of application of the consumers. |  | In view of the free power for agricultural consumers, the directive may be reconsidered. |
| 7. | The Commission directs the DISCOMS to pursue vigorously the review of receivables stated as having been already instituted and collect the arrears on priority basis, making use of the statutory instruments available to Licensees to effect recovery. The progress in this regard shall be reported to the Commission on a monthly basis. |  | 1.As per the APERC directive, Chartered Accountants were assigned the work for assessing the quality and recovery of potential receivables of the Company during 2003. 2.The auditors have recommended that Rs.173.28 Crores LT receivables and Rs.123.38 Crores of HT receivables require provisioning for write off. 3.The details of services recommended for provisioning off were sent to the field units for physical verification of the services so as to get the present status of the services and to ascertain the recovery potential. 4.After receipt of the reports from the field units, write off will be proposed based on the actuals. |
| 8. | The Commission directs that the Licensee has to separately approach the Commission with full details in respect of each project with all the prescribed details for obtaining the Commission’s approval under paragraph 10 of the license where according to extant License conditions, the value of the projects/scheme exceeds Rs.5 crores. |  | The Commission’s approvals are being obtained in respect of all projects costing more than Rs.5.00 Crores. During FY-2004-05, six proposals are sent to the Commission for approval. Out of these six proposals, two proposals are approved by the Commission. |
| 9. | The Commission directs that all Power Purchase Agreements (PPAs) concluded shall be made available for inspection to the general public. APTRANSCO shall maintain a data room wherein certified true copies of all such PPAs shall be kept for inspection. Copies of the documents shall be made available to the interested parties at reasonable photocopying charges. |  | APTRANSCO |
| 10. | The DISCOMS shall install high quality meters on connections in all towns and Mandal headquarters by September 2005. A comprehensive metering plan shall be filled with the Commission within one month from the data of this order. |  | During 2004-05, the progress on providing of high quality meters in towns & Mandal headquarters upto October 2004 is: Single Ph- 34039 Nos. & Three Ph- 7418 Nos. and the balance meters to be replaced are: Single Ph– 1159605 Nos. & Three Ph– 109982 Nos. |
| 11. | The Commission directs the DISCOMS to conduct a door-to-door checking of all services and to remove all multiple connections and on a continuous basis. Depending upon the progress made by the DISCOMS the Commission will examine the need for further rationalizing the slab structure in the future tariff orders. |  | In compliance with the directive, clubbing of multiple services is being done by issuing prior notices. Out of 43464 multiple services identified, combined bills have been issued to 25603 services. |
| 12. | The Commission directs the APTRANSCO & DISCOMS that load relief shall not be taken for the purposes of grid management from feeders which have more than 50% of incumbent load due to industries. |  | Load reliefs are not generally availed for the purpose of grid management on the industrial feeders except in case of major outages in the Grid system. |
| 13. | Commission directs the APTRANSCO to designate appropriate Officers for 220 kV or 132 kV feeders (having more than 50% industrial load) either for individual feeders or for groups of such feeders, and the DISCOMS to designate appropriate officer for each industrial estate, who shall be made responsible for keeping the breakdown rectification time within reasonable limits. The details of such designated officers shall be submitted to the Commission and posted on website. |  | Nodal officers are appointed for this purpose (DEs and ADEs) and regularly monitoring the interruptions on all the industrial express feeders and dedicated feeders. The names of the Nodal officers appointed is also kept in the web site. |
| 14. | The Commission also directs that all the input points to such feeders, which have more than 50% incumbent load due to industries, shall henceforth be metered by electronic trivector meter with RS 232 communication port. The Commission directs that APTRANSCO/DISCOMS, as the case may be, shall take data log sheets for supply conditions pertaining to the previous 30 days once in a month through RS 232 communication port either through a meter reading instrument or remotely through a modem for each industrial feeder. The APTRANSCO and DISCOMS are hereby directed that they shall submit such log sheets along with an abstract summary statement pertaining to their company regarding interruptions to industrial feeders once in a month to the Commission. The Commission intends to observe the time being taken to restore power and the quality of power supplied to industries to ensure supply of uninterrupted quality power. |  | Out of 87 nos. 33KV feeders, 78 feeders have been installed with RS - 232 Communication port facility. Out of 242 nos. 11KV feeders, 231 feeders have been installed with RS - 232 Communication port facility. MRI dumps are being generated. |
| 15. | APTRANSCO to renegotiate with the IPPs to reduce the cost of power purchase keeping in view the substantial reduction in interest cost and facility of swapping of loan etc. |  | APTRANSCO |
| 16. | The Commission directs the Licensees to prepare database of Distribution Transformer failures for rural and urban areas separately for each circle for the purpose of benchmarking the companies’ performance in this regard. |  | TIMS programme is being implemented in all circles of CPDCL which will enable to retrieve the history of distribution transformers covering urban and rural areas. |
| 17. | The DISCOMS shall separately indicate on each bill (pertaining to each consumer), the opening balance as on the 1st of April 2003, the arrears, which accrued from 1st of April, till the date of the bill and current consumption charges pertaining to the bill. The money paid by the consumer shall be adjusted against arrears as on the 1st April and secondly against the arrears, which accrued from 1st of April till the date of the bill and lastly against the current consumption charges of the corresponding bills which shall be followed. The Commission further directs that DISCOMS shall file with the Commission a quarterly report giving the details separately for arrear collections against the current demand FY 2003-04, and arrears as of 01-04-2004 and the current collection against the current demand of FY2004-05. |  | 1.The directive for indication of arrears prior to 1.4.2004, accumulated after 1.4.2004 and current consumption bill on each and every bill issued to the consumer has been complied with. 2.The quarterly return of collection of c.c.charges adjusted against arrears outstanding prior to 1.4.2004 and arrears accumulated after 1.4.2004 to the quarter ending 30.09.2004 furnished to the APERC. |
| 18. | The Commission reiterates the paragraph 4 of the Sixth Schedule to the Electricity (Supply) Act, 1948 requires that the contribution towards Contingencies Reserve must be invested in securities authorized under the Indian Trusts Act, 1882, within a period of six months from the close of the year of account in which the appropriation is made. The Licensee is directed to comply with this requirement. | r | An amount of Rs. 4.13 crores has been deposited in a separate Bank account and will be invested in the Government securities on notification of auction date. |
| 19. | The Commission also reiterates its previous directive (Tariff Order for 2002-03) that a). for loads of 20 HP and above but below 50 HP, LT demand meters should be fixed; and b). for loads of 50 HP and above but up to 75 HP, tri-vector meters be fixed and the metering should be on the HT side. |  | a) Out of 10416 services with loads of 20Hp- 50 HP, 5969 services are provided with LT demand meters so far and the balance quantity will be replaced progressively. b) Out of 6776 services with loads above 50 HP, 1019 services are provided with HT tri-vector meters so far and the balance quantity will be replaced progressively. |

ANNEXURE-B – List of directives for FY-2004-05

|  | APTRANSCO & DISCOMS |  |  |
| --- | --- | --- | --- |
| 1. | Global Energy Account # The Licensee to submit Global Energy Account every month with details of the power purchases and sales to different DISCOMS and others. Gist of the Global Energy account consisting of energy drawn from different sources and non-conventional sources of energy with percentages of energy of total purchases from different sources and consumption by different DISCOMS inter-State sales and third party energy wheeled, have to be posted on the website of the Licensee every month. |  | APTRANSCO |
| 2. | SLDC State Load Dispatch Center to coordinate the ABT activities in Andhra Pradesh in coordination with unscheduled interchanges pool of the region. #### The Commission directs SLDC to develop such a pool at State level to encourage more participation in the pool. |  | APTRANSCO |
| 3. | Fuel Surcharge Adjustment The Licensees to raise FSA bills on a monthly basis in line with the FSA formula laid down by the Commission and send details to the Commission within a week of raising the bill. |  | The FSA refunds/payable to/by the consumers for the 4 Quarters of 2003-04 and for April, 04 is being collected from the consumers in 12 equal monthly installments commencing from the bills issued from 9/04 onwards. The FSA for the months of May, June, July and August 2004 is provisionally arrived at and the demand will be raised in the months of Nov2004, Dec2004, Jan2005 and Feb2005 respectively. The information will be furnished in due course. |
| 4. | To submit instrument –wise details for all loans, source-wise, year-wise, asset-wise, purpose wise and date-wise, along with the repayment schedule. |  | The loan details are being compiled and will be furnished |
| 5. | Energy Accounting reconciliation The Commission directs that the Licensee shall henceforth reconcile energy accounting figures annually and file reconciliation statements along with the audited annual Accounts every year. They shall also incorporate the necessary corrections in their Annual Accounts, beginning from the accounts for the year 2003-04. The reconciliation may also be done for the years 2000-01 to 2002-03 and necessary corrections be incorporated in the Accounts in hand. (Para-469) |  | The energy accounting has been reconciled with APTransco for the year 2002-03, 2003-04. For earlier years 2000-01 and 2001-02 also, the DISCOMS figures are reconciled with the APTransco figures. |
| 6. | Capital Expenditure The Commission directs that from the filings for FY 2005-06 filing onwards, the CWIP along with corresponding loans and consumer contributions shall be excluded and not taken in to account for calculating the Capital Base and the necessary corresponding adjustments shall also be carried out in the expenses to be capitalized. Further, the DISCOM shall submit monthly progress reports on physical and financial progress on each of the schemes w.e.f. 01-04-2004. Such reports shall also indicate the cost of the assets (works commissioned) capitalized against each scheme during the month. |  | The ARR filings are being prepared as per the directive. The monthly progress reports as on 30-09-2004 on physical and financial progress on each of the schemes has been submitted. |
|  | APTRANSCO |  |  |
| 1. | Installation of Meters The Licensee to complete the installation of 0.2 class meters on the remaining generating stations within three months. |  | APTRANSCO |
| 2. | Transmission Losses The licensee shall take necessary steps and achieve the transmission loss target of 6.00% during the year 2004-05. |  | APTRANSCO |
| 3. | Merit Order Procedure The Licensees to examine the benefits likely to accrue, by identifying the linkages between generating stations and the load centers, duly factoring the reduction in transmission losses in to the variable cost and submit a report to the Commission by 1st June 2004. |  | APTRANSCO |
|  | DISCOMS |  |  |
| 4. | To complete the distribution losses study initiated by them within two months of this Order. At the same time the Commission directs the licensees to submit a consultation paper on the “Achievable level of distribution losses in the future years” within two months of this order. |  | The suggestions to call for bids by one company was accepted by APERC vide Lr.No. APERC/DD - Dist/F.No. 19/D.No. 07/04, Dt: 02.07.04. The bids have been called for carrying out the 11KV and LT line loss study by SPDCL. The APERC has accepted to extrapolate the results given by SPDCL. The study report is expected to be completed by July' 2005. M/s. CPRI, Bangalore is awarded with the work on 07.06.04 |
| 5. | Capital Expenditure The Commission directs the DISCOM to submit a detailed capital expenditure programme (for the consideration of the Commission) to absorb the excess funds available on capital account at least by 31-12-2004. |  | The utility is taking steps to submit a detailed capital expenditure programme by 31-12-2004. |
| 6. | Efficiency Gains The DISCOMS are directed to achieve the above efficiency gains of Rs.300 Crs. |  | The DISCOM was allocated a target of Rs.72 Crores on commercial losses and Rs.85 Crores on technical losses as per Tariff Order 2004-05. The DISCOM has initiated the measures to achieve the set targets of Rs.157 Crores under efficiency gains. |
| 7. | Tatkal Scheme The Commission directs the DISCOMS to take immediate steps to make effective collections. The Commission will review the performance of the DISCOMS in this regard during 2004-05 and take a decision about the continuance of the scheme during the tariff period 2005-06. (Paras 355) |  | As per the Govt., policy, the amount payable by the consumer is transferred to Govt., receivable account. |
| 8. | Sales Data Base and agricultural sales From FY 2005-06 filings onwards, the sales forecast for each category of consumers shall be made at each operation section/ division level and then aggregated for the entire company. The DISCOMS shall file the section-wise sales for each category of consumers from the sales database for the period 04/04 to 09/04 by not later than 30-11-2004 without fail with monthly progress reports thereafter. |  | CPDCL has taken steps to get this information section-wise and would be filing this information separately to APERC. |
| 9. | The DISCOMS shall file the monthly agricultural consumption estimate in two parts, a) consumption estimate for un-metered services based on LV side DTR meters, and b) consumption on account of services released under Tatkal scheme and metered services. The estimates shall be filed in person to the Commission by 25th of every month. Both CPDCL and NPDCL need to improve their data collection and analysis procedure significantly. (Para 830) |  | Estimation of agricultural consumption is done in two parts i.e., based on LV DTR meters and Tatkal and metered consumers. The report is submitted upto September 2004. |
| 10. | Sales Database: Revenue and Arrears From April 2004 onwards, the DISCOMS under normal circumstance shall not entertain part payments from LT-II and LT-III and HT-I and HT-II categories of consumers and shall initiate action as per terms and conditions of supply for disconnection and dismantling of service on account of non-payment of bills by these categories of consumers. From April 2004 onwards, the DISCOMS shall delineate and show separately in the sales database the monthly demand and arrears on account of live consumers, disconnected consumers, and arrears from dismantled consumers. The DISCOMS shall continue to bill the disconnected consumers, the minimum charges under contractual obligations for a period not exceeding 4 months (i.e., one-month notice period plus 3 months disconnection period).If the consumer does not pay the amounts due and avail re-connection within 4 months, the contract (agreement) shall be terminated with effect from date of expiry of the 4 month period from date of disconnection and the security deposit shall be adjusted against the arrears. The Commission will monitor the DISCOMs actions on this directive using the sales database maintain by the DISCOMS. (Para 358) |  | The directive is being followed. The Sales Data for the months from May 04 onwards contains the data pertaining to c.c. Charges arrears on live services, and disconnected services. The Sales Data till Aug2004 were already sent to the Commission in the new format. The Directive regarding raising of demand and issue of the bills for 4 months in respect of disconnected services and adjusting of A.C.D. amount is already in vogue |
| 11. | Metering and Billing The Commission directs that the DISCOMS should make full-scale efforts to fill the gaps in sales database and achieve the stipulated 2 to 3 percent sales ratio of assessed sales of total metered sales by 31-03-2005. The DISCOMS shall file a Metering, Billing and collection (MBC) report based on sales database, in person by 25th of every month without fail. |  | The M.B.C. analysis upto Sep, 04 was already furnished to the Commission. The Metered billing in respect of the following categories for the months of July 04, Aug 04 & Sep 04 is detailed below: ###### Category July04 Aug04 Sep04 I 95.92% 96.43% 96.09% II 96.14% 96.61% 96.10% VII 94.66% 94.91% 94.39% |
| 12. | The DISCOMS shall delineate the minimum charges from energy charges for all categories of consumers every month and file a monthly summary report with the Commission by 25th of every month. Such report shall be derived only from the database being built and maintained by the DISCOMS. (Para 834) |  | The monthly minimum charges emanating from the Sales Data Base for the month of Sep,04 was already furnished to the Commission. |
| 13. | Subsidy Administration The DISCOMS shall file before the Commission the actual sales to subsidized categories of consumers for whom the GOAP agreed to pay the subsidy every month and the Commission will monitor the units actually sold by the DISCOMS vis-à-vis the subsidy provided. At the end of the year, subsidy adjustments will be made based on the consumption of units in respect of various subsidized categories. (Para 860) |  | Category wise sales are being submitted every month through sales database. |
| 14. | For measuring the sales to the subsidized categories, the agricultural consumption estimate based on LV side meter readings on DTRs shall be the basis. For measuring the sales to metered categories of consumers, the sales database shall be the basis. (Para 861) |  | The directive is being followed |
| 15. | The Commission reiterates that in case the subsidy is not paid regularly on monthly basis, in advance, by GOAP, the DISCOMS shall revert to the full cost tariff fixed by the Commission. |  | Subsidy from Govt. of A.P. for providing free power supply to the Agriculture consumers was received upto October’2004. The customer charges for the six months period will be collected in Dec’2004 as the bills are issued in Nov’2004. |
| 16. | The GOAP obligation towards subsidy payments to DISCOMS is limited to the quantities mentioned in this order. If the DISCOMS exceed tariff order quantities and thus the subsidy requirement, the Commission will not entertain any request for additional quantities of energy to subsidized categories unless the permission of the GOAP is taken for additional subsidy if the excess consumption relates to agriculture. In other categories, if there is excess consumption, no additional subsidy will be recommended by the Commission to GOAP. (Para 863) |  | The directive will be followed. |
| 17. | Interest on Security Deposit The licensees to pay interest on consumers security deposits at the prevailing Bank Rate, as on 01-04-2004, which is currently 6% p.a. |  | The directive will be followed. |
| 18. | Details to be shown in Bills The Commission directs the DISCOMS that they should ensure that each bill issued to consumers shows the component of subsidy, and cross-subsidy provided. This is in addition to the instruction regarding position of arrears to be displayed on the consumer’s bill. DISCOMS are directed to implement the directive immediately. |  | The directive will be followed. |
| 19. | Defaulters’ list The DISCOMS to file the list of defaulters whose dues are more than Rs.50,000 along with the reasons for non-collection and details of litigation involved, if any, along with ARR filings as per the Guideline 11(g) of Revenue and Tariff filing for Distribution licensees. (Para 325) |  | The information with regard to services having more than Rs.50,000/- c.c. charges arrears due as on 30.9.2004 is furnished to the Commission. |
| 20. | Load Survey The DISCOMS shall provide tri-vector / load survey capability electronic meters for all categories of consumers on sample basis to measure the load shapes, load duration and consumption patterns. The DISCOMS shall arrive at the sample size based on statistical procedures and file the sampling plan and method of data collection (including plan for implementation) with the Commission within 45 days from the data of receipt of this tariff order |  | One electronic meter per category per circle is being installed. Implementation plan is being developed. A letter was addressed to the Director (Engg). APERC vide Lr. No. DIR/ CGM / OPN/F.314/2357, Dt.20-09-04 with a request to suggest the methodology to be adopted for generating category wise load shapes for arriving at COS (cost of service). |
| 21. | TOD metering The Commission however feels that in the light of ABT implementation at the DISCOMS should come up with specific proposals for introducing TOD metering for large consumers with details on a) metering facility; b) consumption patterns; and c) proposed incentive. The Commission directs that a specific plan be submitted within 3 months of this Order. During the year, mock billing should be done for the targets consumers. (Para 892) |  | An analysis in APCPDCL to verify the feasibility of TOD tariff for HT – I Category consumers was submitted to the Hon’ble Commission. The submission includes supply analysis, demand analysis and assessment of need for TOD tariff based on them. |