## 1)Compensation
Compensation paid by the Licensee to consumers for deficiency of service as per the Regulations of the Commission.
For the Year 2009-10 and from 1-4-2010 to 30-9-2010
Year | Meter Complaints | Wrong billing | Back Billing | Category Change | New Connections release | Title Change | O & M | Others | Total | Remarks
2009-10 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1). Consumer made a complaint vide CGNo.28 dt12.10.2009 for Non providing of material and estimate sanctioned already long back.And the CGRF Chairmen instructed to charge 3x15 KVA Distribution Transformers at Thirumalapur (V) and Pay the penalty of Rs. 50/- per day beyond 120 days from 26-06-08 to 15-10-09 (476-120= 356 days). Accordingly an amount of Rs.17800/- paid to Sri Sanjeeva Rao, Dt: 29-10-10 2).Apeal No. 25 of 2006, Appeal against the order of CGRF Dt.29.08.2006, AAO/ERO/Habsiguda Paid Rs.3000/- vide cheque No. 742539 dt. 27.01.2009
2010-11 (upto 30-9-2010) | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Consumer made the complaint fro Rectification of HT Sc. No. 387vide CG No.15 Dt09.09.2010. CGRF Chairmen instructed to rectify the bill immediately and LPF Surcharge to be with drawn and the respondent shall pay an amount of Rs. 25/- per day from 16-02-10 to 14-10-10.
Total | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 3
CGRF- LIST OF CASES Mahabubnagar CIRCLE upto Oct -2010
Responsibility fixed by Concurrence comity
SL.NO | CG NO | DATE OF RECEIVED | CONSUSMER NAME & ADDRESS | NATURE OF COMPLAINT | RESPODENTS | VERDICT OF CGRF | Compensate Amount | SAO | DE(TECHNICAL) | APPROVAL OF SE
1 | 28 | 2009-12-10 | Sri K. Sanjeeva Rao, Thirumalapur (V), Doulthabad (M), Mahabubnagar, | Non providing of material sanctioned already long back | AE/OP/Kosgi, ADE/OP/Kodangal, DE/OP/Mahabubnagar | It is instructed to charge 3x15 KVA Distribution Transformers at Thirumalapur (V) and Pay the penalty of Rs. 50/- per day beyond 120 days from 26-06-08 to 15-10-09 (476-120= 356 days) | 17800/- paid to Sri Sanjeeva Rao, Dt: 29-10-10
2 | 15 | 2010-09-09 | Sri J. Suresh, Principal, KDR Govt. Polytechnic College, Wanaparthy, Mahabubnagar, Cell No. 99123 42007 | Rectification of HT Sc. No. 387 | ADE/OP/Wanaparthy, JAO/HT/CO/Mahabubnagar, DE/OP/Wanaparthy | Bill to be rectified immediately and LPF Surcharge to be with drawn. Further the respondent shall pay an amount of Rs. 25/- per day from 16-02-10 to 14-10-10. | 6025/- (241 Days x 25 )
COMPENSATION PAID BY THE LICENSEE TO CONSUMERS FOR DEFCIENCY OF SERVICE AS PER THE REGULATIONS OF THE COMMISSION.
Name of the Circle:Ranga Reddy North (West Circle GH)
Year | No. of Complaints received at CGRF | Compensation awarded by the CGRF |  | Compensation paid |  | Remarks
|  | Nos. | Amount | Nos. | Amount
2007-08 | Nil
2008-09 | Nil
2009-10 | 1 (regarding wrong billing) | 1 | 3000 | 1 | 3000 | Apeal No. 25 of 2006, Appeal against the order of CGRF Dt.29.08.2006, AAO/ERO/Habsiguda Paid Rs.3000/- vide cheque No. 742539 dt. 27.01.2009
2010-11 | Nil
Total | 1 | 1 | 3000 | 1 | 3000

## 2)Accidents
Fatal and non-fatal accidents |  |  |  |  | Statement showing Fatal/Non-Fatal accidents to General Publc/Animals during the period from 01.04.2009 to 31.03.2010
Category | Total No. of Accidents in 2009-10 |  |  |  | Sl.No. | Circle | Human |  | Animals
| Departmental | Contract labour | Public | Total |  |  | Fatal | Non-Fatal | Fatal | Non-Fatal
Fatal |  |  |  |  | 1 | Anantapur | 10 | 0 | 13 | 0
Human being | 0 | 0 | 41 | 41 | 2 | Kurnool | 5 | 0 | 12 | 0
Non-fatal |  |  |  |  | 3 | Mahabubnagar | 10 | 6 | 40 | 0
Human being | 0 | 0 | 9 | 9 | 4 | Medak | 4 | 0 | 6 | 0
Total | 0 | 0 | 50 | 50 | 5 | Nalgonda | 6 | 0 | 31 | 0
[5 empty] | 6 | RR-North | 3 | 3 | 3 | 0
Category | Total No. of Accidents in 2010-11(H1) |  |  |  | 7 | RR-South | 2 | 0 | 13 | 0
| Departmental | Contract labour | Public | Total | 8 | Hyd-North | 1 | 0 | 0 | 0
Fatal |  |  |  |  | 9 | Hyd-Central | 0 | 0 | 0 | 0
Human being | 0 | 0 | 43 | 43 | 10 | Hyd-South | 0 | 0 | 0 | 0
Non-fatal
Human being | 2 | 0 | 9 | 11 | Statement showing Fatal/Non-Fatal accidents to General Publc/Animals during the period from 01.04.2010 to 30.09.2010
Total | 2 | 0 | 52 | 54 | Sl.No. | Circle | Human |  | Animals
[7 empty] | Fatal | Non-Fatal | Fatal | Non-Fatal
[5 empty] | 1 | Anantapur | 7 | 4 | 4 | 0
[5 empty] | 2 | Kurnool | 2 | 1 | 10 | 0
[5 empty] | 3 | Mahabubnagar | 13 | 3 | 18 | 0
[5 empty] | 4 | Medak | 4 | 0 | 0 | 0
[5 empty] | 5 | Nalgonda | 10 | 1 | 26 | 0
[5 empty] | 6 | RR-North | 4 | 0 | 0 | 0
[5 empty] | 7 | RR-South | 3 | 0 | 0 | 0
[5 empty] | 8 | Hyd-North | 0 | 0 | 0 | 0
[5 empty] | 9 | Hyd-Central | 0 | 0 | 0 | 0
[5 empty] | 10 | Hyd-South | 0 | 0 | 0 | 0

## 3)Burnt Transformers &Addl.T-Fs
Replacement of Burnt Transformers and installation of additional transformers during 2009-10
S.No | Name of the circle | No. of DTRs as on 31-3-10 |  | No. of DTRs Failed and replaced |  | No. of DTRs added during 2009-10
|  | Single Phase | Three Phase | Single Phase | Three Phase | Single Phase | Three Phase | Total 3 Phase | Total Single Phase
1 | Anathapur | 13125 | 20433 | 812 | 4169 | 388 | 1348 | 19085 | 12737 | 1348 | 388
2 | Kurnool | 11580 | 13088 | 1170 | 2170 | 223 | 640 | 12448 | 11357 | 640 | 223
3 | Mahaboobnagar | 16349 | 18505 | 2786 | 5121 | 88 | 1474 | 17031 | 16261 | 1474 | 88
4 | Nalgonda | 19450 | 28209 | 729 | 4673 | 361 | 934 | 27275 | 19089 | 934 | 361
5 | Medak | 10155 | 17331 | 493 | 2555 | 810 | 528 | 16803 | 9345 | 528 | 810
6 | Rangareddy North | 2104 | 12349 | 22 | 661 | 26 | 1186 | 11163 | 2078 | 1186 | 26
7 | Rangareddy South | 8214 | 12030 | 709 | 1762 | 174 | 749 | 11281 | 8040 | 749 | 174
8 | Hyderabad North | 860 | 8335 | 0 | 527 | 12 | 330 | 8005 | 848 | 330 | 12
9 | Hyderabad South | 758 | 3219 | 0 | 471 | 0 | 54 | 3165 | 1217 | 54 | -459
10 | Hyderabad Central | 1217 | 4480 | 0 | 161 | 0 | 291 | 4189 | 1419 | 291 | -202
| Total | 83812 | 137979 | 6721 | 22270 | 2082 | 7534 | 130445 | 82391
Replacement of Burnt Transformers and installation of additional transformers during 2010-11 (H1)
S.No | Name of the circle | No. of DTRs as on 30-9-10 |  | No. of DTRs Failed and replaced |  | No. of DTRs added during 2010-11 (H1)
|  | Single Phase | Three Phase | Single Phase | Three Phase | Single Phase | Three Phase | Total 3 Phase | Total Single Phase | 1-P | 3-P
1 | Anathapur | 13200 | 20799 | 468 | 2249 | 75 | 366 | 20433 | 13125 | 75 | 366
2 | Kurnool | 11896 | 14454 | 595 | 1084 | 316 | 1366 | 13088 | 11580 | 316 | 1366
3 | Mahaboobnagar | 16417 | 18790 | 1636 | 2366 | 68 | 285 | 18505 | 16349 | 68 | 285
4 | Nalgonda | 19604 | 28895 | 495 | 2844 | 154 | 686 | 28209 | 19450 | 154 | 686
5 | Medak | 10213 | 17605 | 350 | 1251 | 58 | 274 | 17331 | 10155 | 58 | 274
6 | Rangareddy North | 2116 | 13045 | 0 | 437 | 12 | 696 | 12349 | 2104 | 12 | 696
7 | Rangareddy South | 8233 | 12349 | 495 | 834 | 19 | 319 | 12030 | 8214 | 19 | 319
8 | Hyderabad North | 860 | 8564 | 0 | 295 | 0 | 229 | 8335 | 860 | 0 | 229
9 | Hyderabad South | 758 | 3280 | 0 | 237 | 0 | 61 | 3219 | 758 | 0 | 61
10 | Hyderabad Central | 1217 | 4582 | 0 | 144 | 0 | 102 | 4480 | 1217 | 0 | 102
| Total | 84514 | 142363 | 4039 | 11741 | 702 | 4384

## 4) Stuckburnt 09-10
CIRCLE | STUCKUP SERVICES YEAR 2009-2010 | [13 empty] | REPLACEMENT OF STUCKUP SERVICES YEAR 2009-2010
| HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII | HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII
Anantapur | [6 empty] | 27307 | 2798 | 286 | 58 | 15 | 608 | 192 | 3 | [6 empty] | 27908 | 2895 | 287 | 65 | 0 | 809 | 211 | 3
Hyderabad(central) | [6 empty] | 7201 | 1503 | 44 |  | 2 | 305 | 26 | 1 | [6 empty] | 7309 | 1556 | 41 |  |  | 311 | 27 | 1
Hyderabad(north) | [6 empty] | 11177 | 2578 | 203 |  | 5 | 301 | 37 | 1 | [6 empty] | 12053 | 2726 | 208 |  |  | 413 | 37 | 1
Hyderabad(south) | [6 empty] | 5070 | 1535 | 40 |  |  | 19 | 38 | [7 empty] | 5466 | 1594 | 43 |  |  | 17 | 41
Kurnool | [6 empty] | 32917 | 2981 | 511 | 21 | 4 | 884 | 207 | [7 empty] | 32055 | 2923 | 501 | 22 | 1 | 881 | 199
Mahabubnagar | [6 empty] | 17808 | 2304 | 242 | 16 |  | 1366 | 116 | [7 empty] | 18777 | 2325 | 259 | 13 |  | 2985 | 131
Medak | [6 empty] | 22158 | 1818 | 406 | 2 | 12 | 763 | 150 | [7 empty] | 24619 | 1926 | 453 | 2 | 12 | 1730 | 163
Nalgonda | [6 empty] | 23315 | 2476 | 330 | 123 | 22 | 1523 | 140 | [7 empty] | 25955 | 2584 | 367 | 133 | 11 | 2692 | 166
Rangareddy(north) | [6 empty] | 15969 | 2549 | 355 | 8 | 24 | 584 | 40 | 3 | [6 empty] | 16185 | 2537 | 389 | 14 | 20 | 653 | 41 | 4
Rangareddy(south) | [6 empty] | 14987 | 1835 | 313 | 8 | 4 | 248 | 49 | 1 | [6 empty] | 14883 | 1869 | 292 | 13 | 1 | 1105 | 55 | 1
CIRCLE | BURNT SERVICES YEAR 2009-2010 | [13 empty] | REPLACEMENT OF BURNT SERVICES YEAR 2009-2010
| HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII | HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII
Anantapur | [6 empty] | 862 | 236 | 85 | 6 | 8 | 408 | 47 |  | 0 | 0 | 0 | 0 | 0 | 0 | 933 | 209 | 94 | 6 | 5 | 425 | 48 | 0
Hyderabad(central) | [6 empty] | 376 | 104 | 7 |  |  | 331 | 7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 353 | 99 | 7 |  |  | 346 | 6
Hyderabad(north) | [6 empty] | 315 | 144 | 11 |  |  | 400 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 293 | 146 | 14 |  |  | 507 | 11 | 1
Hyderabad(south) | [6 empty] | 454 | 152 | 12 |  |  | 25 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 453 | 156 | 20 |  |  | 26 | 5 | 0
Kurnool | [6 empty] | 1070 | 197 | 103 | 2 | 2 | 541 | 24 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 956 | 193 | 96 | 2 | 1 | 556 | 26 | 1
Mahabubnagar | [6 empty] | 1926 | 376 | 112 |  |  | 333 | 47 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1853 | 354 | 120 |  |  | 342 | 43 | 0
Medak | [6 empty] | 2097 | 316 | 102 |  | 1 | 358 | 34 |  | 0 | 0 | 0 | 0 | 0 | 0 | 2209 | 315 | 101 | 1 | 1 | 519 | 32 | 0
Nalgonda | [6 empty] | 592 | 111 | 50 | 2 | 2 | 87 | 17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 95 | 45 | 4 | 1 | 86 | 18 | 0
Rangareddy(north) | [6 empty] | 587 | 171 | 38 | 2 | 19 | 387 | 5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 628 | 172 | 38 | 2 | 14 | 490 | 9 | 0
Rangareddy(south) | [6 empty] | 1916 | 301 | 72 |  | 3 | 71 | 17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1828 | 280 | 78 |  | 2 | 83 | 16 | 0

## 5) Stuckburnt 10-11
CIRCLE | STUCKUP SERVICES YEAR 2010-2011(H1) | [14 empty] | REPLACEMENT OF STUCKUP SERVICES YEAR 2010-2011 (H1)
| HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII |  | HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII
Anantapur | [6 empty] | 13292 | 1464 | 176 | 37 | 15 | 372 | 86 | 1 | 15443 | [6 empty] | 12631 | 1416 | 154 | 36 | 17 | 262 | 85 | 1 | 14602
Hyderabad(central) | 0 | 0 | 0 | 0 | 0 | 0 | 3802 | 780 | 10 | 0 | 1 | 178 | 18 | 0 | 4789 | [6 empty] | 3767 | 782 | 14 | 0 | 3 | 146 | 13 | 0 | 4725
Hyderabad(north) |  |  | 0 | 0 | 0 | 0 | 5359 | 1322 | 100 | 2 | 0 | 241 | 17 | 1 | 7042 | [6 empty] | 5205 | 1272 | 94 | 2 | 5 | 234 | 18 | 1 | 6831
Hyderabad(south) | [6 empty] | 2469 | 791 | 19 | 0 | 0 | 24 | 13 | 0 | 3316 | [6 empty] | 2616 | 833 | 21 | 0 | 0 | 21 | 19 | 0 | 3510
Kurnool | [6 empty] | 12173 | 1090 | 287 | 5 | 3 | 402 | 89 | 0 | 14049 | [6 empty] | 12974 | 1146 | 272 | 5 | 5 | 412 | 94 | 0 | 14908
Mahabubnagar | [6 empty] | 7732 | 1109 | 137 | 14 | 1 | 373 | 61 | 0 | 9427 | [6 empty] | 8526 | 1257 | 127 | 11 | 1 | 580 | 60 | 0 | 10562
Medak | [6 empty] | 8877 | 732 | 169 | 0 | 0 | 372 | 63 | 0 | 10213 | [6 empty] | 9019 | 711 | 163 | 0 | 0 | 354 | 61 |  | 10308
Nalgonda | [6 empty] | 9145 | 1143 | 171 | 47 | 15 | 657 | 44 | 0 | 11222 | [6 empty] | 9319 | 1138 | 155 | 49 | 24 | 578 | 46 |  | 11309
Rangareddy(north) | [6 empty] | 8276 | 1290 | 242 | 5 | 13 | 280 | 24 |  | 10130 | [6 empty] | 7814 | 1245 | 187 | 5 | 11 | 298 | 23 |  | 9583
Rangareddy(south) | [6 empty] | 8236 | 969 | 173 | 5 | 3 | 80 | 18 | 1 | 9485 | [6 empty] | 7738 | 954 | 159 | 5 | 6 | 79 | 18 |  | 8959
CIRCLE | BURNT SERVICES YEAR 2010-2011(H1) | [14 empty] | REPLACEMENT OF BURNT SERVICES YEAR 2010-2011(H1)
| HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII |  | HT-I | HT-II | HT-IV | HT-V | HT-VI | HT-VII | LT-I | LT-II | LT-III | LT-IV | LT-V | LT-VI | LT-VII | LT-VIII
Anantapur | [6 empty] | 475 | 206 | 55 | 3 | 6 | 303 | 18 | 1 | 1067 | [6 empty] | 402 | 186 | 48 | 3 | 4 | 373 | 23 |  | 1039
Hyderabad(central) | [6 empty] | 241 | 81 | 1 | 0 | 1 | 225 | 2 | 0 | 551 | [6 empty] | 247 | 73 | 1 | 0 | 1 | 204 | 3 | 1 | 530
Hyderabad(north) | [6 empty] | 233 | 94 | 5 | 0 | 0 | 316 | 8 | 0 | 656 | [6 empty] | 213 | 81 | 3 | 0 | 0 | 279 | 3 | 0 | 579
Hyderabad(south) | [6 empty] | 256 | 117 | 2 | 0 | 0 | 35 | 5 |  | 415 | [6 empty] | 281 | 113 | 1 | 0 | 0 | 37 | 5 | 0 | 437
Kurnool | [6 empty] | 299 | 149 | 58 | 0 | 5 | 318 | 20 | 1 | 850 | [6 empty] | 376 | 127 | 51 | 0 | 6 | 318 | 13 | 1 | 892
Mahabubnagar | [6 empty] | 920 | 263 | 68 | 1 | 0 | 149 | 22 | 0 | 1423 | [6 empty] | 1022 | 243 | 62 | 1 | 0 | 188 | 20 | 1 | 1537
Medak | [6 empty] | 1026 | 184 | 59 | 1 | 0 | 274 | 8 |  | 1552 | [6 empty] | 929 | 184 | 46 | 0 | 0 | 155 | 12 |  | 1326
Nalgonda | [6 empty] | 256 | 104 | 29 | 1 | 1 | 74 | 9 |  | 474 | [6 empty] | 275 | 80 | 23 | 0 | 2 | 61 | 6 |  | 447
Rangareddy(north) | [6 empty] | 355 | 109 | 34 | 0 | 14 | 232 | 4 |  | 748 | [6 empty] | 337 | 104 | 28 | 1 | 14 | 213 | 4 |  | 701
Rangareddy(south) | [6 empty] | 1300 | 198 | 69 | 0 | 5 | 127 | 8 |  | 1707 | [6 empty] | 1323 | 221 | 58 | 0 | 3 | 103 | 12 | 0 | 1720

## 11) Frequency 09-10
FREQUENCY PROFILE OF SR GRID
Southern Region frequency during 2009-10
Month | Average | Maximum |  | Minimum
| HZ | HZ | Date | HZ | Date
2009-04-07 | 49.39 | 50.93 | 21st | 48.53 | 3rd
2009-05-07 | 49.72 | 51.03 | 17th | 48.56 | 8th
2009-06-07 | 49.57 | 50.8 | 30th | 48.53 | 10th
2009-07-07 | 49.66 | 50.84 | 12th | 48.67 | 25th
2009-08-07 | 49.52 | 50.76 | 30th | 48.59 | 14th
2009-09-07 | 49.72 | 50.68 | 28th | 48.82 | 22nd
2009-10-07 | 49.53 | 50.85 | 3rd | 48.57 | 26th
2009-11-07 | 49.77 | 50.57 | 28th | 48.58 | 19th
2009-12-07 | 49.75 | 50.76 | 31st | 48.64 | 12th
2010-01-07 | 49.76 | 50.71 | 18th | 48.61 | 16th
2010-02-07 | 49.59 | 50.79 | 28th | 48.63 | 20th
2010-03-07 | 49.39 | 50.66 | 1st | 48.57 | 23rd
Year | 49.61 | 51.03 | 17th MAY 2009 | 48.53 | 3rd apr'09 10th Jun'09
(Figures in percentage of time)
Month | <48.5 HZ | 48.5 & <49.0 Hz | 49.0 & <49.5 Hz | 49.5 & <50.0 Hz | 50. & <50.3 Hz | >50.3 Hz
2009-04-07 | 0 | 6.7 | 53.53 | 35.65 | 3.68 | 0.44
2009-05-07 | 0 | 1.86 | 20.84 | 51.31 | 21.41 | 4.58
2009-06-07 | 0 | 1.35 | 36.3 | 51.91 | 9.64 | 0.8
2009-07-07 | 0 | 0.08 | 22.07 | 65.01 | 11.74 | 1.1
2009-08-07 | 0 | 0.77 | 37.49 | 58.18 | 3.31 | 0.25
2009-09-07 | 0 | 0.02 | 11.85 | 69.93 | 15.82 | 2.38
2009-10-07 | 0 | 1.57 | 41.37 | 47.45 | 8.21 | 1.4
2009-11-07 | 0 | 0.06 | 4.55 | 76.25 | 18.12 | 1.02
2009-12-07 | 0 | 0.04 | 7.63 | 70.9 | 20.7 | 0.73
2010-01-07 | 0 | 0.06 | 6.58 | 74.6 | 17.42 | 1.34
2010-02-07 | 0 | 0.46 | 22.71 | 71.31 | 5.29 | 0.23
2010-03-07 | 0 | 2.91 | 59.85 | 35.53 | 1.59 | 0.12
Average | 0 | 1.32 | 27.07 | 59 | 11.41 | 1.2

## 12) Frequency 10-11
FREQUENCY PROFILE OF SR GRID
Southern Region frequency during 2010-11(H1)
Month | Average | Maximum |  | Minimum
| HZ | HZ | Date | HZ | Date
2010-04-07 | 49.45 | 50.56 | 13th | 48.57 | 10th
2010-05-07 | 49.84 | 50.88 | 16th | 48.58 | 21st
2010-06-07 | 49.78 | 50.67 | 6th | 48.56 | 2nd
2010-07-07 | 49.85 | 50.69 | 5th | 49.82 | 9th
2010-08-07 | 49.81 | 50.54 | 18th | 48.7 | 20th
2010-09-07 | 49.92 | 50.57 | 2nd | 48.84 | 21st
Year | 49.78 | 50.88 |  | 48.56
(Figures in percentage of time)
Month | <48.5 HZ | 48.5 & <49.0 Hz | 49.0 & <49.2 Hz | 49.2 & <49.5 Hz | 49.5 & <49.7 Hz | 49.7 & <50.0 Hz | 49.5 & <50.0 Hz | 50. & <50.2 Hz | >50.2 | 50. & <50.3 Hz | >50.3 Hz
2010-04-07 | 0 | 2.83 | 7.19 | 40.91 | - | - | 45.56 | - | - | 3.27 | 0.24
2010-05-07 | 0 | 0.27 | 0.25 | 2.45 | - | - | 71.97 | 19.27 | 5.79 | - | -
2010-06-07 | 0 | 0.83 | 1.04 | 3.88 | 10.93 | 62.88 | - | 14.52 | 5.92 | - | -
2010-07-07 | 0 | 0.03 | 0.16 | 1.27 | 12.92 | 69.44 | - | 12.13 | 4.05 | - | -
2010-08-07 | 0 | 0.02 | 0.19 | 3.52 | 27.71 | 49.93 | - | 13.39 | 5.24 | - | -
2010-09-07 | 0 | 0.06 | 0.25 | 1.33 | 10.85 | 53.4 | - | 26.49 | 7.62 | - | -
Average | 0 | 0.67 | 1.51 | 8.89 | 15.6 | 58.91 | 58.76 | 17.16 | 5.72 | 3.27 | 0.24

## 13) Pending App 09-10 & 10-11
Number of connection applications pending more than six months as on 31.03.2010
CATEGORY | Anathapur | Kurnool | Mahaboobnagar | Nalgonda | Medak | Rangareddy North | Rangareddy South | Hyderabad North | Hyderabad South | Hyderabad Central | Total
LT supply
Domestic | 0 | 63 | 7 | 13 | 0 | 30 | 9 | 9 | 76 | 0 | 207
Non-domestic & commercial | 3 | 3 | 820 | 8 | 0 | 7 | 19 | 0 | 25 | 0 | 885
Industrial | 1 | 28 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 39
Cottage industries | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agriculture | 6702 | 1599 | 1247 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 9652
Street lights & water supply in local bodies | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
General purpose | 0 | 0 | 0 | 1 | 0 | 0 | 7 | 0 | 0 | 0 | 8
Temporary supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HT supply
Category I (manufacturing & processing industries) | 33 | 8 | 42 | 3 | 0 | 34 | 0 | 1 | 0 | 0 | 121
Category II (non-manufacturing commercial activities) | 2 | 4 | 4 | 0 | 0 | 37 | 0 | 4 | 0 | 18 | 69
Category IV (irrigation &agriculture) | 28 | 22 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 54
Category V (railway traction) | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Category VI (town ship & residential colonies) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Other sales (not included above) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 6770 | 1743 | 2123 | 129 | 0 | 110 | 45 | 14 | 101 | 18 | 11053
Number of connection applications pending more than six months as on 30.09.2010
CATEGORY | Anathapur | Kurnool | Mahaboobnagar | Nalgonda | Medak | Rangareddy North | Rangareddy South | Hyderabad North | Hyderabad South | Hyderabad Central | Total
LT supply
Domestic | 0 | 105 | 2 | 0 | 0 | 11 | 85 | 10 | 12 | 0 | 225
Non-domestic & commercial | 15 | 12 | 0 | 20 | 0 | 9 | 41 | 4 | 6 | 0 | 107
Industrial | 13 | 16 | 380 | 0 | 0 | 0 | 15 | 0 | 2 | 0 | 426
Cottage industries | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Agriculture | 7354 | 1625 | 959 | 237 | 0 | 0 | 0 | 0 | 0 | 0 | 10175
Street lights & water supply in local bodies | 2 | 9 | 228 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 241
General purpose | 3 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 17
Temporary supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HT supply
Category I (manufacturing & processing industries) | 36 | 8 | 24 | 3 | 0 | 13 | 0 | 0 | 0 | 0 | 84
Category II (non-manufacturing commercial activities) | 2 | 5 | 2 | 0 | 0 | 10 | 0 | 2 | 0 | 16 | 37
Category IV (irrigation &agriculture) | 28 | 10 | 3 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 57
Category V (railway traction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category VI (town ship & residential colonies) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Other sales (not included above) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0
TOTAL | 7455 | 1790 | 1602 | 260 | 0 | 59 | 157 | 16 | 20 | 16 | 11375
Number of services released during 2009-10
CATEGORY | Anathapur | Kurnool | Mahaboobnagar | Nalgonda | Medak | Rangareddy North | Rangareddy South | Hyderabad North | Hyderabad South | Hyderabad Central | Total
LT supply
Domestic | 36192 | 36272 | 19317 | 29328 | 25292 | 67070 | 34888 | 26480 | 12371 | 15781 | 302991
Non-domestic & commercial | 2315 | 1814 | 2124 | 2274 | 2797 | 6684 | 4598 | 3404 | 2191 | 1536 | 29737
Industrial | 214 | 224 | 29 | 160 | 206 | 419 | 102 | 85 | 9 | 5 | 1453
Cottage industries | 91 | 2 | 0 | 80 | 0 | 5 | 0 | 0 | 1 | 0 | 179
Agriculture | 2892 | 2584 | 4015 | 7052 | 4599 | 95 | 1694 | 0 | 0 | 0 | 22931
Street lights & water supply in local bodies | 136 | 101 | 11 | 50 | 274 | 372 | 280 | 99 | 2 | 7 | 1332
General purpose | 220 | 503 | 106 | 197 | 119 | 46 | 42 | 16 | 23 | 2 | 1274
Temporary supply | 6 | 0 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 17
HT supply
Category I (manufacturing & processing industries) | 16 | 16 | 38 | 35 | 66 | 62 | 20 | 33 | 0 | 0 | 286
Category II (non-manufacturing commercial activities) | 3 | 3 | 2 | 6 | 0 | 81 | 9 | 103 | 4 | 27 | 238
Category IV (irrigation &agriculture) | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Category V (railway traction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Category VI (town ship & residential colonies) | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 5
Other sales (not included above) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0
TOTAL | 42089 | 41519 | 25651 | 39184 | 33353 | 74837 | 41634 | 30222 | 14601 | 17359 | 360449
Number of services released during 2010-11(H1)
CATEGORY | Anathapur | Kurnool | Mahaboobnagar | Nalgonda | Medak | Rangareddy North | Rangareddy South | Hyderabad North | Hyderabad South | Hyderabad Central | Total
LT supply
Domestic | 21602 | 16375 | 9675 | 17628 | 15043 | 35438 | 19598 | 11152 | 6464 | 7158 | 160133
Non-domestic & commercial | 1670 | 1253 | 1134 | 1170 | 1520 | 3260 | 2729 | 1307 | 892 | 724 | 15659
Industrial | 96 | 123 | 47 | 57 | 90 | 225 | 52 | 33 | 4 | 6 | 733
Cottage industries | 71 | 7 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 92
Agriculture | 2585 | 2612 | 5134 | 4198 | 2396 | 59 | 1144 | 0 | 0 | 0 | 18128
Street lights & water supply in local bodies | 23 | 39 | 28 | 22 | 133 | 209 | 199 | 30 | 0 | 4 | 687
General purpose | 1513 | 121 | 244 | 53 | 34 | 30 | 42 | 12 | 8 | 1 | 2058
Temporary supply | 5 | 3 | 22 | 0 | 10 | 0 | 4 | 0 | 0 | 0 | 44
HT supply
Category I (manufacturing & processing industries) | 22 | 8 | 7 | 30 | 43 | 41 | 21 | 0 | 0 | 0 | 172
Category II (non-manufacturing commercial activities) | 2 | 1 | 0 | 7 | 0 | 42 | 5 | 0 | 5 | 9 | 71
Category IV (irrigation &agriculture) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Category V (railway traction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category VI (town ship & residential colonies) | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Other sales (not included above) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 27589 | 20542 | 16295 | 23176 | 19269 | 39305 | 23794 | 12534 | 7373 | 7902 | 197779

## 14) Above 50,000
Category wise arrears over Rs. 50,000 pending for OVER SIX MONTHS as on MAR ' 31, 2010 |  |  | Category wise arrears over Rs. 50,000 pending for OVER SIX MONTHS as on SEPT ' 30, 2010
Category | Nos. | Amount Rs. Lakhs | Category | Nos. | Amount Rs. Lakhs
Low Tension |  |  | Low Tension
Domestic Supply Cat-I | 1424 | 1312.6684 | Domestic Supply Cat-I | 1573 | 1438.8999
Non-Domestic Supply Cat-II | 1068 | 1223.3708 | Non-Domestic Supply Cat-II | 1134 | 1302.6584
Industrial Supply Cat-III | 936 | 1541.3358 | Industrial Supply Cat-III | 919 | 1574.1158
Cottage industries Cat-IV | 13 | 12.5445 | Cottage industries Cat-IV | 13 | 13.8759
Irrigation & Agl. Cat-V | 1546 | 1504.7167 | Irrigation & Agl. Cat-V | 1744 | 1798.848
Public Lighting Cat-VI | 4289 | 4484.488 | Public Lighting Cat-VI | 6262 | 7077.5209
General Purpose Cat-VII | 238 | 244.0808 | General Purpose Cat-VII | 271 | 274.008
Temporary Supply Cat-VIII |  |  | Temporary Supply Cat-VIII
TOTAL LT | 9514 | 10323.2049 | TOTAL LT | 11916 | 13479.9269
High Tension |  |  | High Tension
Industrial Segregated Cat-I | 606 | 38952.1083 | Industrial Segregated Cat-I | 548 | 40959.3455
Industrial Non-Segregated Cat-II | 109 | 4287.6849 | Industrial Non-Segregated Cat-II | 105 | 4967.599
Irrigation & Agriculture Cat-IV | 117 | 4668.62 | Irrigation & Agriculture Cat-IV | 84 | 3385.18
Railway Traction Cat-V | 3 | 535.7275 | Railway Traction Cat-V | 2 | 564.3002
Colony Lighting | 4 | 1567.7923 | Colony Lighting | 3 | 2203.37
RESCO |  |  | RESCO
Temporary |  |  | Temporary
TOTAL HT | 839 | 50011.9329 | TOTAL HT | 742 | 52079.7947
TOTAL LT+HT | 10353 | 60335.1379 | TOTAL LT+HT | 12658 | 65559.7216

## 15) Bad debts
Bad debts written-off during 2009-10
Category | Amount Rs. Lakhs
Low Tension
Domestic Supply Cat-I
Non-Domestic Supply Cat-II
Industrial Supply Cat-III
Cottage industries Cat-IV
Irrigation & Agl. Cat-V
Public Lighting Cat-VI
General Purpose Cat-VII
Temporary Supply Cat-VIII
TOTAL LT | 0
High Tension
Industrial Segregated Cat-I | 294
Industrial Non-Segregated Cat-II
Irrigation & Agriculture Cat-IV
Railway Traction Cat-V
Colony Lighting
RESCO
Temporary
TOTAL HT | 294
TOTAL LT+HT | 294

## 16) W.Ps.30.09.2010
ABSTRACT OF PENDING COURT CASES AS ON 30.09.2010
Sl. No. | Name of the Circle | W.Ps | Parawise Remarks |  | Counters |  | C.Ds | O.S/O.Ps | O.A | Total
|  |  | Submitted | Not Submitted | Filed | O.S
1 | North Circle/ Gr. Hyderabad | 40 |  |  |  |  | 3 | 13 | 0 | 56
2 | South Circle/ Gr. Hyderabad | 40 |  |  |  |  | 13 | 9 | 0 | 62
3 | Central Circle/ Gr. Hyderabad | 40 |  |  |  |  | 2 | 5 | 0 | 47
4 | East Circle/Gr. Hyderabad (R R - South) | 50 |  |  |  |  | 4 | 3 | 0 | 57
5 | West Circle/Gr. Hyderabad (R R - North) | 73 |  |  |  |  | 6 | 7 | 0 | 86
6 | Medak | 68 |  |  |  |  | 13 | 5 | 0 | 86
7 | Nalgonda | 33 |  |  |  |  | 6 | 2 | 0 | 41
8 | Mahaboobnagar | 49 |  |  |  |  | 1 | 5 | 0 | 55
9 | Kurnool | 38 |  |  |  |  | 2 | 10 | 0 | 50
10 | Anantapur | 22 |  |  |  |  | 3 | 2 | 0 | 27
11 | CGM/Commercial | 154 |  |  |  |  | 0 | 6 | 0 | 160
12 | CGM (Finance) | 8 |  |  |  |  | 0 | 0 | 0 | 8
13 | CGM/Operation | 5 |  |  |  |  | 0 | 0 | 1 | 6
14 | CGM/Metro Zone | 3 |  |  |  |  | 0 | 1 | 0 | 4
15 | CGM/R.R. Zone | 0 |  |  |  |  | 0 | 0 | 0 | 0
16 | CGM/Projects | 2 |  |  |  |  | 0 | 0 | 0 | 2
17 | CGM/P & MM | 1 |  |  |  |  | 0 | 0 | 0 | 1
18 | SE/DPE | 1 |  |  |  |  | 0 | 0 | 0 | 1
19 | SE/Assessments | 19 |  |  |  |  | 0 | 0 | 0 | 19
20 | SE/SCADA | 1 |  |  |  |  | 0 | 0 | 0 | 1
21 | SE/Master Plan | 0 |  |  |  |  | 0 | 1 | 0 | 1
22 | CVO/Vig & APTS | 1 |  |  |  |  | 0 | 0 | 0 | 1
GRAND TOTAL: |  | 648 | 0 | 0 | 0 | 0 | 53 | 69 | 1 | 771

## 6) Interruptions & Breakdowns
Table 33 kV & 11 kV Interruptions During 2009-10
|  | 33 kV SYSTEM |  |  |  | 11 kV SYSTEM
S.No. | Circle | No. of feeders | Length of lines Km | Interruptions | Duration Hrs | No. of feeders | Length of lines Km | Interruptions | Duration Hrs
1 | Ananthapur | 71 | 2237.55 | 936 | 140:40 | 635 | 14634.879 | 4677 | 2020:10
2 | Kurnool | 61 | 2162 | 464 | 60:54 | 525 | 10259 | 13548 | 7347:18
3 | Mahaboobnagar | 89 | 2344.88 | 4741 | 591:45 | 738 | 18502.2 | 7341 | 4892:04
4 | Medak | 82 | 1784 | 4879 | 1852:46 | 932 | 12265 | 6137 | 2978:26
5 | Nalgonda | 92 | 2376 | 503 | 39:05 | 785 | 15524.3 | 1607 | 391:09
6 | Hyderabad North | 61 | 305 | 313 | 72:39 | 429 | 1372 | 7936 | 1498:11
7 | Hyderabad Central | 23 | 220 | 230 | 51:24 | 222 | 605 | 4338 | 822:22
8 | Hyderabad South | 26 | 177 | 522 | 90:42 | 185 | 797 | 3416 | 584:15
9 | Ranga Reddy North | 57 | 483 | 1790 | 327:38 | 283 | 2159 | 21008 | 20844:30:12
10 | Ranga Reddy South | 57 | 818.56 | 1569 | 330:50 | 247 | 5278.61 | 6404 | 2050:33
Table 33 kV & 11 kV Interruptions During 2010-11 (H1)
|  | 33 kV SYSTEM |  |  |  | 11 kV SYSTEM
S.No. | Circle | No. of feeders | Length of lines Km | Interruptions | Duration Hrs | No. of feeders | Length of lines Km | Interruptions | Duration Hrs
1 | Ananthapur | 71 | 2321.37 | 609 | 120:20 | 686 | 15211.189 | 3088 | 1422:25
2 | Kurnool | 61 | 2178 | 242 | 34:45 | 642 | 10465 | 8421 | 12418:01:36
3 | Mahaboobnagar | 94 | 2401.38 | 2304 | 348:26 | 798 | 18723.89 | 3866 | 7577:54
4 | Medak | 89 | 1792 | 2422 | 1021:18 | 962 | 12429 | 3056 | 3620:43
5 | Nalgonda | 95 | 2397 | 111 | 33:24 | 812 | 16365.3 | 833 | 412:49
6 | Hyderabad North | 75 | 315 | 410 | 71:28 | 457 | 1402 | 10304 | 2116:13
7 | Hyderabad Central | 22 | 191 | 272 | 48:02 | 232 | 612 | 5718 | 1084:55
8 | Hyderabad South | 33 | 221 | 748 | 119:10 | 207 | 803 | 7311 | 1244:00
9 | Ranga Reddy North | 64 | 599 | 1291 | 278:23 | 316 | 2279 | 17070 | 28:226:26:12
10 | Ranga Reddy South | 57 | 828.26 | 1035 | 216:16 | 361 | 5327.59 | 4326 | 8976:47
Table 33 kV & 11 kV breakdowns During 2009-2010
|  | 33 kV SYSTEM |  |  |  | 11 kV SYSTEM
S.No. | Circle | No. of feeders | Length of lines Km | No. of breakdowns | Duration Hrs | No. of feeders | Length of lines Km | No. of breakdown | Duration Hrs
1 | Ananthapur | 71 | 2237.55 | 379 | 189:50 | 635 | 14634.879 | 569 | 549:40
2 | Kurnool | 61 | 2162 | 272 | 632:36 | 525 | 10259 | 340 | 429:33
3 | Mahaboobnagar | 89 | 2344.88 | 241 | 198:50 | 738 | 18502.2. | 44 | 61:10
4 | Medak | 82 | 1784 | 212 | 543:22 | 932 | 12265 | 189 | 236:17
5 | Nalgonda | 92 | 2376 | 53 | 77:05 | 785 | 15524.3 | 97 | 79:10
6 | Hyderabad North | 61 | 305 | 57 | 54:45 | 429 | 1372 | 857 | 2067:39
7 | Hyderabad Central | 23 | 220 | 47 | 69:55 | 222 | 605 | 341 | 991:23
8 | Hyderabad South | 26 | 177 | 60 | 69:55 | 185 | 797 | 558 | 1202:21
9 | Ranga Reddy North | 54 | 483 | 166 | 763:35 | 283 | 2159 | 739 | 1108:59
10 | Ranga Reddy South | 57 | 818.56 | 70 | 308:37 | 247 | 5278.61 | 348 | 372:25
Table 33 kV & 11 kV breakdowns During 2010-11 (H1)
|  | 33 kV SYSTEM |  |  |  | 11 kV SYSTEM
S.No. | Circle | No. of feeders | Length of lines Km | No. of breakdowns | Duration Hrs | No. of feeders | Length of lines Km | No. of breakdown | Duration Hrs
1 | Ananthapur | 71 | 2321.37 | 345 | 172:50 | 686 | 15211.189 | 412 | 331:35
2 | Kurnool | 61 | 2178 | 147 | 362:18 | 642 | 10465 | 239 | 626:00
3 | Mahaboobnagar | 94 | 2401.38 | 196 | 174:18 | 798 | 18723.89 | 172 | 235:14
4 | Medak | 89 | 1792 | 113 | 331:43 | 962 | 12429 | 84 | 16:35
5 | Nalgonda | 95 | 2397 | 39 | 46:34 | 812 | 16365.3 | 66 | 77:26
6 | Hyderabad North | 75 | 315 | 97 | 122:38 | 457 | 1402 | 595 | 1531:46
7 | Hyderabad Central | 22 | 191 | 46 | 65:46 | 232 | 612 | 180 | 468:51
8 | Hyderabad South | 33 | 221 | 59 | 98:01 | 207 | 803 | 301 | 671:43
9 | Ranga Reddy North | 62 | 599 | 146 | 599:24 | 316 | 2279 | 404 | 628:11
10 | Ranga Reddy South | 57 | 828.06 | 77 | 317:34 | 361 | 5327.59 | 337 | 544:22

## 7) Fuse of calls 09-10
Review of complaints received at FOC Centers and rectification during 2009-10
Circle | Type of Compalints | No. of Complaints | No. of Consumers affected | Time for rectification (hrs)
|  |  |  | Max | Min | Avg.
Ananthapur | Individual FOCs | 39263 | 39263 | 2:40 | 1:05 | 1:52
| Serivce Wire defect | 30775 | 30775 | 3:40 | 1:55 | 2:47
| LT Fuses blown | 4265 | 30539 | 1:10 | 0:35 | 0:52
| LT line fault | 976 | 24560 | 1:30 | 0:35 | 1:03
| HG fuse blown | 9124 | 22510 | 1:10 | 0:35 | 0:52
| DTR Failure | 2144 | 25821 | 24:00 | 2:00 | 13:00
| Total | 86547 | 173468
Kurnool | Individual FOCs | 21652 | 21652 | 24:00 | 7:12 | 7:12
| Serivce Wire defect | 1852 | 1852 | 33:36 | 7:12 | 25:12
| LT Fuses blown | 162 | 4050 | 37:12 | 32:24 | 27:36
| LT line fault | 48 | 512 | 74:24 | 31:12 | 52:48
| HG fuse blown | 32 | 4480 | 30:00 | 10:48 | 25:12
| DTR Failure | 2097 | 27746 | 576:00 | 288:00 | 288:00
| Total | 25843 | 60292
Mahaboobnagar | Individual FOCs | 39712 | 39712 | 24:00 | 7:12 | 10:48
| Serivce Wire defect | 2051 | 2051 | 31:12 | 7:12 | 24:00
| LT Fuses blown | 87 | 2174 | 48:00 | 24:00 | 31:12
| LT line fault | 38 | 364 | 72:00 | 48:00 | 55:12
| HG fuse blown | 41 | 1640 | 48:00 | 24:00 | 31:12
| DTR Failure | 12104 | 60520 | 576:00 | 288:00 | 432:00
| Total | 54033 | 106461
Medak | Individual FOCs | 1383 | 1528 | 5:00 | 3:00 | 2:00
| Serivce Wire defect | 1151 | 1551 | 4:00 | 3:00 | 2:00
| LT Fuses blown | 1250 | 6484 | 3:00 | 5:00 | 4:00
| LT line fault | 768 | 5978 | 14:00 | 18:00 | 10:00
| HG fuse blown | 587 | 4661 | 2:00 | 3:00 | 2:00
| DTR Failure | 2065 | 22669 | 48:00 | 24:00 | 36:00
| Total | 7204 | 42871
Nalgonda | Individual FOCs | 1060 | 1058 | 4:00 | 1:00 | 2:03
| Serivce Wire defect | 416 | 426 | 4:00 | 1:00 | 3:00
| LT Fuses blown | 28 | 2958 | 1:00 | 0.3:00 | 0:45
| LT line fault | 16 | 1654 | 4:00 | 1:00 | 2:03
| HG fuse blown | 9 | 1985 | 4:00 | 1:00 | 2:03
| DTR Failure | 138 | 7896 | 6:00 | 4:00 | 5:00
| Total | 1667 | 15977
Hyderabad North | Individual FOCs | 201430 | 201430 | 0:30 | 0:10 | 0:20
| Serivce Wire defect | 1200 | 1200 | 2:00 | 1:00 | 1:10
| LT Fuses blown | 7997 | 399850 | 0:30 | 0:10 | 0:20
| LT line fault | 600 | 3000 | 1:00 | 0:30 | 0:30
| HG fuse blown | 1951 | 97550 | 0:30 | 0:10 | 0:20
| DTR Failure | 64 | 19200 | 4:00 | 1:00 | 1:30
| Total | 213242 | 722230
Hyderabad South | Individual FOCs | 304104 | 304104 | 0:30 | 0:10 | 0:20
| Serivce Wire defect | 1350 | 1350 | 2:00 | 1:00 | 1:10
| LT Fuses blown | 5354 | 240930 | 0:30 | 0:10 | 0:20
| LT line fault | 400 | 1200 | 1:00 | 0:30 | 0:30
| HG fuse blown | 419 | 18855 | 0:30 | 0:10 | 0:20
| DTR Failure | 280 | 112000 | 4:00 | 1:00 | 1:30
| Total | 311907 | 678439
Hyderabad Central | Individual FOCs | 190327 | 190327 | 0:30 | 0:10 | 0:20
| Serivce Wire defect | 350 | 350 | 2:00 | 1:00 | 1:10
| LT Fuses blown | 4572 | 182880 | 0:30 | 0:10 | 0:20
| LT line fault | 400 | 1520 | 1:00 | 0:30 | 0:30
| HG fuse blown | 1116 | 44640 | 0:30 | 0:10 | 0:20
| DTR Failure | 69 | 24150 | 4:00 | 1:00 | 1:30
| Total | 196834 | 443867
Ranga Reddy North | Individual FOCs | 5627 | 5627 | 1:35 | 1:01 | 1:35
| Serivce Wire defect | 1448 | 1448 | 2:21 | 1:25 | 1:54
| LT Fuses blown | 863 | 5839 | 2:36 | 1:44 | 2:11
| LT line fault | 166 | 852 | 1:35 | 1:12 | 1:32
| HG fuse blown | 326 | 2835 | 2:22 | 1:51 | 2:11
| DTR Failure | 237 | 32794 | 28:52 | 18:22 | 26:52
| Total | 8667 | 49395
Ranga Reddy South | Individual FOCs | 5641 | 5641 | 1:40 | 0:32 | 0:35
| Serivce Wire defect | 1846 | 1846 | 1:50 | 0:32 | 0:45
| LT Fuses blown | 3158 | 215362 | 1:40 | 0:40 | 0:25
| LT line fault | 2714 | 115236 | 1:30 | 1:10 | 0:50
| HG fuse blown | 2215 | 198325 | 1:10 | 0:35 | 0:25
| DTR Failure | 1763 | 226536 | 31:00 | 1:20 | 6:00
| Total | 17337 | 762946

## 8) Fuse of calls 10-11
Review of complaints received at FOC Centers and rectification during 2010-11 (H1)
Circle | Type of Compalints | No. of Complaints | No. of Consumers affected | Time for rectification (hrs)
|  |  |  | Max | Min | Avg.
Ananthapur | Individual FOCs | 64119 | 64119 | 2:40 | 1:05 | 1:52
| Serivce Wire defect | 27100 | 27100 | 3:40 | 1:55 | 2:47
| LT Fuses blown | 6468 | 36475 | 1:10 | 0:35 | 0:52
| LT line fault | 1344 | 16597 | 1:30 | 0:35 | 1:03
| HG fuse blown | 12157 | 29529 | 1:10 | 0:35 | 0:52
| DTR Failure | 3409 | 45726 | 24:00 | 2:00 | 13:00
| Total | 114597 | 219546
Kurnool | Individual FOCs | 13562 | 13562 | 24:00 | 7:12 | 7:12
| Serivce Wire defect | 918 | 918 | 33:36 | 7:12 | 25:12
| LT Fuses blown | 86 | 1290 | 37:12 | 32:24 | 27:36
| LT line fault | 24 | 482 | 74:24 | 31:12 | 52:48
| HG fuse blown | 18 | 1368 | 30:00 | 10:48 | 25:12
| DTR Failure | 1971 | 25478 | 576:00 | 288:00 | 288:00
| Total | 16579 | 43098
Mahaboobnagar | Individual FOCs | 15885 | 15885 | 24:00 | 7:12 | 10:48
| Serivce Wire defect | 820 | 820 | 31:12 | 7:12 | 24:00
| LT Fuses blown | 35 | 870 | 48:00 | 24:00 | 31:12
| LT line fault | 15 | 146 | 72:00 | 48:00 | 55:12
| HG fuse blown | 16 | 656 | 48:00 | 24:00 | 31:12
| DTR Failure | 7463 | 37315 | 576:00 | 288:00 | 432:00
| Total | 24234 | 55692
Medak | Individual FOCs | 933 | 1101 | 5:00 | 3:00 | 2:00
| Serivce Wire defect | 722 | 1092 | 4:00 | 3:00 | 2:00
| LT Fuses blown | 935 | 4249 | 3:00 | 5:00 | 4:00
| LT line fault | 670 | 3647 | 14:00 | 18:00 | 10:00
| HG fuse blown | 539 | 3028 | 2:00 | 3:00 | 2:00
| DTR Failure | 1671 | 15673 | 48:00 | 24:00 | 36:00
| Total | 5470 | 28790
Nalgonda | Individual FOCs | 475 | 1568 | 4:00 | 1:00 | 2:03
| Serivce Wire defect | 414 | 965 | 4:00 | 1:00 | 3:00
| LT Fuses blown | 27 | 2159 | 1:00 | 0.3:00 | 0.45:00
| LT line fault | 20 | 2547 | 4:00 | 1 Hrs | 2:03
| HG fuse blown | 23 | 1588 | 4:00 | 1 Hrs | 2:03
| DTR Failure | 251 | 4588 | 6:00 | 4 Hrs | 5:00
| Total | 1210 | 13415
Hyderabad North | Individual FOCs | 153481 | 153481 | 0:30 | 0:10 | 0:20
| Serivce Wire defect | 550 | 550 | 2:00 | 1:00 | 1:10
| LT Fuses blown | 9407 | 470350 | 0:30 | 0:10 | 0:20
| LT line fault | 350 | 1200 | 1:00 | 0:30 | 0:30
| HG fuse blown | 2479 | 123950 | 0:30 | 0:10 | 0:20
| DTR Failure | 129 | 38700 | 4:00 | 1:00 | 1:30
| Total | 12365 | 634200
Hyderabad South | Individual FOCs | 222235 | 222235 | 0:30 | 0:10 | 0:20
| Serivce Wire defect | 620 | 620 | 2:00 | 1:00 | 1:10
| LT Fuses blown | 9622 | 432990 | 0:30 | 0:10 | 0:20
| LT line fault | 180 | 900 | 1:00 | 0:30 | 0:30
| HG fuse blown | 607 | 27315 | 0:30 | 0:10 | 0:20
| DTR Failure | 193 | 77200 | 4:00 | 1:00 | 1:30
| Total | 10602 | 538405
Hyderabad Central | Individual FOCs | 166398 | 166398 | 0:30 | 0:10 | 0:20
| Serivce Wire defect | 160 | 160 | 2:00 | 1:00 | 1:10
| LT Fuses blown | 12047 | 481880 | 0:30 | 0:10 | 0:20
| LT line fault | 220 | 580 | 1:00 | 0:30 | 0:30
| HG fuse blown | 1186 | 47440 | 0:30 | 0:10 | 0:20
| DTR Failure | 34 | 11900 | 4:00 | 1:00 | 1:30
| Total | 13487 | 541800
Ranga Reddy North | Individual FOCs | 4258 | 4258 | 1:27 | 1:00 | 1:13
| Serivce Wire defect | 1591 | 1591 | 2:16 | 1:12 | 1:44
| LT Fuses blown | 983 | 5848 | 2:22 | 1:48 | 2:05
| LT line fault | 154 | 751 | 1:32 | 1:11 | 1:31
| HG fuse blown | 431 | 3810 | 2:19 | 1:48 | 2:08
| DTR Failure | 223 | 32776 | 28:42 | 18:11 | 26:33
| Total | 7640 | 49034
Ranga Reddy South | Individual FOCs | 5481 | 5481 | 1:35 | 0:30 | 0:35
| Serivce Wire defect | 1825 | 1825 | 1:50 | 0:30 | 0:40
| LT Fuses blown | 3028 | 206351 | 1:40 | 0:40 | 0:25
| LT line fault | 2616 | 108236 | 1:30 | 1:10 | 0:50
| HG fuse blown | 2158 | 189325 | 1:10 | 0:35 | 0:25
| DTR Failure | 1092 | 118365 | 30:00 | 1:10 | 5:45
| Total | 16200 | 629583

## 9) Theft cases Apr09-Mar10
Statement showing consolidated circle wise no. of services inspected, cases booked, amount assessed and amount realised from April'09 to March'10 of V&APTS Pss in APCPDCL
Sl.No. | Circle | Total No. of services inspected | Total No. of cases booked | Provisional Amount Assessed | Amount of Assessment realised
1 | Ananthapur | 164757 | 8246 | 19989731 | 3082892
2 | Kurnol | 23963 | 4608 | 10224773 | 2774909
3 | Mahaboobnagar | 29759 | 12096 | 18884604 | 4605799
4 | Medak | 51263 | 7722 | 17075863 | 9223345
5 | Nalgonda | 39575 | 6420 | 16079532 | 6389810
6 | RR.North | 38370 | 2986 | 7070055 | 3908928
7 | RR.South | 29816 | 5720 | 19421141 | 7013365
8 | Hyd.South | 6756 | 1922 | 5475719 | 2466385
9 | Hyd.Central | 44165 | 667 | 6938213 | 2968381
10 | Hyd.North | 13050 | 687 | 8128050 | 4262747
| Total | 441474 | 51074 | 129287681 | 46696561

## 10) Theft Cases-apr10-sep 10
Statement showing consolidated circle wise no. of services inspected, cases booked, amount assessed and amount realised from April'10 to Sep-11 in CPDCL
Sl.No. | Circle | Total No. of services inspected | Total No. of cases booked | Provisional Amount Assessed | Amount of Assessment realised
1 | Ananthapur | 49808 | 3709 | 8564332 | 4857367
2 | Kurnol | 19108 | 3824 | 7307893 | 1989813
3 | Mahaboobnagar | 15734 | 3991 | 7559788 | 4182470
4 | Medak | 29322 | 3872 | 7540359 | 4481796
5 | Nalgonda | 17986 | 4084 | 8110182 | 5201928
6 | RR.North | 20508 | 2440 | 3754610 | 3072505
7 | RR.South | 10189 | 3565 | 12153074 | 4746333
8 | Hyd.South | 6565 | 1363 | 4745105 | 2409526
9 | Hyd.Central | 21785 | 456 | 4058630 | 2053982
10 | Hyd.North | 7689 | 989 | 1792132 | 1142156
| Total | 198694 | 28293 | 65586105 | 34137876