## 3.1a (2) (hidden)
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Energy delivered into 33KV Distribution System at the Interconnection Points of the EHT System and other sources of Generation
Month - July 02 | [9 empty] | 3.1(a)-Distbn
Sl. No. | District | Energy delivered into 33 KV Distribution System | [7 empty] | Total Energy delivererd into the District (a + b)
|  | From all EHT SSs existing in the District (a) |  |  | Other sources of Generation in the District (b)
|  | Gross | Stn. Cons. | Nett | Mini Hydel | Wind | Co-generation | Others | Sub-total
1 | Ananthapur | 113.86 | 0.08 | 113.78 | 0 | 14.54 | 0 | 0 | 14.54 | 128.32
2 | Kurnool | 73.025 | 0 | 73.025 | -0.011 | 0 | 0.039 | 3.968 | 3.996 | 77.021
3 | Mahaboobnagar | 184.77 | 0.008 | 184.762 | 0 | 0 | 0 | 0 | 0 | 184.762
4 | Nalgonda | 177.76 | 0 | 177.76 | 0 | 0 | 7.38 | 0 | 7.38 | 185.14
5 | Medak | 205.66 | 0 | 205.66 | 0 | 0 | 27.32 | 0 | 27.32 | 232.98
6 | Rangareddy | 248.341 | 0.02 | 248.321 | 0 | 0 | 0 | 0 | 0 | 248.321
7 | Hyderabad - North | 119.6 | 0 | 119.6 | 0 | 0 | 0 | 0 | 0 | 119.6
8 | Hyderabad - Central | 79 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 79
9 | Hyderabad - South | 82.85 | 0 | 82.85 | 0 | 0 | 0 | 0 | 0 | 82.85
| APCPDCL | 1284.866 | 0.108 | 1284.758 | -0.011 | 14.54 | 34.739 | 3.968 | 53.236 | 1337.994

## 3.3 (2) (hidden)
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Month - July 02 | [10 empty] | Form - 3.3
Calculation of System Losses at 33 KV and Below
S.No | Particulars | Type | ATP | KN L | MBNR | NLG | MDK | RR | Hyd N | Hyd C | Hyd S | CPDCL
|  |  |  | KNL | MBNR
I) | Losses in 33 KV System and connected Equipment
| I) Total Energy delivered into 33 KV Distribution system from EHT SSs and other Generation Stations (3.1 a) | A | 133.94 | 77.691 | 184.789 | 195.3 | 232.8 | 242.387 | 122.777 | 79.15 | 83 | 1351.834 | 1384.471 | 1384.475
| II) Energy sold by HT direct sales at 33 KV (3.2a) | B | 8.917 | 5.68 | 11.73 | 29.62 | 32.84 | 32.542 | 15.09 | 0 | 3.2 | 139.619 |  | -0.004
| III) Energy delivered in to 11KV and LT system from 33/11 KV SSs(3.1c) (assessed) | C | 117.9 | 68.01 | 163.26 | 161.23 | 185.24 | 202.23 | 101.25 | 75.12 | 75.63 | 1149.87
| Losses | A-(B+C) | 7.123 | 4.001 | 9.799 | 4.45 | 14.72 | 7.615 | 6.437 | 4.03 | 4.17 | 58.175
| % Losses | 100x [A-(B+C)]/A | 5.3181 | 5.1499 | 5.3028 | 2.2785 | 6.323 | 3.1417 | 5.2428 | 5.0916 | 5.0241 | 4.6119
II) | Losses in 11 KV and LT System and connected Equipment
| I) Energy deleivered in to 11KV and LT system from 33/11 KV SSs(3.1c) | C | 117.9 | 68.01 | 163.26 | 161.23 | 185.24 | 202.23 | 101.25 | 75.12 | 75.63 | 1149.87
| II) Total Energy delevered into 11 KV Distribution system from EHT SSs and other Generation Stations (3.1 b) | D | 3.729 | 7.094 | 2.084 | 8.83 | 10.9 | 0 | 0 | 0 | 0 | 32.637
| Total Energy delivered into 11 KV and LT Distribution system | C+D | 121.629 | 75.104 | 165.344 | 170.06 | 196.14 | 202.23 | 101.25 | 75.12 | 75.63 | 1182.507
| III) Energy sold by HT direct sales at 11 KV (3.2b) | E | 13.893 | 6.26 | 7.25 | 14.75 | 45.29 | 41.774 | 21.13 | 9.96 | 5.07 | 165.377
| IV) Enegy sold in the LT System (3.2c) | F | 74.042 | 56.0662 | 121.87 | 148.44 | 105.27 | 148.902 | 70.96 | 49.16 | 55.48 | 830.1902
| Total Sales | E+F | 87.935 | 62.3262 | 129.12 | 163.19 | 150.56 | 190.676 | 92.09 | 59.12 | 60.55 | 995.5672
| Losses | (C+D) - (E+F) | 33.694 | 12.7778 | 36.224 | 6.87 | 45.58 | 11.554 | 9.16 | 16 | 15.08 | 186.9398
| % Losses | [(C+D)-(E+F)]x100/(C+D) | 27.7023 | 17.0135 | 21.9083 | 4.0398 | 23.2385 | 5.7133 | 9.0469 | 21.2993 | 19.9392 | 15.8088
| % Losses at 33Kv ,11Kv & LT System | [(A+D)-(B+E+F)]/(A+D)*100 | 29.6487 | 19.7898 | 24.628 | 5.5455 | 24.7435 | 7.9084 | 12.7035 | 25.3064 | 23.1928 | 18.0058
|  |  | 40.817 | 16.7788 | 46.023 | 11.32 | 60.3 | 19.169 | 15.597 | 20.03 | 19.25 | 245.1148

## COMP (2)
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
System Losses Report
| FOR YEAR 04-05. |  |  | Month : | 2004-10-05 | [8 empty] | IN MU
SlNo | Circle | SOURCE | INPUT |  |  | SALES | [6 empty] | AUX STATION CON. | Losses | % Losses
|  |  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[6 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
1 | Anantapur | EBC & AGL LV DTR | 182.54 | 18.471 | 201.011 | 18.471 | 30.84 | 49.311 | 30.293 | 74.61 | 104.903 | 154.214 | 0.09 | 46.797 | 23.2808
2 | Kurnool | EBC & AGL LV DTR | 121.057 | 19.762 | 140.819 | 19.762 | 10.42 | 30.182 | 38.239 | 37.1 | 75.339 | 105.521 | 0.06 | 35.298 | 25.0662
3 | Mahaboobnagar | EBC & AGL LV DTR | 198.674 | 0 | 198.674 | 0 | 32.03 | 32.03 | 22.65 | 94.82 | 117.47 | 149.5 | 0.05 | 49.174 | 24.7511
4 | Nalgonda | EBC & AGL LV DTR | 256.706 | 73.591 | 330.297 | 73.591 | 36.82 | 110.411 | 32.54 | 125.34 | 157.88 | 268.291 | 0.07 | 62.006 | 18.7728
5 | Medak | EBC & AGL LV DTR | 300.053 | 19.274 | 319.327 | 19.274 | 102.18 | 121.454 | 24.84 | 120.35 | 145.19 | 266.644 | 0.04 | 52.683 | 16.4981
6 | Rangareddy North | EBC & AGL LV DTR | 153.5 | 11.68 | 165.18 | 11.68 | 51.93 | 63.61 | 56.082 | 12.14 | 68.222 | 131.832 | 0.12 | 33.348 | 20.1889
7 | Rangareddy South | EBC & AGL LV DTR | 150.25 | 24.34 | 174.59 | 24.34 | 17.481 | 41.821 | 41.336 | 64.03 | 105.366 | 147.187 | 0.13 | 27.403 | 15.6956
8 | Hyderabad North | EBC & AGL LV DTR | 145.14 | 1.49 | 146.63 | 1.49 | 45.75 | 47.24 | 71.79 | 0 | 71.79 | 119.03 | 0.07 | 27.6 | 18.8229
9 | Hyderabad South | EBC & AGL LV DTR | 97.677 | 0 | 97.677 | 0 | 7.35 | 7.35 | 40.056 | 0 | 40.056 | 47.406 | 0.04 | 50.271 | 51.4666
10 | Hyderabad Central | EBC & AGL LV DTR | 84.053 | 0 | 84.053 | 0 | 14.8 | 14.8 | 46.29 | 0 | 46.29 | 61.09 | 0.04 | 22.963 | 27.3197
TOTAL |  | EBC & AGL LV DTR | 1689.65 | 168.608 | 1858.258 | 168.608 | 349.601 | 518.209 | 404.116 | 528.39 | 932.506 | 1450.715 | 0.71 | 407.543 | 21.9315

## COMP
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
System Losses Report
| FOR YEAR 04-05. |  |  | Month : | 2004-10-05 | [8 empty] | IN MU
SlNo | Circle | SOURCE | INPUT |  |  | SALES | [6 empty] | AUX STATION CON. | Losses | % Losses
|  |  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[6 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
1 | Anantapur | EBC & AGL LV DTR | 182.54 | 18.471 | 201.011 | 18.471 | 30.84 | 49.311 | 30.293 | 74.61 | 104.903 | 154.214 | 0.09 | 46.797 | 23.2808
|  | CIRCLE | 179.409 | 18.471 | 197.88 | 18.471 | 32.68 | 51.151 | 35.05 | 77.8677 | 112.9177 | 164.0687 | 0.09 | 33.8113 | 17.0868
|  | DIFFERENCE | 3.131 | 0 | 3.131 | 0 | -1.84 | -1.84 | -4.757 | -3.2577 | -8.0147 | -9.8547 | 0 | 12.9857
2 | Kurnool | EBC & AGL LV DTR | 121.057 | 19.762 | 140.819 | 19.762 | 10.42 | 30.182 | 38.239 | 37.1 | 75.339 | 105.521 | 0.06 | 35.298 | 25.0662
|  | CIRCLE | 119.928 | 19.762 | 139.69 | 19.762 | 10.43 | 30.192 | 37.48 | 39.6995 | 77.1795 | 107.3715 | 0.06 | 32.3185 | 23.1359
|  | DIFFERENCE | 1.129 | 0 | 1.129 | 0 | -0.01 | -0.01 | 0.759 | -2.5995 | -1.8405 | -1.8505 | 0 | 2.9795
3 | Mahaboobnagar | EBC & AGL LV DTR | 198.674 | 0 | 198.674 | 0 | 32.03 | 32.03 | 22.65 | 94.82 | 117.47 | 149.5 | 0.05 | 49.174 | 24.7511
|  | CIRCLE | 199.47 | 0 | 199.47 | 0 | 32.03 | 32.03 | 23.78 | 96.865 | 120.645 | 152.675 | 0.05 | 46.795 | 23.4597
|  | DIFFERENCE | -0.796 | 0 | -0.796 | 0 | 0 | 0 | -1.13 | -2.045 | -3.175 | -3.175 | 0 | 2.379
4 | Nalgonda | EBC & AGL LV DTR | 256.706 | 73.591 | 330.297 | 73.591 | 36.82 | 110.411 | 32.54 | 125.34 | 157.88 | 268.291 | 0.07 | 62.006 | 18.7728
|  | CIRCLE | 257.159 | 73.591 | 330.75 | 73.591 | 36.82 | 110.411 | 32.67 | 125.9203 | 158.5903 | 269.0013 | 0.07 | 61.7487 | 18.6693
|  | DIFFERENCE | -0.453 | 0 | -0.453 | 0 | 0 | 0 | -0.13 | -0.58032 | -0.71032 | -0.71032 | 0 | 0.25732
5 | Medak | EBC & AGL LV DTR | 300.053 | 19.274 | 319.327 | 19.274 | 102.18 | 121.454 | 24.84 | 120.35 | 145.19 | 266.644 | 0.04 | 52.683 | 16.4981
|  | CIRCLE | 296.136 | 19.274 | 315.41 | 19.274 | 102.18 | 121.454 | 25.27 | 122.4714 | 147.7414 | 269.1954 | 0.04 | 46.2146 | 14.6522
|  | DIFFERENCE | 3.917 | 0 | 3.917 | 0 | 0 | 0 | -0.43 | -2.1214 | -2.5514 | -2.5514 | 0 | 6.4684
6 | Rangareddy North | EBC & AGL LV DTR | 153.5 | 11.68 | 165.18 | 11.68 | 51.93 | 63.61 | 56.082 | 12.14 | 68.222 | 131.832 | 0.12 | 33.348 | 20.1889
|  | CIRCLE | 152.5 | 11.68 | 164.18 | 11.68 | 51.93 | 63.61 | 60.97 | 12.3035 | 73.2735 | 136.8835 | 0.118 | 27.2965 | 16.6259
|  | DIFFERENCE | 1 | 0 | 1 | 0 | 0 | 0 | -4.888 | -0.16353 | -5.0515 | -5.0515 | 0.002 | 6.0515
7 | Rangareddy South | EBC & AGL LV DTR | 150.25 | 24.34 | 174.59 | 24.34 | 17.481 | 41.821 | 41.336 | 64.03 | 105.366 | 147.187 | 0.13 | 27.403 | 15.6956
|  | CIRCLE | 147.99 | 24.34 | 172.33 | 24.34 | 17.481 | 41.821 | 42.51 | 64.5377 | 107.0477 | 148.8687 | 0.13 | 23.4613 | 13.6142
|  | DIFFERENCE | 2.26 | 0 | 2.26 | 0 | 0 | 0 | -1.174 | -0.50766 | -1.6817 | -1.6817 | 0 | 3.9417
8 | Hyderabad North | EBC & AGL LV DTR | 145.14 | 1.49 | 146.63 | 1.49 | 45.75 | 47.24 | 71.79 | 0 | 71.79 | 119.03 | 0.07 | 27.6 | 18.8229
|  | CIRCLE | 143.42 | 1.49 | 144.91 | 1.49 | 45.75 | 47.24 | 80.42 | 0.17 | 80.59 | 127.83 | 0.07 | 17.08 | 11.7866
|  | DIFFERENCE | 1.72 | 0 | 1.72 | 0 | 0 | 0 | -8.63 | -0.17 | -8.8 | -8.8 | 0 | 10.52
9 | Hyderabad South | EBC & AGL LV DTR | 97.677 | 0 | 97.677 | 0 | 7.35 | 7.35 | 40.056 | 0 | 40.056 | 47.406 | 0.04 | 50.271 | 51.4666
|  | CIRCLE | 97.677 | 0 | 97.677 | 0 | 7.35 | 7.35 | 41.22 | 0 | 41.22 | 48.57 | 0.04 | 49.107 | 50.2749
|  | DIFFERENCE | 0 | 0 | 0 | 0 | 0 | 0 | -1.164 | 0 | -1.164 | -1.164 | 0 | 1.164
10 | Hyderabad Central | EBC & AGL LV DTR | 84.053 | 0 | 84.053 | 0 | 14.8 | 14.8 | 46.29 | 0 | 46.29 | 61.09 | 0.04 | 22.963 | 27.3197
|  | CIRCLE | 84.053 | 0 | 84.053 | 0 | 14.8 | 14.8 | 48.05 | 0 | 48.05 | 62.85 | 0.04 | 21.203 | 25.2258
|  | DIFFERENCE | 0 | 0 | 0 | 0 | 0 | 0 | -1.76 | 0 | -1.76 | -1.76 | 0 | 1.76
TOTAL |  | EBC & AGL LV DTR | 1689.65 | 168.608 | 1858.258 | 168.608 | 349.601 | 518.209 | 404.116 | 528.39 | 932.506 | 1450.715 | 0.71 | 407.543 | 21.9315
|  | CIRCLE | 1677.742 | 168.608 | 1846.35 | 168.608 | 351.451 | 520.059 | 427.42 | 539.8351 | 967.2551 | 1487.3141 | 0.708 | 359.0359 | 19.4457
|  | DIFFERENCE | 11.908 | 0 | 11.908 | 0 | -1.85 | -1.85 | -23.304 | -11.4451 | -34.7491 | -36.5991 | 0.002 | 48.5071

## dirGROSS (4)
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
System Losses Comparison
Month | ANANTAPUR
| INPUT |  |  | SALES | [6 empty] | Losses | % Losses
| Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
|  |  |  | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
2003-04 | 2067.89 | 217.08 | 2284.97 | 217.08 | 350.29 | 567.37 | 401.755 | 891.92 | 1293.675 | 1861.045 | 423.925 | 18.5528
2004-04-03 | 173.01 | 15.94 | 188.95 | 15.94 | 36.49 | 52.43 | 36.667 | 74.5 | 111.167 | 163.597 | 25.353 | 13.4178
2004-05-03 | 135.34 | 20.34 | 155.68 | 20.34 | 25 | 45.34 | 31.18 | 51.99 | 83.17 | 128.51 | 27.17 | 17.4525
2004-06-03 | 170.6 | 10.26 | 180.86 | 10.26 | 28.22 | 38.48 | 33.91 | 66.04 | 99.95 | 138.43 | 42.43 | 23.4601
2004-07-03 | 151.49 | 20 | 171.49 | 20 | 29.22 | 49.22 | 33.94 | 59.26 | 93.2 | 142.42 | 29.07 | 16.9514
2004-08-03 | 187.79 | 19.34 | 207.13 | 19.34 | 31.98 | 51.32 | 34.54 | 82.25 | 116.79 | 168.11 | 39.02 | 18.8384
2004-09-03 | 167.949 | 18.159 | 186.108 | 18.159 | 32.68 | 50.839 | 35.05 | 71.15 | 106.2 | 157.039 | 29.069 | 15.6194
2004-10-03 | 182.54 | 18.471 | 201.011 | 18.471 | 30.84 | 49.311 | 30.293 | 77.8677 | 108.1607 | 157.4717 | 43.5393 | 21.6602
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 1168.719 | 122.51 | 1291.229 | 122.51 | 214.43 | 336.94 | 235.58 | 483.0577 | 718.6377 | 1055.5777 | 235.6513 | 18.2502
Month | KURNOOL
2003-04 | 1212.17 | 145.83 | 1358 | 145.83 | 89.37 | 235.2 | 451.09 | 402.14 | 853.23 | 1088.43 | 269.57 | 19.8505
2004-04-03 | 95.53 | 17.65 | 113.18 | 17.65 | 10.63 | 28.28 | 39.14 | 24.7 | 63.84 | 92.12 | 21.06 | 18.6075
2004-05-03 | 84.4 | 16.17 | 100.57 | 16.17 | 9.99 | 26.16 | 37.35 | 22.71 | 60.06 | 86.22 | 14.35 | 14.2687
2004-06-03 | 96.05 | 15.2 | 111.25 | 15.2 | 10.66 | 25.86 | 38.49 | 26.95 | 65.44 | 91.3 | 19.95 | 17.9326
2004-07-03 | 100.58 | 19.68 | 120.26 | 19.68 | 10.53 | 30.21 | 37.82 | 31.17 | 68.99 | 99.2 | 21.06 | 17.5121
2004-08-03 | 119.5 | 18.96 | 138.46 | 18.96 | 10.21 | 29.17 | 38.12 | 42.23 | 80.35 | 109.52 | 28.94 | 20.9013
2004-09-03 | 111.274 | 19.562 | 130.836 | 19.562 | 10.43 | 29.992 | 38.255 | 30.49 | 68.745 | 98.737 | 32.099 | 24.5338
2004-10-03 | 121.057 | 19.762 | 140.819 | 19.762 | 10.42 | 30.182 | 38.239 | 39.6995 | 77.9385 | 108.1205 | 32.6985 | 23.2202
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 728.391 | 126.984 | 855.375 | 126.984 | 72.87 | 199.854 | 267.414 | 217.9495 | 485.3635 | 685.2175 | 170.1575 | 19.8927
Month | MAHABOOBNAGAR
2003-04 | 2342.8 | 0 | 2342.8 | 0 | 311.31 | 311.31 | 271.84 | 1189.7 | 1461.54 | 1772.85 | 569.95 | 24.3277
2004-04-03 | 180.74 | 0 | 180.74 | 0 | 35.68 | 35.68 | 24.34 | 81.68 | 106.02 | 141.7 | 39.04 | 21.6001
2004-05-03 | 141.34 | 0 | 141.34 | 0 | 29.77 | 29.77 | 22.99 | 63.32 | 86.31 | 116.08 | 25.26 | 17.8718
2004-06-03 | 183.56 | 0 | 183.56 | 0 | 29.31 | 29.31 | 24.22 | 82.71 | 106.93 | 136.24 | 47.32 | 25.779
2004-07-03 | 196.94 | 0 | 196.94 | 0 | 31.23 | 31.23 | 24.22 | 96.63 | 120.85 | 152.08 | 44.86 | 22.7785
2004-08-03 | 218.59 | 0 | 218.59 | 0 | 32.17 | 32.17 | 22.28 | 113.39 | 135.67 | 167.84 | 50.75 | 23.217
2004-09-03 | 199.009 | 0 | 199.009 | 0 | 31.4 | 31.4 | 23.78 | 93.44 | 117.22 | 148.62 | 50.389 | 25.32
2004-10-03 | 198.674 | 0 | 198.674 | 0 | 32.03 | 32.03 | 22.65 | 96.865 | 119.515 | 151.545 | 47.129 | 23.7218
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 1318.853 | 0 | 1318.853 | 0 | 221.59 | 221.59 | 164.48 | 628.035 | 792.515 | 1014.105 | 304.748 | 23.107
Month | NALGONDA
1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
2003-04 | 2759.526 | 433.24 | 3192.766 | 433.24 | 406.21 | 839.45 | 374.39 | 1350.29 | 1724.68 | 2564.13 | 628.636 | 19.6894
2004-04-03 | 204.95 | 49.34 | 254.29 | 49.34 | 44.67 | 94.01 | 39.05 | 82.67 | 121.72 | 215.73 | 38.56 | 15.1638
2004-05-03 | 181.86 | 45.98 | 227.84 | 45.98 | 35.75 | 81.73 | 37.31 | 71.2 | 108.51 | 190.24 | 37.6 | 16.5028
2004-06-03 | 198.2 | 45.1 | 243.3 | 45.1 | 40.62 | 85.72 | 35.93 | 79.3 | 115.23 | 200.95 | 42.35 | 17.4065
2004-07-03 | 236.22 | 54.78 | 291 | 54.78 | 39.21 | 93.99 | 35.23 | 116.42 | 151.65 | 245.64 | 45.36 | 15.5876
2004-08-03 | 285.37 | 54.11 | 339.48 | 54.11 | 39.89 | 94 | 36.73 | 142.8 | 179.53 | 273.53 | 65.95 | 19.4268
2004-09-03 | 283.138 | 74.121 | 357.259 | 74.121 | 39.72 | 113.841 | 36.16 | 144.3 | 180.46 | 294.301 | 62.958 | 19.061
2004-10-03 | 256.706 | 73.591 | 330.297 | 73.591 | 36.82 | 110.411 | 32.54 | 125.9203 | 158.4603 | 268.8713 | 61.4257 | 17.1936
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 1646.444 | 397.022 | 2043.466 | 397.022 | 276.68 | 673.702 | 252.95 | 762.6103 | 1015.5603 | 1689.2623 | 354.2037 | 17.3335
Month | MEDAK
2003-04 | 2892.349 | 283.67 | 3176.019 | 283.67 | 1052.66 | 1336.33 | 284.54 | 1006.429 | 1290.969 | 2627.299 | 548.72 | 17.277
2004-04-03 | 261.6 | 24.87 | 286.47 | 24.87 | 78.83 | 103.7 | 26.702 | 87.975 | 114.677 | 218.377 | 68.093 | 23.7697
2004-05-03 | 237.78 | 22.94 | 260.72 | 22.94 | 81.65 | 104.59 | 26.29 | 76.82 | 103.11 | 207.7 | 53.02 | 20.336
2004-06-03 | 225.2 | 23.73 | 248.93 | 23.73 | 83.04 | 106.77 | 27.35 | 63.32 | 90.67 | 197.44 | 51.49 | 20.6845
2004-07-03 | 251.35 | 22.37 | 273.72 | 22.37 | 87.34 | 109.71 | 27.73 | 81.22 | 108.95 | 218.66 | 55.06 | 20.1154
2004-08-03 | 282.15 | 19.4 | 301.55 | 19.4 | 91.5 | 110.9 | 25.92 | 103.11 | 129.03 | 239.93 | 61.62 | 20.4344
2004-09-03 | 298.776 | 20.589 | 319.365 | 20.589 | 99.7 | 120.289 | 25.283 | 123.44 | 148.723 | 269.012 | 50.353 | 15.7685
2004-10-03 | 300.053 | 19.274 | 319.327 | 19.274 | 102.18 | 121.454 | 24.84 | 122.4714 | 147.3114 | 268.7654 | 50.5616 | 15.8319
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 1856.909 | 153.173 | 2010.082 | 153.173 | 624.24 | 777.413 | 184.115 | 658.3564 | 842.4714 | 1619.8844 | 390.1976 | 19.412
Month | RANGAREDDY NORTH
2003-04 | 3272.081 | 427.94 | 3700.021 | 427.94 | 786.81 | 1214.75 | 1113.554 | 802.504 | 1916.058 | 3130.808 | 569.213 | 15.384
2004-04-03 | 154.14 | 11.78 | 165.92 | 11.78 | 57.54 | 69.32 | 62.03 | 15.39 | 77.42 | 146.74 | 19.18 | 11.5598
2004-05-03 | 151.84 | 12.56 | 164.4 | 12.56 | 51.37 | 63.93 | 63.03 | 13.5 | 76.53 | 140.46 | 23.94 | 14.562
2004-06-03 | 144.94 | 14.41 | 159.35 | 14.41 | 53.96 | 68.37 | 58 | 8.29 | 66.29 | 134.66 | 24.69 | 15.4942
2004-07-03 | 153.15 | 10.36 | 163.51 | 10.36 | 52.35 | 62.71 | 57.98 | 14.91 | 72.89 | 135.6 | 27.91 | 17.0693
2004-08-03 | 147.05 | 15.54 | 162.59 | 15.54 | 54.48 | 70.02 | 59.22 | 11.97 | 71.19 | 141.21 | 21.38 | 13.1496
2004-09-03 | 154.42 | 10.71 | 165.13 | 10.71 | 54.07 | 64.78 | 60.956 | 11.42 | 72.376 | 137.156 | 27.974 | 16.9406
2004-10-03 | 153.5 | 11.68 | 165.18 | 11.68 | 51.93 | 63.61 | 56.082 | 12.3035 | 68.3855 | 131.9955 | 33.1845 | 20.0899
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 1059.04 | 87.04 | 1146.08 | 87.04 | 375.7 | 462.74 | 417.298 | 87.7835 | 505.0815 | 967.8215 | 178.2585 | 15.5538
Month | RANGAREDDY SOUTH
2003-04 | 3272.081 | 427.94 | 3700.021 | 427.94 | 786.81 | 1214.75 | 1113.554 | 802.504 | 1916.058 | 3130.808 | 569.213 | 15.384
2004-04-03 | 138.26 | 33.21 | 171.47 | 33.21 | 22.98 | 56.19 | 41.55 | 44.69 | 86.24 | 142.43 | 29.04 | 16.9359
2004-05-03 | 141.56 | 26.8 | 168.36 | 26.8 | 18.67 | 45.47 | 44.27 | 42.98 | 87.25 | 132.72 | 35.64 | 21.1689
2004-06-03 | 137.11 | 30.36 | 167.47 | 30.36 | 19.09 | 49.45 | 43.17 | 45.31 | 88.48 | 137.93 | 29.54 | 17.639
2004-07-03 | 146.84 | 28.8 | 175.64 | 28.8 | 18.5 | 47.3 | 40.3 | 55.92 | 96.22 | 143.52 | 32.12 | 18.2874
2004-08-03 | 162.47 | 22.09 | 184.56 | 22.09 | 18.32 | 40.41 | 42.99 | 64.45 | 107.44 | 147.85 | 36.71 | 19.8906
2004-09-03 | 152.38 | 24.18 | 176.56 | 24.18 | 19.753 | 43.933 | 42.496 | 55.42 | 97.916 | 141.849 | 34.711 | 19.6596
2004-10-03 | 150.25 | 24.34 | 174.59 | 24.34 | 17.481 | 41.821 | 41.336 | 64.5377 | 105.8737 | 147.6947 | 26.8953 | 15.4049
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 1028.87 | 189.78 | 1218.65 | 189.78 | 134.794 | 324.574 | 296.112 | 373.3077 | 669.4197 | 993.9937 | 224.6563 | 18.4349
Month | HYDERABAD NORTH
2003-04 | 1527.4351 | 23.33 | 1550.7651 | 23.33 | 441.78 | 465.11 | 891.84 | 1.36 | 893.2 | 1358.31 | 192.4551 | 12.4103
2004-04-03 | 156.62 | 1.57 | 158.19 | 1.57 | 48.39 | 49.96 | 83.2 | 0.16 | 83.36 | 133.32 | 24.87 | 15.7216
2004-05-03 | 154.99 | 1.53 | 156.52 | 1.53 | 44.89 | 46.42 | 91.07 | 0.17 | 91.24 | 137.66 | 18.86 | 12.0496
2004-06-03 | 146.76 | 1.47 | 148.23 | 1.47 | 46.22 | 47.69 | 82.96 | 0.17 | 83.13 | 130.82 | 17.41 | 11.7453
2004-07-03 | 143.41 | 1.56 | 144.97 | 1.56 | 44.1 | 45.66 | 80.55 | 0.17 | 80.72 | 126.38 | 18.59 | 12.8233
2004-08-03 | 140.62 | 1.54 | 142.16 | 1.54 | 46.18 | 47.72 | 77.06 | 0.17 | 77.23 | 124.95 | 17.21 | 12.1061
2004-09-03 | 142.175 | 1.58 | 143.755 | 1.58 | 46.55 | 48.13 | 80.41 | 0 | 80.41 | 128.54 | 15.215 | 10.584
2004-10-03 | 145.14 | 1.49 | 146.63 | 1.49 | 45.75 | 47.24 | 71.79 | 0 | 71.79 | 119.03 | 27.6 | 18.8229
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 1029.715 | 10.74 | 1040.455 | 10.74 | 322.08 | 332.82 | 567.04 | 0.84 | 567.88 | 900.7 | 139.755 | 13.4321
Month | HYDERABAD SOUTH
2003-04 | 1028.3643 | 0 | 1028.3643 | 0 | 96.16 | 96.16 | 480.97 | 0 | 480.97 | 577.13 | 451.2343 | 43.8788
2004-04-03 | 99.61 | 0 | 99.61 | 0 | 8.79 | 8.79 | 44.5 | 0 | 44.5 | 53.29 | 46.32 | 46.5014
2004-05-03 | 100.93 | 0 | 100.93 | 0 | 8.07 | 8.07 | 45.39 | 0 | 45.39 | 53.46 | 47.47 | 47.0326
2004-06-03 | 93.14 | 0 | 93.14 | 0 | 8.64 | 8.64 | 43.28 | 0 | 43.28 | 51.92 | 41.22 | 44.256
2004-07-03 | 94.97 | 0 | 94.97 | 0 | 8.87 | 8.87 | 42.02 | 0 | 42.02 | 50.89 | 44.08 | 46.4147
2004-08-03 | 91.5 | 0 | 91.5 | 0 | 8.64 | 8.64 | 40.52 | 0 | 40.52 | 49.16 | 42.34 | 46.2732
2004-09-03 | 94.9 | 0 | 94.9 | 0 | 7.37 | 7.37 | 42.27 | 0 | 42.27 | 49.64 | 45.26 | 47.6923
2004-10-03 | 97.677 | 0 | 97.677 | 0 | 7.35 | 7.35 | 40.056 | 0 | 40.056 | 47.406 | 50.271 | 51.4666
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 672.727 | 0 | 672.727 | 0 | 57.73 | 57.73 | 298.036 | 0 | 298.036 | 355.766 | 316.961 | 47.1158
Month | HYDERABAD CENTRAL
2003-04 | 914.2215 | 0 | 914.2215 | 0 | 153.17 | 153.17 | 567.43 | 0 | 567.43 | 720.6 | 193.6215 | 21.1788
2004-04-03 | 91.77 | 0 | 91.77 | 0 | 15.15 | 15.15 | 54.2 | 0 | 54.2 | 69.35 | 22.42 | 24.4306
2004-05-03 | 96.36 | 0 | 96.36 | 0 | 16.21 | 16.21 | 56.75 | 0 | 56.75 | 72.96 | 23.4 | 24.2839
2004-06-03 | 86.89 | 0 | 86.89 | 0 | 16.24 | 16.24 | 52.67 | 0 | 52.67 | 68.91 | 17.98 | 20.6928
2004-07-03 | 82.96 | 0 | 82.96 | 0 | 16.72 | 16.72 | 51.14 | 0 | 51.14 | 67.86 | 15.1 | 18.2015
2004-08-03 | 81.12 | 0 | 81.12 | 0 | 15.85 | 15.85 | 50.13 | 0 | 50.13 | 65.98 | 15.14 | 18.6637
2004-09-03 | 81.12 | 0 | 81.12 | 0 | 15.24 | 15.24 | 51.03 | 0 | 51.03 | 66.27 | 14.85 | 18.3062
2004-10-03 | 84.053 | 0 | 84.053 | 0 | 14.8 | 14.8 | 46.29 | 0 | 46.29 | 61.09 | 22.963 | 27.3197
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 604.273 | 0 | 604.273 | 0 | 110.21 | 110.21 | 362.21 | 0 | 362.21 | 472.42 | 131.853 | 21.8201
Month | CPDCL
2003-04 | 21288.9179 | 1959.03 | 23247.9479 | 1959.03 | 4474.57 | 6433.6 | 5950.963 | 6446.847 | 12397.81 | 18831.41 | 4416.5379 | 18.9975
2004-04-03 | 1556.23 | 154.36 | 1710.59 | 154.36 | 359.15 | 513.51 | 451.379 | 411.765 | 863.144 | 1376.654 | 333.936 | 19.5217
2004-05-03 | 1426.4 | 146.32 | 1572.72 | 146.32 | 321.37 | 467.69 | 455.63 | 342.69 | 798.32 | 1266.01 | 306.71 | 19.5019
2004-06-03 | 1482.45 | 140.53 | 1622.98 | 140.53 | 336 | 476.53 | 439.98 | 372.09 | 812.07 | 1288.6 | 334.38 | 20.6028
2004-07-03 | 1557.91 | 157.55 | 1715.46 | 157.55 | 338.07 | 495.62 | 430.93 | 455.7 | 886.63 | 1382.25 | 333.21 | 19.4239
2004-08-03 | 1716.16 | 150.98 | 1867.14 | 150.98 | 349.22 | 500.2 | 427.51 | 560.37 | 987.88 | 1488.08 | 379.06 | 20.3016
2004-09-03 | 1685.141 | 168.901 | 1854.042 | 168.901 | 356.913 | 525.814 | 435.69 | 529.66 | 965.35 | 1491.164 | 362.878 | 19.5723
2004-10-03 | 1689.65 | 168.608 | 1858.258 | 168.608 | 349.601 | 518.209 | 404.116 | 539.6651 | 943.7811 | 1461.9901 | 396.2679 | 21.3247
2004-11-03
2004-12-03
2005-01-03
2005-02-03
2005-03-03
Cumulative Total | 11113.941 | 1087.249 | 12201.19 | 1087.249 | 2410.324 | 3497.573 | 3045.235 | 3211.9401 | 6257.1751 | 9754.7481 | 2446.4419 | 20.0508

## agl
CENTRAL POWER DISTRIBUTION COMPANY OF A.P. LIMITED
PERFORMANCE OF THE CIRCLES FOR THE BILLING MONTH OF SEPTEMBER - 04
SI.NO | Particulars | ATP | KNL | MBNR | NLG | MDK | RR-N | RR-S | Hyd - N | Hyd - S | Hyd - C | APCPDCL
a | Gross energy input in M.U | 201.011 | 140.819 | 198.674 | 330.297 | 319.327 | 165.18 | 174.59 | 146.63 | 97.677 | 84.053 | 1858.258
b | E.H.T direct sales by I.P.P's in M.U | 7.692 | 3.112 | 0 | 22.125 | 0 | 1.585 | 9.99 | 0 | 0 | 0 | 44.504
c | H.T direct sales by I.P.P's in M.U | 4.504 | 0.31 | 7.548 | 11.168 | 10.716 | 4.8 | 5.4 | 6.45 | 0.76 | 3.335 | 54.991
d | NTPC sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d1 | Substation Consumption | 0.093 | 0.056 | 0.05 | 0.073 | 0.042 | 0.12 | 0.127 | 0.05 | 0.05 | 0.05 | 0.711
d2 | Wheel in kind to CPDCL (33 & 11KV) | 0.728 | 0.05 | 0.924 | 0.658 | 1.449 | 0.54 | 0.47 | 0.42 | 0.09 | 0.13 | 5.459
e | Net energy input in M.U ( a-b-c-d -d1-d2) | 187.994 | 137.291 | 190.152 | 296.273 | 307.12 | 158.135 | 158.603 | 139.71 | 96.777 | 80.538 | 1752.593
f | E.H.T Sales by circles in M.U | 10.779 | 16.65 | 0 | 51.466 | 19.274 | 10.095 | 14.35 | 1.49 | 0 | 0 | 124.104
g | H.T Sales by circles in M.U | 310.7974 | 124.1537 | 392.0942 | 456.8125 | 1238.7128 | 637.9681 | 234.4242 | 540.1939 | 91.1282 | 174.9509 | 4201.236
h | L.T sales by circles in M.U (excluding agl.) Anticipated | 425.83 | 456.3287 | 278.98 | 393.45 | 300.478 | 722.683 | 514.957 | 956.2336 | 500.2331 | 598.1029 | 5147.2763
I | Agl. Consumption in M.U (assessed) | 71.15 | 30.49 | 93.44 | 144.3 | 123.44 | 11.42 | 55.42 | 0 | 0 | 0 | 529.66
j | Total units accounted in M.U (b+c+d+f+g+h+i) | 830.8454 | 631.1004 | 772.1122 | 1079.3945 | 1692.6628 | 1388.6711 | 834.6682 | 1504.4176 | 592.1713 | 776.4388 | 10102.4822
k | Circle losses in M.U (a-j) | -629.8344 | -490.2814 | -573.4382 | -749.0975 | -1373.3358 | -1223.4911 | -660.0782 | -1357.7876 | -494.4943 | -692.3858 | -8244.2242
l | % Losses in Circle (k/a) | -313.3333 | -348.1642 | -288.6327 | -226.7951 | -430.0719 | -740.7017 | -378.0733 | -925.9958 | -506.2546 | -823.749 | -443.6534
m | Sub-transmission losses in the circle in M.U (a-b-d-f)-(c+g+h+i) | -629.7414 | -490.2254 | -573.3882 | -749.0245 | -1373.2938 | -1223.3711 | -659.9512 | -1357.7376 | -494.4443 | -692.3358 | -8243.5132
n | % Losses (m/(a-b-d-f)) | -331.1361 | -394.964 | -288.7137 | -268.6708 | -457.8669 | -789.4856 | -411.9803 | -935.7899 | -506.4627 | -830.7165 | -475.3622
o | % Losses (Discom) (e-(f+g+h+i)/e | -335.4162 | -357.1475 | -302.0543 | -253.0624 | -447.6377 | -774.0419 | -416.479 | -972.162 | -511.0556 | -859.8621 | -470.713
p | % Metered sales of Circles (f+g+h)/(a-b-c-d) | 397.5693 | 434.9392 | 352.9146 | 304.3573 | 507.4449 | 866.8202 | 481.5364 | 1072.162 | 611.0556 | 959.8621 | 540.4915
|  | 11.96 | 4.22 | 22.81 | 26.01 | 30.03 | 17.73 | 5.08 | 18.4008 | 3.4782 | 0.35236 | 140.0714
|  | 17.26 | 6.31 | 8.42 | 13.198 | 57.31 | 34.62 | 13.42 | 29.0254 | 5.3869 | 16.3667 | 201.317
|  | 29.22 | 10.53 | 31.23 | 39.208 | 87.34 | 52.35 | 18.5 | 47.4262 | 8.8651 | 16.7191 | 341.3884

## fLOW cHARTJUN 04
CENTRAL POWER DISTRIBUTION COMPANY OF A.P. LIMITED
ENERGY FLOW CHART FOR THE MONTH OF JUNE 2004
Gross Energy Input
[7 empty] | 1586.255 | MU
132 KV Bus
|  |  |  | EHT Sales |  |  |  | EHT 3rd Party Sales
|  |  |  | 96.43 | MU |  |  | 44.1 | MU
Co-Generation
| 7.6 | MU | [8 empty] | 30.085 | Losses
Mini Hydel | [10 empty] | 1.8966 | % Losses
| -0.01 | MU
Wind
| 26.47 | MU
[7 empty] | 1415.64 | MU |  |  | 33 KV Bus
[7 empty] | 1449.7 | MU
33 KV HT Sales
33 KV 3rd Party Sales
|  |  |  | 101.37 | MU |  | 36.27 | MU
[11 empty] | 77.06 | Losses
| Co-Generation | [9 empty] | 5.3156 | % Losses | 36.16 | MU
| 1.534 | MU
Wind
| 0.35 | MU
[7 empty] | 1235 | MU |  |  | 11KV Bus
[7 empty] | 1273.044 | MU
|  |  |  | 11 KV HT Sales |  |  |  | 11 KV 3rd Party Sales
|  |  |  | 185.87 | MU |  |  | 12.55 | MU
[11 empty] | 256.334 | Losses
[11 empty] | 20.1355 | % Losses
LT
LT Metered
LT Unmetered (Agl)
[10 empty] | 372.1 | MU
| Cat-1 |  | Cat-2 |  | Cat-3 |  | Others
| 248.12 | MU | 76.17 | MU | 76.77 | MU | 45.13 | MU
|  | 122.207 | MU |  | HT Sales
Cat-1 |  | Cat-2 |  |  | Cat-4 |  | 3rd Party
63.333 | MU | 8.527 | MU |  | 0.313 | MU |  | 50.034 | MU
[6 empty] | MU | %
| DISCOM Input Gross |  |  |  |  | 1622.415
| Wheeled Energy EHT |  |  |  |  | 44.1
| Wheeled Energy HT |  |  |  |  | 48.82
| Total Wheeled Energy |  |  |  |  | 92.92
| Wheeled in Kind for CPDCL |  |  |  |  | 5.5
| Substation Consumption |  |  |  |  | 0.64
| DISCOM Input Nett |  |  |  |  | 1523.355
| DISCOM EHT Sales |  |  |  |  | 96.43
| DISCOM HT Sales |  |  |  |  | 287.24
| DISCOM LT Metered Sales |  |  |  |  | 446.19
| DISCOM Total Metered Sales |  |  |  |  | 829.86
| DISCOM Agl Sales |  |  |  |  | 372.1
| DISCOM Total Sales |  |  |  |  | 1201.96
| DISCOM 33KV below Loss |  |  |  |  | 327.535 | 22.1%
| DISCOM Gross Loss |  |  |  |  | 326.895 | 20.15%
| DISCOM Net Loss |  |  |  |  | 321.395 | 21.1%

## 33
CENTRAL POWER DISTRIBUTION COMPANY OF A.P. LIMITED
CORPORATE OFFICE :: HYDERABAD
LOSSES IN 33 KV SYSTEM AND CONNECTED EQUIPMENT FOR THE MONTH OF JUNE 2004
S.No. | Circle | Total Units received from all EHT SS's on 33KV feeders measured at EHT SS | Net Energy input on 33 KV feeders from the outside jurisdiction of circle measured at sending end points |  |  | Units received on 33 KV feeders directly from Gen.Stations (Genco & Private) | Total Nett Energy input into the circle on 33 KV feeders | 33 KV HT Sales (Recorded Units) | Sum of Units received at all 33/11 KV SS's in the Circle | Total Units received into the circle | Units Lost | % Loss
|  |  | Import | Export | Net
|  | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U |  |  |  | 31.0576
1 | Ananthapur | 150.936 |  |  | 150.936 | 19.6573 | 170.5933 | 12.35 | 145.26 | 157.61 | 12.9833 | 7.6107 | 5.1637 | 2.447 | 31.4468
2 | Kurnool | 88.262 |  |  | 88.262 | 7.787 | 96.049 | 4.3 | 84.48 | 88.78 | 7.269 | 7.568 | 5 | 2.568 | 30.6311
3 | Mahaboobnagar | 183.562 |  |  | 183.562 | 0 | 183.562 | 20.74 | 149.57 | 170.31 | 13.252 | 7.2194 | 5.964 | 1.2554 | 3.4672
4 | Nalgonda | 176.22 |  |  | 176.22 | 21.977 | 198.197 | 26.43 | 154.31 | 180.74 | 17.457 | 8.8079 | 5.8231 | 2.9848
5 | Medak | 207.6172 |  |  | 207.6172 | 17.582 | 225.1992 | 29.6 | 170.59 | 200.19 | 25.0092 | 11.1054 | 5.3604 | 5.7449
6 | Rangareddy | 282.5 |  |  | 282.5 | 0 | 282.5 | 22.36 | 242.03 | 264.39 | 18.11 | 6.4106 | 3.13 | 3.2806
7 | Hyderabad | 326.87 |  |  | 326.87 | 0 | 326.87 | 21.8 | 288.74 | 310.54 | 16.33 | 4.9959 | 3.5616 | 1.4343
APCPDCL |  | 1415.9672 | 0 | 0 | 1415.9672 | 67.0033 | 1482.9705 | 137.58 | 1234.98 | 1372.56 | 110.4105 | 7.4452 | 4.77 | 2.6752

## 11
CENTRAL POWER DISTRIBUTION COMPANY OF A.P. LIMITED
CORPORATE OFFICE :: HYDERABAD
LOSSES IN 11 KV SYSTEM AND CONNECTED EQUIPMENT,LT AND COMMERCIAL LOSSES FOR THE MONTH OF JUNE 2004
S.No. | Circle | Units received on 11 KV feeders from all EHT SS's (i.e.220/11 KV,132/11 KV,66/11 KV SS) measured at EHT SS | Units received on 11 KV feeders from all 33/11 KV SS's measured at sending end | Units received on 11 KV feeders from outside jurisdiction of circle measured at sending end |  |  | Units received on 11 KV feeders directly from all Gen.Stations | Net input on 11 KV feeders | 11 KV HT Sales | LT Metered Sales | Computed AGL Consumption | Total Sales | Loss | % Loss
|  |  |  | Import | Export | Net
|  | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U | M.U
1 | Ananthapur | 39.144 | 1852.794 |  |  | 1891.938 | 1.3354 | 1893.2734 | 163.4643 | 425.83 | 905.7198 | 1495.0141 | 398.2593 | 21.0355 | 11.7431 | 9.2924
2 | Kurnool | 78.417 | 1126.55 |  |  | 1204.967 | 20.153 | 1225.12 | 76.3231 | 456.3287 | 418.4194 | 951.0712 | 274.0488 | 22.3691 | 10.2174 | 12.1517
3 | Mahaboobnagar | 34.97 | 1927.1 |  |  | 1962.07 | 0 | 1962.07 | 107.2266 | 278.98 | 1169.3032 | 1555.5098 | 406.5602 | 20.721 | 20.4812 | 0.23981
4 | Nalgonda | 74.94 | 2346.84 |  |  | 2421.78 | 14.284 | 2436.064 | 170.6692 | 393.45 | 1395.3872 | 1959.5064 | 476.5576 | 19.5626 | 17.2017 | 2.3609
5 | Medak | 150.396 | 2554.851 |  |  | 2705.247 | 0 | 2705.247 | 762.656 | 300.478 | 1095.0705 | 2158.2044 | 547.0426 | 20.2215 | 11.2087 | 9.0129
6 | Rangareddy | 29.19 | 1453.53 |  |  | 1482.72 | 0 | 1482.72 | 429.8593 | 722.683 | 125.0102 | 1277.5525 | 205.1675 | 13.8372 | 8.8507 | 4.9865
7 | Hyderabad | 0 | 1616.59 |  |  | 1616.59 | 0 | 1616.59 | 177.053 | 514.957 | 663.6255 | 1355.6355 | 260.9545 | 16.1423 | 16.8548 | -0.71254
APCPDCL |  | 407.057 | 12878.255 | 0 | 0 | 13285.312 | 35.7724 | 13321.0844 | 1887.2515 | 3092.7067 | 5772.5358 | 10752.494 | 2568.5904 | 19.2821 | 14.01 | 5.2721

## 10-04
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
S.No | District | SCADA | Comml Wing | GROSS | TOTAL GROSS | SS Consumption | EHT WN | 33 & 11KV WN | 33 & 11 KV WK(CP) | NET | EHT Gross Sales (Rec) | EHT Actuals | 33 KV Below Gross Input
1 | Ananthapur |  |  | 201.011 | 201.011 | 0.093 | 7.692 | 4.504 | 0.728 | 187.994 | 18.471 | 10.779 | 182.54
2 | Kurnool |  |  | 140.819 | 140.819 | 0.056 | 3.112 | 0.31 | 0.05 | 137.291 | 19.762 | 16.65 | 121.057
3 | Mahaboobnagar |  |  | 198.674 | 198.674 | 0.05 | 0 | 7.548 | 0.924 | 190.152 | 0 | 0 | 198.674
4 | Nalgonda |  |  | 330.297 | 330.297 | 0.073 | 22.125 | 11.168 | 0.658 | 296.273 | 73.591 | 51.466 | 256.706
5 | Medak |  |  | 319.327 | 319.327 | 0.042 | 0 | 10.716 | 1.449 | 307.12 | 19.274 | 19.274 | 300.053
6 | Rangareddy North |  | 165.18 | 165.18 | 165.18 | 0.12 | 1.585 | 4.8 | 0.54 | 158.205 | 11.68 | 10.095 | 153.5
7 | Rangareddy South |  | 174.59 | 174.59 | 174.59 | 0.127 | 9.99 | 5.4 | 0.47 | 158.533 | 24.34 | 14.35 | 150.25
8 | Hyderabad North |  | 146.63 | 146.63 | 146.63 | 0.05 | 0 | 6.45 | 0.42 | 139.71 | 1.49 | 1.49 | 145.14
9 | Hyderabad South |  | 97.677 | 97.677 | 97.677 | 0.05 | 0 | 0.76 | 0.09 | 96.777 | 0 | 0 | 97.677
10 | Hyderabad Central |  | 84.053 | 84.053 | 84.053 | 0.05 | 0 | 3.335 | 0.13 | 80.538 | 0 | 0 | 84.053
| Hyderabad |  | 328.36 | 328.36 | 328.36 | 0.15 | 0 | 10.545 | 0.64 | 317.025 | 1.49 | 1.49 | 326.87
| Rangareddy |  | 339.77 | 339.77 | 339.77 | 0.247 | 11.575 | 10.2 | 1.01 | 316.738 | 36.02 | 24.445 | 303.75
| CPDCL |  |  | 1858.258 | 1858.258 | 0.711 | 44.504 | 54.991 | 5.459 | 1752.593 | 168.608 | 124.104 | 1689.65
| EBC |  |  | 1715.45 | 1715.45 | 0.66 | 42.88 | 45.4 | 5.33 | 1621.18 | 157.54 | 114.66 | 1557.91
[6 empty] | 0.88205 | 15.4 | 13.5835 |  |  |  |  | 51.39
[6 empty] | 0.88205 | 28.99 | 25.5705 |  | 2555 |  |  | 1506.52
[6 empty] | 39.154 | 44.39 | 1738.0461 |  | 271.4286
15.4
23.754
39.154
347.142
158.1
189.042

## 3.1a
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Energy delivered into 33KV Distribution System at the Interconnection Points of the EHT System and other sources of Generation
Cum- April 04 to Mar 05 |  |  |  | TENTATIVE | [5 empty] | 3.1(a)
Sl. No | District | Energy delivered into 33 KV Distribution System | [7 empty] | Total Energy delivererd into the District (a + b)
|  | From all EHT SSs existing in the District (a) |  |  | Other sources of Generation in the District (b)
|  | Gross | Stn. Cons. | Nett | Mini Hydel | Wind | Co-generation | Others | Sub-total
1 | Ananthapur | 1997.429 | 1.0564 | 1996.3725 | 0 | 103.6876 | 0 | 0 | 103.6876 | 2100.0601 | 170.5933 | -1929.4668
2 | Kurnool | 1138.0805 | 0 | 1138.0805 | 40.9684 | 81.517 | 0 | 11.849 | 134.3344 | 1272.4149 | 96.049 | -1176.3659
3 | Mahaboobnagar | 2346.171 | 0.096 | 2346.075 | 0 | 0 | 0 | 0 | 0 | 2346.075 | 183.562 | -2162.513
4 | Nalgonda | 2552.5605 | 0 | 2552.5605 | 0 | 0 | 96.217 | 188.719 | 284.936 | 2837.4965 | 198.197 | -2639.2995
5 | Medak | 3033.6043 | 0 | 3033.6043 | 0 | 0 | 0 | 70.063 | 70.063 | 3103.6673 | 225.1992 | -2878.4681
6 | Rangareddy - North | 1776.303 | 0 | 1776.303 | 0 | 0 | 0 | 0 | 0 | 1776.303 | 144.9354 | -1631.3676
7 | Rangareddy - South | 1788.6636 | 0.24 | 1788.4236 | 0 | 0 | 0 | 0 | 0 | 1788.4236 | 137.1148 | -1651.3088
8 | Hyderabad - North | 1724.4739 | 0 | 1724.4739 | 0 | 0 | 0 | 0 | 0 | 1724.4739 | 146.76 | -1577.7139
9 | Hyderabad - South | 1115.7267 | 0 | 1115.7267 | 0 | 0 | 0 | 0 | 0 | 1115.7267 | 93.14 | -1022.5867
10 | Hyderabad - Central | 973.4559 | 0 | 973.4559 | 0 | 0 | 0 | 0 | 0 | 973.4559 | 86.97 | -886.4859
| APCPDCL | 18446.4684 | 1.3924 | 18445.0759 | 40.9684 | 185.2046 | 96.217 | 270.631 | 593.021 | 19038.0969 | 1482.5207

## 3.1b
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Energy delivered into 11 KV Distribution System at the Interconnection Points of the EHT System and other sources of Generation
Cum - April 04 to Mar 05 | [9 empty] | 3.1 b
Sl. No. | District | Energy delivered into 11 KV Distribution System | [7 empty] | Total
|  | From all EHT SSs existing in the District (a) |  |  | Other sources of Generation in the District (b) |  |  |  | Sub-total
|  | Gross | Stn. Cons. | Nett | Mini Hydel | Wind | Co-generation | Others
1 | Ananthapur | 39.144 | 0 | 39.144 | 0 | 1.3354 | 0 | 0 | 1.3354 | 40.4794 | 4.1785 | 36.3009 | -174.053
2 | Kurnool | 78.517 | 0.1 | 78.417 | 0 | 0 | 20.153 | 0 | 20.153 | 98.57 | 8.979 | 89.591 | -90.062
3 | Mahaboobnagar | 35.042 | 0.072 | 34.97 | 0 | 0 | 0 | 0 | 0 | 34.97 | 4.254 | 30.716 | -169.986
4 | Nalgonda | 74.94 | 0 | 74.94 | 0 | 0 | 0 | 14.284 | 14.284 | 89.224 | 5.873 | 83.351 | -177.852
5 | Medak | 150.396 | 0 | 150.396 | 0 | 0 | 0 | 0 | 0 | 150.396 | 11.389 | 139.007 | -239.896
6 | Rangareddy - North | 29.19 | 0 | 29.19 | 0 | 0 | 0 | 0 | 0 | 29.19 | 11.389
7 | Rangareddy - South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7 | -2.7 | -269.753
8 | Hyderabad - North | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -138.4543
9 | Hyderabad - South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -85.2523
10 | Hyderabad - Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -93.1527
| CPDCL | 407.229 | 0.172 | 407.057 | 0 | 1.3354 | 20.153 | 14.284 | 35.7724 | 442.8294 | 37.3735 | 405.4559 | -1438.4613

## 3.1c
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Cum- April- 04 to Mar 05 |  | 3.1 c
Month - July 04 | Energy delivered from 33/11 kv SSs into 11 kv System (incl LT System) (assessed)
| District | Energy delivered at 11 kv from all the 33/11 kv sub-stations
1 | Ananthapur | 1852.794 | 162.01
2 | Kurnool | 1126.55 | 89.19
3 | Mahaboobnagar | 1927.1 | 180.14 |  | 114.394
4 | Nalgonda | 2346.84 | 215.35
5 | Medak | 2554.851 | 179.25
6 | Rangareddy - North | 1453.53
7 | Rangareddy - South | 1616.59 | 242
8 | Hyderabad - North | 1451.659 | 97.01
9 | Hyderabad - South | 1028.5158 | 62.45
10 | Hyderabad - Central | 926.0442 | 90.85 |  | 68.66
| CPDCL | 16284.474 | 1318.25
|  |  | 4.5441 | 7.6802 | 5.3945 | 6.8139 | 1.999 | 6.185 | 6.0982 | 3.2274 | 4.8344

## 3.2a
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
H.T DIRECT SALES AT 33KV
Cum - April 04 to Mar 05 |  |  | 3.2 a
S. No | District | No.of Consumers | Total Units recorded by 33 KV H.T Meters
1 | Ananthapur | 6 | 151.8371 | 25 | 315.3014 | -290.3014 | 30.67 | 0.097 | 30.573 | 4.671 | 35.244
2 | Kurnool | 2 | 48.1405 | 9.99 | 124.4637 | -114.4737 | 23.69 | 16.958 | 6.732 | 0.634 | 7.366
3 | Mahaboobnagar | 26 | 292.4157 | 29.77 | 399.6422 | -369.8722 | 19.43 | 0 | 19.43 | 6.673 | 26.103
4 | Nalgonda | 21 | 297.3113 | 35.75 | 467.9805 | -432.2305 | 54.17 | 27.989 | 26.181 | 7.169 | 33.35
5 | Medak | 50 | 486.7728 | 81.65 | 1249.4288 | -1167.7788 | 100.99 | 19.846 | 81.144 | 11.422 | 92.566
6 | Rangareddy - North | 26 | 212.9089 | 51.37 | 642.7681 | -591.3981
7 | Rangareddy - South | 8 | 62.7711 | 18.685 | 239.8242 | -221.1392 | 83.97 | 27.272 | 56.698 | 11.619 | 68.317
8 | Hyderabad - North | 24 | 217.1584 | 44.89 | 546.6439 | -501.7539 | 40.79 | 1.578 | 39.212 | 4.74 | 43.952
9 | Hyderabad - South | 4 | 33.2722 | 8.07 | 91.8882 | -83.8182 | 10.29 | 0 | 10.29 | 2.94 | 13.23
10 | Hyderabad - Central | 1 | 4.9916 | 16.21 | 178.2859 | -162.0759 | 6.94 | 0 | 6.94 | 1.39 | 8.33
| CPDCL | 168 | 1807.5797

## 3.2b
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
cum - April 04 to March 05 |  |  | 3.2 b
Sl.No | District | No.of Consumers | Total Units recorded by 11 KV H.T Meters
1 | Ananthapur | 104 | 163.4643 | 12.56 | 176.0243
2 | Kurnool | 117 | 76.3231 | 3.94 | 80.2631
3 | Mahaboobnagar | 145 | 107.2266 | 22.39 | 129.6166
4 | Nalgonda | 243 | 170.6692 | 26.72 | 197.3892
5 | Medak | 390 | 762.656 | 31.58 | 794.236
6 | Rangareddy - North | 515 | 429.8593 | 18.44 | 448.2993
7 | Rangareddy - South | 208 | 177.053 | 4.843 | 181.896
8 | Hyderabad - North | 448 | 329.4855 | 18.23 | 347.7155
9 | Hyderabad - South | 84 | 58.616 | 2.87 | 61.486
10 | Hyderabad - Central | 245 | 173.2944 | 0.44 | 173.7344
| CPDCL | 2499 | 2448.6473 | 142.013 | 2590.6603

## 3.2c
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Cum - April 04 to Mar 05
Sl.No | District | CATEGORY | [9 empty] | TOTAL
|  | I | II | III | IV | V |  |  | VI | VII | VIII
|  | Dom | Non-Dom | Industrial | Cottage Ind | LV DTR | Tatkal | Agl total | Local Bodies | Gen Purpose | Temp
1 | Ananthapur | 230.61 | 43.59 | 72.81 | 3.09 | 870.7699 | 34.9499 | 905.7198 | 69.67 | 6.05 | 0.01 | 1331.5498 | 425.83
2 | Kurnool | 242.96 | 51.89 | 91.48 | 0.3057 | 390.622 | 27.7973 | 418.4194 | 63.8 | 5.74 | 0.153 | 874.7481 | 456.3287
3 | Mahaboobnagar | 128.72 | 31.48 | 35.71 | 0.11 | 1147.3792 | 21.924 | 1169.3032 | 80.5 | 2.42 | 0.04 | 1448.2832 | 278.98
4 | Nalgonda | 184.06 | 39.12 | 73.96 | 5.15 | 1380.196 | 15.1913 | 1395.3872 | 88.43 | 2.71 | 0.02 | 1788.8372 | 393.45
5 | Medak | 152.46 | 26.87 | 81.26 | 0.466 | 1045.7488 | 49.3216 | 1095.0705 | 36.9 | 2.522 | 0 | 1395.5485 | 300.478
6 | Rangareddy - North | 421.81 | 78.66 | 174.84 | 0.105 | 123.2912 | 1.719 | 125.0102 | 40.288 | 3.4 | 3.58 | 847.6932 | 722.683
7 | Rangareddy - South | 235.77 | 47.59 | 191.84 | 3.458 | 658.1587 | 5.4669 | 663.6255 | 33.28 | 2.829 | 0.19 | 1178.5825 | 514.957
8 | Hyderabad - North | 551.33 | 263.38 | 110.13 | 0.053633 | 0 | 0 | 0 | 25.44 | 4.66 | 1.24 | 956.2336 | 956.2336
9 | Hyderabad - South | 320.47 | 105.9 | 38.41 | 0.083089 | 0 | 0 | 0 | 30.97 | 4.1 | 0.3 | 500.2331 | 500.2331
10 | Hyderabad - Central | 385.51 | 167.96 | 16.38 | 0.0028566 | 0 | 0 | 0 | 22.14 | 5.35 | 0.76 | 598.1029 | 598.1029
| APCPDCL | 2853.7 | 856.44 | 886.82 | 12.8243 | 5616.1658 | 156.37 | 5772.5358 | 491.418 | 39.781 | 6.293 | 10919.8121 | 5147.2763

## 3.3
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Calculation of System Losses at 33 KV and Below
Cum- April- 04 to Mar 05
S.No | Particulars | Type | ATP | KN L | MBNR | NLG | MDK | RR-N | RR-S | Hyd N | Hyd S | Hyd C | CPDCL | Hyd
|  |  |  | KNL | MBNR
I) | Losses in 33 KV System and connected Equipment
| I) Total Energy delivered into 33 KV Distribution system from EHT SSs and other Generation Stations (3.1 a) | A | 2100.0601 | 1272.4149 | 2346.075 | 2837.4965 | 3103.6673 | 1776.303 | 1788.4236 | 1724.4739 | 1115.7267 | 973.4559 | 19038.0969 | 3813.6565 | 19480.9263 | 1478.753 | -18002.1733
| II) Energy sold by HT direct sales at 33 KV (3.2a) | B | 151.8371 | 48.1405 | 292.4157 | 297.3113 | 486.7728 | 212.9089 | 62.7711 | 217.1584 | 33.2722 | 4.9916 | 1807.5797 | 255.4223
| III) Energy delivered in to 11KV and LT system from 33/11 KV SSs(3.1c) (assessed) | C | 1852.794 | 1126.55 | 1927.1 | 2346.84 | 2554.851 | 1453.53 | 1616.59 | 1451.659 | 1028.5158 | 926.0442 | 16284.474 | 3406.219
| Losses | A-(B+C) | 95.4291 | 97.7244 | 126.5593 | 193.3452 | 62.0435 | 109.8641 | 109.0625 | 55.6565 | 53.9387 | 42.4201 | 946.0433 | 152.0153
| % Losses | 100x [A-(B+C)]/A | 4.5441 | 7.6802 | 5.3945 | 6.8139 | 1.999 | 6.185 | 6.0982 | 3.2274 | 4.8344 | 4.3577 | 4.9692 | 3.9861
II) | Losses in 11 KV and LT System and connected Equipment
| I) Energy deleivered in to 11KV and LT system from 33/11 KV SSs(3.1c) | C | 1852.794 | 1126.55 | 1927.1 | 2346.84 | 2554.851 | 1453.53 | 1616.59 | 1451.659 | 1028.5158 | 926.0442 | 16284.474 | 3406.219
| II) Total Energy delevered into 11 KV Distribution system from EHT SSs and other Generation Stations (3.1 b) | D | 40.4794 | 98.57 | 34.97 | 89.224 | 150.396 | 29.19 | 0 | 0 | 0 | 0 | 442.8294 | 0 | 19480.9263
|  | C+D | 1893.2734 | 1225.12 | 1962.07 | 2436.064 | 2705.247 | 1482.72 | 1616.59 | 1451.659 | 1028.5158 | 926.0442 | 16727.3034 | 3406.219
| III) Energy sold by HT direct sales at 11 KV (3.2b) | E | 163.4643 | 76.3231 | 107.2266 | 170.6692 | 762.656 | 429.8593 | 177.053 | 329.4855 | 58.616 | 173.2944 | 2448.6473 | 561.3958
| IV) Enegy sold in the LT System (3.2c) (Tentative) | F | 1331.5498 | 874.7481 | 1448.2832 | 1788.8372 | 1395.5485 | 847.6932 | 1178.5825 | 956.2336 | 500.2331 | 598.1029 | 10919.8121 | 2054.5696
| Total Sales | E+F | 1495.0141 | 951.0712 | 1555.5098 | 1959.5064 | 2158.2044 | 1277.5525 | 1355.6355 | 1285.7191 | 558.8491 | 771.3972 | 13368.4594 | 2615.9654
| Losses | (C+D) - (E+F) | 398.2593 | 274.0488 | 406.5602 | 476.5576 | 547.0426 | 205.1675 | 260.9545 | 165.9399 | 469.6667 | 154.647 | 3358.844 | 790.2536
| % Losses | [(C+D)-(E+F)]x100/(C+D) | 21.0355 | 22.3691 | 20.721 | 19.5626 | 20.2215 | 13.8372 | 16.1423 | 11.431 | 45.6645 | 16.6997 | 20.08 | 73.7953
| % Losses at 33Kv ,11Kv & LT System | [(A+D)-(B+E+F)]/(A+D)*100 | 23.0637 | 27.1172 | 22.3901 | 22.8892 | 18.7177 | 17.4485 | 20.6896 | 12.8501 | 46.9295 | 20.2441 | 22.098 | 24.7078
|  |  | 2140.5395 | 1370.9849 | 2381.045 | 2926.7205 | 3254.0633 | 1805.493 | 1788.4236 | 1724.4739 | 1115.7267 | 973.4559 | 19480.9263
|  |  | 182.54 | 121.057 | 198.674 | 256.706 | 300.053 | 153.5 | 150.25 | 145.14 | 97.677 | 84.053 | 1689.65
|  |  | 1957.9995 | 1249.9279 | 2182.371 | 2670.0145 | 2954.0103 | 1651.993 | 1638.1736 | 1579.3339 | 1018.0497 | 889.4029 | 17791.2763

## 3.4
CENTRAL POWER DISTRIBUTION COMPANY OF A.P. LIMITED
PERFORMANCE OF THE CIRCLES FOR THE CUMULATIVE PERIOD Apil 04 to March 05
SI.NO | Particulars | ATP | KNL | MBNR | NLG | MDK | RR-N | RR-S | Hyd - N | Hyd - S | Hyd - C | APCPDCL
a | Gross energy input in M.U | 2356.337 | 1572.134 | 2376.166 | 3657.524 | 3383.515 | 1965.897 | 2121.77 | 1748.9218 | 1123.783 | 984.668 | 21290.7158
b | E.H.T direct sales by I.P.P's in M.U | 108.3156 | 36.1143 | 0 | 201.6735 | 12.8413 | 16.9489 | 126.5253 | 0 | 0 | 0 | 502.4189
c | H.T direct sales by I.P.P's in M.U | 50.2021 | 5.929 | 86.019 | 97.376 | 125.474 | 62.4933 | 59.5408 | 72.0794 | 10.0977 | 37.621 | 606.8323
d | NTPC sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d1 | Substation Consumption | 1.077 | 0.846 | 0.594 | 0.835 | 0.5 | 1.314 | 1.37 | 0.654 | 0.521 | 0.494 | 8.205
d2 | Wheel in kind to CPDCL (33 & 11KV) | 7.376 | 0.771 | 10.346 | 7.283 | 16.829 | 6.4939 | 6.0839 | 5.5752 | 1.4145 | 1.7243 | 63.8969
e | Net energy input in M.U ( a-b-c-d -d1-d2) | 2189.3663 | 1528.4737 | 2279.207 | 3350.3565 | 3227.8707 | 1878.6469 | 1928.25 | 1670.6132 | 1111.7497 | 944.8287 | 20109.3628
f | E.H.T Sales by circles in M.U | 126.525 | 180.1605 | 0 | 524.6026 | 258.2664 | 167.3963 | 208.0891 | 18.7943 | 0 | 0 | 1483.8341
g | H.T Sales by circles in M.U | 265.0993 | 118.5347 | 313.6232 | 370.6045 | 1123.9548 | 580.2748 | 180.2834 | 474.5646 | 81.7905 | 140.6649 | 3649.3947
h | L.T sales by circles in M.U (excluding agl.) Anticipated | 425.83 | 456.3287 | 278.98 | 393.45 | 300.478 | 722.683 | 514.957 | 956.2336 | 500.2331 | 598.1029 | 5147.2763
I | Agl. Consumption in M.U (assessed) | 905.7198 | 418.4194 | 1169.3032 | 1395.3872 | 1095.0705 | 125.0102 | 663.6255 | 0 | 0 | 0 | 5772.5358
j | Total units accounted in M.U (b+c+d+f+g+h+I+d1) | 1882.7687 | 1216.3325 | 1848.5195 | 2983.9288 | 2916.585 | 1676.1205 | 1754.3911 | 1522.3259 | 592.6423 | 776.8828 | 17170.497
k | Circle losses in M.U (a-j) | 473.5683 | 355.8015 | 527.6465 | 673.5952 | 466.93 | 289.7765 | 367.3789 | 226.5959 | 531.1407 | 207.7852 | 4120.2188
l | % Losses in Circle (k/a) | 20.0976 | 22.6318 | 22.2058 | 18.4167 | 13.8001 | 14.7402 | 17.3147 | 12.9563 | 47.2636 | 21.1021 | 19.3522
m | Sub-transmission losses in the circle in M.U (a-b-d-f)-(c+g+h+i) | 474.6453 | 356.6475 | 528.2405 | 674.4302 | 467.43 | 291.0905 | 368.7489 | 227.2499 | 531.6617 | 208.2792 | 4128.4238
n | % Losses (m/(a-b-d-f)) | 22.3731 | 26.3042 | 22.2308 | 23.0083 | 15.0183 | 16.3392 | 20.6333 | 13.1349 | 47.31 | 21.1522 | 21.3859
o | % Losses (Discom) (e-(f+g+h+i)/e | 21.2935 | 23.2278 | 22.6965 | 19.8878 | 13.9442 | 15.0791 | 18.7369 | 13.2299 | 47.648 | 21.8093 | 20.1713
p | % Metered sales of Circles (f+g+h)/(a-b-c-d-d1-d2) | 37.3375 | 49.3972 | 26.0004 | 38.4633 | 52.1303 | 78.2667 | 46.8471 | 86.7701 | 52.352 | 78.1907 | 51.123
|  | 11.96 | 4.22 | 22.81 | 26.01 | 30.03 | 17.73 | 5.08 | 18.4008 | 3.4782 | 0.35236 | 140.0714
|  | 17.26 | 6.31 | 8.42 | 13.198 | 57.31 | 34.62 | 13.42 | 29.0254 | 5.3869 | 16.3667 | 201.317
|  | 29.22 | 10.53 | 31.23 | 39.208 | 87.34 | 52.35 | 18.5 | 47.4262 | 8.8651 | 16.7191 | 341.3884

## dirGROSS (3)
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
System Losses Comparison
| 2004-09-05 |  | and | 2004-10-05
| Month | ANANTAPUR
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 2067.89 | 217.08 | 2284.97 | 217.08 | 350.29 | 567.37 | 401.755 | 891.92 | 1293.675 | 1861.045 | 423.925 | 18.5528
| 2004-04-03 | 173.01 | 15.94 | 188.95 | 15.94 | 36.49 | 52.43 | 36.667 | 74.5 | 111.167 | 163.597 | 25.353 | 13.4178
| 2004-05-03 | 135.34 | 20.34 | 155.68 | 20.34 | 25 | 45.34 | 31.18 | 51.99 | 83.17 | 128.51 | 27.17 | 17.4525
| 2004-06-03 | 170.6 | 10.26 | 180.86 | 10.26 | 28.22 | 38.48 | 33.91 | 66.04 | 99.95 | 138.43 | 42.43 | 23.4601
| 2004-07-03 | 151.49 | 20 | 171.49 | 20 | 29.22 | 49.22 | 33.94 | 59.26 | 93.2 | 142.42 | 29.07 | 16.9514
| 2004-08-03 | 187.79 | 19.34 | 207.13 | 19.34 | 31.98 | 51.32 | 34.54 | 82.25 | 116.79 | 168.11 | 39.02 | 18.8384
ANANTAPUR | 2004-09-03 | 167.949 | 18.159 | 186.108 | 18.159 | 32.68 | 50.839 | 35.05 | 71.15 | 106.2 | 157.039 | 29.069 | 15.6194
| 2004-10-03 | 182.54 | 18.471 | 201.011 | 18.471 | 30.84 | 49.311 | 30.293 | 77.94 | 108.233 | 157.544 | 43.467 | 21.6242
| 2004-11-03 | 182.54 | 18.471 | 201.011 | 18.471 | 30.84 | 49.311 | 30.293 | 77.8677 | 108.1607 | 157.4717 | 43.5393 | 21.6602
| 2004-12-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 1351.259 | 140.981 | 1492.24 | 140.981 | 245.27 | 386.251 | 265.873 | 560.9977 | 826.8707 | 1213.1217 | 279.1183 | 18.7047
| Month | KURNOOL
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 1212.17 | 145.83 | 1358 | 145.83 | 89.37 | 235.2 | 451.09 | 402.14 | 853.23 | 1088.43 | 269.57 | 19.8505
| 2004-04-03 | 95.53 | 17.65 | 113.18 | 17.65 | 10.63 | 28.28 | 39.14 | 24.7 | 63.84 | 92.12 | 21.06 | 18.6075
| 2004-05-03 | 84.4 | 16.17 | 100.57 | 16.17 | 9.99 | 26.16 | 37.35 | 22.71 | 60.06 | 86.22 | 14.35 | 14.2687
| 2004-06-03 | 96.05 | 15.2 | 111.25 | 15.2 | 10.66 | 25.86 | 38.49 | 26.95 | 65.44 | 91.3 | 19.95 | 17.9326
| 2004-07-03 | 100.58 | 19.68 | 120.26 | 19.68 | 10.53 | 30.21 | 37.82 | 31.17 | 68.99 | 99.2 | 21.06 | 17.5121
| 2004-08-03 | 119.5 | 18.96 | 138.46 | 18.96 | 10.21 | 29.17 | 38.12 | 42.23 | 80.35 | 109.52 | 28.94 | 20.9013
KURNOOL | 2004-09-03 | 111.274 | 19.562 | 130.836 | 19.562 | 10.43 | 29.992 | 38.255 | 30.49 | 68.745 | 98.737 | 32.099 | 24.5338
| 2004-10-03 | 121.057 | 19.762 | 140.819 | 19.762 | 10.42 | 30.182 | 38.239 | 45.84 | 84.079 | 114.261 | 26.558 | 18.8597
| 2004-11-03 | 121.057 | 19.762 | 140.819 | 19.762 | 10.42 | 30.182 | 38.239 | 39.6995 | 77.9385 | 108.1205 | 32.6985 | 23.2202
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 849.448 | 146.746 | 996.194 | 146.746 | 83.29 | 230.036 | 305.653 | 263.7895 | 569.4425 | 799.4785 | 196.7155 | 19.7467
| Month | MAHABOOBNAGAR
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 2342.8 | 0 | 2342.8 | 0 | 311.31 | 311.31 | 271.84 | 1189.7 | 1461.54 | 1772.85 | 569.95 | 24.3277
| 2004-04-03 | 180.74 | 0 | 180.74 | 0 | 35.68 | 35.68 | 24.34 | 81.68 | 106.02 | 141.7 | 39.04 | 21.6001
| 2004-05-03 | 141.34 | 0 | 141.34 | 0 | 29.77 | 29.77 | 22.99 | 63.32 | 86.31 | 116.08 | 25.26 | 17.8718
| 2004-06-03 | 183.56 | 0 | 183.56 | 0 | 29.31 | 29.31 | 24.22 | 82.71 | 106.93 | 136.24 | 47.32 | 25.779
| 2004-07-03 | 196.94 | 0 | 196.94 | 0 | 31.23 | 31.23 | 24.22 | 96.63 | 120.85 | 152.08 | 44.86 | 22.7785
| 2004-08-03 | 218.59 | 0 | 218.59 | 0 | 32.17 | 32.17 | 22.28 | 113.39 | 135.67 | 167.84 | 50.75 | 23.217
MAHABOOBNAGAR | 2004-09-03 | 199.009 | 0 | 199.009 | 0 | 31.4 | 31.4 | 23.78 | 93.44 | 117.22 | 148.62 | 50.389 | 25.32
| 2004-10-03 | 198.674 | 0 | 198.674 | 0 | 32.03 | 32.03 | 22.65 | 96.11 | 118.76 | 150.79 | 47.884 | 24.1018
| 2004-11-03 | 198.674 | 0 | 198.674 | 0 | 32.03 | 32.03 | 22.65 | 96.865 | 119.515 | 151.545 | 47.129 | 23.7218
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 1517.527 | 0 | 1517.527 | 0 | 253.62 | 253.62 | 187.13 | 724.145 | 911.275 | 1164.895 | 352.632 | 23.2373
| Month | NALGONDA
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 2759.526 | 433.24 | 3192.766 | 433.24 | 406.21 | 839.45 | 374.39 | 1350.29 | 1724.68 | 2564.13 | 628.636 | 19.6894
| 2004-04-03 | 204.95 | 49.34 | 254.29 | 49.34 | 44.67 | 94.01 | 39.05 | 82.67 | 121.72 | 215.73 | 38.56 | 15.1638
| 2004-05-03 | 181.86 | 45.98 | 227.84 | 45.98 | 35.75 | 81.73 | 37.31 | 71.2 | 108.51 | 190.24 | 37.6 | 16.5028
| 2004-06-03 | 198.2 | 45.1 | 243.3 | 45.1 | 40.62 | 85.72 | 35.93 | 79.3 | 115.23 | 200.95 | 42.35 | 17.4065
| 2004-07-03 | 236.22 | 54.78 | 291 | 54.78 | 39.21 | 93.99 | 35.23 | 116.42 | 151.65 | 245.64 | 45.36 | 15.5876
| 2004-08-03 | 285.37 | 54.11 | 339.48 | 54.11 | 39.89 | 94 | 36.73 | 142.8 | 179.53 | 273.53 | 65.95 | 19.4268
NALGONDA | 2004-09-03 | 283.138 | 74.121 | 357.259 | 74.121 | 39.72 | 113.841 | 36.16 | 144.3 | 180.46 | 294.301 | 62.958 | 19.061
| 2004-10-03 | 256.706 | 73.591 | 330.297 | 73.591 | 36.82 | 110.411 | 32.54 | 122.72 | 155.26 | 265.671 | 64.626 | 18.0894
| 2004-11-03 | 256.706 | 73.591 | 330.297 | 73.591 | 36.82 | 110.411 | 32.54 | 125.9203 | 158.4603 | 268.8713 | 61.4257 | 18.5971
| 2004-12-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 1903.15 | 470.613 | 2373.763 | 470.613 | 313.5 | 784.113 | 285.49 | 885.3303 | 1170.8203 | 1954.9333 | 418.8297 | 17.6441
| Month | MEDAK
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 2892.349 | 283.67 | 3176.019 | 283.67 | 1052.66 | 1336.33 | 284.54 | 1006.429 | 1290.969 | 2627.299 | 548.72 | 17.277
| 2004-04-03 | 261.6 | 24.87 | 286.47 | 24.87 | 78.83 | 103.7 | 26.702 | 87.975 | 114.677 | 218.377 | 68.093 | 23.7697
| 2004-05-03 | 237.78 | 22.94 | 260.72 | 22.94 | 81.65 | 104.59 | 26.29 | 76.82 | 103.11 | 207.7 | 53.02 | 20.336
| 2004-06-03 | 225.2 | 23.73 | 248.93 | 23.73 | 83.04 | 106.77 | 27.35 | 63.32 | 90.67 | 197.44 | 51.49 | 20.6845
| 2004-07-03 | 251.35 | 22.37 | 273.72 | 22.37 | 87.34 | 109.71 | 27.73 | 81.22 | 108.95 | 218.66 | 55.06 | 20.1154
| 2004-08-03 | 282.15 | 19.4 | 301.55 | 19.4 | 91.5 | 110.9 | 25.92 | 103.11 | 129.03 | 239.93 | 61.62 | 20.4344
MEDAK | 2004-09-03 | 298.776 | 20.589 | 319.365 | 20.589 | 99.7 | 120.289 | 25.283 | 123.44 | 148.723 | 269.012 | 50.353 | 15.7685
| 2004-10-03 | 300.053 | 19.274 | 319.327 | 19.274 | 102.18 | 121.454 | 24.84 | 106.83 | 131.67 | 253.124 | 66.203 | 20.7296
| 2004-11-03 | 300.053 | 19.274 | 319.327 | 19.274 | 102.18 | 121.454 | 24.84 | 122.4714 | 147.3114 | 268.7654 | 50.5616 | 15.8338
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 2156.962 | 172.447 | 2329.409 | 172.447 | 726.42 | 898.867 | 208.955 | 765.1864 | 974.1414 | 1873.0084 | 456.4006 | 19.593
| Month | RANGAREDDY NORTH
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 3272.081 | 427.94 | 3700.021 | 427.94 | 786.81 | 1214.75 | 1113.554 | 802.504 | 1916.058 | 3130.808 | 569.213 | 15.384
| 2004-04-03 | 154.14 | 11.78 | 165.92 | 11.78 | 57.54 | 69.32 | 62.03 | 15.39 | 77.42 | 146.74 | 19.18 | 11.5598
| 2004-05-03 | 151.84 | 12.56 | 164.4 | 12.56 | 51.37 | 63.93 | 63.03 | 13.5 | 76.53 | 140.46 | 23.94 | 14.562
| 2004-06-03 | 144.94 | 14.41 | 159.35 | 14.41 | 53.96 | 68.37 | 58 | 8.29 | 66.29 | 134.66 | 24.69 | 15.4942
| 2004-07-03 | 153.15 | 10.36 | 163.51 | 10.36 | 52.35 | 62.71 | 57.98 | 14.91 | 72.89 | 135.6 | 27.91 | 17.0693
| 2004-08-03 | 147.05 | 15.54 | 162.59 | 15.54 | 54.48 | 70.02 | 59.22 | 11.97 | 71.19 | 141.21 | 21.38 | 13.1496
RANGAREDDY NORTH | 2004-09-03 | 154.42 | 10.71 | 165.13 | 10.71 | 54.07 | 64.78 | 60.956 | 11.42 | 72.376 | 137.156 | 27.974 | 16.9406
| 2004-10-03 | 153.5 | 11.68 | 165.18 | 11.68 | 51.93 | 63.61 | 56.082 | 11.5 | 67.582 | 131.192 | 33.988 | 20.5763
| 2004-11-03 | 153.5 | 11.68 | 165.18 | 11.68 | 51.93 | 63.61 | 56.082 | 12.3035 | 68.3855 | 131.9955 | 33.1845 | 20.0899
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 1212.54 | 98.72 | 1311.26 | 98.72 | 427.63 | 526.35 | 473.38 | 99.2835 | 572.6635 | 1099.0135 | 212.2465 | 16.1865
| Month | RANGAREDDY SOUTH
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 3272.081 | 427.94 | 3700.021 | 427.94 | 786.81 | 1214.75 | 1113.554 | 802.504 | 1916.058 | 3130.808 | 569.213 | 15.384
| 2004-04-03 | 138.26 | 33.21 | 171.47 | 33.21 | 22.98 | 56.19 | 41.55 | 44.69 | 86.24 | 142.43 | 29.04 | 16.9359
| 2004-05-03 | 141.56 | 26.8 | 168.36 | 26.8 | 18.67 | 45.47 | 44.27 | 42.98 | 87.25 | 132.72 | 35.64 | 21.1689
| 2004-06-03 | 137.11 | 30.36 | 167.47 | 30.36 | 19.09 | 49.45 | 43.17 | 45.31 | 88.48 | 137.93 | 29.54 | 17.639
| 2004-07-03 | 146.84 | 28.8 | 175.64 | 28.8 | 18.5 | 47.3 | 40.3 | 55.92 | 96.22 | 143.52 | 32.12 | 18.2874
| 2004-08-03 | 162.47 | 22.09 | 184.56 | 22.09 | 18.32 | 40.41 | 42.99 | 64.45 | 107.44 | 147.85 | 36.71 | 19.8906
RANGAREDDY SOUTH | 2004-09-03 | 152.38 | 24.18 | 176.56 | 24.18 | 19.753 | 43.933 | 42.496 | 55.42 | 97.916 | 141.849 | 34.711 | 19.6596
| 2004-10-03 | 150.25 | 24.34 | 174.59 | 24.34 | 17.481 | 41.821 | 41.336 | 59.15 | 100.486 | 142.307 | 32.283 | 18.4907
| 2004-11-03 | 150.25 | 24.34 | 174.59 | 24.34 | 17.481 | 41.821 | 41.336 | 64.5377 | 105.8737 | 147.6947 | 26.8953 | 15.4049
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 1179.12 | 214.12 | 1393.24 | 214.12 | 152.275 | 366.395 | 337.448 | 432.4577 | 769.9057 | 1136.3007 | 256.9393 | 18.4419
| Month | HYDERABAD NORTH
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 1527.4351 | 23.33 | 1550.7651 | 23.33 | 441.78 | 465.11 | 891.84 | 1.36 | 893.2 | 1358.31 | 192.4551 | 12.4103
| 2004-04-03 | 156.62 | 1.57 | 158.19 | 1.57 | 48.39 | 49.96 | 83.2 | 0.16 | 83.36 | 133.32 | 24.87 | 15.7216
| 2004-05-03 | 154.99 | 1.53 | 156.52 | 1.53 | 44.89 | 46.42 | 91.07 | 0.17 | 91.24 | 137.66 | 18.86 | 12.0496
| 2004-06-03 | 146.76 | 1.47 | 148.23 | 1.47 | 46.22 | 47.69 | 82.96 | 0.17 | 83.13 | 130.82 | 17.41 | 11.7453
| 2004-07-03 | 143.41 | 1.56 | 144.97 | 1.56 | 44.1 | 45.66 | 80.55 | 0.17 | 80.72 | 126.38 | 18.59 | 12.8233
| 2004-08-03 | 140.62 | 1.54 | 142.16 | 1.54 | 46.18 | 47.72 | 77.06 | 0.17 | 77.23 | 124.95 | 17.21 | 12.1061
HYDERABAD NORTH | 2004-09-03 | 142.175 | 1.58 | 143.755 | 1.58 | 46.55 | 48.13 | 80.41 | 0 | 80.41 | 128.54 | 15.215 | 10.584
| 2004-10-03 | 145.14 | 1.49 | 146.63 | 1.49 | 45.75 | 47.24 | 71.79 | 0 | 71.79 | 119.03 | 27.6 | 18.8229
| 2004-11-03 | 145.14 | 1.49 | 146.63 | 1.49 | 45.75 | 47.24 | 71.79 | 0 | 71.79 | 119.03 | 27.6 | 18.8229
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 1174.855 | 12.23 | 1187.085 | 12.23 | 367.83 | 380.06 | 638.83 | 0.84 | 639.67 | 1019.73 | 167.355 | 14.098
| Month | HYDERABAD SOUTH
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 1028.3643 | 0 | 1028.3643 | 0 | 96.16 | 96.16 | 480.97 | 0 | 480.97 | 577.13 | 451.2343 | 43.8788
| 2004-04-03 | 99.61 | 0 | 99.61 | 0 | 8.79 | 8.79 | 44.5 | 0 | 44.5 | 53.29 | 46.32 | 46.5014
| 2004-05-03 | 100.93 | 0 | 100.93 | 0 | 8.07 | 8.07 | 45.39 | 0 | 45.39 | 53.46 | 47.47 | 47.0326
| 2004-06-03 | 93.14 | 0 | 93.14 | 0 | 8.64 | 8.64 | 43.28 | 0 | 43.28 | 51.92 | 41.22 | 44.256
| 2004-07-03 | 94.97 | 0 | 94.97 | 0 | 8.87 | 8.87 | 42.02 | 0 | 42.02 | 50.89 | 44.08 | 46.4147
| 2004-08-03 | 91.5 | 0 | 91.5 | 0 | 8.64 | 8.64 | 40.52 | 0 | 40.52 | 49.16 | 42.34 | 46.2732
HYDERABAD SOUTH | 2004-09-03 | 94.9 | 0 | 94.9 | 0 | 7.37 | 7.37 | 42.27 | 0 | 42.27 | 49.64 | 45.26 | 47.6923
| 2004-10-03 | 97.677 | 0 | 97.677 | 0 | 7.35 | 7.35 | 40.056 | 0 | 40.056 | 47.406 | 50.271 | 51.4666
| 2004-11-03 | 97.677 | 0 | 97.677 | 0 | 7.35 | 7.35 | 40.056 | 0 | 40.056 | 47.406 | 50.271 | 51.4666
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 770.404 | 0 | 770.404 | 0 | 65.08 | 65.08 | 338.092 | 0 | 338.092 | 403.172 | 367.232 | 47.6675
| Month | HYDERABAD CENTRAL
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 914.2215 | 0 | 914.2215 | 0 | 153.17 | 153.17 | 567.43 | 0 | 567.43 | 720.6 | 193.6215 | 21.1788
| 2004-04-03 | 91.77 | 0 | 91.77 | 0 | 15.15 | 15.15 | 54.2 | 0 | 54.2 | 69.35 | 22.42 | 24.4306
| 2004-05-03 | 96.36 | 0 | 96.36 | 0 | 16.21 | 16.21 | 56.75 | 0 | 56.75 | 72.96 | 23.4 | 24.2839
| 2004-06-03 | 86.89 | 0 | 86.89 | 0 | 16.24 | 16.24 | 52.67 | 0 | 52.67 | 68.91 | 17.98 | 20.6928
| 2004-07-03 | 82.96 | 0 | 82.96 | 0 | 16.72 | 16.72 | 51.14 | 0 | 51.14 | 67.86 | 15.1 | 18.2015
| 2004-08-03 | 81.12 | 0 | 81.12 | 0 | 15.85 | 15.85 | 50.13 | 0 | 50.13 | 65.98 | 15.14 | 18.6637
HYDERABAD CENTRAL | 2004-09-03 | 81.12 | 0 | 81.12 | 0 | 15.24 | 15.24 | 51.03 | 0 | 51.03 | 66.27 | 14.85 | 18.3062
| 2004-10-03 | 84.053 | 0 | 84.053 | 0 | 14.8 | 14.8 | 46.29 | 0 | 46.29 | 61.09 | 22.963 | 27.3197
| 2004-11-03 | 84.053 | 0 | 84.053 | 0 | 14.8 | 14.8 | 46.29 | 0 | 46.29 | 61.09 | 22.963 | 27.3197
| 2004-12-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 688.326 | 0 | 688.326 | 0 | 125.01 | 125.01 | 408.5 | 0 | 408.5 | 533.51 | 154.816 | 22.4917
| Month | CPDCL
|  | INPUT |  |  | SALES | [6 empty] | Losses | % Losses
|  | Boundary Points at 33KV&11KV | 132KV / 220KV | Total | HT SALES |  |  | LT SALES |  |  | TOTAL SALES
[5 empty] | 132KV / 220KV | 33KV&11KV | HT TOTAL | METERED | AGL | LT TOTAL
| 1 | 2 | 3 | 4=(2+3) | 5 | 6 | 7=(5+6) | 8 | 9 | 10=(8+9) | 11=(7+10) | 12=(4-11) | 13=(12/4)*100
| 2003-04 | 21288.9179 | 1959.03 | 23247.9479 | 1959.03 | 4474.57 | 6433.6 | 5950.963 | 6446.847 | 12397.81 | 18831.41 | 4416.5379 | 18.9975
| 2004-04-03 | 1556.23 | 154.36 | 1710.59 | 154.36 | 359.15 | 513.51 | 451.379 | 411.765 | 863.144 | 1376.654 | 333.936 | 19.5217
| 2004-05-03 | 1426.4 | 146.32 | 1572.72 | 146.32 | 321.37 | 467.69 | 455.63 | 342.69 | 798.32 | 1266.01 | 306.71 | 19.5019
| 2004-06-03 | 1482.45 | 140.53 | 1622.98 | 140.53 | 336 | 476.53 | 439.98 | 372.09 | 812.07 | 1288.6 | 334.38 | 20.6028
| 2004-07-03 | 1557.91 | 157.55 | 1715.46 | 157.55 | 338.07 | 495.62 | 430.93 | 455.7 | 886.63 | 1382.25 | 333.21 | 19.4239
| 2004-08-03 | 1716.16 | 150.98 | 1867.14 | 150.98 | 349.22 | 500.2 | 427.51 | 560.37 | 987.88 | 1488.08 | 379.06 | 20.3016
CPDCL | 2004-09-03 | 1685.141 | 168.901 | 1854.042 | 168.901 | 356.913 | 525.814 | 435.69 | 529.66 | 965.35 | 1491.164 | 362.878 | 19.5723
| 2004-10-03 | 1689.65 | 168.608 | 1858.258 | 168.608 | 349.601 | 518.209 | 404.116 | 520.09 | 924.206 | 1442.415 | 415.843 | 22.3781
| 2004-11-03 | 1689.65 | 168.608 | 1858.258 | 168.608 | 349.601 | 518.209 | 404.116 | 539.6651 | 943.7811 | 1461.9901 | 396.2679 | 21.3247
| 2004-12-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
| 2005-01-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
| 2005-02-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
| 2005-03-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
| Cumulative Total | 12803.591 | 1255.857 | 14059.448 | 1255.857 | 2759.925 | 4015.782 | 3449.351 | 3732.0301 | 7181.3811 | 11197.1631 | 2862.2849 | 20.3584