Annexure-IV

(DIRECTIVE – 21) Energy Conservation

- Distribution of CFL lamps by IRG and BEE is programmed to be taken up from December, 2010 and to complete by January,2011

- To implement DSM measures, a pilot project is being taken up in Maheswaram Mandal with NEDCAP, duly bifurcating the 10 Nos. 11 KV feeders emanating from 6 Nos. different 33/11 KV sub-station to cover more than 2500 pump sets. The existing pump motors will be replaced with star rated high efficiency motor there by energy will be saved.

- Energy conservation by way of utilizing the solar energy with ‘LED’ lighting in house holds and for street lights, a pilot project was developed in the village of Pagidipally in Bhongir division.

Observations:

Street lights:- 62 Nos. replaced for LED bulbs, 205 Nos. LED bulbs replaced for Cat-I & Cat-II  services of above village.

| S.No. | S.C.No. | Category | No. of bulbs provided | Consumption recorded/month (prior to LED bulbs fixed) | Consumption recorded/month after LED bulbs fixed | Energy saved |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 30 | VI(A) | 62 | 340 units | NIL | 340 units |
| 2 | 177 | II | 1 | 62 units | 51 | 11 units |
| 3 | 276 | I | 2 | 185 units | 121 | 54 units |

- The project for installing prepaid meters by the Licensee in various Government offices is going to be taken up there by

- HODs of various departments can provide prepayment cards for the approved budget to their offices, which enables better control on expenditure on electricity consumption.

- User offices can manage their electricity utilization as per prepayment card issued by the HOD.

- Better conservation of electrical energy.

- CPDCL is insisting for ISI/BSI mark motors for Agl. pump set for reduction of losses and quality pump sets and foot valves and delivery pipes and replacement of existing non standard pump motors for efficiency improvement of both pump set and motor with high durability and less losses. The Hon’ble APERC is  requested to cause suitable guide lines for enactment of law which shall prosecute and initiate legal criminal proceedings on the manufactures of non standard equipment of Agl. pumpsets and motors, so that huge flow of such non standard equipment in markets will be curbed and such enactment helps not only CPDCL but also to the Agl. consumers, who are incurring huge money towards repairs or replacement of such non standard equipment as providing standard equipment in practical has become obligatory but not compulsory and farmers are inclined to buy cheapest non standard equipment without looking into the long term perspective and just to meet their present needs. There for such enactment helps CPDCL from incurring high technical losses is such non standard equipment and in extending quality and reliable supply.