## 3.1a (2) (hidden)
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Energy delivered into 33KV Distribution System at the Interconnection Points of the EHT System and other sources of Generation
Month - July 02 | [9 empty] | 3.1(a)-Distbn
Sl. No. | District | Energy delivered into 33 KV Distribution System | [7 empty] | Total Energy delivererd into the District (a + b)
|  | From all EHT SSs existing in the District (a) |  |  | Other sources of Generation in the District (b)
|  | Gross | Stn. Cons. | Nett | Mini Hydel | Wind | Co-generation | Others | Sub-total
1 | Ananthapur | 113.86 | 0.08 | 113.78 | 0 | 14.54 | 0 | 0 | 14.54 | 128.32
2 | Kurnool | 73.025 | 0 | 73.025 | -0.011 | 0 | 0.039 | 3.968 | 3.996 | 77.021
3 | Mahaboobnagar | 184.77 | 0.008 | 184.762 | 0 | 0 | 0 | 0 | 0 | 184.762
4 | Nalgonda | 177.76 | 0 | 177.76 | 0 | 0 | 7.38 | 0 | 7.38 | 185.14
5 | Medak | 205.66 | 0 | 205.66 | 0 | 0 | 27.32 | 0 | 27.32 | 232.98
6 | Rangareddy | 248.341 | 0.02 | 248.321 | 0 | 0 | 0 | 0 | 0 | 248.321
7 | Hyderabad - North | 119.6 | 0 | 119.6 | 0 | 0 | 0 | 0 | 0 | 119.6
8 | Hyderabad - Central | 79 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 79
9 | Hyderabad - South | 82.85 | 0 | 82.85 | 0 | 0 | 0 | 0 | 0 | 82.85
| APCPDCL | 1284.866 | 0.108 | 1284.758 | -0.011 | 14.54 | 34.739 | 3.968 | 53.236 | 1337.994

## 3.3 (2) (hidden)
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Month - July 02 | [10 empty] | Form - 3.3
Calculation of System Losses at 33 KV and Below
S.No | Particulars | Type | ATP | KN L | MBNR | NLG | MDK | RR | Hyd N | Hyd C | Hyd S | CPDCL
|  |  |  | KNL | MBNR
I) | Losses in 33 KV System and connected Equipment
| I) Total Energy delivered into 33 KV Distribution system from EHT SSs and other Generation Stations (3.1 a) | A | 133.94 | 77.691 | 184.789 | 195.3 | 232.8 | 242.387 | 122.777 | 79.15 | 83 | 1351.834 | 1384.471 | 1384.475
| II) Energy sold by HT direct sales at 33 KV (3.2a) | B | 8.917 | 5.68 | 11.73 | 29.62 | 32.84 | 32.542 | 15.09 | 0 | 3.2 | 139.619 |  | -0.004
| III) Energy delivered in to 11KV and LT system from 33/11 KV SSs(3.1c) (assessed) | C | 117.9 | 68.01 | 163.26 | 161.23 | 185.24 | 202.23 | 101.25 | 75.12 | 75.63 | 1149.87
| Losses | A-(B+C) | 7.123 | 4.001 | 9.799 | 4.45 | 14.72 | 7.615 | 6.437 | 4.03 | 4.17 | 58.175
| % Losses | 100x [A-(B+C)]/A | 5.3181 | 5.1499 | 5.3028 | 2.2785 | 6.323 | 3.1417 | 5.2428 | 5.0916 | 5.0241 | 4.6119
II) | Losses in 11 KV and LT System and connected Equipment
| I) Energy deleivered in to 11KV and LT system from 33/11 KV SSs(3.1c) | C | 117.9 | 68.01 | 163.26 | 161.23 | 185.24 | 202.23 | 101.25 | 75.12 | 75.63 | 1149.87
| II) Total Energy delevered into 11 KV Distribution system from EHT SSs and other Generation Stations (3.1 b) | D | 3.729 | 7.094 | 2.084 | 8.83 | 10.9 | 0 | 0 | 0 | 0 | 32.637
| Total Energy delivered into 11 KV and LT Distribution system | C+D | 121.629 | 75.104 | 165.344 | 170.06 | 196.14 | 202.23 | 101.25 | 75.12 | 75.63 | 1182.507
| III) Energy sold by HT direct sales at 11 KV (3.2b) | E | 13.893 | 6.26 | 7.25 | 14.75 | 45.29 | 41.774 | 21.13 | 9.96 | 5.07 | 165.377
| IV) Enegy sold in the LT System (3.2c) | F | 74.042 | 56.0662 | 121.87 | 148.44 | 105.27 | 148.902 | 70.96 | 49.16 | 55.48 | 830.1902
| Total Sales | E+F | 87.935 | 62.3262 | 129.12 | 163.19 | 150.56 | 190.676 | 92.09 | 59.12 | 60.55 | 995.5672
| Losses | (C+D) - (E+F) | 33.694 | 12.7778 | 36.224 | 6.87 | 45.58 | 11.554 | 9.16 | 16 | 15.08 | 186.9398
| % Losses | [(C+D)-(E+F)]x100/(C+D) | 27.7023 | 17.0135 | 21.9083 | 4.0398 | 23.2385 | 5.7133 | 9.0469 | 21.2993 | 19.9392 | 15.8088
| % Losses at 33Kv ,11Kv & LT System | [(A+D)-(B+E+F)]/(A+D)*100 | 29.6487 | 19.7898 | 24.628 | 5.5455 | 24.7435 | 7.9084 | 12.7035 | 25.3064 | 23.1928 | 18.0058
|  |  | 40.817 | 16.7788 | 46.023 | 11.32 | 60.3 | 19.169 | 15.597 | 20.03 | 19.25 | 245.1148

## 04-05
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
S.No | District | Comml Wing | GROSS | TOTAL GROSS | SS Consumption | EHT WN | 33 & 11KV WN | 33 & 11 KV WK(CP) | NET | EHT Gross Sales (Rec) | EHT Actuals | 33 KV Below Gross Input
1 | Ananthapur |  | 198.417 | 198.417 | 0.098 | 11.063 | 4.662 | 0.449 | 182.145 | 21.991 | 10.928 | 176.426
2 | Kurnool |  | 129.001 | 129.001 | 0.068 | 3.088 | 0.583 | 0.057 | 125.205 | 20.721 | 17.633 | 108.28
3 | Mahaboobnagar |  | 183.515 | 183.515 | 0.053 | 0 | 6.031 | 0.517 | 176.914 | 0 | 0 | 183.515
4 | Nalgonda |  | 261.68 | 261.68 | 0.071 | 23.409 | 7.448 | 0.536 | 230.216 | 62.368 | 38.959 | 199.312
5 | Medak |  | 285.625 | 285.625 | 0.042 | 0 | 7.875 | 0.821 | 276.887 | 20.107 | 20.107 | 265.518
6 | Rangareddy North | 184.03 | 184.03 | 184.03 | 0.28 | 1.02 | 4.48 | 0.39461 | 177.8876 | 11.54 | 10.52 | 172.49
7 | Rangareddy South | 194.11 | 194.11 | 194.11 | 0.31 | 10.401 | 4.1 | 0.36239 | 178.9044 | 27.79 | 17.389 | 166.32
8 | Hyderabad North | 175.9 | 175.9 | 175.9 | 0.06 | 0 | 6.22 | 0.63432 | 168.9857 | 1.512 | 1.512 | 174.388
9 | Hyderabad South | 108.56 | 108.56 | 108.56 | 0.052 | 0 | 0.84554 | 0.10977 | 107.5527 | 0 | 0 | 108.56
10 | Hyderabad Central | 91.775 | 91.775 | 91.775 | 0.043 | 0 | 3.4285 | 0.31663 | 87.9869 | 0 | 0 | 91.775
| Hyderabad | 376.235 | 376.235 | 376.235 | 0.155 | 0 | 10.494 | 1.0607 | 364.5253 | 1.512 | 1.512 | 374.723
| Rangareddy | 378.14 | 378.14 | 378.14 | 0.59 | 11.421 | 8.58 | 0.757 | 356.792 | 39.33 | 27.909 | 338.81
| CPDCL |  | 1812.613 | 1812.613 | 1.077 | 48.981 | 45.673 | 4.1977 | 1712.6843 | 166.029 | 117.048 | 1646.584
| EBC |  | 1715.45 | 1715.45 | 0.66 | 42.88 | 45.4 | 5.33 | 1621.18 | 157.54 | 114.66 | 1557.91
|  |  | 338.001 |  | 0.88205 | 15.4 | 13.5835 |  |  | 36.803 | 28.35 | 51.39
|  |  | 292.248 |  | 0.88205 | 28.99 | 25.5705 |  | 2555 |  | 8.453 | 1506.52
[5 empty] | 39.154 | 44.39 | 1738.0461 |  | 271.4286 |  | 10.36 | 26.443
15.4
23.754
39.154
347.142
|  |  | 1812.613 |  |  |  | 158.1
|  |  | 48 |  |  |  | 189.042

## 3.1a
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Energy delivered into 33KV Distribution System at the Interconnection Points of the EHT System and other sources of Generation
Cum - APR- 05 to SEP-05
Sl. No | District | Energy delivered into 33 KV Distribution System | [7 empty] | Total Energy delivererd into the District (a + b)
|  | From all EHT SSs existing in the District (a) |  |  | Other sources of Generation in the District (b)
|  | Gross | Stn. Cons. | Nett | Mini Hydel | Wind | Co-generation | Others | Sub-total
1 | Ananthapur | 854.386 | 0.5052 | 853.8808 | 0 | 80.755 | 0 | 0 | 80.755 | 934.6358 | 3.237 | 937.8728
2 | Kurnool | 542.4158 | 0 | 542.4158 | 23.202 | 37.313 | 0 | 5.632 | 66.147 | 608.5628 | 7.193 | 615.7558
3 | Mahaboobnagar | 1075.656 | 0.048 | 1075.608 | 0 | 0 | 0 | 0 | 0 | 1075.608 | 2.434 | 1078.042
4 | Nalgonda | 1158.6579 | 0 | 1158.6579 | 0 | 0 | 40.37 | 49.81 | 90.18 | 1248.8379 | 7.78 | 1256.6179
5 | Medak | 1433.9753 | 0 | 1433.9753 | 0 | 0 | 0 | 0 | 0 | 1433.9753 | 11.76 | 1445.7353
6 | Rangareddy - North | 1019.599 | 0 | 1019.599 | 0 | 0 | 0 | 0 | 0 | 1019.599 | 1.42 | 1021.019
7 | Rangareddy - South | 906.823 | 0.12 | 906.703 | 0 | 0 | 0 | 0 | 0 | 906.703 | 0 | 906.703
8 | Hyderabad - North | 1006.496 | 0 | 1006.496 | 0 | 0 | 0 | 0 | 0 | 1006.496 | 0 | 1006.496
9 | Hyderabad - South | 631.8938 | 0 | 631.8938 | 0 | 0 | 0 | 0 | 0 | 631.8938 | 0 | 631.8938
10 | Hyderabad - Central | 552.9379 | 0 | 552.9379 | 0 | 0 | 0 | 0 | 0 | 552.9379 | 0 | 552.9379
| APCPDCL | 9182.8408 | 0.6732 | 9182.1676 | 23.202 | 118.068 | 40.37 | 55.442 | 237.082 | 9419.2496 | 33.824 | 9453.0736
|  | 950.9985 | 654.3385 | 1086.5398 | 1287.5968 | 1523.2581 | 1005.5509 | 907.2222 | 1002.6339 | 631.9138 | 552.9379
|  | 179.683 | 118.831 | 211.951 | 225.754 | 235.561 | 143.116 | 142.266 | 134.125 | 88.27 | 75.597 | 1546.132
|  | 3.237 | 7.193 | 2.434 | 7.78 | 11.76 | 1.42 | 0 | 0 | 0 | 0 | 33.824
|  | 182.92 | 126.024 | 214.385 | 233.534 | 247.321 | 144.536 | 142.266 | 134.125 | 88.27 | 75.597
|  | 768.0785 | 528.3145 | 872.1548 | 1054.0628 | 1275.9371 | 861.0149 | 764.9562 | 868.5089 | 543.6438 | 477.3409

## 3.1b
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Energy delivered into 11 KV Distribution System at the Interconnection Points of the EHT System and other sources of Generation
CUM- APR- 05 TO SEP-05
Sl. No. | District | Energy delivered into 11 KV Distribution System | [7 empty] | Total
|  | From all EHT SSs existing in the District (a) |  |  | Other sources of Generation in the District (b) |  |  |  | Sub-total
|  | Gross | Stn. Cons. | Nett | Mini Hydel | Wind | Co-generation | Others
1 | Ananthapur | 17.35 | 0 | 17.35 | 0 | 0.921 | 0 | 0.024 | 0.945 | 18.295 | 4.1785 | 14.1165 | -174.053
2 | Kurnool | 30.165 | 0 | 30.165 | 0 | 0 | 11.452 | 0 | 11.452 | 41.617 | 8.979 | 32.638 | -90.062
3 | Mahaboobnagar | 10.966 | 0.036 | 10.93 | 0 | 0 | 0 | 0 | 0 | 10.93 | 4.254 | 6.676 | -169.986
4 | Nalgonda | 37.43 | 0 | 37.43 | 0 | 0 | 0 | 8.19 | 8.19 | 45.62 | 5.873 | 39.747 | -177.852
5 | Medak | 97.549 | 0 | 97.549 | 0 | 0 | 0 | 0 | 0 | 97.549 | 11.389 | 86.16 | -239.896
6 | Rangareddy - North | 9.91 | 0 | 9.91 | 0 | 0 | 0 | 0 | 0 | 9.91 | 11.389
7 | Rangareddy - South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7 | -2.7 | -269.753
8 | Hyderabad - North | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -138.4543
9 | Hyderabad - South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -85.2523
10 | Hyderabad - Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -93.1527
| CPDCL | 203.37 | 0.036 | 203.334 | 0 | 0.921 | 11.452 | 8.214 | 20.587 | 223.921 | 37.3735 | 186.5475 | -1438.4613

## 3.1c
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
CUM - APR- 05 TO SEP-05
S. No | Energy delivered from 33/11 kv SSs into 11 kv System (incl LT System) (assessed) |  | 2004-04-02 | [5 empty] | 2005-04-02
| District | Energy delivered at 11 kv from all the 33/11 kv sub-stations
1 | Ananthapur | 819.037 | 162.01
2 | Kurnool | 546.36 | 89.19
3 | Mahaboobnagar | 811.1 | 180.14 |  | 114.394
4 | Nalgonda | 1005.13 | 215.35
5 | Medak | 1096.226 | 179.25
6 | Rangareddy - North | 829.86
7 | Rangareddy - South | 825.32 | 242
8 | Hyderabad - North | 858.447 | 97.01
9 | Hyderabad - South | 591.39 | 62.45
10 | Hyderabad - Central | 529.88 | 90.85 |  | 68.66
| CPDCL | 7912.75 | 1318.25
|  |  | 3.6854 | 5.7777 | 4.9455 | 6.7384 | 3.4621 | 4.9385 | 4.5676 | 2.3027 | 3.5955

## 3.2a
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
H.T DIRECT SALES AT 33KV |  |  |  |  | 19.54 | 60.36
CUM- APR- 05 TO SEP-05 |  |  |  |  | 8.4 | 1.77
SI NO | District | No.of Consumers | Total Units recorded by 33 KV H.T Meters |  | 27.94 | 62.13 | 2005-04-02
1 | Ananthapur | 7 | 81.1542 | 25 | 110.3786 | -85.3786 |  | 30.67 | 0.097 | 30.573 | 4.671 | 35.244
2 | Kurnool | 2 | 27.0416 | 9.99 | 68.0783 | -58.0883 |  | 23.69 | 16.958 | 6.732 | 0.634 | 7.366
3 | Mahaboobnagar | 36 | 211.3133 | 29.77 | 265.3754 | -235.6054 |  | 19.43 | 0 | 19.43 | 6.673 | 26.103
4 | Nalgonda | 21 | 159.5559 | 35.75 | 255.0468 | -219.2968 |  | 54.17 | 27.989 | 26.181 | 7.169 | 33.35
5 | Medak | 50 | 288.1038 | 81.65 | 685.8508 | -604.2008 |  | 100.99 | 19.846 | 81.144 | 11.422 | 92.566
6 | Rangareddy - North | 27 | 139.3859 | 51.37 | 383.073 | -331.703
7 | Rangareddy - South | 9 | 39.9683 | 18.685 | 138.7285 | -120.0435 |  | 83.97 | 27.272 | 56.698 | 11.619 | 68.317
8 | Hyderabad - North | 27 | 124.8722 | 44.89 | 325.7781 | -280.8881 |  | 40.79 | 1.578 | 39.212 | 4.74 | 43.952
9 | Hyderabad - South | 4 | 17.7839 | 8.07 | 49.2129 | -41.1429 |  | 10.29 | 0 | 10.29 | 2.94 | 13.23
10 | Hyderabad - Central | 1 | 2.6205 | 16.21 | 102.8164 | -86.6064 |  | 6.94 | 0 | 6.94 | 1.39 | 8.33
| CPDCL | 184 | 1091.7998

## 3.2b
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
CUM - APR- 05 TO SEP-05 | [5 empty] | 2005-04-02
Sl.No | District | No.of Consumers | Total Units recorded by 11 KV H.T Meters
1 | Ananthapur | 105 | 29.2244 | 12.56 | 41.7844
2 | Kurnool | 121 | 41.0366 | 3.94 | 44.9766
3 | Mahaboobnagar | 149 | 54.062 | 22.39 | 76.452
4 | Nalgonda | 243 | 95.4909 | 26.72 | 122.2109
5 | Medak | 411 | 397.747 | 31.58 | 429.327
6 | Rangareddy - North | 543 | 243.6871 | 18.44 | 262.1271
7 | Rangareddy - South | 222 | 98.7602 | 4.843 | 103.6032
8 | Hyderabad - North | 490 | 200.9058 | 18.23 | 219.1358
9 | Hyderabad - South | 84 | 31.429 | 2.87 | 34.299
10 | Hyderabad - Central | 267 | 100.1959 | 0.44 | 100.6359
| CPDCL | 2635 | 1292.5389 | 142.013 | 1434.5519

## 3.2c
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
CUM- APR- 05 TO SEP-05
Sl.No | District | CATEGORY | [9 empty] | TOTAL
|  | I | II | III | IV | Agl |  |  | VI | VII | VIII
|  | Dom | Non-Dom | Industrial | Cottage Ind | LV DTR | TATKAL | Total | Local Bodies | Gen Purpose | Temp
1 | Ananthapur | 130.31 | 25.89 | 38.8 | 1.47 | 404.4129 | 44.96 | 449.3729 | 37.16 | 3.07 | 0.04 | 686.1129 | 236.74
2 | Kurnool | 136.44 | 29.86 | 48.628 | 0.156 | 147.3287 | 39.34 | 186.6687 | 33.622 | 3.18 | 0.085 | 438.6397 | 251.971
3 | Mahaboobnagar | 65.1 | 17.2 | 16.36 | 0.06 | 442.4404 | 34.33 | 476.7704 | 40.13 | 1.26 | 0.01 | 616.8904 | 140.12
4 | Nalgonda | 98.4 | 23.3 | 40.27 | 3.41 | 541.6362 | 64.39 | 606.0262 | 32.61 | 1.75 | 0 | 805.7662 | 199.74
5 | Medak | 83.77 | 16.24 | 38.9 | 0.18 | 386.8769 | 22.98 | 409.8569 | 18.14 | 1.32 | 0 | 568.4069 | 158.55
6 | Rangareddy - North | 268.35 | 48.64 | 93.3 | 0.215 | 52.6726 | 3.41 | 56.0826 | 20.57 | 1.82 | 0.51 | 489.4876 | 433.405
7 | Rangareddy - South | 138.93 | 28.86 | 99.61 | 1.24 | 281.9568 | 6.1 | 288.0568 | 16.17 | 1.53 | 0 | 574.3968 | 286.34
8 | Hyderabad - North | 340 | 175.07 | 64.53 | 0.043 | 0 | 0 | 0 | 17.533 | 2.992 | 0.11 | 600.278 | 600.278
9 | Hyderabad - South | 186.77 | 59.62 | 20.09 | 0.036226 | 0 | 0 | 0 | 16.42 | 2.263 | 0.01 | 285.2092 | 285.2092
10 | Hyderabad - Central | 239.19 | 100.99 | 8.98 | 0 | 0 | 0 | 0 | 14.28 | 2.94 | 0.05 | 366.43 | 366.43
| APCPDCL | 1687.26 | 525.67 | 469.468 | 6.8102 | 2257.3245 | 215.51 | 2472.8345 | 246.635 | 22.125 | 0.815 | 5431.6177 | 2958.7832
31.86

## 3.3
CENTRAL POWER DISTRIBUTION COMPANY OF A.P LIMITED
Calculation of System Losses at 33 KV and Below
CUM - APR- 05 TO SEP-05
S.No | Particulars | Type | ATP | KN L | MBNR | NLG | MDK | RR-N | RR-S | Hyd N | Hyd S | Hyd C | CPDCL | Hyd
|  |  |  | KNL | MBNR
I) | Losses in 33 KV System and connected Equipment
| I) Total Energy delivered into 33 KV Distribution system from EHT SSs and other Generation Stations (3.1 a) | A | 934.6358 | 608.5628 | 1075.608 | 1248.8379 | 1433.9753 | 1019.599 | 906.703 | 1006.496 | 631.8938 | 552.9379 | 9419.2496 | 2191.3277
| II) Energy sold by HT direct sales at 33 KV (3.2a) | B | 81.1542 | 27.0416 | 211.3133 | 159.5559 | 288.1038 | 139.3859 | 39.9683 | 124.8722 | 17.7839 | 2.6205 | 1091.7998 | 145.2766
| III) Energy delivered in to 11KV and LT system from 33/11 KV SSs(3.1c) (assessed) | C | 819.037 | 546.36 | 811.1 | 1005.13 | 1096.226 | 829.86 | 825.32 | 858.447 | 591.39 | 529.88 | 7912.75 | 1979.717
| Losses | A-(B+C) | 34.4446 | 35.1612 | 53.1947 | 84.152 | 49.6455 | 50.3531 | 41.4147 | 23.1768 | 22.7199 | 20.4374 | 414.6998 | 66.3341
| % Losses | 100x [A-(B+C)]/A | 3.6854 | 5.7777 | 4.9455 | 6.7384 | 3.4621 | 4.9385 | 4.5676 | 2.3027 | 3.5955 | 3.6962 | 4.4027 | 3.0271
II) | Losses in 11 KV and LT System and connected Equipment
| I) Energy deleivered in to 11KV and LT system from 33/11 KV SSs(3.1c) | C | 819.037 | 546.36 | 811.1 | 1005.13 | 1096.226 | 829.86 | 825.32 | 858.447 | 591.39 | 529.88 | 7912.75 | 1979.717
| II) Total Energy delevered into 11 KV Distribution system from EHT SSs and other Generation Stations (3.1 b) | D | 18.295 | 41.617 | 10.93 | 45.62 | 97.549 | 9.91 | 0 | 0 | 0 | 0 | 223.921 | 0
|  | C+D | 837.332 | 587.977 | 822.03 | 1050.75 | 1193.775 | 839.77 | 825.32 | 858.447 | 591.39 | 529.88 | 8136.671 | 1979.717
| III) Energy sold by HT direct sales at 11 KV (3.2b) | E | 29.2244 | 41.0366 | 54.062 | 95.4909 | 397.747 | 243.6871 | 98.7602 | 200.9058 | 31.429 | 100.1959 | 1292.5389 | 332.5308
| IV) Enegy sold in the LT System (3.2c) (Tentative) | F | 686.1129 | 438.6397 | 616.8904 | 805.7662 | 568.4069 | 489.4876 | 574.3968 | 600.278 | 285.2092 | 366.43 | 5431.6177 | 1251.9172
| Total Sales | E+F | 715.3373 | 479.6763 | 670.9524 | 901.257 | 966.1539 | 733.1747 | 673.157 | 801.1838 | 316.6382 | 466.6259 | 6724.1566 | 1584.448
| Losses | (C+D) - (E+F) | 121.9947 | 108.3007 | 151.0776 | 149.493 | 227.6211 | 106.5953 | 152.163 | 57.2632 | 274.7518 | 63.2541 | 1412.5144 | 395.269
| % Losses | [(C+D)-(E+F)]x100/(C+D) | 14.5695 | 18.4192 | 18.3786 | 14.2273 | 19.0673 | 12.6934 | 18.4369 | 6.6706 | 46.4586 | 11.9374 | 17.3599 | 19.9659
| % Losses at 33Kv ,11Kv & LT System | [(A+D)-(B+E+F)]/(A+D)*100 | 16.4167 | 22.065 | 18.8003 | 18.0496 | 18.104 | 15.245 | 21.3496 | 7.9921 | 47.0762 | 15.1358 | 18.9483 | 21.065
|  |  | 952.9308 | 650.1798 | 1086.538 | 1294.4579 | 1531.5243 | 1029.509 | 906.703 | 1006.496 | 631.8938 | 552.9379 | 9643.1706
|  |  | 176.426 | 108.28 | 183.515 | 199.312 | 265.518 | 172.49 | 166.32 | 174.388 | 108.56 | 91.775 | 1646.584
|  |  | 776.5048 | 541.8998 | 903.023 | 1095.1459 | 1266.0063 | 857.019 | 740.383 | 832.108 | 523.3338 | 461.1629 | 7996.5866
18.09
5.63
23.72

## 3.4
CENTRAL POWER DISTRIBUTION COMPANY OF A.P. LIMITED
PERFORMANCE OF THE CIRCLES FOR THE CUMULATIVE PERIOD APRIL - 05 TO SEP-05
SI.NO | Particulars | ATP | KNL | MBNR | NLG | MDK | RR-N | RR-S | HYD-N | Hyd - S | Hyd - C | APCPDCL
a | Gross energy input in M.U | 1094.1365 | 777.7752 | 1086.5398 | 1745.959 | 1644.2671 | 1094.727 | 1102.823 | 1012.008 | 631.9138 | 552.9379 | 10743.0872 | 10737.7929
b | E.H.T direct sales by I.P.P's in M.U | 63.778 | 18.9923 | 0 | 151.7764 | 0 | 8.188 | 63.761 | 0 | 0 | 0 | 306.4957
c | H.T direct sales by I.P.P's in M.U | 25.2433 | 1.8317 | 28.0086 | 41.9982 | 37.5898 | 31.386 | 17.689 | 38.136 | 6.1385 | 19.6555 | 247.6766
d | NTPC sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d1 | Substation Consumption | 0.51092 | 0.38723 | 0.319 | 0.43179 | 0.2604 | 1.083 | 1.415 | 0.334 | 0.316 | 0.237 | 5.2943
d2 | Wheel in kind to CPDCL (33 & 11KV) | 2.2895 | 0.17585 | 2.2714 | 2.9928 | 3.3777 | 2.3386 | 1.5824 | 3.8043 | 0.51087 | 1.8846 | 21.2281
e | Net energy input in M.U ( a-b-c-d -d1-d2) | 1002.3147 | 756.3881 | 1055.9408 | 1548.7598 | 1603.0391 | 1051.7314 | 1018.3756 | 969.7337 | 624.9484 | 531.1608 | 10162.3925 |  | 1812.61
f | E.H.T Sales by circles in M.U | 79.3601 | 104.4444 | 0 | 306.5858 | 121.009 | 80.9881 | 131.8398 | 9.3741 | 0 | 0 | 833.6012 | 1769.31 | 1720.33
g | H.T Sales by circles in M.U | 85.1352 | 66.2466 | 237.3668 | 213.0486 | 648.261 | 351.687 | 121.0395 | 287.6421 | 43.0744 | 83.1609 | 2136.6621 | 1712.68 | 92.28
h | L.T sales by circles in M.U (excluding agl.) Anticipated | 236.74 | 251.971 | 140.12 | 199.74 | 158.55 | 433.405 | 286.34 | 600.278 | 285.2092 | 366.43 | 2958.7832 | 56.63 | 1761.665
I | Agl. Consumption in M.U (assessed) | 449.3729 | 186.6687 | 476.7704 | 606.0262 | 409.8569 | 56.0826 | 288.0568 | 0 | 0 | 0 | 2472.8345 |  | 4.2028
j | Total units accounted in M.U (b+c+d+f+g+h+i) | 940.1405 | 630.5418 | 882.5848 | 1519.6069 | 1375.5271 | 962.8197 | 910.1411 | 935.7642 | 334.7381 | 469.4834 | 8961.3476 |  | 1765.8678
k | Circle losses in M.U (a-j) | 153.9961 | 147.2334 | 203.955 | 226.3521 | 268.74 | 131.9073 | 192.6819 | 76.2438 | 297.1757 | 83.4545 | 1781.7396
l | % Losses in Circle (k/a) | 14.0747 | 18.9301 | 18.7711 | 12.9643 | 16.3441 | 12.0493 | 17.4717 | 7.5339 | 47.0279 | 15.0929 | 16.585
m | Sub-transmission losses in the circle in M.U (a-b-d-f)-(c+g+h+i) | 154.507 | 147.6206 | 204.274 | 226.7839 | 269.0004 | 132.9903 | 194.0969 | 76.5778 | 297.4917 | 83.6915 | 1787.0339
n | % Losses (m/(a-b-d-f)) | 16.2468 | 22.5603 | 18.8004 | 17.613 | 17.6595 | 13.2256 | 21.3946 | 7.6377 | 47.0779 | 15.1358 | 18.6091
o | % Losses (Discom) (e-(f+g+h+i)/e | 15.1356 | 19.4421 | 19.0999 | 14.4218 | 16.5537 | 12.3196 | 18.7651 | 7.47 | 47.4703 | 15.3569 | 17.3238
p | % Metered sales of Circles (f+g+h)/(a-b-c-d-d1-d2) | 40.0309 | 55.879 | 35.7489 | 46.4484 | 57.8788 | 82.348 | 52.949 | 92.53 | 52.5297 | 84.6431 | 58.343

## Town losses
CENTRAL POWER DISTRIBUTION COMPANY OF AP LIMITED
ENERGY LOSSES, DEMAND & COLLECTION FOR TOWNS, MUNICIPALITIES & CORPORATIONS
Tentative
S. No | District | Town | 2004-04-02 | [5 empty] | 2005-04-02
|  |  | Input (MU) | Sales | % Energy Losses | Demand (Rs. Lakhs) | Collection (Rs. Lakhs) | % Collection | Input (MU) | Sales | % Energy Losses | Demand (Rs. Lakhs) | Collection (Rs. Lakhs) | % Collection
1 | Anantapur | Anantapur | 9.28 | 8.97 | 3.3405 | 280.57 | 271.79 | 96.8707 | 10.66 | 9.63 | 9.6623 | 247.1 | 336.04 | 135.9935
2 |  | Dharmavaram | 2.42 | 2.19 | 9.5041 | 62.38 | 51.97 | 83.312 | 1.71 | 1.55 | 9.3567 | 68.26 | 69.46 | 101.758
3 |  | Guntakal | 2.61 | 2.39 | 8.4291 | 64.65 | 57.04 | 88.2289 | 2.36 | 2.25 | 4.661 | 61.46 | 58.39 | 95.0049
4 |  | Hindupur | 3.89 | 3.66 | 5.9126 | 90.41 | 76.37 | 84.4707 | 3.69 | 3.51 | 4.878 | 90.15 | 148.03 | 164.2041
5 |  | Kadiri | 1.92 | 1.8 | 6.25 | 42.21 | 40.12 | 95.0486 | 2.24 | 2.09 | 6.6964 | 41.48 | 52.32 | 126.1331
6 |  | Tadipatri | 2.5 | 2.31 | 7.6 | 101.14 | 88.53 | 87.5321 | 2.57 | 2.35 | 8.5603 | 94.81 | 94.6 | 99.7785
7 |  | Rayadurg | 0.77 | 0.66 | 14.2857 | 32.35 | 22.77 | 70.3864 | 1.06 | 0.98 | 7.5472 | 36.44 | 49.99 | 137.1844
| District Total | TOTAL :- | 23.39 | 21.98 | 6.0282 | 673.71 | 608.59 | 90.3341 | 24.29 | 22.36 | 7.9457 | 639.7 | 808.83 | 126.439
8 | Kurnool | Adoni | 3.999 | 3.67 | 8.2271 | 132.24 | 121.69 | 92.0221 | 4.27 | 3.89 | 8.8993 | 125.83 | 130.55 | 103.7511
9 |  | Kurnool | 12.02 | 11.07 | 7.9035 | 392.06 | 397.81 | 101.4666 | 13.01 | 11.98 | 7.917 | 426.47 | 404.01 | 94.7335
10 |  | Nandyal | 5.78 | 5.28 | 8.6505 | 194.89 | 202.14 | 103.72 | 7 | 6.44 | 8 | 205.71 | 206.34 | 100.3063
11 |  | Yemmiganur | 1.58 | 1.43 | 9.4937 | 48.66 | 46.38 | 95.3144 | 1.75 | 1.58 | 9.7143 | 45.57 | 47.56 | 104.3669
| District Total | TOTAL :- | 23.379 | 21.45 | 8.251 | 767.85 | 768.02 | 100.0221 | 26.03 | 23.89 | 8.2213 | 803.58 | 788.46 | 98.1184
12 | Mahaboobnagar | Mahaboobnagar | 6.91 | 6.34 | 8.2489 | 191.95 | 195.2 | 101.6931 | 8.714 | 8.255 | 5.2674 | 238.3 | 223.81 | 93.9194
13 |  | Narayanpet | 0.55 | 0.51 | 7.2727 | 16.42 | 11.71 | 71.3155 | 0.864 | 0.799 | 7.55 | 21.08 | 16.91 | 80.2182
14 |  | Wanaparthy | 1.31 | 1.21 | 7.6336 | 31.63 | 28.26 | 89.3456 | 1.592 | 1.474 | 7.4121 | 41.16 | 35.96 | 87.3664
15 |  | Gadwal | 1.34 | 1.24 | 7.4627 | 33.62 | 30.03 | 89.3218 | 1.72 | 1.598 | 7.093 | 39.49 | 31.28 | 79.2099
| District Total | TOTAL :- | 10.11 | 9.3 | 8.0119 | 273.62 | 265.2 | 96.9227 | 12.89 | 12.126 | 5.9271 | 340.03 | 307.96 | 90.5685
16 | Nalgonda | Miryalguda | 3.034 | 2.82 | 7.0534 | 127.01 | 102.16 | 80.4346 | 4.22 | 3.96 | 6.1611 | 136.87 | 137.68 | 100.5918
17 |  | Nalgonda | 5.12 | 4.7 | 8.2031 | 132.77 | 113.64 | 85.5916 | 5.44 | 5.071 | 6.7831 | 133.24 | 145.1 | 108.9012
18 |  | Suryapet | 3.94 | 3.68 | 6.599 | 130.02 | 119.73 | 92.0858 | 4.513 | 4.172 | 7.5559 | 129.15 | 160.03 | 123.9102
19 |  | Bhongiri | 1.55 | 1.43 | 7.7419 | 51.62 | 35.35 | 68.4812 | 2.092 | 1.901 | 9.13 | 113.5 | 133.55 | 117.6652
| District Total | TOTAL :- | 13.644 | 12.63 | 7.4318 | 441.42 | 370.88 | 84.0198 | 16.265 | 15.104 | 7.138 | 512.76 | 576.36 | 112.4035
20 | Medak | Medak | 1.67 | 1.51 | 9.5808 | 38.6 | 25.28 | 65.4922 | 1.8071 | 1.6385 | 9.3281 | 42.57 | 32.2 | 75.6401
21 |  | Sadasivpet | 0.98 | 0.91 | 7.1429 | 42.3 | 26.04 | 61.5603 | 1.06 | 0.98 | 7.5472 | 39.86 | 31.98 | 80.2308
22 |  | Zaheerabad | 2.26 | 2.14 | 5.3097 | 42.33 | 32.52 | 76.8249 | 2.2941 | 2.16 | 5.8446 | 37.53 | 32.95 | 87.7964
23 |  | Sangareddy | 2.43 | 2.22 | 8.642 | 59.98 | 46.23 | 77.0757 | 2.3994 | 2.2577 | 5.9029 | 57.86 | 55.16 | 95.3336
24 |  | Siddipet | 4.5 | 4.06 | 9.7778 | 96.02 | 82 | 85.3989 | 4.79 | 4.37 | 8.7683 | 99.91 | 94.01 | 94.0947
| District Total | TOTAL :- | 11.84 | 10.84 | 8.4459 | 279.23 | 212.07 | 75.9481 | 12.3505 | 11.4062 | 7.6456 | 277.73 | 246.3 | 88.6833
25 | Ranga reddy | Tandur | 10.88 | 9.87 | 9.2831 | 302 | 307 | 101.6556 | 3.04 | 2.758 | 9.2763 | 104 | 106 | 101.9231
26 |  | Vikarabad | 1.32 | 1.2 | 9.0909 | 49 | 37 | 75.5102 | 1.47 | 1.333 | 9.3197 | 40 | 48 | 120
27 |  | Kapra | 24.92 | 22.88 | 8.1862 | 1146 | 1140 | 99.4764 | 35.73 | 32.8 | 8.2004 | 1247 | 1268 | 101.684
28 |  | Uppal | 9.13 | 8.39 | 8.1051 | 469 | 460 | 98.081 | 12.83 | 11.75 | 8.4178 | 389 | 400 | 102.8278
29 |  | Malkajgiri | 9.8 | 8.98 | 8.3673 | 359 | 350 | 97.493 | 11.89 | 10.88 | 8.4945 | 361 | 441 | 122.1607
30 |  | Kukatpalli | 10.28 | 9.43 | 8.2685 | 460 | 458 | 99.5652 | 10.12 | 9.3 | 8.1028 | 557 | 562 | 100.8977
31 |  | Quitbullapur | 30.6 | 28.3 | 7.5163 | 1185 | 1175 | 99.1561 | 29.56 | 27.48 | 7.0365 | 1508 | 1523 | 100.9947
32 |  | Lingampalli | 11.9 | 10.8 | 9.2437 | 530 | 535 | 100.9434 | 11.34 | 10.41 | 8.2011 | 567 | 571 | 100.7055
33 |  | L.B.Nagar | 29.82 | 27.1 | 9.1214 | 720 | 675 | 93.75 | 31.39 | 28.514 | 9.1622 | 804 | 832 | 103.4826
34 |  | Rajendra Nagar | 21.65 | 19.87 | 8.2217 | 715 | 699 | 97.7622 | 23.32 | 21.358 | 8.4134 | 849 | 840 | 98.9399
| District Total | TOTAL :- | 160.3 | 146.82 | 8.4092 | 5935 | 5836 | 98.3319 | 170.69 | 156.583 | 8.2647 | 6426 | 6591 | 102.5677
35 | Hyderabad | Hyderabad | 334.63 | 249.45 | 25.455 | 9678.27 | 9785.34 | 101.1063 | 374.72 | 278.62 | 25.6458 | 10674.45 | 10965.31 | 102.7248
APCPDCL |  |  | 577.293 | 472.47 | 18.1577 | 18049.1 | 17846.1 | 98.8753 | 637.2355 | 520.0892 | 18.3835 | 19674.25 | 20284.22 | 103.1003
20 | Medak | Medak
21 |  | Sadasivpet
22 |  | Zaheerabad
23 |  | Sangareddy
24 |  | Siddipet
TOTAL :-
25 | Rangareddy | Tandur | 3.01 | 2.725 | 9.4684 | 210.86 | 219.57 | 104.1307
26 |  | Vikarabad | 0.96 | 0.868 | 9.5833 | 33.13 | 32.31 | 97.5249
27 |  | Kapra | 17.02 | 15.353 | 9.7944 | 669.69 | 691.18 | 103.2089
28 |  | Uppal | 20.32 | 18.336 | 9.7638 | 387.69 | 394.1 | 101.6534
29 |  | Malkajgiri | 13.72 | 12.416 | 9.5044 | 240.02 | 245.01 | 102.079
30 |  | Kukatpalli | 7.93 | 7.178 | 9.483 | 210.45 | 215.84 | 102.5612
31 |  | Quitbullapur | 16.58 | 14.988 | 9.6019 | 590.02 | 603.83 | 102.3406
32 |  | Lingampalli | 9.88 | 8.913 | 9.7874 | 293.25 | 290.28 | 98.9872
33 |  | L.B.Nagar | 23.03 | 20.828 | 9.5614 | 510.97 | 513.63 | 100.5206
34 |  | Rajendra Nagar | 21.05 | 19.176 | 8.9026 | 519.52 | 535.58 | 103.0913
35 |  | Alwal (included in Hyderabad) |  |  | #DIV/0! |  |  | #DIV/0!
|  | TOTAL :- |  |  | #DIV/0! |  |  | #DIV/0!
36 | Hyderabad | Hyderabad |  |  | #DIV/0! |  |  | #DIV/0!
| Total Towns, Muncipalties & Corporations |  |  |  | #DIV/0! |  |  | #DIV/0!