ARR & Tariff Proposal for the Retail Supply Business for the Year 2006-07 AND ARR & Tariff Proposal for the Distribution Business for the Control Period 2006-07 to 2008-09

Central Power Distribution Company of AP Ltd.

Hyderabad

Contents

1	Introduction to ARR and Tariff Petition	1

1.1	Filing based on Multi-Year Tariff (MYT) Principles	1

1.1.1	Segregation of Distribution and Retail Supply businesses	3

1.1.2	Filing Contents	5

1.2	Implication of Multi-Buyer Model (MBM) Implementation on ARR	6

2	Resource Plan for Distribution business for Control Period	10

2.1	Sales Forecast for the Control Period	10

2.1.1	Different Approaches to Forecasting Sales	10

2.1.2	Identification of key categories	13

2.1.3	Forecasting Sales: LT I and LT II	13

2.1.4	Forecasting Sales: LT III	19

2.1.5	Forecasting Sales: LT IV	20

2.1.6	Forecasting Sales: LT V (Agriculture)	21

2.1.7	Forecasting Sales: LT VI (Street lighting & PWS)	27

2.1.8	Forecasting Sales: LT VII	27

2.1.9	Forecasting Sales: HT-IA	28

2.1.10	Forecasting Sales: HT IB (Ferro Alloys)	32

2.1.11	Forecasting Sales: HT II (Industrial-Non segregated)	32

2.1.12	Forecasting Sales: HT IVA & IV B (Lift Irrigation)	33

2.1.13	Forecasting Sales: HT V (Railway Traction)	33

2.1.14	Forecasting Sales: HT VI	33

2.1.15	Forecast Sales: LT & HT Temporary	34

2.1.16	Overall Sales Forecast: CPDCL	34

2.2	Capital Investment Plan	36

2.2.1	Summary of Investment Plan	36

2.2.2	Methodology for determining SI capital investment needs	38

2.2.3	Agricultural HVDS	41

2.2.4	Hyderabad City Project (PFC):	43

2.2.5	Release of Agricultural Services:	43

2.2.6	Materials schemes:	44

2.2.7	Electronic meters for LT services in towns, municipalities and MHQs:	44

2.2.8	RE works under RGGVY Programme:	44

2.3	Power Procurement Plan for Current Year Second Half and Ensuing Year	45

2.3.1	Basis of estimating the quantity and cost of Power Purchased	45

2.3.2	Energy Availability	45

2.3.3	Discom to Discom Transactions	48

2.3.4	Expected available generation capacity during the Control Period	49

3	Analysis of Performance for Previous Year and Current Year	50

3.1	Introduction	50

3.2	Operating Performance	50

3.2.1	Energy Balance	50

3.3	Financial Performance	51

3.3.2	Revenues	54

3.4	Controllable and Uncontrollable Costs	54

3.4.1	Variations in uncontrollable elements during 2004-05	55

3.4.2	Variations in uncontrollable elements during 2005-06	55

4	ARR for Distribution business for the Control Period	57

4.1	Basis for O&M Cost Projections	57

4.1.1	For the Current Year (CY) and Ensuing Year (EY)	58

4.1.2	Determining normative O&M Cost for the Control Period	60

4.1.3	Need for a Different Norm for Base and Incremental Costs	62

4.1.4	Methodology	63

4.2	Regulated Rate Base (RRB)	65

4.3	Depreciation and Advance Against Depreciation (AAD)	68

4.4	Financing Costs	70

4.5	Other Expenditures	71

4.6	Special Appropriations including Prior Period Corrections	72

5	Combined ARR for Distribution and Retail Supply for Ensuing Year	73

5.1	ARR for Retail Supply Business for Ensuing Year	73

5.1.1	Power Procurement Costs	73

5.1.2	Transmission and SLDC Charges	74

5.1.3	Non-Tariff Income	75

5.1.4	Other Retail Supply Business Related Costs	76

5.2	Combined ARR for Distribution and Retail Supply Business	76

5.3	Revenue Gap at Current Tariff for Combined Distribution and Retail Supply Business	77

6	Filing of Proposed Tariffs (FPT) for Distribution business for Control Period	78

6.1	Network Usage Forecast by Voltage Level	78

6.2	Proposals for Wheeling Tariffs	78

6.3	Expected Revenue from Proposed Wheeling Tariffs	80

7	Filing of Proposed Tariffs for Retail Supply business for Ensuing Year	82

7.1	Proposals for Change in Tariff	82

7.1.1	HT-1 a Industrial – General	82

7.1.2	Ferro Alloy Units	88

7.1.3	HT-II Category	88

7.1.4	HT-V Railways	89

7.1.5	Issues Relating to Low power factor Surcharge	90

7.1.6	Clarity on single point service connection in Domestic category	93

7.1.7	Customer Charges	94

7.2	Tariff Table for All Consumer Categories	94

7.3	Proposal for changes in Tariff Category definitions	102

7.3.1	HT Category – I	102

7.3.2	LT Category-II, Non-Domestic and Commercial :	103

7.4	Cost-of-Service	105

7.4.1	Methodology of Determination	105

7.5	Expected Revenue from Proposed Tariffs	106

7.6	Revenue Gap for Ensuing Year at Proposed Tariffs	106

8	Status of Implementation of Directives	107

9	Plans and Performance	116

10	Annexure A - Circle-wise Sales Forecast	157

11	Annexure B - Details of Power Purchase Cost	164

# Introduction to ARR and Tariff Petition

## Filing based on Multi-Year Tariff (MYT) Principles

Section 61 of the Electricity Act, 2003 empowers the State Commission (APERC in this case) to specify the terms and conditions for the determination of tariff and specifies that in doing so, the Commission shall inter alia be guided by multi year tariff principles (Section 61 (f)). In exercise of powers conferred under clause (zd), (ze) and (zf) of Section 181 (2) read with Sections 61 and 62  of the Electricity Act 2003 (36 of 2003) and all other enabling powers in that behalf, the Andhra Pradesh Electricity Regulatory Commission has made the Andhra Pradesh Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff for Wheeling and Retail Sale of Electricity) Regulation, 2005 (“Regulation”).

The Regulation applies to all the Distribution Licensees in the State. In the Regulation the Commission has laid out the principles for determination of Aggregate Revenue Requirement (ARR) for a) Distribution Business and b) Retail Supply Business of the licensees. The ARR so determined for each of the businesses will form the basis for fixation of wheeling tariff/ charges and charges for retail sale of electricity.

In the Regulation, the Commission has also laid down the procedures for filing under multi-year tariff principles. The multi-year period is defined as the Control Period and the first Control Period is defined as the three year period starting Financial Year 2006-07 and continuing till the end of Financial Year 2008-09. The current filing pertains to the First Control Period. The Commission has specified in Para 6.2 of the Regulation the following procedure for ARR filing for the distribution and retail supply business: “The ARR filing for the Distribution business shall be for the entire Control Period. For the Retail Supply business the ARR filing will be on annual basis for the first Control Period …...”.

The current filing follows the principles laid down under this Regulation for determination of i) the ARR for the retail supply business for the year 2006-07 and ii) the ARR for the Distribution business for each of the years of the Control Period. Some of the key features of the Regulation are:

- Segregation of the ARR for Distribution business and Retail Supply business of the licensee.

- Filing details of a Resource Plan (to be adopted in the Multi-year and Annual filings for the Control Period) specifying the following:

- Sales Forecast and Load Forecast;

- Power Procurement Plan; and

- Distribution Plan (Capital Investment Plan)

- Introduction of the concept of Return on Capital Employed (ROCE) in place of separate allowances for Reasonable Return and Interest for determining the allowable financing costs for the licensees. The ROCE will be based on the Regulated Rate Base (RRB) and the Weighted Average Cost of Capital (WACC). This requires a proposal for an appropriate capital structure for the utilities.

- Depreciation allowance and Advance Against depreciation (AAD) allowance following the CERC Regulation on Terms and Conditions of Tariff..

- Determination of composite O&M costs (as against earlier requirement to file detailed employee costs, Administration & General expenses and Repairs & Maintenance expenses) based on a normative formulaic approach.

- Setting targets for distribution losses to be achieved for each of the three years of Control Period.

- The Regulation also specifies the “controllable” and “uncontrollable” elements as follows:

| - Distribution Business |  |
| --- | --- |
| - ARR Item | - “Controllable”/ “Uncontrollable” |
| - Operation & Maintenance expenses | - Controllable |
| - Return on Capital Employed | - Controllable |
| - Depreciation | - Controllable |
| - Taxes on Income | - Uncontrollable |
| - Non-tariff income | - Controllable |

| - Retail Supply Business |  |
| --- | --- |
| - ARR Item | - “Controllable”/ “Uncontrollable” |
| - Cost of power purchase | - Uncontrollable |

Targets are set for the “controllable” items while any variation in the “uncontrollable” items of ARR can be claimed by the licensees in the ARR for the year succeeding the relevant year of the Control Period when the variations occurred.

The gains and losses on account of the variations in “controllable” items will be shared by the consumers and licensees. The sharing of these gains/ losses will be for the aggregate gains or losses for the whole of the Control Period, except for the first Control Period when the sharing on account of gains and losses pertaining to the Retail Supply business will be on an annual basis (Clause 10.7 of the regulation). However, any gains/ losses in the Controllable items arising out of factors beyond the control of the licensees (say under force majeure) shall be passed on as an additional charge or rebate in ARR over such period as may be specified in the Order of the Commission.

In summary, the Regulation identifies the controllable and uncontrollable items of the ARR, and seeks to provide incentivisation for the controllable items for the Control Period.   It requires the licensees to make a multi-year ARR determination for the Distribution business along with wheeling tariffs. The ARR for Retail Supply business and the Retail Tariffs will continue to be done on an annual basis for the first Control Period.

### Segregation of Distribution and Retail Supply businesses

Clause 5 of the Regulation specifies that “Till such time as there is a complete segregation of accounts between Distribution and Retail Supply businesses, the ARR for each business shall be supported by an Allocation Statement that contains the apportionment of costs and revenues to that business. The allocation statement shall also contain the methodology that has been used for the apportionment.”

As the Hon’ble Commission has rightly assessed, the present accounts of licensee is at a consolidated level and the licensee does not have segregated accounts for each of the businesses. However, in line with the Regulation, the licensee has endeavoured to analyse the expenses and incomes attributable to each business and has followed the following principles of allocating expenses and incomes to the retail supply business while the rest of the expenses and revenues are allocated to the distribution business:

Before determining the segregation of costs and revenues for each of the businesses, it is important to first identify the functions under each of these businesses. These are as follows:

Functions pertaining to Distribution (or Wires) Business

The functions pertaining to Distribution business include:

- Management and maintenance of distribution network including substations, lines, transformers and other network equipment

- Capital expenditure on distribution network for network expansion as well as loss reduction

- Providing new connections to the distribution network

- Meter reading and billing

- Financing accounting and management functions pertaining to the distribution business

The functions pertaining to the Retail Supply business include:

- Procurement of power from generators

- Sale of power to discom’s own consumers

- Contracting for transmission and SLDC services

Based on the above definition of functions pertaining to each business the allocation of expenditures and revenues to the Retail Supply business is as explained in the table below:

| Allocation of expenses and income to Retail Supply Business |  |
| --- | --- |
| Income: | Expenditure: |
| Revenue from Sale of Power (except wheeling revenue) | Power Purchase |
| Other Income | Other Financial Charges |
| Delayed Payment Charges | HT-incentive |
| ABT related UI Charges / Pool Trade | Interest on security deposits |
| Miscellaneous Charges from Consumers | Provision for Bad and Doubtful debts |
| Recoveries for Theft of Power/Malpractice |  |
| Revenue from Inter-State sales (D-trade) |  |
| Securitisation Scheme Benefits and Rebates |  |

The licensee has allocated the expenses and incomes as in audited accounts for the year 2004-05 and used the same as the basis for allocating the projected total ARR and revenues for each of the year of Control Period starting 2006-07. Based on this principle, the expenses and revenues for 2004-05 allocated to the two businesses are as follows:

| Particulars | Distribution | Retail Supply | Discom |
| --- | --- | --- | --- |
| Cost of Power Procurement |  | 4123.18 | 4123.18 |
| Net Operation and Maintenance Charges | 429.03 |  | 429.03 |
| Interest | 90.75 |  | 90.75 |
| Depreciation | 158.76 |  | 158.76 |
| Other Expenditure | 11.25 | 139.39 | 150.64 |
| Special Appropriations | 4.32 |  | 4.32 |
| Less IDC and Exp | 48.52 |  | 48.52 |
| Total Expenditure | 645.58 | 4262.57 | 4908.15 |
| Less: Non-Tariff Income |  | 527.15 | 527.15 |
| Net Revenue Requirement | 645.58 | 3735.42 | 4381.00 |
| Subsidy |  | 464.30 | 464.30 |
| Revenue from Tariff | 25.85 | 3887.62 | 3913.47 |
| Net Gap/(Surplus) | (619.73) | 616.50 | (3.23) |

### Filing Contents

The filing is structured in the following way:

- Section 2 provides the Resource Plan comprising

    - Sales Forecast;

    - Power Procurement Plan; and

    - Distribution Plan (Capital Investment Plan)

The sales forecast is used to determine the revenue from tariff from retail sale of electricity for the first year of the control period and the energy input required for meeting the demand. The power procurement plan is based on the availability of the generation sources during the ensuing year, the cost (fixed, variable and others) and the merit order dispatch of various sources to meet the demand expected during various months. The distribution/ investment plan is prepared keeping in view the potential to meet the load growth, plans to improve quality of supply and the distribution loss trajectory that the utilities expect to be achieved during the Control Period.

Section 3 provides a brief analysis of the financial and operational performance of the licensee during the previous year (2004-05) and the current year (2005-06). Section 3 also provides an analysis of the variations in “uncontrollable” items of ARR during the previous year (for “Final Correction”) and estimates for the current year (for “First Correction”).

Section 4 provides the ARR for distribution business for each of the year of the Control Period and the basis of projections of the expense and revenue items.

Section 5 provides the combined ARR for the ensuing year (first year of the Control Period, 2006-07) and the ARR for the retail supply business for the ensuing year.

Section 6 contains the tariff proposals for distribution business for the ensuing year 2006-07  and Section 7 contains tariff proposals for retail supply business for the ensuing year 2006-07.

Sections 8 and 9 provides the performance of the licensee on various technical and consumer service related issues during the previous year and plans for improving the same in the ensuing year.

## Implication of Multi-Buyer Model (MBM) Implementation on ARR

Subsequent to the introduction of Electricity Act, 2003, an order was passed by GOAP dated June 07, 2005 bearing no. G.O. Ms. No. 58 (Power-III) (“GOAP Order”) vide which the GOAP has ordered for the transfer of Bulk Supply Undertaking and the Power Purchase Agreements from Transmission Corporation of Andhra Pradesh Ltd. (“APTransco”) to the four distribution companies operating in the State of Andhra Pradesh (“Discoms”) with effect from June 09, 2005. The GoAP has further issued an amendment to the Third Transfer Scheme vide an order dated 31-10-2005 bearing no. G.O.Ms.No. 101 (“Amendment”).

The GOAP Order, the Third Transfer Scheme and the Amendment have been necessitated by Sections 39 and 41 of the 2003 Act, which prohibits a State Transmission Utility (APTransco being a STU) from undertaking trading of electricity and entering into any contract in relation thereto and accordingly provides for the transfer and vesting of rights, obligations, agreements, and contracts relating to procurement and bulk supply of electricity or trading of electricity,  to which APTransco was originally a party, to the Discoms in the proportion and the manner set out in the Third Transfer Scheme and the Amendment.

The Third Transfer Scheme (read with the Amendment) inter alia stipulates that the generating capacities of thermal and hydro energy generating stations that are allocated to or vested with APTransco under any power purchase agreement or otherwise including the generating capacities of the APGENCO stations, the IPPs (independent power producers), the APGPCL stations and the firm allocations of the CGS stations (along with any allocations from the unallocated quota therein) shall stand entirely allocated and transferred to the Discoms in the following ratio:

| Sl No. | Name of the Distribution Company | Allocation Percentage as per Amendment |
| --- | --- | --- |
| 1 | EPDCL | 16.70% |
| 2 | SPDCL | 22.90% |
| 3 | CPDCL | 43.48% |
| 4 | NPDCL | 16.92% |

The capacities of all the Non-Conventional Energy sources including those at 132 kV are allocated fully to the Discom in which they are located. The capacities of two generating sources, namely LVS Power Limited and Srivathsa Power Projects Limited, have been allocated entirely to APEPDCL.

In view of the change in the Market Structure from a Single-buyer model (with APTransco as the Bulk Supplier) to a Multi-buyer Model (with each Discom being allocated the existing PPAs) there has been a change in the cost structure of the Discoms as well. The differential bulk tariff as approved by the Hon’ble Commission and applicable to the Discoms for the FY 2005-06 has ceased to be operative with effect from June 09, 2005 and as a result expected power purchase cost of the Discoms will undergo a significant change from the level approved by the Hon’ble Commission while determining the differential bulk supply tariff for the discoms and similarly the cost and revenue structure of APTransco will also deviate significantly from the Tariff Order levels. Some of the key items in Discom and APTransco costs and revenues will change as follows:

| Particulars | Impact on Discom | Impact on APTransco |
| --- | --- | --- |
| Power purchase cost | - The differential BST ceased to exist with effect from June 9, 2005 - Post 9th June, the per unit power purchase cost is close to the common BST as the percentage allocation of capacity to each Discom is nearly equal to the percentage share of the Discom input energy as per Tariff Order. Deviation of per unit power purchase cost is mainly due to allocation of NCE and two other (LVS and Srivatsa) stations on location basis. - Discoms will have to pay the transmission and SLDC charges from June 9 onwards - Some of the Discoms will have to pay the marginal variable cost of power to others based on the difference between scheduled and actual drawal from other Discoms as Discom-Discom exchange. | - APTransco does not buy power post 9th June |
| Revenue from tariff |  | - APTransco will earn only the transmission and SLDC charges from the Discoms |
| Non-tariff income | - Post-June 9 Discoms will get the benefit of the CGS securitization scheme and rebates on prompt payment of power purchase bills and therefore the non-tariff income would go up compared to the Tariff Order. - Some of the Discoms will earn inter-discom revenue from sale of power to other Discoms. - Other non-tariff incomes from transactions such as interstate trades and Unscheduled interchange will accrue to the Discoms | - Post-June 9, APTransco will not get the benefit of securitization and rebates on prompt payment of power purchase bills and therefore its non-tariff income would go down. - Post the transfer, APTransco will not get the benefit of other non-tariff incomes from transactions such as interstate trades and ABT related UI (Unscheduled interchange). |
| Subsidy | - While the total GoAP subsidy to the sector remains unchanged, there is a requirement for reallocation of subsidy between discoms and APTransco on account of the significant changes in cost and revenue structure. | - When the subsidy reallocation is based on the Tariff Order approved ARR, APTransco will need reallocation of some amount of subsidy to its account to compensate the under-recovery of costs in the period up-to June 9, 2005. This is because the BST was designed based on computations for the full year, while there are monthly differences in cost incurrence which does not match with the revenue. |

Based on the above-mentioned changes, the revised subsidy allocation proposed is as follows:

Since the Tariff Order for the year 2005-06 ensured financial viability of each Discom through the differential BST, subsidy reallocation has become essential to achieve the same desired result. To this effect, APPCC, being the apex body responsible for ensuring optimal utilization of the resources for the benefit of the State, has submitted a petition to the Hon’ble Commission seeking a reallocation of subsidy among the utilities to ensure that they remain financially viable as envisaged in the Tariff Order.

# Resource Plan for Distribution business for Control Period

## Sales Forecast for the Control Period

The factors affecting the actual consumption are numerous and often beyond the control of the licensees (policy, individual consumer’s conditions, etc.) or even the consumers (weather, variations in demand-supply conditions of the consumer’s product, etc.). Therefore, an accurate point-estimate of the consumption (sales by licensees) is not feasible. Under such a situation, the attempt is to look into various factors and estimate the interrelationships and explore various methodologies and analyse the range of results to arrive at a reasonably accurate forecast within a range and use a single point-estimate within the range for the limited purpose of estimating future costs/ revenues.

The methodologies to be used for sales forecast depend on various factors like the segment of consumers for which the forecast is being made, the time horizon of the forecast (short-term or long-term), availability of past data for relevant parameters, the desired nature and level of detail of the forecasts.

In order to capture the inherent characteristics of various districts or regions, the licensees have prepared the sales forecast at a circle level. The estimates for key consumer categories have been arrived at after considering alternate approaches. The following paragraphs describe the various approaches explored by the licensees while estimating sales for the Control Period.

### Different Approaches to Forecasting Sales

#### Trend Method

This method is a non-causal model of demand forecasting which assumes that the underlying factors which drive the demand for electricity are expected to follow the same trend as in the past and hence the forecast for electricity is also based on the assumption that the past trend in consumption of electricity will continue in the future.

Basic circle-wise trend based sales forecast for all categories except agriculture were made for the years 2005-06 to 2008-09 by considering the following data:

- Base Sales Data:  Circle-wise, category-wise sales for FY 2000-01 to FY 2004-05 and First Half (H1) of FY 2005-06 provided by the revenue wing

- Growth rates: Five growth scenarios based on the above historical data for each category in each circle:

- Compounded Annual Growth Rate (CAGR) for 5 years (2000-01 to 2004-05)

- 2 year average growth rate

- Growth rate of 2004-05 over 2003-04

- Growth rate of H1 2005-06 as compared to H1 2004-05

- Increase/decrease in MU consumed between H1 and H2 of 2004-05

As a general rule, the maximum and minimum projections based on these scenarios were avoided. Also, more importance was given to the recent growth rates if not caused by specific programs/ drives or one-time events.

The strength of this method, when used with balanced judgment lies in its ability to reflect recent changes and therefore is probably best suited for a short-term projection as used for the ARR/ Tariff filing. However, the trend-based approach has to be adjusted for judgment on the characteristics of the specific consumer groups/ categories. For example, while this method may provide a better estimate of consumption by the domestic and commercial categories of consumers, it may not be very suitable for the industrial category because of the high dependence of demand on the end-use and also on the macroeconomic variables.

In any case, the forecasts arrived at by using the trend method need to be modified for impact of any other considerations like increasing commercialization/ development in certain districts/ regions to incorporate the impact of econometric variables. The Licensee has projected the category –wise sales based on the modified trend approach with requisite inputs from the other approaches explained in later sections.

#### End-use Method and Market Survey

The end-use approach attempts to capture the impact of energy usage patterns of various devices and systems. The end-use models for electricity-demand focus on its various uses in the residential, commercial, agriculture and industrial sectors of the economy. The aggregation of energy demand from various end-uses provides the total demand forecast.

This method is highly data-intensive and requires significant details on the end-consumers. In the case of industrial consumers, the end-use / market survey approach is most effective when new technologies of production and other similar changes at consumer’s end influence the energy requirement dramatically.

This approach has been used for HT consumers by identifying industry types and power consumption per unit output. The end-use approach is suitable for short and medium term forecasts.

#### Econometric Method

In this method, the demand for electricity is expressed as a function of various economic factors. These variables could be population, income per capita or value added or output (in industry or commercial sectors), price of power, price(s) of alternative fuels (that could be used as substitutes), proxies for penetration of appliances/equipment etc. The relationship between the consumption of electricity and the economic factors varies for different categories of consumers and hence several functional forms need to be explored depending on the consumer category till a statistically significant relationship is established between electricity consumption and various factors.

Segmentation of consumers is the starting point for this approach. For different consumer categories the segmentation is based on different variables, for e.g., for domestic consumers, it can be done for different income level, level of consumption and /or the geographical location.

This method can be used for varied time horizons from short to long term. While in the short run there is less likelihood of change in extraneous factors like policy changes and economic shock etc., structural changes can be made in the model to incorporate effect of unanticipated changes. However, for any long-term econometric analysis, a long annual time series (at least 20 years) is required so as to get reliable results. Hence, even though this approach is the most appropriate for long term forecasts, the application of the methodology is constrained by the unavailability of consistent past data.

### Identification of key categories

The chart below illustrates the share of each category in the overall sales for all distribution licensees. The sales figures are as per the APERC Tariff Order 2005-06.

LT-I (domestic), LT-II (commercial), LT-V (Agriculture) and HT-I (industrial) are the top categories with around 22%, 5%, 34% and 21% respective contributions to the sales. Clearly, a more rigorous estimation exercise for these key categories would result in a more accurate estimate of the sales for the control period.

Figure 1: Category-wise Sales (2005-06 Tariff Order)

### Forecasting Sales: LT I and LT II

The Domestic and Commercial categories sales have been forecasted based on two approaches – econometric and modified trend. As measures like 24-hr supply and RGGVY – Rural Electrification program constitute external factors, the impact of which can not be projected from historical data, the impact of these has been accessed separately and added on to the base forecast to arrive at the final forecast.

#### Alternative approach: LT:I - Domestic and LT:II - Commercial Categories

The main factors which drive the demand for electricity in these two categories have been tabulated as below:

| Consumer Category | Demand Drivers |
| --- | --- |
| Domestic | Population, Income, Lifestyle Changes (GDP may be a proxy) |
| Commercial | Income, Lifestyle, Population, Economic Growth (GDP may be a proxy) |

Hence, for forecasting the sales of these categories by econometric approach, the sales have to be linked statistically to the parameters mentioned above. Therefore, the challenges are:

- To establish a statistically significant correlation between electricity consumption and one or more independent variable; and

- Have an estimate of the future movement of the independent variable.

The methodology, as explained earlier, is constrained by the availability of data. The following data have been used for the analysis:

- LT:1 and LT:2 sales data from 1999-2000 onwards till 2004-05 for all the circles

- GDP data for each district from 1993-94 till 2002-03. (Source: Statistical Abstract of Andhra Pradesh 2005)

- State–level GDP till 2003-04 with break-up of contribution from primary, secondary and tertiary sectors

Step 1: Establishing the relationship between sales and GDP

The relationship between district GDP and sales has been established for two different hypotheses – pure time-series relationship (Method 1) and a spatial-cum-time series relationship (Method 2).

- Method 1- Pure time-series relationship:

- Correlation between the past district GDP and the LT:1/LT:2 consumption data for each district was computed individually and a linear trend equation was formulated for the purpose of forecasting.

- Method 2- Spatial-cum-time series relationship

- Correlation based on a combined geographical and time series data in which GDPs and sales for all the districts (except Vizag, Hyderabad and Medak) have been plotted on the same graph to find a correlation equation between sales and district GDP which is then used for the purpose of forecasting.

Step 2: Forecasting the District level GDP

Forecasts for district-level GDP for the control period have been arrived at using the forecasts for state level primary, secondary and tertiary GDPs. The methodology can be detailed as below:

- Step 1: Establishing relationship between district-level GDP and State GDP

- Based on the past data for GDP available for district and the state-level, a trend equation for the purpose of forecast is established based on correlation between each district’s GDP and the primary, secondary and tertiary GDP of the state.

  - Step 2: Forecasting the state level GDP: The state level GDP has been forecasted for two scenarios as shown in table 2.1:

Table 2.1: State GDP Growth Scenarios

|  | Scenario1: CAGR 99-04 | Scenario 2: Vision 2020 |
| --- | --- | --- |
| AP GSDP Growth | 5.85% | 10.92% |
| Primary | 3.95% | 6.90% |
| Secondary | 5.53% | 11.60% |
| Tertiary | 7.18% | 12.60% |

However, it is important to note that the state GDP growth projections as per Vision 2020 document seem to be on a higher side as per our discussions with various stakeholders and industry players, and hence the first scenario (past CAGR) for state GDP growth has been taken to be a more realistic assessment of the future growth rates for state GDP. This is further substantiated by the fact that the state GDP growth projection for 2000-2005 as per vision 2020 document was 8.6% while the actual growth for the period 2000-2004 has been only 4.92%. Therefore, only scenario 1 has been considered for the purpose of projections.

The forecasts thus arrived at have been looked at as a guiding value for modification to the trend based forecasts The forecasts results for two methods are shown below:

Table 2.2: Summary of the Sales Forecast by Different Methods

| CPDCL |  | LT:1 |  | 2006-07 |  | 2007-08 |  | 2008-09 |  | CAGR 00-05 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Method 1 |  | Scenario 1 |  | 6.43% |  | 6.49% |  | 6.56% |  | 5.40% |
| Method 2 | Scenario 1 |  | 7.46% |  | 7.41% |  | 7.36% |  |  |  |
| CPDCL |  | LT:2 |  |  |  |  |  |  |  |  |
| Method 1 |  | Scenario 1 |  | 6.91% |  | 6.93% |  | 6.95% |  | 4.70% |
| Method 2 | Scenario 1 |  | 6.44% |  | 6.47% |  | 6.50% |  |  |  |

#### Trend Method: LT:I - Domestic and LT:II - Commercial Categories

A modified trend approach has been used by the licensees to forecast sales for the control period. The basic trend forecast has been modified based on the forecasts arrived at by the alternative approach explained above.

LT: Category I

|  | Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | CAGR | 2 year average | Last year’s growth rate | H1 growth rate | MU increase (H2 / H1) |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| CPDCL | 8% | 3% | 7% | 11% | 301 |  | 8% | 5% | 5% | 5% |

LT: Category II

|  | Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | CAGR | 2 year average | Last year's growth rate | H1 growth rate | MU increase (H2 / H1) |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| CPDCL | 12% | 9% | 10% | 19% | 107 |  | 13% | 11% | 9% | 9% |

#### Impact of Policy Measures

For the purpose of estimating the impact of RGGVY and 24-hr supply, certain assumptions have been made which have been discussed below:

Impact of RGGVY

The impact of Rural Electrification through RGGVY has been projected based on the new service releases and the specific consumption for BPL and non-BPL households.

The licensee has prepared a plan for release of services under the RGGVY scheme for BPL and non-BPL households for each circle as shown below:

Table 2.3: Service Release Plan for RGGVY

|  | 2005-06 |  | 2006-07 |  | 2007-08 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | BPL services | Non-BPL services | BPL services | Non-BPL services | BPL services | Non-BPL services |
| Total CPDCL | 178,124 | 89,542 | 178,124 | 89,542 | 178,124 | 89,542 |

The specific consumption per household is based on the following assumptions:

- BPL Households: 60 W connected load used for about 5 hrs a day resulting in monthly consumption of 9 units

- Non-BPL Households: 80 W connected load used for an average 5-6 hrs a day resulting in a monthly consumption of about 14 units

As the scheme is currently being initiated, the consumption by services released in 2005-06 is assumed to be for a period of 2 months only in CY. For FY 2006-07, the consumption by services released in 2005-06 is assumed to be for a period of 12 months, while the consumption by services released during 2006-07 has been assumed for an average period of 6 months. Similar assumptions, i.e.: consumption for 12 months for services released in earlier years and 6 months for those released in that year, have been made for projecting additional sales in the year 2007-08 and 2008-09.

Based on these assumptions and the scenario of a phased service release (uniform throughout the year), the total sales has been forecasted for RGGVY as shown below:

Table 2.3: Additional (Incremental) Sales each year (MU)

| RGGVY | Current Year | Control Period |  |  |
| --- | --- | --- | --- | --- |
|  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| LT - I Impact | 6 | 51 | 86 | 103 |

Impact of 24-hr supply

As of now, the power supply in rural areas is restricted to 16 hrs. It is assumed that 24hrs supply will be provided to all the rural areas of CPDCL from FY-2006-07. The impact on sales if the supply time is extended to 24-hrs has been computed based on the existing consumption in rural areas by LT-I and LT-II category of consumers. The approach adopted is shown below:

- The proportion of rural consumption in the total LT:1 and LT:2 consumption is computed based on section-wise data of sales (2004-05 sales data) in sections receiving 16-hr supply

- An increase of 30% is expected to occur in the existing rural consumption if 24-hr supply is extended. Hence, the forecasted rural consumption in 2006-07 is increased by 30% over and above the base forecast to incorporate the impact of 24-hr supply

The additional sales expected to occur in LT:1 and LT:2 categories due to 24-hr supply are:

- LT:1 – Domestic - 166.62 MU

- LT:2 – Commercial – 23.26 MU

The base forecast for 2006-07 is increased by the above amounts to arrive at the total forecast.

#### RESCO addition

The Order for merging Sanjay RESCO into APCPDCL has been received effective 1st December 2005.  Hence, sales projected by Sanjay RSECO (as provided by Managing Director, Sanjay RESCO) for the period December 2005 to March 2009 have been included in the licensee’s LT projections. Sales for the period April-November 2005 have been accounted for under HT RESCO category.

| Categories | Current Year (2005-06) |  |  | Control Period |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | H1 | H2 | Total | 2006-07 | 2007-08 | 2008-09 |
| RESCO projection accounted in APCPDCL |  |  |  |  |  |  |
| LT Cat-I |  | 5 | 5 | 14 | 14 | 14 |
| LT Cat-II |  | 1 | 1 | 2 | 2 | 2 |
| LT Cat-III |  | 1 | 1 | 2 | 2 | 2 |
| LT Cat-V |  | 66 | 66 | 194 | 194 | 194 |
| LT Cat-VI |  | 1 | 1 | 4 | 4 | 4 |
| Current Year upto November accounted under RESCO |  |  |  |  |  |  |
| RESCO | 122 | 37 | 158 |  |  |  |
| Total | 122 | 109 | 231 | 215 | 216 | 215 |

#### Final forecasts for LT:I - Domestic and LT:II - Commercial Categories

LT: Category I

| Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Previous Year |  | Current Year | Control Period |  |  |
| 2,854 |  | 3,174 | 3,558 | 3,772 | 3,979 |

| Year-on-Year Growth Rates projected |  |  |  |
| --- | --- | --- | --- |
| 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Current Year | Control Period |  |  |
| 11% | 12% | 6% | 6% |

LT: Category II

| Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Previous Year |  | Current Year | Control Period |  |  |
| 856 |  | 986 | 1,114 | 1,212 | 1,319 |

| Year-on-Year Growth Rates projected |  |  |  |
| --- | --- | --- | --- |
| 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Current Year | Control Period |  |  |
| 15% | 13% | 9% | 9% |

### Forecasting Sales: LT III

The historical trend and growth rates adopted for forecasting LT-III sales are as given in the table below:

| Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CAGR | 2 year average | Last year's growth rate | H1 growth rate | H2 04-05 MU increase |  | 2005-06 | 2006-07 |
| 7% | 6% | 7% | 7% | 149 |  | 6% | 6% |

The final projections for LT - Category III sales for APCPDCL for the Current Year and Control Period are as given below:

| Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Previous Year |  | Current Year | Control Period |  |  |
| 887 |  | 940 | 994 | 1,051 | 1,110 |

### Forecasting Sales: LT IV

Projections for CY and Control Period are based on historical growth rates as provided below:

| Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates adopted |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CAGR | 2 year average | Last year's growth rate | H1 growth rate (05-06/04-05) | MU increase (H2 over H1) |  | 2005-06 | 2006-07 |
| 11% | 9% | -2% | -4% | 0.44 |  | 4% | 3% |

The final sales projections for LT Category IV are as given below:

| Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Previous Year |  | Current Year | Control Period |  |  |
| 16 |  | 13 | 14 | 14 | 15 |

### Forecasting Sales: LT V (Agriculture)

The Licensed area of APCPDCL covers six rural districts excluding Hyderabad district. Farmers in these districts are largely dependent on lifting of ground water for their irrigation needs. The demand has been growing consistently over the past years. Typically two crops are grown in a year and in some areas a third crop is also grown. Paddy is the preferred crop in most of the areas resulting in high demand on irrigation. In recent years, during some parts of the agricultural season, the licensee was compelled to extend the supply beyond the stipulated seven hours to save the standing crops.

Another factor contributing to higher demand for energy is the fact that most of the pumps are not as per standard specifications and therefore draw more energy. Sometimes old pumpsets are replaced with higher capacity pumpsets with expectation that a higher capacity pump will result in more water being pumped out.

The Government of Andhra Pradesh declared a modified Agriculture Policy in January 2005 aimed towards incentivising Demand Side Management in the sector. One key feature of the policy is to install capacitors for all the existing pumps at the earliest. The licensee is taking all steps necessary to implement the same and is hopeful of a positive response from the farming community.

The estimation of consumption of electricity in the agriculture sector is based on three factors:

- Estimate of actual consumption in first half and second half of the previous year and first half of the current year based on the readings from meters installed on the LV side of the distribution transformers on a sample basis.

- Assumption of savings in consumption due to installation of capacitors on existing pump-sets.

- Assumption of new service release and adoption of complete DSM measures including capacitors, ISI motors and HDPE pipes on these services.

The paragraphs below explain the methodology of estimating actual consumption and using that as base projection of future consumption.

#### Measurement of agricultural energy consumption through energy meters installed at LV side of Distribution Transformer:

In accordance with the Directives of Hon’ble Commission, APCPDCL has arranged for the metering of energy on the LV side of Distribution Transformers (DTR) that exclusively feed agricultural loads. A total of 6277 DTRs exclusively feeding agricultural loads were provided with metering on the LV side in 235 Mandals out of 322 Mandals. Of these meters, 12 months readings are available for 3189 to 4137 meters depending on the month (after analysis for exceptions and removing duplicate readings) for the period from November 2004 to October 2005. The data is being regularly submitted to the Hon’ble Commission for regular monitoring. The methodology followed is as follows:

- The connected load under DTRs in Mandals is taken from Census report

- The consumption recorded in the Meter on LV side of same DTRs in that Mandal are adopted after adjusting for LT line losses based on the type, configuration, and length of the lines under these DTRs. For the Mandals where DTR meter data is not available, the average specific consumption of the district concerned is adopted

- The specific consumption per HP/month for the Mandal is arrived at by dividing (b) with (a)

- The total connected load (in HP) in the districts is taken from census and total consumption in the districts is arrived by multiplying specific consumption and connected load in HP

Total No. of Mandals						 : 	322

No. of Mandals covered with sample metering		 : 	235

Metered DTRs feeding exclusively agricultural loads	 : 	6,277

Metered DTRs for which readings are available	:	3,189 to 4,137 depending on month, after analysis and removing duplicate readings

LT line losses are estimated as follows after due classification of the line under one of the following classes:

| Serial No. | Name of the Group | No. of DTRS considered | Avg. connected load on the feeder in kVA | Maximum load on the feeder in Amps. | Avg. length of the feeder in km | Avg. energy loss per month in kWh | Avg. energy sent out through DTR in month in kWh | % of Energy loss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | A | 9 | 28.06 | 35.33 | 1.01 | 55.24 | 5200.22 | 1.06 |
| 2 | B | 2 | 31.5 | 40.95 | 2.32 | 102.42 | 4071.5 | 2.52 |
| 3 | C | 1 | 40.5 | 50 | 3.05 | 150.86 | 4200 | 2.85 |
| 4 | D | 15 | 62.17 | 78.58 | 1.35 | 180.74 | 8040.73 | 2.25 |
| 5 | E | 7 | 61.57 | 78.84 | 2.44 | 216.24 | 10502.3 | 2.06 |
| 6 | F | 3 | 77 | 96.77 | 3.92 | 639.72 | 22175 | 2.88 |
| 7 | G | 6 | 115.17 | 144.86 | 1.55 | 818.51 | 15093.5 | 5.42 |
| 8 | H | 16 | 103.69 | 129.56 | 2.51 | 816.49 | 15146.6 | 5.39 |
| 9 | I | 12 | 121.67 | 152.2 | 3.85 | 1161.2 | 17964.7 | 6.46 |

Estimate for one Mandal in a circle is provided below for illustrative purpose:

Devarakonda Mandal in Nalgonda district

##### Name of the Mandal							:  Devarakonda Mandal

Meter fixed on LV side of DTR	 of  Iddampally village		:  DTR Code. No. 235700202

September’05 consumption as per DTR meter reading		:  23081

Estimated LT line loss (Class of line H)				:  475.47

September’05 consumption on DTR excluding LT line losses	:  22605.53

No. of agl services on the said DTR					:  30

Connected load of agl Services on DTR				:  150

Specific consumption per HP for month				:  150.70

No of agl services in Mandal						:  3020

Connected load of agl services in the Mandal			:  13215

Monthly consumption of agl services in the Mandal		:  1991472

Based on similar computation (as explained above), consumption in Nalgonda during September’05 : 103.73 MU

Similar computation is done for all the Mandals, which are covered by metered DTRs, and in case of the Mandals where metered DTRs are not available, the circle average specific consumption is adopted.

The actual agriculture consumption based on LV DTR readings from April ’04 to September ’04 is given below:

| CPDCL | ###### Apr-04 | May-04 | Jun-04 | Jul-04 | Aug-04 | Sep-04 | Apr-04 to Sep-04 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LT V - Agriculture consumption | 414.88 | 372.62 | 430.72 | 506.87 | 585.41 | 544.42 | 2854.92 |

The actual agricultural consumption based on LVDTR readings from October ’04 to March ’05 is given below:

| CPDCL | Oct-04 | Nov-04 | Dec-04 | Jan-05 | Feb-05 | Mar-05 | Oct-04 to Mar –05 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LT V - Agriculture consumption | 539.66 | 452.19 | 457.76 | 489.87 | 425.81 | 552.33 | 2917.62 |

The actual agricultural consumption based on LV DTR readings from April’05 to Septmber-05 is given below:

|  | Apr-05 | May-05 | Jun-05 | Jul-05 | Aug-05 | Sep-05 | Apr-05 to Sep-05 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LT V - Agriculture consumption | 433.81 | 392.65 | 359.78 | 367.34 | 481.62 | 437.50 | 2,472.71 |

The agricultural consumption for first half (H1) of 2004-2005 is 2,854.92 MU and 2,917.62 MU for the second half (H2). For the H1 2005-2006 it is 2472.71 MU, i.e. a decrease of 382.21 MU over the consumption of first half 2004-2005. These estimates form the base for projection of agricultural consumption for the future years.

The following issues were considered while projecting agricultural consumption for FY 2005-2006 and 2006-2007:

- While the consumption during 2005-06 H1 is relatively lower, the same trend will not continue in second half. This is because the first half reduction was mainly because of the bountiful monsoon which resulted in savings due to lower utilization of irrigation pumpsets. Hence for the second half the effects of the good monsoon in first half have not been considered and in fact it may cause higher consumption in second half as the groundwater levels in most of the districts have increased significantly.

- New service release of 8,602 has been assumed for the year 2005-06 as the company is witnessing a delay in the consumer’s part on complying with the complete DSM measures of capacitors, ISI pump-sets and HDPE pipes for release of new services. However, for the year 2006-07 a target of 32,250 pump-set release is projected as it is expected that over a period of time the consumers will be more aware of the benefits of recommended DSM measures due to significant communication effort from the licensee through regular meetings at various levels.

- With full DSM measures, the specific consumption of the newly released pump-sets from 2005-06 onwards are expected to come down by 20% on an average.

- Based on these assumptions, the consumption for H2 of the current year (2005-06) is expected to be around 3062 MU (an increase of 144 MU over H2 consumption of previous year). The increase expected is primarily due to the expectation of more consumption due to improved ground water level in most of the rural areas. On account of merger of Sanjay RESCO from December 2005, additional 66MU agricultural consumption in the RESCO area is expected to be considered as CPDCL sales. Therefore, the total H2 consumption for this year is expected to be 3,128 MU, taking the total for the year to 5,601 MU.

- In 2006-07, the savings in consumption by the existing pumps is expected to be about 6% on account of installation of capacitors as the licensee is actively pursuing the same through various measures including discussion with suppliers, providing space to the supplier to stock the capacitors at section offices and communicating at various local levels.

- The licensee also estimates that the monsoon next year will be at a normal level and hence believes that the H1 consumption will be at the H1 consumption level for the previous year 2004-05 and not at the level of the current year 2005-06.

- Based on the above-mentioned assumptions on new service release and DSM measures for the new pumps and adopting the specific consumption of H1 of 2004-05 adjusted downward for the 6% efficiency for the existing pumps expected from capacitor installations, the licensee has estimated a total H1 consumption of 2,825 MU for next year (including 95 MU of RESCO additions for full H1). The consumption without RESCO area consumption is 125 MU less than that in the previous year 2004-05 and demonstrates that the licensee is making efforts to introduce the DSM measures adequately.

- On similar basis, the H2 consumption of 2006-07 is estimated at 3,113 MU (including 99 MU of RESCO additions for full H2). This is again 114 MU less than the current year estimate of H2 consumption.

- Therefore, the total agricultural consumption for the year 2006-07 is estimated at 5,938 MU including additional consumption of 194 MU of RESCO. Without RESCO area consumption, the consumption for the whole year is expected to be 5,744 MU, almost equal to the pervious year’s consumption.

Considering all the above points, the projections for the agricultural consumption for the period 2005-06 to 2008-09 have been made as below:

| 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- |
| Current Est | Proj | Proj | Proj |
| 5,601 | 5,938 | 6,280 | 6,509 |

### Forecasting Sales: LT VI (Street lighting & PWS)

The historical growth rates and Year-on-Year growth rates adopted for projections are as provided below:

| Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates adopted |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CAGR | 2 year average | Last year's growth rate | H1 05-06 growth rate | H2 04-05 MU increase |  | 2005-06 | 2006-07 |
| 4% | 8% | 8% | 15% | 88 |  | 4% | 5% |

The sales projections for LT Category VI are as provided in the table below:

| Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Previous Year |  | Current Year | Control Period |  |  |
| 491 |  | 514 | 555 | 598 | 643 |

### Forecasting Sales: LT VII

Historical growth rates and final sales projections for LT Category VII are as provided in the tables below:

| Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates adopted |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CAGR | 2 year average | Last year's growth rate | H1 growth rate (05-06/04-05) | MU increase (H2 over H1) |  | 2005-06 | 2006-07 |
| 6% | 8% | 9% | -77% | 8 |  | 13% | 7% |

| CPDCL | Actual |  | Projection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2004-05 |  | 2005-06 | 2006-07 | 2007-08 |  | 2008-09 |  |
|  | Previous Year |  | Current Year | Control Period |  |  |  |  |
|  | 40 |  | 45 | 48 |  | 51 |  | 55 |

### Forecasting Sales: HT-IA

The forecast for HT-IA sales was made using a three-pronged approach. While the basic forecast was based on the trend-methodology, significant modifications to the trend estimates were made based on the alternate approaches, namely the econometric approach and the market survey / end-use approach.

#### Trend Approach

HT IA –Water-works

The trend projection was made separately for Water works and Other consumers under HT-I category. This was made to incorporate some recent plans by Hyderabad Metro Water-works & SB water works as given below:

|  | Actual Sales | Projection CY | Projection Control Period |  |  | Year-on-Year Growth Rates |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| CPDCL | 190.39 | 273.79 | 293.50 | 320.60 | 347.80 | 44% | 7% | 9% | 8% |

A substantial load of 21MVA was released in the middle of FY 2004-05 to 3 HT services of Hyderabad Metro Water-works at 132 kV in the Nalgonda circle for pumping water from river Krishna to Hyderabad city. Hence, a substantial growth in sales during FY 2005-06 has been projected. Work for the second pipeline is under progress. Hence, some growth in sales has been estimated for the control period as well. In operation circles other than Nalgonda, a substantial growth in sales is not expected as no release of new loads is expected in the future.

HT IA – Other than Water-works

For HT IA sales other than water-works, based on historical growth rates/numbers for each circle, the growth rates assumed for projecting sales for the CY and Control Period are as given below:

|  | Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | CAGR | 2 year average | Last year's growth rate | H1 growth rate | MU increase (H2 / H1) |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| CPDCL | 21% | 24% | 28% | 26% | 701 |  | 21% | 15% | 12% | 9% |

Thus, the trend based HT IA (other than water-works) sales projection for CPDCL is as follows:

|  | Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
|  | Previous Year |  | Current Year | Control Period |  |  |
| CPDCL | 3,457 |  | 4,207 | 4,850 | 5,435 | 5,937 |

#### Alternate Approach

An alternate approach for forecasting was also attempted for sales forecasting. This approach was based on estimating the consumption in various key industries for each licensee based on two methods: the statistical method and the energy-trend method. These methods are explained in the following sections.

The tables below provide the break-up of major firms / industries in each utility (break-up on the basis of recorded energy consumption in 2004-05):

| CPDCL |  |
| --- | --- |
| INDUSTRY TYPE | RKWH Contribution |
| Cement & Cement Product Industries | 23.55% |
| Iron And Steel (Total) | 14.45% |
| Iron & Steel Products (Others) | 7.39% |
| Mini Steels | 4.26% |
| Steel Industry | 2.81% |
| Textile Mills And Spinning Mills | 11.74% |
| Drugs And Pharmaceuticals | 8.15% |
| Chemicals | 5.00% |
| Plastic Industry | 4.70% |
| Public Water Supply | 4.23% |
| Food Processing Industries | 1.80% |
| Rubber Industry | 1.78% |
| TOTAL | 75.40% |

Statistical Method

This method was based on the hypothesis that that the total energy consumption by a firm / industry is directly proportional to the production levels of that firm / industry.

Detailed methodology

- Step 1: Industry-specific recorded energy consumption (RKWH) data was obtained at a circle-level for 2001-2005 periods. This data was obtained for the top four industries (as indicated in the earlier table) identified for each utility, with the remaining industries being clubbed together.

- Step 2: State-level industrial production data / indices for 2001-02 to 2004-05 were obtained for the identified key industries

Rejection of statistical method

The statistical method was rejected because of the following reasons:

- For the 2001-02 to 2004-05 period, the growth in recorded energy consumption (state-level) for each industry was significantly higher than the growth witnessed in state-level production data / index for that industry

- In particular, the growth recorded in energy consumption for Steel, cement and textiles was more than three times that in the production level

- Data reliability / availability: State-level industrial production data was not available and a proxy of Index of Industrial Production (IIP) was used instead. The growth rates calculations were based on the growth in IIP index. Further, the data for 2004-05 was available only on a provisional basis.

Energy-trend Method

This method was based on making industry-specific energy consumption forecasts primarily based on the past trends. Past energy consumption growth rates from 2001-02 to 2004-05 were considered and a higher weightage was given to recent growth rates for obtaining the trend forecast. The results of this method were suitably validated / modified by the results of the market-survey approach.

#### Market Survey Approach

Several key consumers across utilities were also identified for the market survey approach. This selection was based on the consumption levels of these firms, the industry of the firm, and other such parameters.

These consumers were interviewed to assess their energy requirements and that of the industries they represent. The consumer survey questionnaire primarily dealt with the following:

- Estimating the energy requirement and production levels for those individual consumers for the control period

- Growth trends in production / energy consumption in their respective industries, and in their respective geographies

- Individual plans of these consumers for availing open access / opting for captive generation

Key results of interviews for CPDCL

- The industries felt that the energy consumption trend witnessed during the last 2-3 years in the cement industry is likely to continue for the next 3-4 years as well

- The industries also reacted positively to the new Incentive Scheme and expressed that this has encouraged them to consume more from the grid to improve their load factor.

- One of the industry also expressed that they have plans to reduce 3rd party purchase and increase CMD with Discoms because of rising 3rd party tariffs and reduction in Transco tariffs.

#### Finalized Sales forecast

The results of trend forecast were modified on the basis of the econometric approach, and the results of the market survey approach (as described above). The finalized sales forecast for HT-IA category is as follows:

|  | Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
|  | Previous Year |  | Current Year | Control Period |  |  |
| CPDCL | 3,647 |  | 4,480 | 5,143 | 5,755 | 6,285 |

|  | Year-on-Year Growth Rates projected |  |  |  |
| --- | --- | --- | --- | --- |
|  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
|  | Current Year | Control Period |  |  |
| CPDCL | 23% | 15% | 12% | 9% |

### Forecasting Sales: HT IB (Ferro Alloys)

There are two ferro-alloy industries in CPDCL, namely M/s. VBC Ferro Alloys in Medak and M/s Bharat Alloys in Kurnool. Projection of sales for this category has been based on recent connection history and de-ration requests submitted by them.

The ferro-alloy unit at Kurnool is under disconnection since October 2005. Further, it has requested for de-ration of their contracted demand to 200 kVA. The ferro alloy unit at Medak is at present running at a de-rated CMD of 13 MVA and has also requested for further de-ration to 200 kVA.

In view of the above, the forecast of 174 MU (H1- 108 MU and H2 – 66 MU) is made for 2005-06 and for further years no sales have been forecast under this category.

### Forecasting Sales: HT II (Industrial-Non segregated)

| Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates adopted |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CAGR | 2 year average | Last year's growth rate | H1 (05-06) growth rate | H2 04-05 MU increase |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| 12.5% | 22.1% | 28.1% | 17.4% | 74 |  | 15.1% | 11.9% | 8.6% | 8.7% |

| Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Previous Year |  | Current Year | Control Period |  |  |
| 558 |  | 660 | 739 | 803 | 873 |

### Forecasting Sales: HT IVA & IV B (Lift Irrigation)

The forecast for 2005-06, 2006-07, 2007-08 & 2008-09 has been prepared based on the applications received. The forecasted consumption estimated is as follows:

| HT IV A | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- |
|  | MU | MU | MU | MU |
| CPDCL | 145.3 | 186.8 | 191.07 | 195.45 |
| HT IV B | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
|  | MU | MU | MU | MU |
| CPDCL | 42.3 | 52.0 | 70.9 | 89.9 |

### Forecasting Sales: HT V (Railway Traction)

The forecast for 2005-06, 2006-07, 2007-08 & 2008-09 have been provided for this category by the South Central Railways is as follows:

|  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- |
| CPDCL | 83.85 | 88.05 | 92.45 | 143.28 |

### Forecasting Sales: HT VI

| Historical Growth Rates/Numbers |  |  |  |  |  | Year-on-Year Growth Rates adopted |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CAGR | 2 year average | Last year's growth rate | H1 (05-06) growth rate | H2 04-05 MU increase |  | 2005-06 | 2006-07 |
| 13.2% | 10.8% | 13.8% | 6.6% | 10.3 |  | 5.6% | 4.7% |

| Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Previous Year |  | Current Year | Control Period |  |  |
| 66 |  | 64 | 67 | 70 | 73 |

### Forecast Sales: LT & HT Temporary

|  | Actual |  | Projection |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 2004-05 |  | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
|  | Previous Year |  | Current Year | Control Period |  |  |
| CPDCL | 6.35 |  | 2.50 | 2.63 | 2.76 | 2.89 |

### Overall Sales Forecast: CPDCL

The overall sales forecast for CPDCL based on the modified trend approach, which incorporates results of alternate approaches such as the Econometric method and End Use /Market survey approach is as given below:

| Consumer Categories | 2005 | 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- | --- | --- |
|  | Actual | Current Est | Proj | Proj | Proj |
| L.T. Supply | 10,923 | 11,275 | 12,224 | 12,981 | 13,633 |
| Domestic Supply | 2,854 | 3,174 | 3,558 | 3,772 | 3,979 |
| Non-Domestic Supply | 856 | 986 | 1,114 | 1,212 | 1,319 |
| Industrial Supply | 887 | 940 | 994 | 1,051 | 1,110 |
| Cottage Industry | 16 | 13 | 14 | 14 | 15 |
| Irrigation & Agricultural | 5,773 | 5,601 | 5,938 | 6,280 | 6,509 |
| Public Lighting | 491 | 514 | 555 | 598 | 643 |
| General Purpose | 40 | 45 | 48 | 51 | 55 |
| Temporary | 6 | 3 | 3 | 3 | 3 |
| H.T. Supply | 5,151 | 5,808 | 6,276 | 6,982 | 7,659 |
| Industrial General | 3,647 | 4,480 | 5,143 | 5,755 | 6,285 |
| Ferro-Alloys | 279 | 174 | - | - | - |
| Industrial Others | 558 | 660 | 739 | 803 | 873 |
| Irrigation & Agricultural | 169 | 188 | 239 | 262 | 285 |
| Traction | 81 | 84 | 88 | 92 | 143 |
| Colony Lighting | 66 | 64 | 67 | 70 | 73 |
| REC Societies | 346 | 158 | - | - | - |
| Temporary | 4 | - | - | - | - |
| Total | 16,074 | 17,084 | 18,500 | 19,963 | 21,292 |

It must be reiterated at this point that the sales forecast for 2007-08 and 2008-09 is only an indicative projection, to be used only for evaluating investment requirement for the last two years of the Control Period.

## Capital Investment Plan

For the first LTTP control period (2006-07 to 2008-09), the capital investment plan has been prepared for a three year period. The investment plan has been prepared after a comprehensive analysis of network parameters and using a framework for prioritizing the investments.

Going forward, the following three broad objectives have been set:.

- The network should cater to Sales Growth over the next three years 2006-07 to 2008-09 (LTTP control Period)

- Achieve targets for efficiency improvement viz. loss reduction trajectory

- Improving quality of supply

Largely, the capital investments are targeted either for network expansion to increase the present consumer base or to strengthen the existing network for improved services. The major schemes under which Discoms plan their capital expenditure are:

- System Improvement (SI)

- Release of Services (RoS)

- Rural Electrification schemes, RGGVY

- HVDS

Scheme wise investment plan has been mentioned in the following sections. For the filing, the investment plan is not being submitted on a case to case basis. However, at the time of execution the detailed investment plan shall be submitted adhering to the guidelines issued by the commission on the scheme wise investment plan. As per the Regulation, 10% deviation has been allowed by the Commission considering some uncontrollable variables which can not be anticipated beforehand.

### Summary of Investment Plan

The approved budget provision for the capital works for the year 2005-06 is Rs. 350.70 crores, including release of services for an amount of Rs.40 crores and Rs. 50 crores for T&D SI.  In view of the actual progress of works under sanctioned schemes and also the schemes posed / being formulated for funding by REC / PFC / WB / GoI (APDRP), the revised estimate of capital investment for the year 2005-06 is Rs. 466.83 crores. This includes an additional amount of      Rs. 40 crores towards HVDS, Rs. 8.45 crores for release of service as well as Rs. 58.65 crores towards RGGVY, which are over and above the APERC approved investment.

For FY 2006-07, 2007-08 and 2008-09, the projected capital expenditure is Rs. 621.7 crores, Rs. 467.57 crores and Rs. 548.70 crores respectively, the details of which are as presented below:

| Particulars | 2004-05 | 2005-06 |  | 2006-07 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actual | APERC | Current Est | Projection |  |  |
| SI | 74.85 | 39 | 39.27 | 126.97 | 65.5 | 139.25 |
| Metering Schemes | 2.79 | 50 | 50 | 32 | 20 | 30 |
| HVDS | 22.43 | 12.5 | 52.5 | 109 | 125 | 172 |
| RGGVY | 9.61 |  | 58.65 | 58.65 | 58.84 |  |
| Service Release | 48.75 | 40 | 48.45 | 59.70 | 61.54 | 63.37 |
| PFC (Hyd City Scheme) | 3.73 | 50 | 50 | 108 |  |  |
| T&D SI | 70.91 | 50 | 50 | 55 | 61 | 67 |
| Pumpset Energization | 10.89 | 15 | 15 | 15 | 15 | 15 |
| APDRP | 48.13 | 49.5 | 49.5 |  |  |  |
| Others | 6.42 |  |  |  |  |  |
| Total | 298.50 | 306 | 413.37 | 564.32 | 406.88 | 486.62 |
| Add: IDC | 23.79 | 14.1 | 26.79 | 29.35 | 29.62 | 27.86 |
| Add: Expenses Capitalised | 24.73 | 30.6 | 26.67 | 28.03 | 31.07 | 34.21 |
| Total Investment | 347.02 | 350.70 | 466.83 | 621.70 | 467.57 | 548.70 |

IDC has been calculated as a percentage of the average Capital Works-in-Progress for the year.  Expenses Capitalized have been projected at 8.28% of the total Employee expenses and Administrative and General expenses for the year. This differs from the practice of projecting Expenses Capitalised as a percentage of capital investment for the year, since the licensee does not expect expenses related to investments in major schemes like HVDS to increase proportionately with the capital expenditure incurred thereon.

The licensee continues to lay the utmost importance on timely completion of projects undertaken and has been following the practice of capitalizing (to fixed assets) only those works which have actually been completed. Total capitalisation for the Base Year and the Control Period has been projected based on the following assumptions:

- 30% of capital investment for the year will be completed and capitalized within the year

- 90% of the opening Capital Work-in-Progress for the year will be completed and capitalized during the year

Thus, the licensee has projected capital investment undertaken and its capitalization for the Base Year and Control Period as given below:

| Particulars | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| --- | --- | --- | --- | --- | --- |
| Opening Balance | 240.25 | 398.77 | 366.66 | 471.86 | 374.49 |
| Capital Expenditure during the year | 347.02 | 466.83 | 621.70 | 467.57 | 548.70 |
| Base Capital Expenditure | 298.50 | 413.37 | 564.32 | 406.88 | 486.62 |
| IDC | 23.79 | 26.79 | 29.35 | 29.62 | 27.86 |
| Expenses Capitalised | 24.73 | 26.67 | 28.03 | 31.07 | 34.21 |
| Transfer to fixed assets | 188.50 | 498.95 | 516.50 | 564.94 | 501.65 |
| Closing CWIP | 398.77 | 366.66 | 471.86 | 374.49 | 421.54 |

The detailed expenditure plan on key projects and the underlying assumptions are explained in the following paragraphs.

### Methodology for determining SI capital investment needs

At a high level, SI planning is expected to meet two broad objectives viz. managing load growth and enabling reduction of technical loss in the distribution system.

In this regard, the planning for System Improvement based capital expenditure has been based on comprehensive analysis of variables that monitor quality and reliability of supply:

In this regard, the following have been considered as part of the analysis:

- Voltage Regulation (‘VR’) (in view of close correlation between VR and Technical Loss in a feeder) (expressed in %)

- Peak Capacity Utilisation (‘PCU’) (expressed in %) (gives an assessment of when capacity augmentation may be needed in light of the load growth)

- Total Duration of Breakdown and Failure (‘B&F’) (in case of B&F, for the purpose of the analysis, the variable has been adjusted to incorporate the level of current handled by the feeder as well and is expressed in “minutes*MVA”)

The variables have been monitored at the following asset levels:

- 33 kV feeder

- 33 / 11 kV sub-station

- 11 kV feeder

Due to practical constraints, the variables could not be analysed at the LT level.

The analysis has also incorporated the load growth assumptions over the duration of the first Control Period of LTTP filing and this has been utilised in projecting the variables over 2006-07 to 2008-09.

For improved effectiveness, the planning process has been based on priortisation of SI requirement within each asset type. The priortisation has been based on a combination of technical as well as type of load criteria.

- Prioritisation based on Technical Criteria

At a technical level, the need for SI has been based on comparison of values of each of the variables against commonly accepted thresholds for each asset type. The thresholds that have been utilised for SI planning are shown below:

|  | Unit | 33 kV feeder | 33/11 kV SS | 11 kV feeder |
| --- | --- | --- | --- | --- |
| Voltage Regulation (VR) | % | 9% | Not Applicable | 8% |
| Peak Capacity Utilisation | % | 95% | 90% | 80% |
| Breakdown Failure | Min. MVA | 7000 | Not Applicable | 713 |

These thresholds are used to determine whether a feeder or substation requires SI. For example, a 33kV feeder with a VR beyond 9% would be a candidate for SI.

In essence, the planning has been based on deviation of the variables from the threshold norms as set out in the table above based on current values of the variables or their estimated value over the period of the LTTP filing.

To facilitate prioritization of SI works, variables have been combined through a statistical normalization process to determine an index for assets within its category. In other words, the index has made any two feeders (11 kV / 33 kV) or any two 33/11 kV SS amenable to comparison from the point of requirement of SI. Such an index is expected to assist the order in which SI implementation is taken up and will enable the distribution licensees to achieve the loss reduction target in a more efficient manner.

During the combination process, maximum weightage has been awarded to Voltage Regulation followed by Peak Capacity Utilisation and finally by Breakdown Failure.

The need for SI for a SS has been based primarily on information on capacity utilisation. However, further analysis of the configuration of the SS viz. number of bays, capacity of each PTR, etc has been carried out to form an assessment of kind of SI that can is required at each sub-station, which will be one of the following:

- Capacity Augmentation of PTR;

- Bay Extension; and

- New Sub-Station

It is important to indicate here that the proposal for SI for sub-stations has been based on technical parameters and has not addressed practical implementation difficulties / issues that may arise at the time of execution. Such issues include lack of space, lack of clear right of way, topology, etc. Hence, the details of the form of sub-station SI indicated (including requirement for new SS) as part of the filing is subject to modification based on implementation issues that may arise at the time of execution.

Prioritisation based on Type of Load Criteria

At the second level, the priortisation has been carried out from a type of load standpoint as well. For example, wherever possible, each feeder has been classified depending on the pre-dominant category of consumers to which electricity is being supplied by the given feeder. The threshold norms have been tightened in order to ensure improved quality and reliability of supply to Industrial consumers, Water Works, etc. as water works is considered an important public service.

Loss Reduction Potential

As stated earlier, Voltage Regulation has a strong correlation with technical loss in the system. Through use of empirical analysis of Voltage Regulation information together with System Loss, it has been possible to estimate the energy saving potential in each feeder on execution of SI work. Since the planning process has been able to identify the specific feeders requiring SI in each year of the Control Period, the empirical analysis has been utilised to aggregate the energy saving potential during the year and hence calculate the system loss reduction (in %) that is possible to be carried out during the year.

In summary, the planning for SI based capital expenditure has been carried out such that the distribution licensees are able to provide reliable power and address load growth requirements. Planning has been priortised such that resources are applied in an efficient and timely manner and such that the utilities are in a position to meet the stated system loss reduction targets over the three year duration of the Control Period.

### Agricultural HVDS

The APCPDCL has decided to implement HVDS system for agricultural sector by providing small capacity DTRs like 25 kVA and 16 kVA in place of existing high capacity DTRs like 63, 100 & 160 kVA for eliminating direct tapping of lines, thereby reducing the LT line losses.   From small capacity DTRs the LT AB Cable is laid as nearer as possible to the pumpsets.

The objectives of HVDS are:

- Reduction of LT lines losses

- Reduction of unauthorized agricultural connections

- Reduction of DTRs failure rate

- Improvement of voltage profile and reliability of supply

- Reduction in peak power losses

- To inculcate ownership attitude among farmers by limiting 3 to 5 connections on small capacity DTRs.

Detailed Project Reports (DPRs) have already been formulated for Anantapur, Mahabubnagar and Nalgonda districts at total cost of Rs.1247.33 crores.  REC has ‘in principle’ sanctioned the above proposal with 90% loan component of the DPR cost i.e. Rs.1122.59 crores.  In the First Phase, REC has sanctioned 15 schemes covering all divisions of the above 3 circles at 90% loan component for a total amount of Rs. 458.78 crores, which amounts to Rs.412.9 crores.

Tenders for selected 11 kV feeders where the line losses are more than 20% have already been floated in the First Phase at the cost Rs.99.5 crores. Bids submitted by contractors are presently under evaluation.

Abstract of new HVDS schemes for six 11 kV feeders

| Sl. No. | Name of the Circle | Name of the Division | Scheme Code No. | No. of feeders selected | Amount |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Gross | Net |
| 1 | Nalgonda | Miryalguda (OD) | 78009 | 6 | 6.92 | 6.01 |
|  |  | Suryapet (OD) | 780010 | 6 | 7.98 | 6.11 |
|  |  | Bhongir (OD) | 780011 | 6 | 10.34 | 8.41 |
|  |  | Nalgonda circle | 780012 | 6 | 6.15 | 5.18 |
|  |  | Nalgonda (OD) | 780013 | 6 | 6.64 | 5.34 |
|  | Sub-Total |  |  |  | 38.03 | 31.05 |
| 2 | Mahabubnagar | Mahabubnagar circle | 780014 | 6 | 6.82 | 5.65 |
|  |  | Jadcherla (OD) | 780015 | 6 | 5.99 | 5.43 |
|  |  | Mahabubnagar (OD) | 780016 | 6 | 8.22 | 6.84 |
|  |  | Wanaparthy (OD) | 780017 | 6 | 9.25 | 7.80 |
|  |  | Nagar Kurnool (OD) | 780018 | 6 | 5.73 | 5.17 |
|  | Sub-Total |  |  |  | 36.01 | 30.89 |
| 1 | Anantapur | Anantapur circle | 780019 | 6 | 8.62 | 7.16 |
|  |  | Gooty (OD) | 780020 | 6 | 6.64 | 5.65 |
|  |  | Anantapur (OD) | 780021 | 6 | 7.79 | 6.61 |
|  |  | Hindupur (OD) | 780022 | 6 | 11.33 | 9.33 |
|  |  | Kadiri (OD) | 780023 | 6 | 9.95 | 8.80 |
|  | Sub-Total |  |  |  | 44.32 | 37.55 |
|  | Grand Total |  |  |  | 118.36 | 99.50 |

### Hyderabad City Project (PFC):

This involves System Improvement projects for improving the distribution network in Hyderabad Municipal area by erecting new 33/11 kV Substations, interlinking lines and conversion of existing 11 KV & LT over head systems to underground (UG) cabling systems.

Objectives:

- Minimising interruption / Breakdowns due to gale and rains

- Elimination of accident deaths due to snapping of conductors

- Elimination of theft due to hooking LT lines

- Improve aesthetic look of the roads / city

- Avoiding cutting of trees along the roads

Capital investment plans for Rs.124.92 crores for Hyderabad North circle, Rs.116.69 crores for Hyderabad Central circle and Rs.120.64 crores for Hyderabad South circle have been drawn up. PFC has accorded sanction for a total amount of Rs. 289.70 crores for the above three schemes.

### Release of Agricultural Services:

Release of supply to agricultural pumpsets is regulated for the free power category. It is based on the programmes indicated by the government. However, taking into account expected releases under ‘Tatkal’ category as well 32,250 agricultural services are expected to be released each year in CDPCL during 2006-07 onwards.  The works under this scheme are purely intended for load development under REC funding.

### Materials schemes:

REC extends loan assistance for purchase of meters, conductors, transformers, breakers etc.  The licensee is availing this facility for purchase of the above equipment which is then utilized for replacement of existing aged meters, replacement of failed distribution transformers, re-conductoring of lines and providing individual breakers to feeders.

### Electronic meters for LT services in towns, municipalities and MHQs:

In CPDCL, there are about 20 lakh single-phase and 3-phase services in towns, municipalities and mandal headquarters for which only ordinary meters exist.  As these meters are very old and do not correctly record consumption at low loads, it is proposed to replace all such meters with electronic single-phase and 3-phase meters. This will improve the quality of metering in APCPDCL, thereby increasing metered sales and reducing losses. This work has been taken up with funding from PFC.

### RE works under RGGVY Programme:

The RE programme contemplates electrification of Weaker Section Colonies, Dalit wadas, Tribal habitations and Hamlets and electrification of rural households. Government of India will provide grant for Below Poverty Line households under the new RGGVY schemes which will be implemented through REC.  The works are taken up as per the policy of Government of India.

Objectives of the Project:

- To extend supply to all villages and hamlets, weaker section colonies and dalitwadas

- Intensive electrification of already electrified areas

## Power Procurement Plan for Current Year Second Half and Ensuing Year

### Basis of estimating the quantity and cost of Power Purchased

This section discusses the methodology and assumptions used for estimating the quantum and corresponding cost of power purchase of the Licensee for the second half of the financial year ending March 31, 2006 and for the financial year ending March 31, 2007.

With the implementation of Multi-Buyer Model (MBM) in the state from June 9, 2005, each discom has been allocated a certain share of the generating stations contracted by APTransco.  Non-conventional Energy sources have been allocated to the discoms based on their locations while the two mini-power plants LVS and Sri Vathsasa have been allocated to EPDCL. The allocation percentages for the different discoms are as follows:

| S.No. | Distribution Company | Allocation Percentage |
| --- | --- | --- |
| 1 | EPDCL | 16.70% |
| 2 | SPDCL | 22.90% |
| 3 | CPDCL | 43.48% |
| 4 | NPDCL | 16.92% |

In the following paragraphs the capacities and availabilities of all the generating sources have been described. The actual energy availability in MU for each discom is simply the total generation availability for each source (except NCEs and the mini-power plants) multiplied by the percentage allocation as per MBM. The energy availability of NCEs for each discom has been shown separately.

### Energy Availability

| Summary Energy Availability Table- MUs |  |  |  |
| --- | --- | --- | --- |
| Sl No | Sector | H2 2005-06 | 2006-07 |
| 1 | APGENCO - Thermal | 10,908 | 22,079 |
| 2 | APGENCO - Hydel | 4,031 | 7,586 |
| 3 | CGS | 8,589 | 17,988 |
| 4 | APGPCL | 191 | 383 |
| 5 | IPPs | 2,976 | 7,699 |
| 6 | NCE | 970 | 2,095 |
| 7 | Mini Power Plants | 60 | 110 |
|  | Total | 27,725 | 57,940 |

| NCE DISCOM-wise Allocation ( Energy Availability- MUs) H2 2005-06 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl | Station Name | EPDCL | SPDCL | CPDCL | NPDCL | Total |
| 1 | NCE - Bio-Mass | 85 | 307 | 104 | 76 | 572 |
| 2 | NCE - Bagasse | 90 | 73 | 33 | 50 | 246 |
| 3 | NCE - Municipal Waste to Energy | 0 | 19 | 21 | 0 | 40 |
| 4 | NCE - Industrial Waste based power project | 33 | 0 | 0 | 0 | 33 |
| 5 | NCE - Wind Power | 0 | 2 | 17 | 0 | 19 |
| 6 | NCE - Mini Hydel | 5 | 10 | 31 | 6 | 51 |
| 7 | NCE - NCL Energy Ltd | 2 | 2 | 4 | 2 | 10 |
|  | Total Availability ( DISCOM-wise) | 214 | 413 | 210 | 133 | 970 |

The NCE capacities are allocated to Discoms as follows on the basis of their location:

| NCE DISCOM-wise Allocation ( Energy Availability- MUs) EY 2006-07 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl No | Station Name | EPDCL | SPDCL | CPDCL | NPDCL | Total |
| 1 | NCE - Bio-Mass | 171 | 666 | 220 | 153 | 1210 |
| 2 | NCE – Bagasse | 175 | 190 | 66 | 101 | 532 |
| 3 | NCE - Municipal Waste to Energy | 0 | 33 | 37 | 0 | 70 |
| 4 | NCE - Industrial Waste based power project | 92 | 0 | 14 | 0 | 107 |
| 5 | NCE - Wind Power | 0 | 4 | 29 | 0 | 33 |
| 6 | NCE - Mini Hydel | 12 | 36 | 62 | 12 | 122 |
| 7 | NCE - NCL Energy Ltd | 3 | 5 | 9 | 3 | 20 |
|  | Total Availability ( DISCOM-wise) | 454 | 935 | 437 | 269 | 2095 |

Based on the availability shown above and the energy requirement from all the Discoms, the actual energy to be purchased has been projected as follows:

| Discoms | H2 Current Year | Ensuing Year |
| --- | --- | --- |
|  | MU | MU |
| EP | 4011 | 8351 |
| SP | 5871 | 12023 |
| CP | 10720 | 22413 |
| NP | 4399 | 8368 |
| Total | 25001 | 51155 |
| Total Energy Requirement (after Transmission losses) | 26221 | 53566 |
| 2005-06 H1 Purchase | 25118 |  |
| Annual Purchase | 51338 | 53566 |

The detailed cost computation (Fixed, Variable and Other Costs) have been explained in Annexure – B. Based on the availability, requirement and costs for each source, the summary power purchase cost for the Sector is projected as follows:

| FY 05-06 Projection (CY) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Station | Power Purchased | Fixed Cost | Variable Cost | Other Costs | Total Costs |
|  | MU | Rs crores | Rs crores | Rs crores | Rs crores |
| APGenco - Thermal | 18238 | 1,535.19 | 2,061.39 | 3.33 | 3,599.91 |
| APGenco Hydel | 8032 | 0.00 | 195.29 | 0.00 | 195.29 |
| CGS (SR) | 10057 | 499.56 | 932.72 | 104.30 | 1,536.59 |
| NTPC Simhadri | 7021 | 452.00 | 707.58 | 14.61 | 1,174.19 |
| NTPC - ER | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| Other SEBs | 18 | 0.00 | 5.59 | 0.00 | 5.59 |
| IPPs | 5826 | 824.19 | 642.23 | 30.93 | 1,497.35 |
| APGPCL | 408 | 19.14 | 49.84 | 0.00 | 68.98 |
| Others | 1738 | 45.65 | 471.60 | 55.38 | 572.63 |
| Total | 51338 | 3,375.73 | 5,066.23 | 208.56 | 8,650.52 |

| Station | Power Purchased | Fixed Cost | Variable Cost | Other Costs | Total Costs |
| --- | --- | --- | --- | --- | --- |
|  | MU | Rs crores | Rs crores | Rs crores | Rs crores |
| APGenco - Thermal | 17932 | 1706.17 | 2018.77 | 0.00 | 3724.94 |
| APGenco Hydel | 7586 | 0.00 | 134.64 | 0.00 | 134.64 |
| CGS (SR) | 10585 | 514.18 | 1045.22 | 99.31 | 1658.72 |
| NTPC Simhadri | 7400 | 452.00 | 752.88 | 24.08 | 1228.95 |
| NTPC - ER | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| Other SEBs | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| IPPs | 7586 | 956.93 | 814.41 | 30.93 | 1802.28 |
| APGPCL | 383 | 18.36 | 46.37 | 0.00 | 64.73 |
| Others | 2094 | 43.25 | 589.71 | 60.53 | 693.49 |
| Total | 53566 | 3690.90 | 5401.99 | 214.85 | 9307.74 |

The Sector cost is allocated to discoms based on the share of each discom in the dispatched stations. The principle of determining power purchase cost for each discom is based on the requirement of a discom and the share of energy it has in the dispatched station. Any difference is settled through “Discom to Discom Transactions” as explained below:

### Discom to Discom Transactions

These transactions primarily arise from the need to minimize the power purchase cost for the sector in AP through a centralized merit order dispatch. The centralized merit order dispatch results in dispatch of a station based on its variable cost, with the lower variable cost stations dispatched ahead of the higher variable cost stations. This results in dispatch of a station even though a particular discom (say Discom 1), who has a share in it, may not need the energy but the energy is utilized by some other discom (say Discom 2). In such a case, as far as the generator is concerned, the payment for the dispatched energy needs to be borne by Discom 1.

Therefore, the Discom 1 needs to recoup the expense from the user discom (Discom 2). In this case, the Discom 1 is said to be “contributing” to the energy pool. Since the Discom who is contributing to the pool is not using its highest/ marginal variable cost energy, it needs to recoup this cost. Based on this principle, the cost of the Discom-to-Discom transaction is determined at the cost of the marginal stations so that the “contributing” discoms do not suffer any loss while the drawing discoms pay the marginal cost.

For the second half of the current year (2005-06) and the whole of ensuing year (2006-07), the licensee has prepared a monthly dispatch schedule based on the principle of centralized merit order dispatch. This schedule along with the allocation of capacity to each discom, results in the following scenario for Discom-to-Discom transactions:

| H2 Current Year (in MU) |  |  |  | Ensuing Year (in MU) |  |
| --- | --- | --- | --- | --- | --- |
|  | Contribution | Drawal |  | Contribution | Drawal |
| EP | 249 |  |  | 306 |  |
| SP | 32 |  |  | 131 |  |
| CP |  | 67 |  |  | 653 |
| NP |  | 214 |  | 216 |  |
| Total | 281 | 281 |  | 653 | 653 |

For a particular discom when the Discom-to-Discom transaction results in a cost (due to drawal), the cost is included in the power purchase cost. However, when it becomes a revenue (due to contribution), the revenue is treated as non-tariff income for the supply business as by nature this is an income from trading in power.

Based on the principles described above, for APCPDCL, the cost of power purchased from all sources including Discom-to Discom transactions is as follows:

|  |  | CPDCL |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | H1 CY | H2 CY | CY | EY |
| Power Purchase from Generators | (in MUs) | 10,556 | 11,176 | 21,732 | 22,816 |
| Power Purchase from Generators | (in Rs. Crores) | 1,909.07 | 1,856.63 | 3,765.70 | 3,882.03 |
| Pool Transaction | (in MUs) | 160 | 67 | 228 | 653 |
| Pool Transaction | (in Rs. Crores) | (0.15) | 10.05 | 9.89 | 97.24 |
| SLDC Charges | (in Rs. Crores) | 6.96 | 11.36 | 18.32 | 23.47 |
| Transmission Charges | (in Rs. Crores) | 117.60 | 191.87 | 309.47 | 309.32 |

### Expected available generation capacity during the Control Period

The licensee expects the generation capacity available for its use during Control Period as follows:

| CPDCL |  |  | MW |
| --- | --- | --- | --- |
| Source of Power | 2007 | 2008 | 2009 |
| APGenco Thermal | 1470.71 | 1470.71 | 1905.51 |
| APGenco Hydel | 1560.22 | 1628.05 | 1661.96 |
| Total APGenco | 3030.93 | 3098.76 | 3567.47 |
| Central Generating Stations (CGS) | 1151.98 | 1151.98 | 1586.78 |
| Joint sector | 25.56 | 25.56 | 25.56 |
| IPPS | 563.68 | 563.68 | 1085.10 |
| OTHERS | 96.33 | 110.33 | 116.33 |
| Total allocated Capacity | 4868.49 | 4950.32 | 6381.24 |

# Analysis of Performance for Previous Year and Current Year

## Introduction

This chapter attempts to analyze the performance of the licensee during the previous year with the Tariff Order for the same year and performance of Current Year as compared to the Previous Year and the Tariff Order for the Current Year. Only the key operating and financial parameters have been considered for this analysis.

## Operating Performance

### Energy Balance

Metered Sales - As can be seen from the table above, in the previous year the licensee had a stiff target of 53% of input as metered sales, and though it crossed the 51% level, it fell short of the target. However, this year the licensee strongly believes that it will be able to cross a stiffer target of 54.51% and touch about 55%.

The licensee believes that this reflects the efforts of the licensee in loss control, metering drive and controlling wastage in agricultural supply by strictly adhering to the policy of 7 hours supply. The current year upsurge in metered sales is driven by the strong growth in HT industrial sales which again reflects licensee’s efforts towards improved quality of supply and better customer service. The growth in metered sales is in spite of the steep decline in consumption by Ferro-alloy industries to an anticipated level of 174 MU as compared to the Tariff Order level of 361 MU, a reduction by more than 50%.

Distribution Loss – For the past few years the licensee has been setting stiff targets for itself in this area. As is seen from the table above, in the previous year the licensee fell short of its target by about 0.8% and in the current year also it expects to fall short by about 0.28%. However, the main point to be noted here is the achievement in the current year vis-à-vis the achievement in the previous year. The licensee expects to reduce its losses by 1.87% as against reduction of 1.29% reduction envisaged through the two Tariff Orders. The licensee believes that the sustained efforts on reduction of technical losses through investment (even with steeply growing sales) and efforts towards reducing commercial losses through theft control drives, vigilance and better customer service is starting to bear results.

Agricultural Sales – In the previous year 2004-05, the licensee believes that the target of only 5,000 MU of energy sales to agriculture was very stiff. The licensee actually estimated a higher sales of 5,773 MU. As against this, in the current year, the licensee estimates a reduction in consumption and expects a consumption level of 5,601 MU. This includes estimate of 66MU for Sanjay RESCO. This estimate, though higher than the Tariff Order estimate of 5453 MU, is lower than the previous year’s consumption.  This is due to two main reasons – i) reduction in consumption during Kharif season due to abundant rainfall and ii) expectation of increased pumping activity in Ravi on account of availability of adequate groundwater. The groundwater levels in certain districts have increased by as much as 4-5 metres. The licensee will strive hard to exercise control and stick to the policy of 7 hours supply to optimize the consumption, however, at the same time it will strive hard for providing quality power supply.

## Financial Performance

Compared to the Tariff Order, APCPDCL has projected a surplus of Rs. 6.74 crores for the current year. The following table provides an overview of APCPDCL’s financial performance for the previous and current years and compares it with the APERC orders for the respective years:

| Particulars | 2004-05 Tariff Order | 2004-05 Actual | 2005-06 Tariff Order | 2005-06 Present Estimate |
| --- | --- | --- | --- | --- |
| Total Expenditure (A) | 4,507.03 | 4,908.15 | 5,016.31 | 4,882.79 |
| Power purchase | 3,759.49 | 4,123.18 | 4,215.52 | 3,782.41 |
| Transmission & SLDC Charges | 0.00 | 0.00 | 0.00 | 327.79 |
| Employee Cost | 252.57 | 309.93 | 258.41 | 258.58 |
| Other O&M | 152.42 | 119.10 | 144.23 | 126.18 |
| Depreciation | 143.85 | 158.76 | 178.84 | 165.72 |
| Interest | 85.57 | 90.75 | 76.87 | 100.84 |
| Other Expenses | 119.34 | 150.64 | 173.90 | 161.49 |
| Special Appropriation | 57.00 | 4.32 | 13.24 | 13.24 |
| Less: Expenses capitalised | 40.00 | 24.73 | 30.60 | 26.67 |
| Less: IDC | 23.21 | 23.79 | 14.10 | 26.79 |
| Add: Allowed Return by APERC (B) | 11.68 | 0.00 | 6.13 | 6.13 |
| Total Revenue Requirement (C=A+B) | 4,518.71 | 4,908.15 | 5,022.44 | 4,888.92 |
| Total Revenue Earned | 3,897.41 | 4,440.63 | 4,348.60 | 4,637.32 |
| Tariff Income | 3,596.61 | 3,887.62 | 3,980.48 | 4,169.83 |
| Non-tariff Income | 300.80 | 527.15 | 306.63 | 434.55 |
| Wheeling Charges | 0.00 | 25.85 | 61.49 | 32.94 |
| Surplus/ (Gap) | (621.30) | (467.53) | (673.84) | (251.60) |
| Add: Subsidy | 464.30 | 464.30 | 613.83 | 258.35 |
| Add: Efficiency Improvement | 157.00 | 0.00 | 60.00 | 0.00 |
| Net Regulatory Surplus/ (Gap) | 0.00 | (3.23) | 0.00 | 6.74 |

The paragraphs below explain the deviations in key elements:

#### Power Purchase Cost:

In the previous year, the licensee incurred excess power purchase cost of about Rs 363 crores, primarily on account of excess purchase of energy to the tune of 2,100 MU. The excess drawal was again on account of not being able to meet the stiff distribution loss and agri-supply targets and also increasing demand from the metered categories.

In the current year, the expected overdrawal vis-à-vis the Tariff Order is around 1,100 MU. However, the cost structure has changed considerably with the introduction of the Multi-Buyer Model (MBM) of market. The expected impact on key cost and revenue elements has been explained in Section 1. During the current year, this would require a reallocation of subsidy between the companies (within the overall subsidy available to the sector) to ensure the financial viability of each of the companies as envisaged in the Tariff Order. The APPCC has already submitted a letter to the Hon’ble Commission requesting the reallocation of subsidy and the financial numbers shown above reflect the changes requested. Therefore the reduction in power purchase cost has to be seen in conjunction with increase in non-tariff income and reduction in subsidy through reallocation requested.

#### Wages and salaries:

Total Employee expenses In the previous year were higher by Rs 57.36 crores to the Tariff Order approved figure, primarily due to a provision of Rs. 72.23 crores for Earned Leave Encashment made as per Actuarial Valuation from the inception of the company i.e. 2000-01 to 2004-05. Compared to previous year, total Employee expenses (excluding the provision for earned leave encashment) are expected to go up by about 4.6%. Employee costs.

#### Provision for Depreciation:

As compared to a depreciation of Rs. 158.76 crores in the previous year, the licensee has estimated an amount of Rs. 165.72 crores as depreciation for the current year. This is lower than the APERC approved number by about Rs. 13 crores, primarily due to lower than projected capitalization. The progress of capital works is being reviewed by APCPDCL on a case by case basis with only completed works being capitalized, and depreciation is calculated based on Ministry of Power (MoP) determined rates on only depreciable assets. It is expected that with better project monitoring and closure process the capitalization to fixed assets would improve in subsequent years.

#### Interest costs and Other Expenses:

Compared to the PY, Interest cost for the CY is higher by about Rs. 10.09 crores while it is higher by about Rs. 23.97 crores to the APERC approved estimate. This is primarily on account of additional loans proposed to be taken for additional capital expenditure, e.g.: Rs. 40 crores for HVDS and secondly, due to the transfer of the bonds worth Rs. 84.70 crores by AP Transco contributing Rs. 7.73 crores of interest in the CY.

Other Expenses (including Lease Rentals, Interest to Consumers and Other Financial Charges such as Incentive to HT consumers) have been projected at Rs. 161.49 crores which is higher by around Rs. 11 crores to the PY actuals. This is however, lower than the Tariff Order value by Rs. 12 crores and includes HT incentive of Rs. 120 crores as compared to Rs. 112.74 crores for the PY.

### Revenues

The revenue from sale of energy for the current and ensuing financial year has been projected based on the tariffs approved by the APERC for FY 2005-06. The changes in the revenues are mainly on account of the variations in the growth of sales and consumers among various categories.

#### Revenues from sale of electricity:

Compared to PY, during the CY the revenue from sale of energy is expected to increase by 7%. Further, the revenue at about Rs 4,170 crores, during CY, is higher than the Tariff Order approved figure of about Rs. 3,980 crores. As explained above, the variation is mainly on account of the variations in sales mix, as compared to APERC approval.

#### Wheeling Charges

Revenue from Wheeling Charges has increased from Rs. 25.85 crores in 2004-05 to Rs. 32.94 in 2005-06. This is however, lower than the Tariff Order approved figure of Rs. 61.49 crores for the current year. However, the licensee would like to bring to the notice of the Hon’ble Commission that most of the wheeling revenues are billed only and not collectible as the cases are sub judice.

#### Non-Tariff Income:

The Non-Tariff income is expected to be around Rs. 434.55 Crores against Tariff Order level of about Rs. 306.63 Crores. The Non-Tariff Income of Rs. 527.15 crores in the previous year was primarily on account of Rs. 200.15 crores of UI benefits.

The increase in Non-Tariff income during the CY is primarily on account of Inter-state Trade of Rs. 47.41 crores and UI benefits of Rs. 6.82 crores in the first half. No projections for the same have been made in the second half of the current year. Also, Rs. 60.22 crores of benefit due to securitization and rebates have been projected for the CY.

## Controllable and Uncontrollable Costs

As explained in Section 1, the Regulation specifies that certain costs are “uncontrollable” in nature and any variations in them can be passed on to the ARR for the year succeeding the relevant year of the Control Period when the variations occurred. In this Section, the licensee wishes to draw the kind attention of the Hon’ble Commission to certain key variations (from the Tariff Order levels) in the projected elements of ARR for the year 2004-05 and 2005-06.

### Variations in uncontrollable elements during 2004-05

The Licensee has considered non-realisation of Wheeling Charges and additional Provision for Leave Encashment for determining the True-up requirement for the FY 2004-05.  The details are provided below:

#### Revenue from Wheeling

(In Rs Crores)

|  | Tariff Order | 2004-05 Actuals | Difference | Correction |
| --- | --- | --- | --- | --- |
| Wheeling Revenue | 41.5 | 25.85 | (15.65) | 15.65 |
| Carrying cost for the above @ 10% |  |  |  | 1.57 |
| Total variation on Wheeling |  |  |  | 17.22 |

The licensee believes that the non-realisation of revenue from Wheeling Charges is beyond its control as the matter is sub judice and some of the cases have also been referred to Appellate Tribunal.

#### Provision for Earned Leave Encashment

(All figures in Rs. crores)

|  | Tariff Order | 2004-05 Actuals | Difference | Correction |
| --- | --- | --- | --- | --- |
| Provision for Earned Leave Encashment | 0 | 72.23 | 72.23 | 72.23 |
| Carrying cost for the above @ 10% * |  |  |  | 7.22 |
| Total correction on Earned Leave Encashment |  |  |  | 79.45 |

### Variations in uncontrollable elements during 2005-06

The Licensee has considered non-realisation of revenue from Wheeling and Provision for Leave Encashment for determining the True-up requirement for the FY 2005-06.  The details are provided below:

#### Revenue from Wheeling

|  | Tariff Order | Actuals | Difference | Correction |
| --- | --- | --- | --- | --- |
| Wheeling Revenue | 61.49 | 32.94 | (28.55) | 28.55 |
| Carrying cost for the above @ 10* |  |  |  | 1.43 |
| Total variation on Wheeling |  |  |  | 29.98 |

#### Provision for Earned Leave Encashment

|  | Tariff Order | Actuals | Difference | Ist Correction |
| --- | --- | --- | --- | --- |
| Provision for Earned Leave Encashment | - | 10.00 | 10.00 | 10.00 |
| Carrying cost for the above @ 10* |  |  |  | 0.5 |
| Total variation on Earned Leave Encashment |  |  |  | 10.50 |

The licensee requests the Hon’ble Commission to consider these variations as variations beyond the control of the licensee and recommend appropriate measures.

# ARR for Distribution business for the Control Period

The ARR for the Distribution business for each year of the Control Period is determined as follows:

| Particulars | Base Year | 1st Yr of CP | 2nd Yr of CP | 3rd Yr of CP |
| --- | --- | --- | --- | --- |
| SLDC Charges | 18.32 | 23.47 | 25.43 | 27.23 |
| Operation and Maintenance Charges | 384.76 | 406.44 | 437.87 | 487.09 |
| Return on Capital Employed | 106.97 | 126.00 | 184.20 | 212.88 |
| Depreciation | 165.72 | 66.51 | 79.67 | 94.34 |
| Advance Against Depreciation | 0.00 | 84.73 | 63.48 | 39.78 |
| Taxes on Income | 0.00 | 0.00 | 0.00 | 0.00 |
| Other Expenditure | 20.57 | 6.64 | 2.17 | 2.17 |
| Less: IDC and expenses capitalized | 53.46 | 57.38 | 31.07 | 34.21 |
| Aggregate Revenue Requirement (ARR) | 642.87 | 656.42 | 761.74 | 829.27 |
| Less: Non-Tariff Income |  |  |  |  |
| Net ARR from Tariff | 642.87 | 656.42 | 761.74 | 829.27 |

## Basis for O&M Cost Projections

The licensee hereby submits to the Hon’ble that it has taken the following costs to be part of Operations and Maintenance expenses:

- Salaries, wages and other employee costs;

- Administrative and General costs including legal charges, audit fees, rent, rates and taxes;

- Repairs and Maintenance costs.

The Regulation requires the licensees to submit their proposals with regard to determining composite O&M expenses permissible towards revenue requirement for each year of the Control Period by using pre-determined norms or formulae. The licensee hereby submits the methodology adopted and the resultant cost estimate for the Hon’ble Commission’s perusal.

O&M Costs have been projected by a cost-plus, trend based approach for the base year (2005-06) and EY (2006-07). A formula linking the cost thus projected for the EY to pre-determined norms/parameters/indices has then been fitted and total O&M costs projected for the years 2007-08 and 2008-09. From the total O&M costs, O&M expenses related to the Supply business have then been subtracted in order to derive the O&M costs for the Distribution business. The following paragraphs explain the basis of projection of these costs upto 2006-07. The methodology adopted for determination of the formulaic approach for the Control Period and the projections based on that are also explained.

### For the Current Year (CY) and Ensuing Year (EY)

The assumption behind individual components of O&M cost for the CY and EY are as follows:

#### Employee Cost

Employee cost has been estimated element-wise as follows:

|  | FY 2004-05 | FY 2005-06 | FY 2006-07 |
| --- | --- | --- | --- |
| Basic Salary | 158.51 | 160.10 | 161.70 |
| D.A. | 15.31 | 22.22 | 29.38 |
| Other Allowances | 19.84 | 20.33 | 20.70 |
| EL Encashment | 15.97 | 16.21 | 17.47 |
| Other welfare expenses | 5.61 | 5.68 | 5.68 |
| Terminal Benefits | 22.45 | 24.04 | 25.13 |
| Total Wages, Salaries And Related Costs | 237.69 | 248.58 | 260.05 |
| Provision for EL | 72.23 | 10.00 | 12.00 |
| Wages, Salaries and Related Costs | 309.92 | 258.58 | 272.05 |

The assumptions made for projecting the employee costs for 2005-06 and 2006-07 are as follows:

- Basic salary is assumed to increase at 1.0% over previous year

- Incremental D.A. is estimated to increase on Basic Pay at the same level of 1.75% half yearly

- Based on past experience, Other Allowances are estimated to increase at 12.80% on Basic Pay

- Based on past experience, Earned Leave Encashment is estimated to be at 8.25% of the sum of Basic Pay, D.A. and Other allowances

- Other welfare expenses are estimated to remain at same level

- Further, Provision for the Earned Leave encashment to be paid out at the time of retirement is assumed to be Rs.10 crores for the CY and Rs.12 crores for the ensuing year (EY). For P.Y., the provision of Rs. 72.23 crores has been made as per the Actuarial Valuation and is from the inception of the company, i.e. 2000-01, to 2004-05.

#### Administrative & General expenses:

|  | 2004-05 | 2005-06 | 2006-07 |
| --- | --- | --- | --- |
| Rent, Rates and Taxes | 3.41 | 3.54 | 3.57 |
| Legal charges | 0.25 | 0.28 | 0.31 |
| Audit fees | 0.04 | 0.04 | 0.04 |
| Professional charges | 0.81 | 1.01 | 1.17 |
| Other professional charges | 11.45 | 12.02 | 12.98 |
| e-Seva Transaction | 4.74 | 4.98 | 5.23 |
| Other A&G expenses | 40.37 | 41.76 | 43.30 |
| Total A&G expenses | 61.07 | 63.63 | 66.60 |

The FY 2004-05 actual Administrative and General Expenses of Rs.67.87 crores includes Lease rental charges of Rs. 6.79 crores, which has been regrouped under Other Expenses. Therefore, the balance Rs. 61.07 crores, inclusive of Rents, Rates & Taxes, Professional charges and Auditors' Fees, has been considered for Total Administration and General expense for the year.

Considering the general hike in cost over 2004-05, Total Administrative & General charges, excluding Lease Rental charges are projected to be Rs. 63.63 crores and Rs.66.60 crores for CY and EY respectively.  This includes Other Professional Charges (PAA) and e-Seva charges for whom the basis of projection is as follows:

- Other Professional Charges: Based on past experience, these are assumed to increase by 5% in 2005-06. In 2006-07, 2007-08 and 2008-09 these expenses are assumed to increase by 8% due to the impact of new services to be released under RGGVY Scheme currently being initiated as well as increase in services due to merging of SANJAY RESCO with APCPDCL effective from December 01, 2005. Actual expenses for 2004-05 amount to Rs.11.45 crs. As such, expenses for 2005-06, 2006-07, 2007-08 and 2008-09 are projected at Rs.12.02 crores, Rs.12.98 crores, Rs. 14.02 crores and Rs. 15.14 crores respectively.

- e-Seva transaction Charges: Based on the past experience, these are assumed to increase by 5% over PY. Actual expenses for 2004-05 amount to Rs.4.74 crores. As such, expenses for 2005-06, 2006-07, 2007-08 and 2008-09 are projected at Rs. 4.98 crores, Rs. 5.23 crores, Rs. 5.49 crores and Rs. 5.76 crores respectively.

#### Repairs & Maintenance costs

|  | Year previous to Current Year (2004-05) | Current Year (2005-06) | Ensuing Year (2006-07) |
| --- | --- | --- | --- |
| Repairs & Maintenance Cost | 58.03 | 62.54 | 67.79 |

An increase of 8% year-on-year growth has been considered based on the Actuals for the year 2004-05 due to escalation in price of stores and spares and cost for AMC contracts on various systems maintenance & software.

#### O&M costs projection for 2005-06 and 2006-07

|  | Two year prior to Base Year (2003-04) | One Year Prior to Base Year (2004-05) | Base Year/ Current Year (2005-06) | Ensuing Year (2006-07) |
| --- | --- | --- | --- | --- |
| Employee Cost | 238.58 | 309.92 | 258.58 | 272.05 |
| A&G expenses | 62.06 | 61.07 | 63.63 | 66.60 |
| R&M expenses | 69.15 | 58.03 | 62.54 | 67.79 |
| Total O&M cost | 369.79 | 429.02 | 384.76 | 406.44 |

### Determining normative O&M Cost for the Control Period

The O&M costs consist of the following:

- Salaries, wages and other employee costs;

- Administrative and General costs including legal charges, audit fees, rent, rates and taxes;

- Repairs and maintenance costs.

These constituents of O&M costs for past and estimates for current year and ensuing year have been explained above.

The Regulation requires the licensees to submit their proposals with regard to determining composite O&M expenses permissible towards revenue requirement for each year of the Control Period by using pre-determined norms or formulae. The licensee hereby submits the methodology adopted and the resultant cost estimate for the Hon’ble commission’s perusal.

The licensee has estimated the costs for each of the above heads for the base year (FY 2005-06) and projected the same for the ensuing year (FY 2006-07). Based on the estimated costs for these two years and the actual costs as per audited accounts for two years previous to the base year, the licensee has used a formula for projecting the O&M expenses for the last two years of the control period (FY 2007-08 and FY 2008-09). This formula is arrived by the indexation of the consolidated O&M expenses to the three parameters considered by the licensee as the most important, which are the number of consumers on the distribution network, the number of substations in the network and the length of distribution lines.

#### Identification of Factors impacting O&M Costs

The licensee has identified three major parameters which influence the O&M costs. These can be called the O&M cost drivers and are listed below:

Parameters for O&M Costs

- Number of consumers

- Line length, which represents the Geographical Expanse of the system

- Substations, which represent the Load handled as well as the geographical expanse.

The licensees have arrived at norms for O&M expenses based on each of the above variables. These norms represent both direct and indirect costs. So, for example, a norm of Rs.10,00,000/ substation does not mean that Rs.10,00,000 is incurred directly on O&M activities related to that substation. It reflects the sum total of both the direct costs such as manpower costs, consumables etc. and indirect costs such as overall O&M establishment costs that can be allocated to the substation.

### Need for a Different Norm for Base and Incremental Costs

The licensee has arrived at per unit cost (the norm) for the three parameters identified above based on the attribution of costs to these parameters. The attribution of costs has been done based on the following considerations:

- The main driver of cost is the number of connections on the network and hence the cost attributable to the number of consumers is significantly high; of the order of half the total cost approximately.

- Costs related to substations form the second major constituent of total O&M cost followed by the cost attributable to length of lines.

The licensee submits that the existing cost levels are unalterable on account of historic reasons, for e.g., the number of employees is a major component of cost for the network business and the licensee has to incur the costs pertaining to the current number of employees. Hence, the licensee hereby proposes three norms for computation of O&M costs as listed below:

- Norm for base cost in 2006-07 (Base Norm) – Cost per parameter for the year. This norm is different for each licensee due to the differing initial levels of cost.

- Norm for incremental cost per parameter in 2007-08 (Norm 2007-08) – Incremental norm for new additions to consumers, substations and lines in 2007-08. This cost is also different for each licensee representing their differences but is beginning to converge to a common value.

- Norm for incremental cost per parameter in 2008-09 (Norm 2008-09 ) - Incremental norm for addition to the parameters in 2008-09. This norm is same for all licensees.

The O&M Cost in any year is to be determined by the following formula:

O&M Cost in 2006-07 = Base Norm * Projected Parameters for 2006-07

O&M Cost in 2007-08 = O&M Cost in 2006-07*Escalation Factor + Incremental Parameters in 2007-08 * Norm 2007-08

O&M Cost in 2008-09 = O&M Cost in 2007-08*Escalation Factor + Incremental Parameters in 2008-09 * Norm 2008-09

The Escalation Factor = Inflation – Efficiency Factor

### Methodology

The licensee has adopted the following methodology to determine the O&M norms for each year of the control period:

- Norm for per parameter cost in 2006-07

The licensees have estimated the cost per parameter (the norm) for the first year of control period by allocating the cost projection (based on realistic cost plus approach) to each of the cost drivers (parameters). The licensees have analysed the costs for each distribution company and have tried to arrive at similar norms. However, due to inherent differences in network and legacy issues, the costs vary. Also, the proportion of total O&M costs attributable to each of the parameters is different across the licensees owing to the difference in network characteristics as shown below:

Table: Ratio of Consumers to Length of line and sub-stations (as per 2006-07 Projections)

| Ratio of | CPDCL | EPDCL | NPDCL | SPDCL | Overall |
| --- | --- | --- | --- | --- | --- |
| Consumer to SS | 5,625 | 8,375 | 5,682 | 6,626 | 6,285 |
| Consumer to Line | 16 | 31 | 20 | 25 | 21 |

Based on the above ratios, the licensees have allocated cost to the different cost drivers as shown below:

Table: Cost attribution to the parameters

|  | CPDCL | EPDCL | NPDCL | SPDCL | Overall |
| --- | --- | --- | --- | --- | --- |
| Consumers | 48% | 64% | 52% | 58% | 56% |
| 33/11 kV SS | 24% | 18% | 23% | 22% | 21% |
| Length of Line | 28% | 18% | 25% | 20% | 23% |

These percentages are based on an overall guidance of 55% for consumer related costs, 20% for sub-station related costs and 25% for line length related costs. The exact percentages have been arrived by fine-tuning the proportions to align with the estimated costs for the year 2006-07.

From these estimates and the estimates of cost for 2005-06 and 2006-07, the licensees propose the following norm to be considered for the first year of control period - 2006-07. These costs will continue to apply in the subsequent years for the base values of parameters viz. the number of consumers, length of line and number of substations in 2006-07 with an indexation increase which has been taken as inflation (5%) net of an efficiency improvement factor (2%), thus resulting in a net increase by 3%.

Table: Base Norm for 2006-07 (Rs.)

| Base Cost | CPDCL | EPDCL | NPDCL | SPDCL |
| --- | --- | --- | --- | --- |
| Per Consumer | 324 | 442 | 333 | 367 |
| Per SS | 906,562 | 1,081,067 | 819,598 | 920,736 |
| Per km Line | 3,002 | 3,932 | 3,162 | 3,127 |

- Norm for incremental parameters (addition to consumer base, sub-stations, length of line) in 2008-09 – the last year of the Control Period

The Norm for incremental parameters in the last year of the Control Period has been arrived at by adopting the average norm (for all the licensees together) for each parameter in the base year indexed by the inflation net of efficiency increase. The purpose is to have the same incremental norm at the end of control period.

- Norm for incremental parameters (addition to consumer base, sub-stations, length of line) in 2007-08

The norm for incremental parameters for 2007-08 has been taken as the linear interpolation of the norm in 2006-07 and 2008-09. The norms for 2007-08 and 2008-09 are shown below:

| CPDCL | 2007-08 | 2008-09 |
| --- | --- | --- |
| Per Consumer | 353 | 382 |
| Per SS | 938,429 | 970,297 |
| Per km Line | 3,187 | 3,372 |

| NPDCL | 2007-08 | 2008-09 |
| --- | --- | --- |
| Per Consumer | 357 | 382 |
| Per SS | 894,947 | 970,297 |
| Per km Line | 3,267 | 3,372 |

| EPDCL | 2007-08 | 2008-09 |
| --- | --- | --- |
| Per Consumer | 412 | 382 |
| Per SS | 1,025,682 | 970,297 |
| Per km Line | 3,652 | 3,372 |

| SPDCL | 2007-08 | 2008-09 |
| --- | --- | --- |
| Per Consumer | 375 | 382 |
| Per SS | 945,516 | 970,297 |
| Per km Line | 3,249 | 3,372 |

Hence, all the licensees starting with different norms, come to the same norm for incremental consumers, 33/11 KV SS and length of line in 2008-09.

The licensees would like to highlight that the impact of wage revision has not been factored into the above computation and the same has to be considered separately as and when it happens.

Based on the above methodology, the licensee’s projection of the O&M costs for the control period are detailed below:

Table: O&M Cost Projections for the Control Period (Rs. Crores)

| CPDCL | 2006-07 | 2007-08 | 2008-09 |
| --- | --- | --- | --- |
| Consumer Related | 195.09 | 220.88 | 244.44 |
| SS related | 97.55 | 107.32 | 116.36 |
| Length of Line | 113.80 | 129.18 | 147.21 |
| Total O&M Cost | 406.44 | 457.38 | 508.02 |

## Regulated Rate Base (RRB)

The Hon’ble Commission has proposed a methodology for computation of RRB for the base year 2005-06 (RRB0), which is as follows:

“RRB0 = OCFAO – ADO – CCO where,

OCFAO: Original Cost of Fixed Assets at the end of the Base Year available for use and necessary for the purpose of the licensed business

ADO: Amounts written off or set aside on account of depreciation of fixed assets pertaining to the regulated business at the end of the Base Year

CCO: Total contributions made by the users towards the cost of construction of distribution/service lines by the Licensee and also includes the capital grants/subsidies received for this purpose.”

Based on the above computation methodology, RRB0 has been calculated as shown subsequently.

Calculation of RRB1, RRB2 and RRB3

The Regulation prescribes the following methodology for calculation of RRB for ith year of the control period.

“RRB i = RRB i-1 + (∆RAB i / 2) + WC i,, where,

RRB i-1: Regulated Rate Base for the financial year preceding the ith year of the Control Period and shall be determined on the basis of approved Capital Investment Plan referred to in clause 6.14

∆RABi = Invi – Di – CCi where,

∆RABi: Change in the Rate Base in the ith year of the Control Period. This component would be the average of the value at the beginning and end of the year as the asset creation is spread across a year.

Invi: Investments projected to be capitalised during the ith year of the Control Period and approved.

Di: Amount set aside or written off on account of Depreciation of fixed assets for the ith year of the Control Period.

CCi: User Contributions and capital grants/subsidies received during ith year of the Control Period for construction of service lines or creation of fixed assets.

WCi: Working Capital Requirement in the ith year of the Control Period and shall be considered as being equal to one twelfth of the Operations and Maintenance expenses as allowed for that year.

However, the licensee would like to draw the kind attention of the Hon’ble Commission to the following two issues in the formula specified above:

∆ RABi  has been defined as equal to (Invi – Di – CCi)/2. This results in an understated RRB from year 2 onwards (RRB2 onwards). This is because, while computing RRB2, RRB1 is to be used as the base and not Original Cost of Fixed Assets at the beginning of the year, and RRB1 contains only half of the investment capitalised during the first year. Therefore, RRB2 should be include as base RRB1 and half of the investment capitalised in Year 1 (as that is also available for use in Year 2) plus ∆ RAB2.

This rectification is also in line with the principle stated in the regulation while defining “∆RABi as “∆RABi: Change in the Rate Base in the ith year of the Control Period. This component would be the average of the value at the beginning and end of the year as the asset creation is spread across a year…”.

Similarly, while computing the Working Capital requirement, only the incremental requirement over the working capital requirement for the previous year (WCi-1) should be considered. Therefore, the formula of RRBi should be modified to

RRBi = (RRBi-1 +∆ RABi-1) + ∆ RABi/2  + (WCi - WCi-1)

The licensee has incorporated this change in its computation of RRBi and seeks the approval from the Hon’ble Commission.

Based on the above methodology, the licensee has computed the RRB for all three years of the control period as follows:

## Depreciation and Advance Against Depreciation (AAD)

Clause 17.3 of the Regulation provides that “Depreciation allowance for each year of the Control Period shall be determined, generally based on the methodology, rates and other terms as decided by CERC from time to time”. The current CERC approved Terms and Conditions provide that

“For the purpose of tariff, depreciation shall be computed in the following manner,  namely:

(i) The value base for the purpose of depreciation shall be the historical cost of the asset.

(ii) Depreciation shall be calculated annually based on straight line method over the useful life of the asset and at the rates prescribed in Appendix II to these regulations….….”

The CERC regulation also specifies that “In addition to allowable depreciation, the generating company shall be entitled to Advance Against Depreciation,….

… AAD = Loan repayment amount as per regulation 38 (i)subject to a ceiling of 1/10th of loan amount as per regulation 36 minus depreciation as per schedule”.

Therefore, there are two issues to be considered, i) Computation of depreciation and ii) computation of AAD.

Depreciation – Depreciation computation involves setting up principles to be used for determining i) the rates and ii) the asset base on which the rates are to be applied. As far as rates are concerned, the licensee has computed the depreciation during each year of the Control Period based on the CERC notified rates. In terms of asset base to be used for depreciation purpose, the licensee has attempted to follow the principle of not charging depreciation on assets created by Contribution/ Grants as specified in the APERC Regulation. However, the licensee do not agree with this principle and wishes to draw the kind attention of the Hon’ble Commission that not charging depreciation on these assets is not the right accounting principle as the licensee believes that the depreciation of an asset is not dependent on the financing source for the asset. Further, it is not feasible for the licensee to reflect this treatment in its asset register as Consumer Contribution cannot be identified with individual assets and hence in the asset register the gross value of each asset will be recorded while the Contribution/ Grants are recorded in the books as a part of networth. Considering the Contribution as part of Networth is also supported by the opinion of Expert Advisory Committee of ICAI. Therefore, the licensee submits that the Hon’ble Commission review this particular aspect of the Regulation and treat the filing in that light.

Advance Against Depreciation – This provision is to ensure that the utilities are able to make their loan repayments from the cash generated through depreciation and AAD as typically the loan tenures are less than the asset life and hence loan repayment requirements are higher than the depreciation available from the asset. In order to ensure that there is an adequate safeguard against excessive front-loading of tariff through AAD, the CERC regulation specifies the cap at 1/10th of the value of the loan.

The spirit of the CERC regulation of specifying the cap on AAD is thus to encourage the utilities to take loans of a duration of at least ten years. The licensees recognize this spirit; however migration to norm based regulation should recognize the initial position as they are and efficient norms should be enforced only on incremental quantities.

It should also be noted that implementation of this norm is a little complicated in case of distribution as compared to generation. The reasons are as follows:

- In distribution, the network is built over a period of time and every year assets and loans are added unlike in case of generation business where the loan goes towards the capital cost of the project and fresh loans are not added every year. Therefore, in distribution it becomes important to keep track of the Original Loan Amount when computing the AAD in any year and not the outstanding loan amount. In order to resolve this complication, the licensees propose that instead of attempting to determine 1/10th of the original loan value, the endeavour should be to align with the spirit of the regulation which implies that the minimum tenure of long-term loans should be 10 years. The licensee therefore, believes that the criteria should be that repayment of loans having tenure of ten years or more are eligible for AAD.

However, this rule also should exempt all the existing loans for the reasons mentioned earlier and explained below.

ii) The current regulation came into place after November 30, 2005. The loans contracted before the issue of the Regulation should not fall under the criteria of minimum tenure of ten years and need to be allowed as they are. Hence, the licensee believes that all repayments for loans existing as on September 30, 2005 should be eligible for AAD. For loans contracted/ estimated by the licensee for investments after the Regulation came into force, repayments against only those loans having tenures of more than ten years should be considered for AAD.

In the current estimates, the licensee has proposed all new loans to have tenure of more than ten years. Therefore, the licensee believes that projected repayments against all its long-term loans are eligible for AAD.

| Particulars | 1st Yr of CP | 2nd Yr of CP | 3rd Yr of CP |
| --- | --- | --- | --- |
| Scheduled repayment against all loans | 151.24 | 143.15 | 134.12 |
| Allowable Net Depreciation (based on CERC rates) | 66.51 | 79.67 | 94.34 |
| Advance Against Depreciation - against all loans | 84.73 | 63.48 | 39.78 |

The cumulative amount of depreciation and advance against depreciation has been pegged at the total loan repayment for the applicable financial year in keeping with the principles laid out by the Hon’ble Commission in its Tariff Regulation.

## Financing Costs

The Regulation prescribes that the licensees will be compensated for the financing costs through Return on Capital Employed (ROCE) principles. This principle is aimed to provide the licensee with the return on debt as well as return on equity at a normative level. The licensee has computed the ROCE as provided in the Clause 15 of the Regulation which specifies that the ROCE be computed by multiplying the Regulated Rate Base (RRB) by the Weighted Average Cost of Capital (WACC).

The Regulation specifies the following methodology for computation of ROCE:

Return on Capital Employed (RoCE) for the RRB for the year ‘i’ shall be computed in the following manner:

RoCEi    = WACC  * RRBi

Where RRBi is the Regulated Rate Base for the year 1 and WACC is the Weighted Average Cost of Capital. The detailed computation of RRB is explained in Section 4.2 above. With respect to the WACC, the Regulation specifies the the formula as follows:

WACCRRB=DE1+DE∗rd+11+DE∗re

Where,

D/E is the Debt to Equity Ratio – Licensee is proposing a normative Debt:Equity ratio of 70:30

rd   is the Cost of Debt – As the WACC is expected to remain unchanged during the Control Period, and as the interest rates are showing signs of hardening up with inflation also showing an upward trend with expected result of nominal interest rate going upward, the licensee has proposed a rate of 10% as the cost of debt.

re is the Return on Equity – The licensee proposes a rate of 16% as the return on equity. The rate is in line with the proposals in the Draft National Tariff Policy, which recognizes the higher risk profile of distribution business compared to generation or transmission business and therefore a higher RoE than the 14% allowed for generation and transmission sector.

The licensee has computed the WACC as 11.80 % based on the above assumptions.

Based on the RRB explained earlier and the WACC at 11.8%, the licensee has computed the ROCE for the three years of Control Period as follows:

|  | 1st Yr of CP | 2nd Yr of CP | 3rd Yr of CP |
| --- | --- | --- | --- |
| Regulated Rate Base (RRB) | 1,337.98 | 1,561.03 | 1,804.03 |
| Weighted Average Cost of Capital (WACC) | 11.80% | 11.80% | 11.80% |
| Return on Capital Employed (ROCE) | 157.88 | 184.20 | 212.88 |

However, In line with the position adopted by the licensee in the previous years’ filings and keeping the interest of consumers in view, the licensee would prefer to forego the return on equity component in the Ensuing Year 2006-07. Therefore, the licensee proposes to limit its claim on ROCE to the extent of estimated interest only and seeks from the Hon’ble Commission a waiver of this condition for the year 2006-07.

## Other Expenditures

This includes the expenditure on the following items:

- Lease rentals – The lease agreements are getting completed by ensuing year and hence the same has not been projected for the subsequent years.

- Other Finance Charges – including cost of raising finance, etc.

| Particulars | 2005 | 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- | --- | --- |
|  | Actual | Revised Est | Proj |  |  |
| Lease rentals | 6.79 | 5.16 | 4.47 |  |  |
| Other finance Charges | 2.17 | 2.17 | 2.17 | 2.17 | 2.17 |
| Total Other Expenses | 8.96 | 7.33 | 6.64 | 2.17 | 2.17 |

## Special Appropriations including Prior Period Corrections

The special appropriation for the current year is Rs 13.24 crores as per the Tariff Order. For the years of the control period, no special appropriation is assumed. The Regulation does not mandate provision towards “Contingency Reserve” and accordingly the licensee has not provided the same.

# Combined ARR for Distribution and Retail Supply for Ensuing Year

## ARR for Retail Supply Business for Ensuing Year

The ARR for Retail Supply Business is computed as follows:

| Particulars | Base Year | 1st Yr of CP |
| --- | --- | --- |
| Cost of Power Procurement | 3,782.41 | 3,979.28 |
| Transmission Charges | 309.47 | 309.32 |
| Operation and Maintenance Charges |  |  |
| Other Expenditure | 154.17 | 157.77 |
| Taxes on Income |  |  |
| Aggregate Revenue Requirement (ARR) | 4,246.05 | 4,446.37 |
| Less: Non-Tariff Income | 434.55 | 332.76 |
| Net ARR from Tariff | 3,811.50 | 4,113.61 |

### Power Procurement Costs

The power procurement cost based on availability, requirement and merit order dispatch, has been exlained in the Section on Resource Plan. The detailed cost computation (Fixed, Variable and Other Costs) have been explained in Annexure – B. Based on the availability, requirement and costs for each source, the summary power purchase cost for the Sector is projected as follows:

| FY 05-06 Projection (CY) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Station | Power Purchased | Fixed Cost | Variable Cost | Other Costs | Total Costs |
|  | MU | Rs crores | Rs crores | Rs crores | Rs crores |
| APGenco - Thermal | 18238 | 1,535.19 | 2,061.39 | 3.33 | 3,599.91 |
| APGenco Hydel | 8032 | 0.00 | 195.29 | 0.00 | 195.29 |
| CGS (SR) | 10057 | 499.56 | 932.72 | 104.30 | 1,536.59 |
| NTPC Simhadri | 7021 | 452.00 | 707.58 | 14.61 | 1,174.19 |
| NTPC - ER | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| Other SEBs | 18 | 0.00 | 5.59 | 0.00 | 5.59 |
| IPPs | 5826 | 824.19 | 642.23 | 30.93 | 1,497.35 |
| APGPCL | 408 | 19.14 | 49.84 | 0.00 | 68.98 |
| Others | 1738 | 45.65 | 471.60 | 55.38 | 572.63 |
| Total | 51338 | 3,375.73 | 5,066.23 | 208.56 | 8,650.52 |

| Station | Power Purchased | Fixed Cost | Variable Cost | Other Costs | Total Costs |
| --- | --- | --- | --- | --- | --- |
|  | MU | Rs crores | Rs crores | Rs crores | Rs crores |
| APGenco - Thermal | 17932 | 1706.17 | 2018.77 | 0.00 | 3724.94 |
| APGenco Hydel | 7586 | 0.00 | 134.64 | 0.00 | 134.64 |
| CGS (SR) | 10585 | 514.18 | 1045.22 | 99.31 | 1658.72 |
| NTPC Simhadri | 7400 | 452.00 | 752.88 | 24.08 | 1228.95 |
| NTPC - ER | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| Other SEBs | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| IPPs | 7586 | 956.93 | 814.41 | 30.93 | 1802.28 |
| APGPCL | 383 | 18.36 | 46.37 | 0.00 | 64.73 |
| Others | 2094 | 43.25 | 589.71 | 60.53 | 693.49 |
| Total | 53566 | 3690.90 | 5401.99 | 214.85 | 9307.74 |

The Sector cost is allocated to discoms based on the share of each discom in the dispatched stations. The principle of determining power purchase cost for each discom is based on the requirement of a discom and the share of energy it has in the dispatched station. Any difference is settled through “Discom to Discom Transactions”.

Based on the principles described above, for APCPDCL, the cost of power purchased from all sources including Discom-to Discom transactions is as follows:

| Particulars |  | CPDCL |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | H1 CY | H2 CY | CY | EY |
| Power Purchase from Generators | (in MUs) | 10,556 | 11,176 | 21,732 | 22,816 |
| Power Purchase from Generators | (in Rs. Crores) | 1,909.07 | 1,856.63 | 3,765.70 | 3,882.03 |
| Pool Transaction | (in MUs) | 160 | 67 | 228 | 653 |
| Pool Transaction | (in Rs. Crores) | (0.15) | 10.05 | 9.89 | 97.24 |
| SLDC Charges | (in Rs. Crores) | 6.96 | 11.36 | 18.32 | 23.47 |
| Transmission Charges | (in Rs. Crores) | 117.60 | 191.87 | 309.47 | 309.32 |

### Transmission and SLDC Charges

For the Current Year, transmission charges are payable by the Discoms from June 9 onwards. The licensee has estimated the same based on the uniform charges to be paid out every month to APTransco and the total amount for the year is estimated at RS. 309.47 crores. In the ensuing year, transmission charge has been computed based on the information sought by the Licensee from APTransco on APTransco’s projections.

### Non-Tariff Income

The following Table provides the details of non-tariff income for the CY,estimations for the EY and  projections for the  future years.

(Rs. in Crores)

| Non-tariff income (Supply Business) | One year prior to Base Year | Base Year | 1st Yr of CP | 2nd Yr of CP | 3rd Yr of CP |
| --- | --- | --- | --- | --- | --- |
| Revenue from normal D-D sales/UI Benefits | 200.15 | 6.82 | 0.00 | 0.00 | 0.00 |
| Revenue from IS trade (D Trade) | 0.00 | 47.41 | 0.00 | 0.00 | 0.00 |
| Recoveries from Theft of Power or Malpractices | 17.57 | 10.33 | 11.37 | 12.53 | 13.81 |
| Customer Charges | 110.57 | 113.11 | 124.42 | 137.18 | 151.24 |
| Revenue from surcharges for late payment | 140.67 | 135.93 | 94.20 | 100.75 | 107.98 |
| Securitisation and Rebates | 0.00 | 60.22 | 36.71 | 0.00 | 0.00 |
| Misc Charges from Consumers + Misc receipts | 57.01 | 60.73 | 66.07 | 60.17 | 66.34 |
| Total NTI | 525.97 | 434.55 | 332.76 | 310.62 | 339.37 |

The figures of non-tariff income for the year 2005 were actuals  and figures for 2005-06 were based on the estimated figures of the Tariff. The following paragraphs describe in brief the basis of projecting various elements of non-tariff income for the retails supply business of the licensee:

Customer Charges: Projection of Customer Charges for the year 2006-2007, 2007-08 and 2008-09 is arrived based on the number of Services projected under various consumer categories.

The following parameters were considered while projecting other elements of Non-Tariff Income for the future years.

- C.C.arrears dues from the Govt. Department Services & Local Bodies services were not taken into account while projecting Delayed payment surcharge due to receipt of centralized payments;

- DPS projected on the arrears as per the existing approved rates;

- While projecting the DPS estimation, the surcharge waiver scheme for the 0-100 units domestic customers was taken into account for ensuing year which is the base for the future projections; hence lesser projections for the coming years ;

- Cases under litigation in Court were taken into account for calculating DPS;

- Wheeling charges are projected based on the current billing level at tariffs as per APERC orders. However, on account of various cases pending before the Hon’ble Supreme Court and Hon’ble High Court of AP, the licensee is able to collect the charges only as per the agreements entered into earlier.

### Other Retail Supply Business Related Costs

The following additional costs need to be considered for retail supply business.

| Particulars | 2005 | 2006 | 2007 |
| --- | --- | --- | --- |
|  | Actual | Revised Est | Proj |
| Provision for Bad debts | - | - | - |
| HT incentive | 112.74 | 120.00 | 120.00 |
| Interest on CSD | 26.65 | 34.17 | 37.77 |
| Total Other Expenses | 139.39 | 154.17 | 157.77 |

## Combined ARR for Distribution and Retail Supply Business

For a comparative purpose, the licensee has prepared a combined ARR for both the businesses. The assumptions have already been explained in the earlier sections.

| Particulars | Base Year | 1st Yr of CP |
| --- | --- | --- |
| Cost of Power Procurement | 3,782.41 | 3,979.28 |
| Transmission Charges | 309.47 | 309.32 |
| SLDC Charges | 18.32 | 23.47 |
| Operation and Maintenance Charges | 384.76 | 406.44 |
| Return on Capital Employed | 106.97 | 126.00 |
| Depreciation | 165.72 | 66.51 |
| Advance Against Depreciation | 0.00 | 84.73 |
| Other Expenditure | 174.73 | 164.40 |
| Less: IDC and expenses capitalized | 53.46 | 57.38 |
| Aggregate Revenue Requirement (ARR) | 4,888.92 | 5,102.79 |
| Less: Non-Tariff Income | 434.55 | 332.76 |
| Net ARR from Tariff | 4,454.37 | 4,770.03 |

## Revenue Gap at Current Tariff for Combined Distribution and Retail Supply Business

The revenue gap for the ensuing year for the combined retails supply and distribution business is as follows:

| (Amount in Rs Crore) |  |
| --- | --- |
| Particulars | 1st Yr of CP |
|  | 2006-07 |
| Gross Aggregate Revenue Requirement | 4,770.02 |
| Revenue at Current Tariffs | 4,604.31 |
| Wheeling Revenue | 36.23 |
| Revenue Gap | 129.47 |

# Filing of Proposed Tariffs (FPT) for Distribution business for Control Period

The Regulation specifies that “the proposed wheeling charges shall be voltage-wise. For the first Control Period, however, the Distribution Licensee may propose these charges computed on normative basis.” In line with the requirements of the Regulation, the licensee has determined the voltage-wise wheeling charges for “compensation for network losses” and the “Rs/ kWh charges for expenses”. As required under the Regulation, the licensee has determined the ARR for the Distribution business separately and that forms the basis for the wheeling charges.

## Network Usage Forecast by Voltage Level

The distribution network usage forecast at different voltage levels is based on actual for FY 2004-05 as given in Form 3 and the sales forecast for the Control Period.

## Proposals for Wheeling Tariffs

Distribution charges by voltage level

Network charge has following four major components which need to be allocated voltage wise

- Operation and maintenance related – dependent on number of consumers, network coverage and load handled

- Depreciation related – driven by assets

- Interest/ ROCE related –driven by assets

- Other expenses

As the Operation and Maintenance (O&M) related expense is dependent on number of consumers, network coverage and load handled, which again have one factor in common, the energy sold, this expense has been allocated to the three voltage systems (33kV, 11kV and LT) based on the energy handled by the respective system.

Depreciation and interest/ ROCE related costs are primarily driven by the assets in each of the voltage systems. The licensee has used the Gross Fixed Asset available for each voltage class as the basis for allocation of these costs. The other expenses are also allocated based on the asset base at each voltage level. Historically the licensee did not maintain voltage class-wise assets. However, in line with the regulatory requirements, the licensee has endeavoured to classify the assets (existing as on March 31, 2005) into various voltage-classes. This information is preliminary but the licensee believes that this is the best possible information at this stage and hence has used the same for cost allocation. The following table shows the voltage-wise asset position as on March 31, 2005:

| Depreciable Fixed Assets as on March 31, 2005 (Rs. Cr.) | APCPDCL |
| --- | --- |
| 33kV | 618.11 |
| 11kV | 974.96 |
| LT | 482.68 |
| Total | 2075.75 |

Once the costs are allocated to various voltage systems, the “per unit charges” are arrived at by dividing the total cost at that voltage level by the expected energy handled by the system.  charges.

Distribution Losses by Voltage Level

At present, the licensee has meters in between the 33 and 11 kV system while metering between 11 kV and LT system doesn’t exist in most places. Therefore, while distribution losses at 33kV voltage system can be directly based on the actual losses as per the metered information, the losses at 11 kV and LT system is to be allocated to the two systems.

The licensee has adopted the 33kV loss for the year 2004-05 as the basis for determining the losses at that level. The benefit of loss reduction as projected in the ARR is equitably distributed between all the distribution voltage levels. The Tariff Order for the year 2004-05 has been used to allocate the actual combined losses at 11kV and LT losses to each of the voltage systems (11kV and LT).

Based on the methodology explained above, the licensee is proposing the following distribution charges for each of the years of Control Period.

If the Generator and Consumer are in the same portion of the distribution network emanating out of a single EHT substation, then only the distribution charges and losses are applicable. If on the other hand, the transmission network is involved between the generator and the consumer, then the transmission losses and charges are payable in addition to the distribution losses and charges.

The distribution losses and charges are payable to the discom in which the consumer is located and is as follows:

| S.No. | Scenario | Applicable Distribution Losses |
| --- | --- | --- |
| 1 | Consumer at 33kV | 33kV Losses |
| 2 | Consumer at 11kV | 33kV Losses + 11kV Losses |
| 3 | Consumer at LT | 33kV Losses + 11kV Losses + LT Losses |

The following table gives the network charges and losses at different voltage levels for the Control Period:

APCPDCL

| Rs./kWh | 2006-07 | 2007-08 | 2008-09 |
| --- | --- | --- | --- |
| 33kV | 0.27 | 0.28 | 0.29 |
| 11kV | 0.35 | 0.37 | 0.38 |
| LT | 0.40 | 0.44 | 0.45 |
| Loss(%) |  |  |  |
| 33kV | 4.21% | 4.00% | 3.81% |
| 11kV | 6.46% | 6.13% | 5.84% |
| LT | 8.16% | 7.75% | 7.38% |

## Expected Revenue from Proposed Wheeling Tariffs

For the current year the licensee is expecting to raise bills (at current tariffs) against third-party wheeling, for Rs.32.94 crores as against the Tariff Order level of Rs. 61.49 crores. Based on this, the licensee has projected Rs. 36.23 crores of wheeling (third-party) revenue in the ensuing year at current tariff levels. However, the licensee would like to draw the kind attention of Hon’ble Commission that even though the bills are being raised as per the Tariffs, on account of the pending court cases the collection is only to the extent of  the existing agreements. Under such a scenario, the licensee has not projected any change in revenue from wheeling at proposed tariffs and seeks the guidance of the Hon’ble Commission on this.

# Filing of Proposed Tariffs for Retail Supply business for Ensuing Year

## Proposals for Change in Tariff

The tariff proposals of the licensees are guided by the following principles:

- Economic growth should be encouraged and for this purpose tariffs of industrial consumers needs to be progressively rationalized.

- Industrial and other large consumers should be provided competitive tariffs so that they continue to take supply from the discoms instead of resorting to alternate supply such as captive power plants and thus maintain focus on their core business. This would be mutually beneficial to both the consumers as well as the discoms.

Keeping the above principles in view, the discoms propose a tariff reduction for the following categories of consumers:

- HT-I a: Industrial – General

- HT-I b: Industrial – Ferro Alloy Units

- HT-II (HT consumers not covered under other HT categories)

- HT-V: Railways

The tariffs for each of the above are elaborated below:

### HT-1 a Industrial – General

The tariff rationalization process for this category was started in the year 2002-03 and each year thereafter the tariffs have been reduced as shown in the following table:

HT-I Tariff Reduction from 2002-03 to 2005-06

|  | 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 |
| --- | --- | --- | --- | --- | --- |
| Average Tariff* | 4.26 | 4.06 | 3.96 | 3.86 | 3.70 |
| Reduction |  | 0.20 | 0.10 | 0.10 | 0.16 |

*average tariff is net of demand, energy and incentive charges

This reduction in tariffs has been accompanied by substantial growth in industrial sales across the state over the years and this trend continues even in the current year.

In the previous tariff filing done in November 2004, the licensees had made proposals for voltage wise differentiation of tariffs. This was done in recognition of the fact that the cost-to-serve (CoS) at different voltage levels are different, with the CoS being the lowest for 132kV and 220kV consumers, higher for 33kV consumers and still higher for 11kV consumers. The load factor based incentive scheme was also rationalized last year. The incentive scheme which was first introduced in the year 2001-02 and was designed to be in operation till 2004-05 provided for incentives for incremental consumption over the base year 2000-01. One of the objectives then was to encourage industrial consumers sourcing power through captive plants to repatriate to the grid. This incentive scheme provided good results and consumption from the discoms showed sharp increases. While the original incentive scheme served a useful purpose, it required rationalization. The rationalization was done last year in that the incentives became applicable for all energy consumption above a threshold load factor (of 30%) and there was no reference to the base year. With this, all consumers were treated equitably irrespective of the quantum of their base year consumption.

The Hon’ble Commission accepted the tariff and incentive proposals of the licensees. These were as follows:

| Present HT-1 Tariffs |  |  |  |
| --- | --- | --- | --- |
|  |  |  | Current tariff |
| Energy charge | 132 KV | Rs/unit | 3.25 |
|  | 33 KV | Rs/unit | 3.35 |
|  | 11 KV | Rs/unit | 3.40 |
| Demand charge | 132 KV | Rs/KVA/month | 195 |
|  | 33 KV | Rs/KVA/month | 195 |
|  | 11 KV | Rs/KVA/month | 195 |

| Present Incentive Structure |  |  |
| --- | --- | --- |
| Load factor band | Incentive rate | Incentive applicable for incremental energy consumption over 30% Load Factor (Non telescopic) |
| 0-30% | 0% |  |
| 30%-50% | 5% |  |
| 50%-60% | 10% |  |
| 60%-70% | 15% |  |
| >70% | 20% |  |

The voltage differentiated tariffs and the rationalized incentive scheme have had a favourable response. Industrial sales growth over the state continues to be robust in the current year.

In the present filing, the licensees propose to take a further step towards tariff rationalization. The following principles have been adopted in the tariff rationalization process:

- Large power intensive consumers should be provided with the maximum tariff rationalization. This is because for these consumers, the cost of electricity is a significant proportion of their total cost of production and competitive power tariffs would have a large impact on their industrial growth. These consumers are typically consumers consuming at 132kV and 220kV voltages.

- The load factor based incentive scheme is being aligned so that the incentive is targeted to consumers with load factors above 50%. In doing so, the licensees have taken measures to ensure that consumers in the 30%-50% load factor range who are currently eligible for incentive are not adversely affected.  This has been achieved through a general tariff reduction measure.

Further, in designing the tariffs, the licensees have sought to realign the Demand and Energy Charges component of tariff. It is proposed to increase demand charges at EHT (220kV & 132kV) voltages and 33kV voltages and reduce energy charges correspondingly. The principles in tariff realignment are as follows:

- Demand charges are meant to compensate the licensees for the fixed costs of supply. These include fixed costs related to generation, transmission and distribution. The total fixed costs in the system are approximately 55% of the total costs. Currently, however, demand charges represent a much smaller fraction of the total tariff. Thus, it is proposed to revise the demand charges upward. This sends the right price signal regarding the fixed and variable costs of supply. It encourages consumers to improve their load factor since the consumers at higher load factors will spread the demand charges over larger number of energy units. The energy charges itself will come at a lower rate due to rebalancing of the energy charges and this will result in a higher benefit for higher load factor consumers.

- The realignment of demand charges is being done only for 132kV and 33kV consumers. The demand charges remain unchanged for 11kV consumers. This is because at lower voltages there are more number of consumers on the network and this results in a benefit of a higher diversity factor to the discoms. For example, if there are 10 11kV consumers each of 1 MVA contracted demand, the maximum total load incident on the system at any time is likely to be less than 10MVA. This is because all the consumers would not impose their maximum load on the system at the same time due to differences in their consumption pattern. This diversity factor is less for consumers at 33kV and lesser still for consumers at 132kV as the number of consumers at these voltages is progressively lower. A lower diversity factor would mean that the 33kV and 132kV consumers should pay a higher fraction of the fixed costs. Accordingly, the demand charges are being proposed higher.

The tariff and incentive proposals of the licensees for the ensuing year FY 2006-07 are as follows:

|  |  |  | Present Tariff | Proposed Tariff |
| --- | --- | --- | --- | --- |
| Energy charge | 132 KV | Rs/unit | 3.25 | 2.80 |
|  | 33 KV | Rs/unit | 3.35 | 3.10 |
|  | 11 KV | Rs/unit | 3.40 | 3.30 |
| Demand charge | 132 KV | Rs/KVA/month | 195 | 250 |
|  | 33 KV | Rs/KVA/month | 195 | 230 |
|  | 11 KV | Rs/KVA/month | 195 | 195 |

| INCENTIVE STRUCTURE |  |  |
| --- | --- | --- |
| Load Factor Band | Incentive Rate | Energy Eligibility |
| 50%-70% | 25% | For incremental consumption over 50% Load Factor (LF) |
| >70% | 25% | For incremental consumption over 40% LF |

The above tariff and incentive proposals imply the following tariff reductions at different voltages:

Net Impact of Tariff and Incentive Proposals

|  | Reduction in Average Effective Tariff | % Reduction |
| --- | --- | --- |
| EHT (132kV and 220kV) | 25 p/kwh | 7.14% |
| 33 KV | 10 p/kwh | 3.04% |
| 11 KV | 5 p/kwh | 1.43% |
| Total | 14 p/kwh | 3.77% |

With the proposed tariffs, the average tariff for HT-I industrial category comes down to Rs.3.56/kwh from the current levels of Rs.3.70/kwh.

The following tables show the effective tariff (inclusive of demand and energy charges and net of incentive) at different voltages with the proposed tariffs. The tariff reduction is maximum for the high load factor consumers.

| HT-I EHT Effective Rate* at Different Load Factors |  |  |  |
| --- | --- | --- | --- |
| LF | Present | Proposed | Reduction in tariff |
| % | Rs/unit | Rs/unit | Rs/unit |
| 30.0% | 4.20 | 4.02 | -0.18 |
| 40.0% | 3.92 | 3.71 | -0.21 |
| 50.0% | 3.76 | 3.53 | -0.23 |
| 60.0% | 3.56 | 3.29 | -0.27 |
| 70.0% | 3.38 | 3.12 | -0.26 |
| 80.0% | 3.20 | 2.91 | -0.29 |
| 90.0% | 3.13 | 2.82 | -0.31 |

*inclusive of demand and energy charges and net of incentive

| HT-I 33kV Effective Rate* at Different Load Factors |  |  |  |
| --- | --- | --- | --- |
| LF | Present | Proposed | Reduction in tariff |
| % | Rs/unit | Rs/unit | Rs/unit |
| 30.0% | 4.30 | 4.22 | -0.08 |
| 40.0% | 4.02 | 3.94 | -0.08 |
| 50.0% | 3.85 | 3.77 | -0.08 |
| 60.0% | 3.66 | 3.53 | -0.13 |
| 70.0% | 3.47 | 3.36 | -0.11 |
| 80.0% | 3.29 | 3.13 | -0.15 |
| 90.0% | 3.22 | 3.04 | -0.18 |

*inclusive of demand and energy charges and net of incentive

| HT-I 11kV Effective Rate* at Different Load Factors |  |  |  |
| --- | --- | --- | --- |
| LF | Present | Proposed | Reduction in tariff |
| % | Rs/unit | Rs/unit | Rs/unit |
| 30.0% | 4.35 | 4.25 | -0.10 |
| 40.0% | 4.07 | 4.01 | -0.06 |
| 50.0% | 3.90 | 3.87 | -0.03 |
| 60.0% | 3.71 | 3.64 | -0.07 |
| 70.0% | 3.52 | 3.47 | -0.04 |
| 80.0% | 3.33 | 3.24 | -0.09 |
| 90.0% | 3.26 | 3.16 | -0.10 |

*inclusive of demand and energy charges and net of incentive

### Ferro Alloy Units

Ferro Alloy Units are highly power intensive consumers and the cost of electricity is a significant proportion of their total cost of production. Recognizing this fact, this industry has been given a special concessional tariff as compared to the rest of the industrial consumers. While recognizing the need to keep their tariffs lower than the general industrial category, the licensees in the previous tariff filing had proposed a suitable realignment with the rest of the industrial consumers so that the large difference that had existed could be suitably reduced. Accordingly, the tariff for this category was raised from Rs.2.12/kwh to Rs.2.87/kwh in the last tariff filing.

In keeping with the tariff reduction for consumers of the general industrial category (HT-I A), the licensees propose a similar reduction in tariffs for the Ferro Alloy Units. Accordingly, a tariff reduction of 32p/kwh is proposed. This reduction is similar to the reduction for HT-I consumers at similar load factors.

| Ferro Alloys |  |  |
| --- | --- | --- |
| Present Tariff | Proposed Tariff | Reduction in Tariff |
| Rs./unit | Rs./unit | Rs./unit |
| 2.87 | 2.55 | 0.32 |

The treatment of special concessional tariff thus continues for the Ferro Alloy units. Exemption from demand charges continues to apply for these consumers. The other conditions of tariff such as the requirement to maintain a minimum of 85% load factor or pay corresponding deemed consumption charges remain unchanged.

### HT-II Category

Following the same principles as those adopted for HT-I category, the licensees propose a voltage differentiated tariff for this category. When viewed in combination with demand and energy charges, there is a tariff reduction for 132kV and 33kV consumers. The proposed tariffs are as follows:

| HT-2 Category |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | Current | Proposed |
| Energy charge | 132 KV | Rs/unit | 4.40 | 3.65 |
|  | 33 KV | Rs/unit | 4.40 | 3.90 |
|  | 11 KV | Rs/unit | 4.40 | 4.40 |
| Demand charge | 132 KV | Rs/KVA/month | 195 | 250 |
|  | 33 KV | Rs/KVA/month | 195 | 230 |
|  | 11 KV | Rs/KVA/month | 195 | 195 |

The net impact on a consumer with a load factor of 35% is shown below:

|  |  | 11 KV | 33 KV | 132 KV |
| --- | --- | --- | --- | --- |
| Current Effective Tariff | Rs/unit | 5.21 | 5.21 | 5.21 |
| Proposed Effective Tariff | Rs/unit | 5.21 | 4.89 | 4.74 |
| Reduction | Rs/unit | 0.00 | -0.32 | -0.47 |

### HT-V Railways

The licensees propose a reduction in the tariffs for Railways. The Honourable Commission in the last Tariff Order has directed the licensees to file a two-part tariff for the railways category. Accordingly, the licensees have designed the two part tariff comprising the demand and energy charges. The two part tariff is necessary as it reflects the fixed and variable components of cost of supply and provides the right price signals for consumption. Besides, it is also important to give a locational price signal since the capacity of the network has to be augmented at each traction supply point based on the maximum demand at that point. Hence, it is proposed to levy the demand charge at each metering point based on the individual billing demand at that point. However, a relaxation is proposed in the event of supply failure by the licensee at a supply point and power is drawn from an alternate traction supply point. In such a case, it is proposed that the period of such supply failure shall not be taken into account for the purpose of working out the maximum demand as far as the alternate traction supply point is concerned.

The demand and energy charges have been designed based on the following:

- While the demand charges for HT-1A and HT-II consumers at 132kV voltage has been increased to Rs.250/kVA/month, the proposed demand charges for railways is Rs.195/kVA/month. This is the prevailing demand charge for HT-IA and HT-II category. The distinction is maintained owing to the special status of the Railways which have moving loads and hence the possibility of a higher incident demand at a metering point.

- The value of energy charges has been determined based on the demand charges as fixed above and by analysing the Contracted Maximum Demand (CMD) and energy consumption so that the effective tariff is lower by approximately 20p/kwh. The following table provides the data used to compute the Demand and Energy Charges for each discom:

| DISCOM | CMD | BKWH (6 months – Apr-Sep 2005) |
| --- | --- | --- |
|  | MVA | MU |
| CPDCL | 26 | 40 |
| EPDCL | 110 | 192 |
| SPDCL | 109 | 206 |
| NPDCL | 77 | 145 |
| Entire state | 322 | 583 |

The two-part tariff designed with the above data is as follows:

| Tariff Component |  | Rate |
| --- | --- | --- |
| Demand Charge* | Rs./kVA/mth | 195 |
| Energy Charge | Rs./kwh | 3.55 |

*Demand Charge to be levied at each metering point

With the proposed tariffs, the effective rate for Railways works out to Rs.4.20/kwh compared to the current level of Rs.4.40/kwh.

### Issues Relating to Low power factor Surcharge

1. Definition of the term CC charges and Levying of Low power factor surcharge.

As per the Tariff Order for 2005-06 (page no. 223), the Low Power Factor surcharge has to be levied on the total Current Consumption (CC) charges for both HT and LT services according to the percentage mentioned in the Tariff Order.  In general, the term CC charges is inclusive of the billed consumption charges, electricity duty, customer charges etc. However, it is to be observed that, Low power factor is purely a technical issue and can only be related with the quantum of consumption in units and it is difficult to establish a reason to link the ‘levying of power factor surcharge’ on some components of CC charges such as

- Electricity duty,

- Customer charges,

- Late penalty and

- Amount of billed units in excess of recorded consumption where min. charges are levied.

Therefore, the licensee submits that the low power factor surcharge should be linked with only the recorded consumption directly or indirectly. In this regard, the licensee proposes that levying of power factor surcharge be linked to charges corresponding to recorded energy consumption and recorded demand only. Hence, the “cc charges bill” in the table below for HT consumers (as specified in the tariff order) should be replaced by “charges corresponding to recorded energy and recorded demand”.

| S. No. | Power Factor Range | Present Condition Surcharge Amount equal to | Proposed Change |
| --- | --- | --- | --- |
| 1. | Below 0.90 and upto 0.85 | 1% of C.C. charges bill of that month for every 0.01 fall in Power Factor from 0.90 | “C.C. charges” to be replaced with “Energy and Demand Charges corresponding to Recorded Energy and Recorded Maximum Demand” |
| 2. | Below 0.85 and upto 0.80 | 1.5% of C.C. charges bill of that month for every 0.01 fall in PF from 0.85 | “C.C. charges” to be replaced with “Energy and Demand Charges corresponding to Recorded Energy and Recorded Maximum Demand” |
| 3 | Below 0.80 and upto 0.75 | 2% of C.C. charges bill of that month for every 0.01 fall in PF from 0.80 | “C.C. charges” to be replaced with “Energy and Demand Charges corresponding to Recorded Energy and Recorded Maximum Demand” |
| 4 | Below 0.75 | 3% of C.C. charges bill of that month for every 0.01 fall in PF from 0.75 | “C.C. charges” to be replaced with “Energy and Demand Charges corresponding to Recorded Energy and Recorded Maximum Demand” |

2. Levying of Power factor surcharge in case of LT cat III services

As per present Tariff Order, the LT services are to be issued one month notice for levying LPF surcharge. However, as per Tariff Order Directive no 7 (carried forward) the Licensees are to provide LT and HT tri vector meters to LT cat III services with connected load 50HP and above.   The meters are capable of recording the power factor. Hence, it is proposed that all these services are to be levied with the Low Power Factor surcharge based on the meter reading on par with HT consumers.  For LT III (A)-Normal Category with connected load less than 50HP, the basis for levy of LPF surcharge should be whether capacitors of adequate rating are installed and are in working condition. The surcharge should be 25% of charges corresponding to recorded energy and fixed charges corresponding to connected load. The surcharge should be levied after issuing notice of one month to the consumer.

3. Levying of low power factor surcharge for categories other than LT Cat-III

Commercial complexes using CFL and halogen lamps are found to have very poor PF – less than 0.5. These consumers should be made to install suitable power factor correction equipment and in order to do so a Low Power Factor Surcharge should be made applicable to this category. At present, the LT commercial services are also normally provided with the tri-vector meters which are capable of recording power factor. Therefore, it is proposed to levy a reasonable LPF surcharge on par with industrial category for commercial complexes with connected load above 20 KW on par with HT-I industrial category. Also, the licensee proposes that all other LT categories such as Cat-VI PWS Schemes with connected load above 20 KW to be provided with tri-vector meters and a reasonable power factor surcharge to be levied. In case tri-vector meters are not present, then the basis for levy of Low Power Factor Surcharge penalty should be whether capacitors of suitable rating have been installed and are in working condition. A suitable rating may be decided after a technical analysis and the consumers may be given a reasonable timeframe for installation of the capacitors. The Low Power Factor Surcharge Penalty should be equal to 25% of Recorded Energy Charges.

### Clarity on single point service connection in Domestic category

Ref: (No. 4 on Page 226 of Tariff Order 05-06)

The licensee requests the Hon’ble Commission to consider the following with regard to single point connection:

  - It has been observed that the monthly energy charges for such connections have come down owing to a lower specific consumption (consumption per dwelling) post conversion to single point connection. Owing to this there might be a need to revisit the slab structure for single point services.

  - A clarity is needed on whether this provision is limited to purely state and central government residential complexes or semi Government organizations like Singareni collieries, BSNL etc.,

  - The licensee requests the Hon’ble Commission that a minimum CMD and maximum CMD under this category to be specified in the Tariff Order.

### Customer Charges

(Reference: Page no 243 of Tariff Order 05-06) For all LT categories the customer charges are Rs 20/-. However, the customer charges in respect of domestic consumers with consumption less than 50 units in a month are Rs 15/-.  A large no of consumers with high-connected loads are being charged with the customer charges of Rs 15/-irrespective of the class of the consumer when the consumption is less than 50 units in a month. Therefore, it is proposed that only those consumers with less than 250W connected load and consumption below 50 units in a month to be levied with the reduced customer charges of Rs 15/-.

## Tariff Table for All Consumer Categories

The present and proposed tariffs for all consumer categories are as shown in the table below:

Electricity Tariffs Proposal  for the FY 2006-07

| Category | Purpose | Rates for FY 2005-06 |  | Proposed Rates for FY 2006-07 |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Fixed/Demand Charges | Energy Charges Ps/Unit | Fixed/Demand Charges | Energy Charges Ps/Unit |
| Low Tension Category |  |  |  |  |  |
| I | Domestic |  |  |  |  |
|  | 0 - 50 Units/Month | --- | 145 | --- | 145 |
|  | 51 - 100 Units/Month | --- | 280 | --- | 280 |
|  | 101 - 200 Units/Month | --- | 305 | --- | 305 |
|  | 201 -300 Units/Month | --- | 475 | --- | 475 |
|  | Above 300 Units/Month | --- | 550 | --- | 550 |
| II | Non-Domestic / Commercial |  |  |  |  |
|  | 0 -50 Units/Month | --- | 395 | --- | 395 |
|  | Above 50 Units/Month | --- | 625 | --- | 625 |
| III (A) | (I) Industrial - Normal Upto 75 HP Connected Load | Rs.37/HP/Month of connected load | 375 | Rs.37/HP/Month of connected load | 375 |
|  | (ii) Industrial – Optional Demand Tariff (50 to 75 HP) | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 375 | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 375 |
|  | (iii) Pisiculture and Prawn culture below 10 HP contracted load |  | 90 |  | 90 |
|  | (iv) Sugarcane Crushing |  | 50 |  | 50 |
|  | Off-Seasonal tariff for Seasonal loads for item -(i) | Rs.37/HP/Month on 30% of Contracted Load | 440 | Rs.37/HP/Month on 30% of Contracted Load | 440 |
|  | Off-Seasonal tariff for Seasonal loads for item -(ii) | Rs.100/kVA/Month on 30% of CMD or RMD whichever is higher | 440 | Rs.100/kVA/Month on 30% of CMD or RMD whichever is higher | 440 |
| III (B) | Industrial –(Above 75 HP upto 150 HP) |  |  |  |  |
|  | Above 75 HP upto 150 HP | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 375 | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 375 |
|  | Off-Seasonal tariff for Seasonal loads | Rs.100/KVA/Month of recorded demand or 30% of contracted demand whichever is higher | 440 | Rs.100/KVA/Month of recorded demand or 30% of contracted demand whichever is higher | 440 |
| IV | Cottage Industry and Dhobhi Ghats | Rs.10/HP/Month of Contracted Load subj. to min of Rs. 30 per month | 180 | Rs.10/HP/Month of Contracted Load subj. to min of Rs. 30 per month | 180 |
| V(A) | Agriculture @ |  |  |  |  |
|  |  | With DSM measures |  | With DSM measures |  |
|  |  | Dry Land Farmers (Connection<=3 Nos) |  | Dry Land Farmers (Connection<=3 Nos) |  |
|  |  | Fixed - 0 | 0 | Fixed - 0 | 0 |
|  |  | Dry Land Farmers (Connection > 3 Nos) |  | Dry Land Farmers (Connection > 3 Nos) |  |
|  |  | Fixed - *210/HP/Yr | 20 | Fixed - *210/HP/Yr | 20 |
|  |  | Wet Land Farmers (Holding<=2.5 Acres) |  | Wet Land Farmers (Holding<=2.5 Acres) |  |
|  |  | Fixed - 0 | 0 | Fixed - 0 | 0 |
|  |  | Wet Land Farmers (Holding > 2.5 Acres) |  | Wet Land Farmers (Holding > 2.5 Acres) |  |
|  |  | Fixed - *210/HP/Yr | 20 | Fixed - *210/HP/Yr | 20 |
|  |  | Corporate & IT Assesses |  | Corporate & IT Assesses |  |
|  |  | Fixed - 0 | 100 | Fixed - 0 | 100 |
|  |  | Without DSM measures |  | Without DSM@ measures |  |
|  |  | Dry Land Farmers (Connection<=3 Nos) |  | Dry Land Farmers (Connection<=3 Nos) |  |
|  |  | Fixed - 0 | 0 | Fixed - *210/HP/Yr | 20 |
|  |  | Dry Land Farmers (Connection > 3 Nos) |  | Dry Land Farmers (Connection > 3 Nos) |  |
|  |  | Fixed - *525/HP/Yr | 50 | Fixed - *525/HP/Yr | 50 |
|  |  | Wet Land Farmers (Holding<=2.5 Acres) |  | Wet Land Farmers (Holding<=2.5 Acres) |  |
|  |  | Fixed - 0 | 0 | Fixed - *210/HP/Yr | 20 |
|  |  | Wet Land Farmers (Holding > 2.5 Acres) |  | Wet Land Farmers (Holding > 2.5 Acres) |  |
|  |  | Fixed - *525/HP/Yr | 50 | Fixed - *525/HP/Yr | 50 |
|  |  | Corporate & IT Assesses |  | Corporate & IT Assesses |  |
|  |  | Fixed - 0 | 200 | Fixed - 0 | 200 |
|  |  | * Equivalent Flat rate Tariff in the absence of Metering |  |  |  |
| V(B) | Out of turn allotment - |  |  |  |  |
|  | Metered tariff (Mandatory) | Tatkal (with DSM) | 20 | Tatkal (with DSM) | 20 |
| VI (A) | Local Bodies/ Street Lighting |  |  |  |  |
|  | Minor Panchayats | --- | 156 | --- | 156 |
|  | Major Panchayats | --- | 208 | --- | 208 |
|  | Nagarapalikas and | --- | 274 | --- | 274 |
|  | Muncipalities - Gr.3 |  |  |  |  |
|  | Muncipalities - Gr.1 & 2 | --- | 326 | --- | 326 |
|  | Muncipalities, Selection & Special Grade | --- | 353 | --- | 353 |
|  | Corporations | --- | 379 | --- | 379 |
| VI(B) | Local Bodies/ PWS Schemes |  |  |  |  |
|  | Minor/ Major Panchayats |  |  |  |  |
|  | Upto 2500 units/Year | --- | 20 | --- | 20 |
|  | Above 2500 units/ Year | --- | 50 | --- | 50 |
|  | Nagarapalikas and Muncipalities Gr 1,2,3 and Spl./ Selection Grade |  |  |  |  |
|  | Up to 1000 units/month | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 375 | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 375 |
|  | Balance units |  | 405 |  | 405 |
|  | Corporations |  |  |  |  |
|  | Upto 1000 units/month | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 405 | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 405 |
|  | Balance units |  | 460 |  | 460 |
| VII | General Purpose | --- | 400 | --- | 400 |
| VIII | Temporary Supply |  |  |  |  |
|  | - Agriculture Purpose | --- | 230 | --- | 230 |
|  | - Other than Agriculture | --- | 620 | --- | 620 |
| High Tension Categories |  |  |  |  |  |
| I | (A) Industrial - General ** |  |  |  |  |
|  | 132 kV and above | 195/KVA/Month | 325 | 250/KVA/Month | 280 |
|  | 33kV | 195/KVA/Month | 335 | 230/KVA/Month | 310 |
|  | 11kV and below | 195/KVA/Month | 340 | 195/KVA/Month | 330 |
|  | Fans & Lighting |  | 440 |  | 440 |
|  | Colony Consumption |  | 350 |  | 350 |
|  | Seasonal Industries (Off-Seasonal tariff)# |  |  |  |  |
|  | 132 kV and above | 195/KVA/Month | 440 | 250/KVA/Month | 365 |
|  | 33kV | 195/KVA/Month | 440 | 230/KVA/Month | 390 |
|  | 11kV and below | 195/KVA/Month | 440 | 195/KVA/Month | 440 |
|  | (B) Ferro Alloys | --- | 287 | --- | 255 |
| II | Others |  |  |  |  |
|  | 132 kV and above | 195/KVA/Month | 440 | 250/KVA/Month | 365 |
|  | 33kV | 195/KVA/Month | 440 | 230/KVA/Month | 390 |
|  | 11kV and below | 195/KVA/Month | 440 | 195/KVA/Month | 440 |
| IV | Irrigation & Agriculture |  |  |  |  |
| IV(a) | Govt. Lift Irrigation Schemes | --- | 236 | --- | 236 |
| IV(b) | Others: |  |  |  |  |
|  | (i) Flat rate tariff | 0 | 0 | 0 | 0 |
|  | (ii) Metered Tariff (Optional) | -- | 0 | -- | 0 |
| V | Railway Traction | -- | 440 | 195## | 355 |
| VI | Townships/Colonies | -- | 350 | -- | 350 |
|  | Temporary supply | $ |  | $ |  |

@ Farmers eligible for free supply under Dry land as well as Wetlands have to comply with DSM measures as applicable to his pumping system (Viz. Submersible and surface pumpsets) in the following stages, failing which they shall not be eligible for free supply.

Stage-I, to be complied by March 2006 Friction less foot valve (exempted for submersible pumpset), Capacitor of adequate rating for the pumpset.

Stage-2, to be complied by March 2008 HDPE or RPVC piping suction and/or delivery ISI-marked monobloc or submersible pumpset.

Free supply shall not be allowed for Paddy in second crop. New connections shall be given only with DSM measures and with meters only.

# Based on the Recorded maximum Demand or 30% of CMD whichever is higher

## The demand charge will be levied at each metering point based on the individual billing demand at that point. However in the event of supply failure by the licensee at a supply point and power is drawn from an alternate traction supply point, the period of such supply failure shall not be taken into account for the purpose of working out the maximum demand as far as the alternate traction supply point is concerned.

**Category HT I (A): The following incentives are applicable for consumers for the energy consumed from the distribution companies:

| INCENTIVE STRUCTURE |  |  |
| --- | --- | --- |
| Load Factor Band | Incentive Rate | Energy Eligibility |
| >50% and upto 70% | 25% | For incremental consumption over 50% Load Factor (LF) |
| >70% | 25% | For incremental consumption over 40% LF |

The incentive scheme is applicable for the consumption with above mentioned load factors.

$ Temporary supply or temporary increase in supply to existing consumers ordinarily limited to a period not exceeding 6 months at rates 50% in excess of HT tariffs.

HV Metering for LT services: For LT consumers having HV side metering as per Tariff conditions, no concession need to be provided.

Minimum charges Schedule:

| LT categories |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category No. | Purpose |  |  |  |
| I | Domestic | Single Phase |  |  |
|  |  | upto 250 W |  | Rs.25/Month |
|  |  | above 250W |  | Rs.50/Month |
|  |  | Three Phase |  |  |
|  |  |  |  | Rs.150/Month |
|  |  | Single Phase |  |  |
| II | Non-domestic/ |  |  | Rs.65/Month |
|  | Commercial | Three Phase |  | Rs.200/Month |
| III (A) III (B) | Industrial Optional 75–150HP |  |  | - Recorded demand during the month or 80% of contracted demand whichever is higher and 50 Units/KVA of Billing Demand per month |
|  |  | Panchayats |  |  |
| VI (A) | Street Lighting |  |  | Rs.2/Point/Month |
|  |  | Municipalities and Corpns. |  | Rs.6/Point/Month |
|  |  | Single Phase |  |  |
| VII | General Purpose |  |  | Rs.50/Month |
|  |  | Three Phase |  | Rs.150/Service/Month |
| VIII | Temporary Supply |  |  |  |
|  | Other than agriculture |  |  | Rs. 125 per kW or part thereof of contracted load for first 30 days or part thereof and Rs. 75 per kW or part thereof of contracted load for every subsequent period of 15 days or part thereof |
|  | Agriculture |  |  | Minimum charge Rs. 100 per HP of contracted load for the first 30 days or part thereof and Rs. 50 per HP of contracted load for every subsequent period of 15 days or part thereof. |
| HT Categories |  |  |  |  |
| Min. Billing Demand |  |  |  | Recorded demand during the month or 80% of contracted demand, whichever is higher |
| Min.Energy Charges |  |  |  |  |
| I (A) | Industrial-General |  |  | 50 Units/KVA of billing demand per month |
| I (B) | Ferro alloy |  |  | Guaranteed energy off-take at annual 85% load factor on contracted demand or actual demand whichever is higher during the year. |
| II | Non-Industrial |  |  | 25 Units/KVA of billing demand per month |
| V | Railway Traction |  |  | 32 Units/KVA of Contracted demand per month |
| VI | Townships/Colonies |  |  | 25 Units/KVA of contracted demand per month |

| VOLTAGE SURCHARGE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| (A) H.T consumers who are now getting supply at voltage different from the declared voltages and who want to continue taking supply at the same voltage will be charged as per the rates indicated below: |  |  |  |  |  |
| Sl. No. | Contracted Demand with Licensee and other sources (in kVA) | Voltage at which Supply should be availed (in kV) | Voltage at which Consumer is availing Supply (in KV) | Rates % extra over the normal rates |  |
|  |  |  |  | Demand Charges | Energy Charges |
| 1 | 70 to 1500 | 11 | 6.6 or below | 12% | 10% |
| 2 | 1501 to 5000 | 33 | 11 or below | 12% | 10% |
| 3 | Above 5000 | 132 or 220 | 66 or below | 12% | 10% |
| (B). For H.T. Consumers availing supply through independent feeders. |  |  |  |  |  |
| 1 | 70 -2500 | 11 | 6.6 or below | 12% | 10% |
| 2 | 2501-10000 | 33 | 11 or below | 12% | 10% |
| 3 | Above 10000 | 132 or 220 | 66 or below | 12% | 10% |
| Customer Charges: |  |  |  |  |  |
| The customer charges are as given below: |  |  |  |  |  |
| For All LT Categories inclusive of Agricultural Services* |  |  |  | Rs. 20/- per month |  |
| *Domestic consumers in the first slab and connected load less than 250 watts |  |  |  | Rs. 15/- per month |  |
| HT Categories |  |  |  |  |  |
| (a) 66kV and below |  |  |  | Rs. 750/- month |  |
| (b) 132/220kV |  |  |  | Rs. 1500/- per month |  |
| All other conditions as per in the Annexure D of the Tariff Order will be applicable for the respective categories under LT and HT supply. |  |  |  |  |  |
| Bulk Supply Tariff to Rural Electric Supply Co-operative Societies by DISCOMs |  |  |  |  |  |
| Name of the RESCO |  | Rates for the year 2006-07 |  |  |  |
|  |  | Fixed Charges |  | Energy Charges (Ps/unit) |  |
| Anakapalle |  | - |  | 66 |  |
| Chipurupalle |  | - |  | 66 |  |
| Siricilla |  | - |  | 40 |  |
| Kuppam |  | - |  | 21 |  |
| Wheeling charges of Distribution Companies |  |  |  |  |  |
| Rate of the respective DISCOM at the respective voltage plus losses in kind up to the respective voltage level at which the wheeled energy is consumed |  |  |  |  |  |
| Rate (Rs/kWh) |  | NPDCL | EPDCL | SPDCL | CPDCL |
| 33kV |  | 0.40 | 0.39 | 0.36 | 0.27 |
| 11kV |  | 0.51 | 0.45 | 0.53 | 0.35 |
| LT |  | 0.69 | 0.65 | 0.62 | 0.40 |
| Losses*** (%) |  |  |  |  |  |
| 33kV |  | 5.45% | 6.10% | 4.85% | 4.21% |
| 11kV |  | 5.83% | 4.42% | 5.33% | 6.46% |
| LT |  | 8.67% | 6.71% | 7.27% | 8.16% |
| ***Consumers at 11kV and LT have to pay losses of the higher voltages as well. In addition transmission charges and transmission losses are applicable if the transmission network is involved. |  |  |  |  |  |

## Proposal for changes in Tariff Category definitions

### HT Category – I

Ref: (Existing applicable conditions) (Page 215 of Tariff Order)

“This tariff is applicable for supply to all H.T. Industrial Consumers. Industrial purpose shall mean manufacturing, processing and/or preserving goods for sale, but shall not include shops, Business Houses, Offices, Public Buildings, Hospitals, Hotels, Hostels, Choultries, Restaurants, Clubs, Theatres, Cinemas, Railway Stations and other similar premises not withstanding any manufacturing, processing or preserving goods for sale. The Water Works of Municipalities and Corporations and any other Government organisations come under this category. The Information Technology units identified and approved by the Consultative Committee on IT industry (CCITI) constituted by Govt. of AP also fall under this category.”

To be replaced with :

“This tariff is applicable for supply to all HT industrial consumers. Industrial purpose shall mean manufacturing, processing and preserving goods in the same industrial premises but shall not include shops, business houses, offices, public buildings, hospitals, hotels, hostels, choultries, restaurants, clubs, theatres, cinemas, railway stations and other similar premises not withstanding any manufacturing, processing and preserving goods. The water works of municipalities and corporations, sewerage pumping stations operated by Govt., departments or cooperative societies and other any Govt., organizations, pumping of water by industries as subsidiary function, printing presses, cold storages, the information Technology units identified and approved by the consultative committee on IT industry (CCITI) constituted by Govt., of A.P also fall under this category”

### LT Category-II, Non-Domestic and Commercial :

Ref: (Page 227 of Tariff Order)

Existing Applicability

Applicable for supply of energy for lights and fans for non-domestic and commercial purposes excluding loads falling under L.T. Categories I, III to VII and shall include supply of energy for lighting, fans, heating and power appliances in Commercial and Non-Domestic premises such as shops, business houses, offices, public buildings, hospitals, hostels, hotels, choultries, restaurants, clubs, theaters, cinema halls, railway stations, Timber Depots, Photo Studios and other similar premises.

To be replaced with:

“ Applicable for supply of energy for lights, fans and some motive load appliances utilising for non-domestic and commercial purposes excluding loads falling under LT Categories – I, III to VII and shall include supply of energy for lights, fans, heating and motive load power appliances in commercial and non-domestic premises such as shops, business houses, offices, public buildings, hospitals, hotels, choultries, restaurants, clubs, theatres, cinema halls, railway stations, timber depots, photo studios, petrol bunks, Gas bunks, servicing stations, automotive garages, sweet and other eatable preparation units, function halls, Kalyana Mandapams and other similar premises”

LT Cat-III(A) – Industrial : Normal category :  (Page 229 of Tariff Order)

Existing Applicability:

The tariffs are applicable for supply of electricity to Low Tension Industrial consumers with a Contracted load of 75 HP/56 KW and below including incidental lighting load not exceeding 10% of the total Contracted Load. Industrial purpose shall mean supply for purpose of manufacturing, processing and/or preserving goods for sale but shall not include shops, business houses, offices, public buildings, hospitals, hotels, hostels, choultries, restaurants, clubs, theaters, cinemas, railway stations and other similar premises, notwithstanding any manufacturing, processing or preserving goods for sale. This tariff will also apply to Water Works & Sewerage Pumping Stations operated by Government Departments or Co-operative Societies and pumpsets of Railways, pumping of water by industries as subsidiary function and sewerage pumping stations operated by local bodies. This tariff is also applicable to Workshops, flour mills, oil mills, saw mills, coffee grinders and wet grinders, Ice candy units with or without sale outlets, Goshalas, grass cutting and fodder cutting units. Further, this tariff is also applicable to:

i) Poultry Farming Units other than those coming under LT Category - IV

ii) Pisciculture and Prawn culture units.

iii). Mushroom production units, Rabbit Farms.

iv). Floriculture in Green Houses.

v). Sugar cane crushing.

To be replaced with :

“The tariffs are applicable for supply of electricity to low tension industrial consumers with a contracted load of 75HP / 56KW and below including incidental lighting load not exceeding the 10% of the total contracted load. Industrial purpose shall mean supply for purpose of manufacturing, processing and preserving goods in the same industrial premises but shall not include shops, business houses, offices, public buildings, hospitals, hotels, hostels, choultries, restaurants, clubs, theatres, cinema halls, railway stations and other similar premises, not withstanding any manufacturing, processing and preserving goods for sale. This tariff will also apply to water works and sewerage pumping stations operated by Govt., departments or cooperative societies and pumping of water by industries as subsidiary function and sewerage pumping stations operated by local bodies. The tariff is also applicable to workshops, flour bills, oil mills, saw mills, coffee grinders, wet grinders, ice candy units without sale outlets, goshalas, gross cutting units, fodder cutting units, printing presses, and the information Technology units identified and approved by the consultative committee on IT industry (CCITI) constituted by Govt., of A.P also fall under this category”. Further, this tariff is also applicable to:

i) Poultry Farming Units other than those coming under LT Category - IV

ii) Pisciculture and Prawn culture units.

iii). Mushroom production units, Rabbit Farms.

iv). Floriculture in Green Houses.

v). Sugar cane crushing.

## Cost-of-Service

In the past years the Hon’ble Commission has used the embedded cost of service for each customer class as a benchmark to compare the existing or proposed tariffs. The comparison of such costs with the retail tariff is expected to provide direction to the licensee during the tariff rationalisation process. In continuation of the process, the licensee has endeavored to determine the embedded Cost of Service to each consumer category. The paragraphs below explain briefly the methodology followed by the licensee.

### Methodology of Determination

The embedded cost of service reflects the average costs incurred while servicing a category based on accounting information that is available for that category. Thus embedded cost calculations help in arriving at an arithmetically accurate set of costs by customer category that can be used to estimate the level of subsidisation and cross-subsidisation. In the present environment that is characterised by wide difference between cost and revenue, embedded cost based cost-of service calculations can be considered to be adequate for tariff determination purposes. As per earlier guidelines, embedded cost of service by consumer category has been provided in Form 4.5.  In addition the computation details used in the study can be provided if required.

Essentially, the cost incident on the system by a consumer depends on, among others, the factors like the load imposed- capacity cost for the system; the time at which the load is imposed-peak/off-peak; the losses - both technical and commercial for each consumer category; the number of consumers and the energy consumed by each consumer category.

To address these questions, the methodology followed by the licensee essentially follows the following three steps; Functionalisation – breaking down the costs into generation, transmission and distribution related costs; Classification – breaking down each functional cost into demand, energy and consumer related costs and; Allocation – apportioning the cost under each head above to different consumer categories based on the cost drivers identified.

The licensee has carried out the exercise based on data available from certain sample feeders which can be identified as predominantly catering to a particular class/ category of consumers and the financial data as filed in this tariff filing. Based on this data and the methodology outlined above, the licensee has computed the Cost of Service for each of the consumer categories.

As the cost structure, the consumption profile and the consumer mix in the area of supply will invariably vary from licensee to licensee, the same are to be reflected in differential cost of service for the same consumer category across licensees. The licensee requests Hon’ble Commission to consider these differences while determining the Cost of Service and hence requirement/ availability of cross-subsidy.

In line with the practice of the previous years, the licensee proposes that for the purpose of estimation of cross-subsidy allocation and the revenue subsidy as well as the required directional movement of the tariff rationalization, the estimates of embedded cost may be considered as a benchmark.

## Expected Revenue from Proposed Tariffs

The category-wise revenue projected for the year 2006-07 at proposed tariffs is provided in Forma 4.1 of the filing.

## Revenue Gap for Ensuing Year at Proposed Tariffs

The revenue gap at proposed tariff is expected to be as follows:

| Revenue Gap at Proposed Tariff (Combined Business) |  |
| --- | --- |
| (Amount in Rs Crore) |  |
| Particulars | 1st Yr of CP |
|  | 2006-07 |
| Gross Aggregate Revenue Requirement | 4,770.02 |
| Revenue at Proposed Tariffs | 4,499.79 |
| Wheeling Revenue* | 36.23 |
| Revenue Gap | 233.99 |

While the proposed tariffs result in an apparent additional revenue gap for ensuing year, the licensee expects that the tariff reductions will result in additional sales growth and this should largely compensate the licensee for the revenue loss. However, this additional growth may not come in all the categories where the tariffs have been cut and may not happen adequately in each licensee’s area to compensate that licensee. However, in total for the entire state, it is expected that the revenue loss will be made up for through a combination of additional sales growth and internal efficiency improvements. The revenue differences that occur in each discom may be addressed through appropriate subsidy allocation between the discoms.

# Status of Implementation of Directives

Reference: TARIFF ORDER ANNEXURE – A

List of Directives carried forward and requiring continuing compliance

| Directive No. | Description of the Directive | Present Status |
| --- | --- | --- |
| 1 | APTRANSCO shall conduct regular and thorough energy audit to ensure accountability. A copy of the Energy Audit Reports of each Discom to be filed with the Commission on a quarterly basis. | Circle wise Energy Audit is being conducted and the reports are submitted to APTRANSCO on monthly basis regularly. |
| 3 | The Commission directs that the Licensee shall henceforth reconcile the energy accounting figures annually and file reconciliation statements along with the audited Annual Accounts every year. They shall also incorporate the necessary corrections in their Annual Accounts, beginning from the accounts for the year 2003-04. The reconciliation may also be done for the years 2000-01 to 2002-03 and necessary corrections be incorporated in the Accounts in hand. | Reconciled with APTRANSCO up to March 2005. Reconciliation for 2000-2001 to 2002-03 also made. Rectification entries made in March 2005. |
|  | Management of Industrial Feeders |  |
| 5 | The APTRANSCO and DISCOMS are hereby directed that they shall submit data log sheets for supply conditions pertaining to the previous 30 days through RS 232 communications port, along with an abstract summary statement pertaining to their company regarding interruptions to industrial feeders once in a month to the Commission. The Commission intends to observe the time being taken to restore power and the quality of power supplied to industries to ensure supply of uninterrupted quality power | The information pertaining to the months 6/2005, 7/2005 and 8/2005 submitted to the Commission. In addition to this interruptions of 70 Nos. industrial feeders are being monitored everyday through GSM modems. |
| 7 | The Commission reiterates its previous directive (Tariff Order for 2002-03) that for loads of 20HP and above but below 50HP, LT demand meters should be fixed; and for loads of 50HP and above but up to 75HP, tri-vector meters be fixed and the metering should be on the HT side. | a). Out of 9174 services (20 HP –50 HP) 7154 services have been provided with demand meter. b). Out of 6992 services (50HP- 75 HP) 1335 services are provided with trivector meters. |
| 8 | The DISCOMs shall install high quality meters on connections in all towns and Mandal headquarters by September 2005. (A comprehensive metering plan has been filed. It has to be updated and securitisation done. This should be done and filed by 31st July 2005.) | The Metering Plan with due prioritization has been submitted to APERC, with a request to permit installation of high quality meters by March 2007. |
| 9 | The Commission directs the DISCOMS to conduct a door-to-door checking of all services and to remove all multiple connections and on a continuous basis. | Regular door-to-door checking/ inspections are conducted and on identification of any multiple connections, steps are taken for merger of connections into single service per premises. |
| 10 | Distribution Losses To complete the distribution losses study initiated by them by 30th September 2005 and file the present status report by 15th May 2005. The Commission notes that the consultation paper on the “Achievable level of distribution losses in the future years” has not yet been submitted. It should be submitted by 30th June 2005 positively. | APERC approved that the study is to be conducted by one company i.e. SPDCL and to adopt the same by all Discoms. The results of SPDCL study would be adopted after APERC approval. |
|  | Financials |  |
| 11 | To submit instrument-wise details for all loans, source-wise, year-wise, asset-wise, purpose-wise, and date-wise, along with the repayment schedules | The Scheme wise, source wise, capital expenditure and loan drawls details for financial year 2004-05 are arrived at. The other details are being compiled. |
| 12 | The Commission reiterates the contributions towards Contingencies Reserve must be invested in securities authorized under the Indian Trusts Act, 1882, within a period of six months from the close of the year of account in which the appropriation is made. Any drawal from the Contingencies Reserve can be made only with prior approval of the Commission. | The contribution towards Contingency reserve is being invested in securities authorised under the Indian Trust Act 1882, within a period of six months from the close of the year of account in which the appropriation is made. An amount of Rs.4.89 crs is invested in CLTD/Flexi deposit account at SBH, Gunfoundry, Hyd for the year 2005-06. The investment will be transferred to authorized securities in due course depending on the auction dates of Govt. securities. No drawls from the contingency reserve were made out of the investments. |
| 13 | Agriculture consumption estimate The DISCOMS shall file the monthly agricultural consumption estimate in two parts, consumption estimate for unmetered services based on LV side DTR meters, and consumption on account of services released under Tatkal scheme and metered services. The estimate shall be filed with the Commission by 25th of every month. | Estimation of agricultural consumption is being conducted as per the methodology approved by APERC. CPDCL is filing monthly agricultural consumption estimated for un-metered services based on LV side DTRs metering and consumption on account of services released under Tatkal scheme. The same is being filed to Hon’ble commission by 25th of every month. |
| 14 | Metering & Billing The Commission directs that the DISCOMS should make full-scale efforts to fill the gaps in sales database and achieve the stipulated 2 to 3 percent sales ratio of assessed sales of total metered sales by 31.03.2005. (Not yet complied with fully. Should be complied with by 30th September 2005). The DISCOMS shall file a Metering, Billing and Collection (MBC) report based on sales database, by 25th of every month without fail. | The M.B.C. analysis upto Sep’05 was already furnished to the Commission. The metered billing in respect of the following categories for the months of July’05 Aug’05 and Sep’05 is detailed below: Cat July’05 Aug’05 Sep’05 I 96.45 96.86 97.17 II 97.21 97.45 97.40 III 96.44 96.22 96.57 IV 97.21 97.90 97.44 VII 95.83 95.95 96.24 |
|  | Subsidy Administration |  |
| 15 | The DISCOMS shall file before the Commission the actual sales to subsidized categories of consumers for whom the GOAP agreed to pay the subsidy every month and the Commission will monitor the units actually sold by the DISCOMS vis-à-vis the subsidy provided. At the end of the year, subsidy adjustments will be made based on the consumption of units in respect of various subsidized categories | Category wise sales are being submitted every month through sales database to the Hon’ble Commission. |
| 16 | For measuring the sales to the subsidized categories, the agricultural consumption estimate based on LV side meter readings on DTRs shall be the basis. For measuring the sales to metered categories of consumers, the sales database shall be the basis | The directive is being followed. |
| 17 | The Commission reiterates that in case the subsidy is not paid regularly on monthly basis, in advance, by GoAP, the DISCOMS shall revert to the full cost tariff fixed by the Commission. | Subsidy from Govt. of A.P. for providing free power supply to the Agriculture consumers is being received regularly. |
| 18 | The GOAP obligation towards subsidy payments to DISCOMS is limited to the quantities mentioned in this order. If the DISCOMS exceed tariff order quantities and thus the subsidy requirement, the Commission will not entertain any request for additional quantities of energy to subsidized categories unless the permission of the GoAP is taken for additional subsidy if the excess consumption relates to agriculture. In other categories, if there is excess consumption, no additional subsidy will be recommended by the Commission to GoAP. | Category wise sales are being submitted every month through sales database to the Hon’ble Commission. |
| 19 | Display on Bills Commission directs the DISCOMS that they should ensure that each bill issued to consumers shows the component of subsidy, and cross-subsidy provided. This is in addition to the instruction regarding position of arrears to be displayed on the consumer’s bill. DISCOMS are directed to implement the directive immediately. | The directive is complied. |
|  | TARIFF ORDER ANNEXURE – B LIST OF DIRECTIVES – FY 2005-06 DISCOMs |  |
| 1 | Defaulters’ List The Licensees shall henceforth post on their website, the list of all those defaulters whose dues exceed Rs.50,000, along with the reasons for non-collection and details of litigation involved, if any. This data shall be updated every six months and will be displayed on the first of the second month following the end of the previous half-year. Thus, the data pertaining to the dues as on 31st March shall be posted by 1st May and that as on 30th September by 1st of the following November. (Para 234) | The directive is complied. |
| 2 | Consumer Passbooks The Licensees to issue passbooks to all consumers, if not already issued as per the earlier practice. The Licensees shall make necessary arrangements at the customer service centers set up by them at sub-division level to update the passbooks, as and when requested by the consumers. (Para 241) | Consumers are not coming forward to utilise the passbooks. Passbooks are issued to consumers on their demand. |
| 3 | 24-hour supply to Rural Areas The DISCOMs should estimate the additional power requirement to provide 24-hour supply to rural areas and identify the generation sources to procure the additional energy and include the same in the next ARR / Tariff proposals along with financial implications. (Para 248) | The estimated additional power requirement for extension of 24 hrs supply to all the rural areas in CPDCL from 2006-07 is included in the filings. |
| 4 | Display of LV Side Meter Data The DISCOMs shall fix a permanent display board at every circle/district headquarters and also at their corporate headquarters and post the details like number of services, metered DTRs, DTRs producing valid meter readings and estimated consumption for the previous month by 15th of every month. The details at circle/district headquarters should be for each mandal and at corporate headquarters for each circle/district. The DISCOMs shall also maintain the relevant records and should disclose the details to public on specific request. (Para 259) | The monthly information on estimated agricultural consumption is being displayed mandal wise at circle Head Quarters and circle wise at the corporate office. |
| 5 | TOD Metering The Discoms should come up with specific proposals for introducing TOD metering for large consumers with details on: a) metering facility; b) consumption patterns; and c) proposed incentive. The Commission directs that a specific plan be submitted within 3 months of this Order. During the year, mock billing should be done for the targeted consumers. (Para 727) | CPDCL analysis on the feasibility of TOD tariff for HT Cat-I was submitted to the Hon’ble Commission during 2004-05. |
| 6 | Payment of HT-Incentive There should be no lag in passing on the load factor incentive amount to HT Category-I (A) consumers, effective from the billing month of October 2005. Any request/prayer by DISCOMs relating to their inability to implement this directive for whatever reason shall be made not later than by 31st July 2005. (Para 266) | The directive is implemented from the billing month of October’2005. |
| 7 | Payment of Testing Fees The Licensees shall make necessary arrangements to receive payments for meter testing fees at the bill collection centers of the Licensees or make suitable other arrangements by 31st July 2005, under report to the Commission. (Para 291) | The complaints on meters are received at the Customer Service Centres and the testing fees is collected at the section office. |
| 8 | Reconnection Charges The Licensee shall not collect any reconnection charges unless the connection has actually been disconnected. (Para 311) | The directive is being followed. |
| 9 | Consumer Agreements in Telugu The DISCOMs to initiate appropriate action for execution of agreements by Licensees in Telugu also. The consumer may be given the option to execute the agreement in Telugu or in English. (Para 356) | The GTCS is under finalization by APERC. The Telugu version of the agreement in line with the finalized GTCS will be made available to the prospective consumers. |
| 10 | Review of HT-Incentive Scheme The DISCOMs shall make a detailed review of working of the incentive scheme for the first six months of FY2005-06 and present the results to the Commission by end-November 2005. Upon receipt of the results of this review, the Commission will examine the need for any modifications to the scheme before approving its continuation for a longer period. (Para 367) | The incentive scheme for the period from 5/05 to 11/05 of F.Y.2005-06 is reviewed and analysis results are submitted herewith for perusal. Futher, it is to submit that the figures for the month of 4/05 was not considered for review because of multiple tariff and multiple incentive scheme for that month. |
| 11 | Capital Investments Considering the importance of capitalization of works, the Commission lays down the following requirements to be fulfilled before accepting inclusion of the value of a capitalized work in the OCFA: d) On completion of a capital work, a physical completion certificate (PCC) to the effect that the work in question has been fully executed, physically, and the assets created are put to use, to be issued by the concerned engineer not below the rank of Superintendent Engineer. e) The PCC shall be accompanied or followed by a financial completion certificate (FCC) to the effect that the assets created have been duly entered in the Fixed Assets Register by transfer from the CWIP register to OCFA. The FCC shall have to be issued by the concerned finance officer not below the rank of Senior Accounts Officer. f) The above-mentioned certificates have to be submitted to the Commission within 60 days of completion of work, at the latest. The Commission may also inspect or arrange to inspect, at random, a few of the capitalized works included in the OCFA to confirm that the assets created are actually being used and are useful for the business. ( Paras 390 and 391) | APCPDCL has obtained the physical Completion Certificate from Superintending Engineer/ Operation Circles and Financial Completion from Senior Accounts Officer/ Operation Cirlces for capitalization of works as at the end of financial year 2004-05. Suitable instructions have been issued to the circles to submit monthly capitalization reports along with the Physical Completion Certificate and Financial Completion Certificate. |
| 12 | Sales Data Base The DISCOMS need to separate the sales at each operation circle/district category-wise effective from April 2005 and the sales forecast in the filing for FY2006-07 shall be circle-wise/district-wise. The DISCOMs shall file the information for every month effective from April 2005 in the format that will be prescribed and communicated for this purpose. (Para 661) | The information from the Sales Data Base for the month of Sep 2005 was already submitted to the Commission. |
| 13 | Consumer Load Profile and Load Research Cell Each DISCOM should make a survey of load profiling methods and adopt suitable method for profiling and submit action plan duly indicating the sample size, consumer differentiation principles for profiling and estimated cost of such profiling study by end- August 2005. Based on DISCOM compliance, the Commission will take appropriate decision with regard to load profiles. The Commission directs that each Discom set up a separate Load Research Cell, which undertakes load survey and consumer profiling. (Paras 665 and 693) | Load research cell is formed with a Superintending Engineer with other staff are being posted (2 DEs, 4 ADEs and 4 AEs). The load research cell shall undertake the category wise load survey, load profiling, consumer profiling, load growth of consumers, load pattern and planning functions. |
| 14 | Railway Tariff 14. The Commission directs the Licensees to propose a two-part tariff for this category in the tariff proposals for FY 2006-07. (Para 725) | CPDCL has proposed two part tariff for HT category V ( Railway Traction ) in the ARR and Tariff filings for FY 2006-07. |

# Plans and Performance

# Annexure A - Circle-wise Sales Forecast

# Annexure B - Details of Power Purchase Cost

Andhra Pradesh Power Co-ordination Committee (APPCC) has already submitted  a letter to APERC seeking the reallocation of subsidy.

The reason behind not including Hyderabad, Vizag and Medak in the overall correlation is that these three districts are very different from others in the composition of GDP and consumption patterns. For e.g. Vizag being an industrial town will have higher contribution to GDP from secondary activities which might not translate into a higher LT:1 and LT:2 consumption.

As per Statistical Abstract of Andhra Pradesh 2005

2005-06 projections include RESCO projections from Dec ’05

2005-06 projections include RESCO projections from Dec ’05

2005-06 projections include RESCO projections from Dec ’05

2005-06 projections include RESCO projections from Dec ’05

The circle-wise forecast as required by Directive 12 of 2005-06 of the Hon’ble Commission, is provided as Annexure - A

10% interest on 70% normative debt component of the average Capital Works-in-Progress for the year

Based on the actual ratio of Expenses Capitalised : (Employee expenses + A&G expenses ) for the year 2004-05, excluding the one-time provision of Rs. 72.23 crores for Earned Leave Encashment

Following assumption have been taken for identifying the accepted threshold level for breakdown failure;

- Average number of breakdown per feeder – 9

- Average duration per breakdown – 60min

- Diversity factor – 1.25

- Average load on a 33kV feeder – 16mVA

- Average load on an 11kV feeder – 1.65mVA

The accepted threshold level,

= (Avg. no. of breakdown per feeder*Avg. duration per breakdown*Avg. load connected)/DF

Post judicial proceedings, the consumption in the area of Sanjay is combined with CPDCL area of supply.

33kV Losses are not applicable if the generator and consumer are on the same 11kV feeder