# Introduction

## Filings based on Multi-Year Tariff (MYT) Principles

The Andhra Pradesh Electricity Regulatory Commission framed the “Terms and Conditions for determination of Tariff for Wheeling and retail supply of electricity” - Regulation 4 of 2005 (“Regulation”), which lays the principles for determination of Aggregate Revenue Requirement (ARR) for a) Distribution Business and b) Retail Supply Business of the licensees. The ARR so determined for each of the businesses will form the basis for fixation of wheeling tariff / charges and charges for retail sale of electricity.

In the Regulation, the Commission has also laid down the procedures for filing under multi-year tariff principles. The current filing pertains to the second Control Period. The Commission has specified in Para 6.2 of the Regulation the following procedure for ARR filing for the distribution and retail supply business: “The ARR filing for the Distribution business shall be for the entire Control Period. For the Retail Supply business the ARR filing will be on annual basis for the first Control Period …...”

The current filing follows the principles laid down under this Regulation for determination of i) the ARR for the retail supply business for the year 2011-12, which is the third year of the second Control Period.

## Filing Contents

The filing is structured in the following way:

Section 2 provides analysis of performance for year 2009-10 and year 2010-11 for Retail supply Business comprising

- Operating Performance

- Financial Performance and

A brief analysis of the financial and operational performance of the licensee during the year 2009-10 and the year 2010-11 is given.

Section 3 provides the ARR for Retail Supply Business for third year of the second Control Period and the basis of projections of the expense and revenue items comprising:

Expenditure Projections

- Power Purchase Cost

- Transmission and PGCIL Charges

- SLDC Charges

- Distribution Cost

- Interest on Consumer Security Deposits

- Supply Margin

- Other Costs

- Aggregate Revenue Requirement for Retail Supply Business

Revenue Projections

- Sales Forecast

- Revenue from Current Tariffs

- Non-tariff Income at Current Charges

- Revenue at Current Tariffs and Charges

Revenue Gap

- Revenue Deficit / Surplus at Current Tariff and Charges

- Proposals to handle the Deficit / Surplus

The sales forecast is used to determine the revenue from tariff from retail sale of electricity for the second year of the second control period and the energy input required for meeting the demand. The power procurement plan is based on the availability of the generation sources during the year 2011-12, the cost (fixed, variable and others) and the merit order dispatch of various sources to meet the demand expected during various months.

Section 4 provides the Tariff proposals comprising of Tariffs for year 2011-12.

Annexure –I provides the Cost of Service along with CoS filing formats.

Annexure –II provides the Retail Supply Business filing formats.

Annexure –III provides the Performance parameters.

## Introduction

This chapter presents the analysis of licensee’s performance during the year 2010-11 as compared to the year 2009-10 and the Tariff Order for the year 2010-11. Key operating and financial parameters have been considered for this analysis.

## Operating Performance

### Energy Balance:

| Particulars | 2009-10 |  |  |  | 2010-11 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | APERC |  | Actuals |  | APERC |  | Revised Est. |  |
|  | MU | % | MU | % | MU | % | MU | % |
| Metered Sales | 5,262 | 55.5% | 4,999 | 47.8% | 5,917 | 56.0% | 5,797 | 51.6% |
| LT Agricultural Sales | 3,055 | 32.2% | 3,944 | 37.7% | 3,299 | 31.2% | 3,956 | 35.2% |
| Total Sales | 8,317 | 87.8% | 8,943 | 85.5% | 9,216 | 87.2% | 9,753 | 86.9% |
| Dist. Losses (Excl: EHT Sales) | 1,158 | 14.4% | 1,520 | 16.5% | 1,354 | 15.0% | 1,474 | 15.13% |
| EHT Sales | 1,432 | 15.1% | 1,227 | 11.7% | 1,529 | 14.5% | 1,483 | 13.2% |
| Dist. Losses (Incl: EHT Sales) | 1,158 | 12.2% | 1,520 | 14.5% | 1,354 | 12.8% | 1,474 | 13.13% |
| Discom Input (MU) | 9,475 | 100.0% | 10,463 | 100.0% | 10,570 | 100.0% | 11,227 | 100.0% |

Loss Reduction – The Hon’ble Commission has fixed stringent loss reduction trajectory for the second control period i.e., 2009-10 to 2013-14 under MYT Order. In this regard, the Licensee has filed a review petition before the Commission stating that the distribution loss reduction trajectory fixed stringent and requested for a review. Based on the Licensee’s representation, the Hon’ble Commission has revised the distribution loss trajectory for four years of the MYT period beginning with FY 2010-11. The Licensee has reduced target for reduction of distribution loss for the FY 2009-10 by 0.82% over that of FY 2008-09. For the FY 2010-11, the licensee has adopted the voltage wise loss levels as  revised and approved by the Commission in the Tariff Order for the FY 2010-11  by altering the MYT loss reduction trajectory.

Metered Sales & Agriculture Sales – In the year 2009-10, the percentage of the metered sales were lesser than the approved in the Tariff Order by 8% due to the non- commissioning of Lift Irrigation Schemes and due to variation between approved Agl sales of Tariff Order and actual sales. In the year 2010-11, the metered sales percentage is expected to be 51.6% which would be more than that of the year 2009-10.  The agriculture consumption of the year 2009-10 is 3944 MU, higher by 890 MU as compared to the Tariff Order (2009-10) value.  The variation with respect to Tariff Order is because of the additional consumption of newly released Agl services from the year 2005-06, which wasn’t considered earlier. The agricultural sales for the year 2010-11 have been estimated by considering marginal increase.

## Financial Performance

Audited accounts for the year 2009-10 shows a financial Profit (Profit after Tax) of Rs 6.86 Crores. APNPDCL has incurred higher power purchase expenditure of Rs. 885 Crores towards additional power purchase cost. The distribution cost of the licensee has increased by Rs. 100 Crores over the Tariff Order figures. The variation is mainly on account of increasing O&M costs due to wage revision and also because of Final Actuarial Valuation report. The following table provides an overview of APNPDCL’s financial performance and compares it with the Tariff Order for the year 2009-10 and year 2010-11.

| Particulars | 2009-10 |  |  | 2010-11 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | APERC | Actuals | Variations | APERC | Revised Est. | Variations |
| Revenue from Tariff | 1530.26 | 1742.25 | 211.99 | 1794.69 | 1782.24 | -12.45 |
| Revenue from Other charges (NTI) | 76.57 | 80.12 | 3.55 | 24.74 | 13.55 | -11.19 |
| GOAP Subsidy | 1217.01 | 1811.33 | 594.32 | 1402.46 | 1402.46 | 0.00 |
| Total Revenue | 2823.84 | 3633.70 | 809.86 | 3221.89 | 3198.25 | -23.64 |
| Distribution Cost | 519.15 | 619.06 | 99.91 | 603.67 | 603.67 | 0.00 |
| Power purchase | 2115.94 | 2795.96 | 680.02 | 2398.59 | 2949.76 | 551.17 |
| Transmission & SLDC Charges | 119.75 | 122.46 | 2.71 | 140.47 | 138.62 | -1.85 |
| PGCIL & ULDC charges | 48.69 | 67.77 | 19.08 | 57.13 | 60.48 | 3.35 |
| Interest on Consumer Security Deposits | 15.14 | 15.14 | 0.00 | 16.08 | 17.32 | 1.24 |
| Supply margin in Retail Supply Business | 5.17 | 0 | -5.17 | 5.95 | 5.95 | 0.00 |
| Other Costs if any | 0 | 6.46 | 6.46 | 0 | 0.60 | 0.60 |
| Total Expenditure | 2823.84 | 3626.84 | 803.00 | 3221.89 | 3776.39 | 554.50 |
| Revenue (Deficit)/Surplus | 0 | 6.86 | 6.86 | 0.00 | -578.14 | -578.14 |

# POWER PURCHASE COST FOR CURRENT YEAR (FY 11) SECOND HALF AND ENSUING YEAR (FY 12)

## BASIS OF ESTIMATION OF QUANTITY AND COST OF POWER PURCHASE

This section discusses the methodology and assumptions used for estimating the quantum and corresponding cost of power purchase of the Licensee for the second half of the financial year ending March 31, 2011 and for the financial year ending March 31, 2012.

With the implementation of Multi-Buyer Model (MBM) in the state from June 9, 2005, each DISCOM has been allocated a certain share of the generating stations contracted by APTRANSCO.  Non-conventional Energy sources have been allocated to the DISCOMs based on their geographical presence/location while the two mini-power plants LVS and Sri Vathsa have been allocated to EPDCL. The allocation percentages for different DISCOMs as per the final transfer scheme are as follows:

| S. No. | Name of the Distribution Company | Allocation Percentage |
| --- | --- | --- |
| 1 | EPDCL | 15.80 % |
| 2 | SPDCL | 22.27 % |
| 3 | CPDCL | 46.06 % |
| 4 | NPDCL | 15.87 % |

In case of deficit of energy, the external purchases have also been allocated based on the above allocation percentage. In the following paragraphs the capacities and availabilities of all the generating sources have been described. The actual energy availability in MU for each DISCOM is simply the total generation availability for each source (except NCEs and the mini-power plants) multiplied by the percentage allocation. The energy availability of NCEs and two mini power plants for each DISCOM has been shown separately.

## INSTALLED CAPACITY OF MAJOR GENERATING STATIONS

### APGENCO

The table below shows the projected capacities of the Thermal and Hydel generating stations of APGENCO including share in the interstate projects.  The DISCOMs purchase the entire generation of APGENCO under the terms of the PPAs with the generator.

| Source | Projected Installed Capacity (MW) |
| --- | --- |
| - THERMAL |  |
| Kothagudem-(A,B,C) | 720.0 |
| Kothagudem-D | 500.0 |
| Ramagundam-B | 62.5 |
| VTPS ( I, II, III) | 1,260.0 |
| RTPP-I | 420.0 |
| RTPP-II | 420.0 |
| *RTPP- III (New Project) | 210 |
| VTPS – IV | 500 |
| **KTPP -I | 500 |
| ***KTPS-VI (New Project) | 500 |
| TOTAL THERMAL | 5092.50 |
| HYDEL |  |
| Interstate projects: |  |
| Machkund, Orissa (AP share 70%) | 84.0 |
| T.B. Station, Karnataka (AP share 80%) | 57.6 |
| State projects: |  |
| Donkarayi | 25.0 |
| Upper Sileru | 240.0 |
| Lower Sileru | 460.0 |
| Srisailam right bank PH | 770.0 |
| Srisailam left bank PH | 900.0 |
| Nagarjunsagar | 815.6 |
| Nagarjunsagar right canal PH | 90.0 |
| Nagarjunsagar left canal PH | 60.0 |
| Nizam Sagar | 10.0 |
| Pochampadu | 27.0 |
| #Pochampadu-IV | 9.0 |
| PABM | 20.0 |
| Mini hydro | 14.16 |
| Singur | 15.0 |
| +Priyadarshini Jurala | 234 |
| TOTAL HYDEL | 3829.36 |
| TOTAL APGENCO | 8921.86 |

*Considered for the full year of 2011-12, ** considered from 1st October, 2010, *** Considered from 1st June 2011, # Considered from 12th October, 2010, +4th unit considered from 8th September, 2010, 5th unit from 19th November, 2010 and 6th unit from 15th January, 2010.

### CENTRAL GENERATING STATIONS

The Licensee has Power Purchase Agreements with Central Generating Stations of Southern Region to purchase power from NTPC (SR), NTPC (SR) Stage-III, NTPC -Talcher-II, NTPC Simhadri, Neyveli Lignite Corporation Ltd (“NLC”), Madras Atomic Power Station (“MAPS”) and Kaiga Atomic Power Station (“KAPS”). The share of the DISCOMs in the total capacity of the stations is provided below for FY 2011-12.

| Name of the Station | Capacity | AP Share |  |
| --- | --- | --- | --- |
|  | MW | MW | % |
| NTPC-(SR) | 2100 | 730.80 | 34.80 |
| NTPC-(SR) STAGE - III | 500 | 182.75 | 36.55 |
| NTPC-TALCHER-II | 2000 | 434.00 | 21.70 |
| NLC TS II STAGE-I | 630 | 134.44 | 21.00 |
| NLC TS II STAGE-II | 840 | 228.90 | 27.00 |
| MAPS | 440 | 46.86 | 11.00 |
| KAIGA 1 & 2 | 440 | 147.44 | 34.00 |
| KAIGA 3 & 4th Unit is yet to be commissioned | 440 | 155.45 | 35.00 |
| TOTAL | 7390 | 2060.65 | 27.88 |
| NTPC-SIMHADRI | 1000 | 1000.00 | 100.00 |
| *NTPC – Simhadri – Stage II Unit I &II | 1000 | 336.8 | 33.68 |
| GRAND-TOTAL (CGS) | 9390 | 3397.45 | 36.18 |

.* NTPC Simhadri Stage II: Unit-I Considered from 1st April, 2011 and Unit- II from 1st June 2011.

### INDEPENDENT POWER PRODUCERS (IPPs)

The following IPPs are under commercial operations in the State:

- 216.82 MW gas-based plant at Jegurupadu by GVK Industries (“GVK”);

- 208.31 MW gas-based plant at Kakinada by Spectrum Power Generation Ltd.,

- 351.49 MW gas-based plant at Vijayawada by Lanco Kondapalli Power Ltd (“Lanco Kondapalli”).  .

- 220.00 MW gas based plant at Samalkota, East Godavari District by M/s. Reliance Power Ltd. (formerly M/s. BSES).

The availability from new IPPs has been considered at 80% PLF for the second half of FY 11. The licensees have estimated 80% PLF of the capacity in FY 12, based on the indications of availability of natural gas.

### AP Gas Power Corporation Ltd (“APGPCL”): Joint Sector

APGPCL is a joint sector gas-based power project. The allocation of power from this project is in proportion to the equity share capital of participating industries.  The total installed capacity of the project along with the DISCOMs share is as given below:

| Source | Installed Capacity (MW) | APDISCOMs Share (MW) | APDISCOMs Share (%) |
| --- | --- | --- | --- |
| Stage I | 100 | 16.00 | 16.00 |
| Stage II | 172 | 42.80 | 24.88 |
| Total | 272 | 58.80 | 21.62 |

### Bilateral/ Inter-State purchases

##### PTC, NTPC  V V N L, TPTCL

The Licensee proposes to procure power from Power Trading Corporation, NTPC Vidyut Vyapara Nigam Ltd., Tata Power Trading Company Ltd, Reliance Energy Trading Ltd. Adani, Power Exchange etc., on need basis.

### Non-Conventional Energy (NCE) Sources

The installed capacities of NCE projects in the state for FY 11 and FY 12 are as follows:

| Type of Project | FY 11 (MW) | FY 12 (MW) |
| --- | --- | --- |
| Bio Mass Power Projects | 192.75 | 192.75 |
| Bagasse Cogeneration Projects. | 190.70 | 190.70 |
| Wind Power Projects | 187.50 | 387.50 |
| Mini Hydel Power Projects | 51.05 | 51.05 |
| Industrial Waste Based Power Projects | 27.66 | 33.66 |
| Municipal Waste Based Power Projects | 12.74 674 | 12.74 |
| NCL Energy Ltd. | 8.25 | 8.25 |
| TOTAL | 670.65 | 876.65 |

### Mini-Power Plants

APTRANSCO had entered into a Power Purchase Agreement with LVS (36.8 MW) on 3rd January, 2009 for purchase of power in compliance with Hon’ble Supreme Court and had entered into another Power Purchase Agreement with Srivathsa (17.202 MW) power plant. These projects have been allocated to EPDCL.

### New IPPs

The availability from new IPPs has been considered at 80% PLF for the second half of FY 11. The licensees have estimated 80% PLF of the capacity in FY 12, based on the indications of availability of natural gas.

| Project Name | Capacity (MW) |
| --- | --- |
| GVK Extension | 220 |
| Vemagiri | 370 |
| Gautami | 464 |
| Konaseema | 444 |

The availability from these new IPPs (with a total capacity of 1498 MW) is subject to natural gas supply from M/s RIL.

## BASIS OF ESTIMATION OF POWER AVAILABILITY FOR FY 11 H2 AND FY 12

### APGENCO

#### Thermal Energy:

The Energy availability for H2 of FY11 has been projected based on the actual performance of Plants up to September‘2010 and projected performance estimated by APGENCO from October 2010 to March 2011. For FY12, the energy availability has been projected based on the projected performance estimated by APGENCO and maintenance schedules of the plants.

The energy availability for VTPS- I is comparatively less for five months from august to December 2010 due to capital overhaul. Also, the projected dispatch is lesser for RTPP-II than projected energy availability owing to its high variable cost.

| APGENCO Thermal (Energy Availability- MUs) |  |  |  |
| --- | --- | --- | --- |
| S. No. | Station Name | FY 11 H2 | FY 12 |
| 1 | VTPS- I,II,II | - 4370.95 | 8220.90 |
| 2 | VTPS-IV | 1748.25 | 3492.80 |
| 3 | RTPP-I | - 1436.48 | 2814.45 |
| 4 | RTPP-II | 1440.61 | 3020.65 |
| 5 | RTPP-III | 0 | 1197.56 |
| 6 | KTPS-(ABC) | - 2378.52 | 4650.99 |
| 7 | KTPS-D | - 1749.38 | 3346.43 |
| 8 | RTS-B | - 211.18 | 370.92 |
| 9 | KTPP-I | - 1818.18 | 3497.43 |
| 10 | KTPS-VI | - 0 | 2598.33 |
|  | Total | 15,153.56 | 33210.45 |

#### Hydro Energy:

The hydro energy availability for FY11 is expected to be 7560.67 MU compared to the Tariff Order approved quantity of 7662.39 MU. The projection for the ensuing year (FY12) has been considered at 7662.75 MU. This includes capacity addition of new units i.e.  Units -4, 5 and 6 of Jurala and unit-4 of Pochampad. The following table shows the station-wise projected availability for FY 11 H2 and FY 12:

| APGENCO Hydel ( Energy Availability-MUs) |  |  |  |
| --- | --- | --- | --- |
| S, No. | Station Name | FY 11 H2 | FY12 |
| 1 | MACHKUND PH AP Share | - 225.72 | 336.39 |
| 2 | TUNGBHADRA PH AP Share | - 81.97 | 133.96 |
| 3 | USL | - 344.52 | 428.23 |
| 4 | LSR | - 712.80 | 1039.62 |
| 5 | DONKARAYI | - 95.04 | 92.5 |
| 6 | SSLM (Right Bank) | - 448.47 | 1350.25 |
| 7 | NSPH | - 920.70 | 1537.65 |
| 8 | NSRCPH | - 99.99 | 145.98 |
| 9 | NSLCPH | - 82.17 | 66.37 |
| 10 | POCHAMPAD PH (including unit IV) | - 110.19 | 89.15 |
| 11 | NIZAMSAGAR PH | - 17.82 | 11.27 |
| 12 | PABM | - 1.06 | 6.89 |
| 13 | MINI HYDRO&OTHERS | - 8.26 | 11.57 |
| 14 | SINGUR | - 4.95 | 7.02 |
| 15 | PRIYADARSHINI JURALA | - 178.20 | 384.61 |
| 16 | SSLM LCPH | - 671.84 | 2021.29 |
|  | Total | 4003.69 | 7662.75 |

### CGS

The energy availability for H2 of FY 11 has been projected based on the actual performance up to Sep 2010 and projected performance estimated for H2 of FY 11. For FY12, the energy availability has been projected based on the projected performance estimated by CGS and maintenance schedules of the plants. The total power availability estimate from CGS for FY 11 H2 and FY 12 is tabulated below:

| Central Generating Stations ( Energy Availability-MUs ) |  |  |  |
| --- | --- | --- | --- |
| S. No. | Station Name | FY 2010-11 H2 | FY 2011-12 |
| 1 | NTPC- (SR) | 2386.58 | 5365.12 |
| 2 | NTPC-(SR) STAGE – III | 665.21 | 1424.00 |
| 3 | NTPC –TALCHER-II | 1710.18 | 3262.16 |
| 4 | NTPC- SIMHADRI | 4195.00 | 7442.00 |
| 5 | NTPC- Simhadri Stage –II (Unit I &II) | 0 | 1951.70 |
| 5 | NLC TS II STAGE- I | 316.26 | 732.18 |
| 6 | NLC TS II STAGE- II | 581.79 | 1273.12 |
| 7 | NPC-MAPS | 84.00 | 212.00 |
| 8 | NPC-KAIGA 1 & 2 | 334.13 | 654.36 |
| 9 | NPC- KAIGA 3 & 4 | 174.65 | 125.84 |
|  | TOTAL | 10447.80 | 22442.47 |

### APGPCL

The projections for APGPCL – I and APGPCL – II are as shown below. The actuals till September, 2010 have been factored while estimating energy availability for FY 11 H2 and FY 12.

| APGPCL Allocated Capacity (Energy Availability- MUs ) |  |  |  |
| --- | --- | --- | --- |
| S. No. | Station Name | FY 11 H2 | FY 12 |
| 1 | APGPCL I - Allocated capacity | 29.75 | 70.27 |
| 2 | APGPCL II - Allocated capacity | 107.71 | 208.43 |
|  | Total | 137.46 | 278.70 |

### IPPs (Existing & New)

The availability of power from the generating stations of GVK, Spectrum, Lanco Kondapalli and Reliance (BSES) have been projected at 80% PLF as declared by the IPPs. The actuals till September, 2010 have been factored while estimating energy availability for FY 11 H2 and FY 12.

| IPP's (Energy Availability-MUs ) |  |  |  |
| --- | --- | --- | --- |
| S. No. | Station Name | FY 11 H2 | FY 12 |
| 1 | GVK | 784.58 | 1472.57 |
| 2 | Spectrum | 691.10 | 1395.28 |
| 3 | Lanco Kondapalli (Gas) | 1433.04 | 2502.67 |
| 4 | Reliance | 776.34 | 1503.25 |
|  | Total | 3685.07 | 6873.76 |

The projections for FY 11 H2 and FY 12 have been projected based on existing gas supply position. The availability of power from generating stations of GVK Extension, Vemagiri, Gautami and Konaseema has been projected based on the availability of expected additional gas for 2010-11. The licensees have assumed 80 % capacity to be available from the above new IPPs based on indications of natural gas supplies from RIL.

| New IPPs | FY 11 H2 (MU at Ex-bus) | FY 12 (MU at Ex-bus) |
| --- | --- | --- |
| #### GVK Extension Project | 745.69 | 1499.53 |
| Vemagiri Power Generation Ltd | 1570.88 | 3144.03 |
| Gautami Power Ltd | 1376.16 | 2656.82 |
| Konaseema EPS Oakwell Power Ltd. | 1491.06 | 3117.58 |
| Total | 5183.79 | 10417.967 |

### Availability from stations with DISCOM Specific Allocations

The NCE projects and the two mini power plants are not allocated on pro-rata basis but are allocated to specific DISCOMs based on their locations. The availability from these sources for each DISCOM is as shown below:

#### Mini Power Plants:

The energy availability projections for FY 11 H2 and FY 12 have been projected as declared by the stations at PLF 80% for LVS and for Srivathsa at PLF 76% for FY 11 H1 and at PLF 80% for FY 12. The energy dispatch for LVS for FY 11 H1 and FY 12 are lower than the actual energy availability owing to high variable cost.

| Mini-Power Plants Allocated to EPDCL (Energy Availability-MUs) |  |  |  |
| --- | --- | --- | --- |
| S, No. | Station Name | FY 11 H2 | FY 12 |
| #### 1 | #### Srivathsa | #### 62.46 | #### 110.60 |
| #### 2 | #### LVS | #### 151.68 | #### 300.69 |
|  | #### Total | #### 214.14 | #### 411.29 |

#### Non-Conventional Energy (NCE) Sources

The DISCOM-wise energy availability projections for FY 11 HY2 from various NCE sources is as mentioned below:

| The DISCOM-wise energy availability projections for FY 11 HY2 from various NCE sources is as mentioned below: S. No. | Station Name | SPDCL | NPDCL | EPDCL | CPDCL | Total (Type-wise) |
| --- | --- | --- | --- | --- | --- | --- |
| #### 1 | #### NCE - Bio-Mass | #### 319.41 | #### 75.90 | #### 84.60 | #### 129.66 | #### 609.56 |
| #### 2 | #### NCE – Bagasse | #### 151.48 | #### 128.71 | #### 93.69 | #### 32.61 | #### 406.50 |
| #### 3 | #### NCE - Municipal Waste to Energy | #### 17 | #### 0 | #### 0 | #### 18.26 | #### 35.26 |
| #### 4 | #### NCE - Industrial Waste based power project | #### 0 | #### 0 | #### 23.53 | #### 30.04 | #### 87.47 |
| #### 5 | #### NCE - Wind Power | #### 7.92 | #### 0 | #### 0 | #### 76.57 | #### 84.49 |
| #### 6 | #### NCE - Mini Hydel | #### 18.97 | #### 7.07 | #### 16.71 | #### 30.63 | #### 73.37 |
| #### 7 | #### NCE - NCL Energy Ltd | #### 2.2 | #### 1.6 | #### 1.6 | #### 4.6 | #### 10.03 |
|  | #### Total Availability #### ( DISCOM-wise) | #### 516.98 | #### 213.28 | #### 254.02 | #### 322.38 | #### 1306.69 |

| S. No. | Station Name | SPDCL | NPDCL | EPDCL | CPDCL | Total ( Type-wise) |
| --- | --- | --- | --- | --- | --- | --- |
| #### 1 | #### NCE - Bio-Mass | #### 644.11 | #### 153.05 | #### 170.59 | #### 261.47 | #### 1229.22 |
| #### 2 | #### NCE – Bagasse | #### 311.29 | #### 259.56 | #### 188.94 | #### 65.77 | #### 825.55 |
| #### 3 | #### NCE - Municipal Waste to Energy | #### 34.28 | #### 0 | #### 0 | #### 36.83 | #### 71.11 |
| #### 4 | #### NCE - Industrial Waste based power project | #### 0 | #### 0 | #### 115.81 | #### 53.87 | #### 169.69 |
| #### 5 | #### NCE - Wind Power | #### 172.62 | #### 0 | #### 0 | #### 297.69 | #### 470.31 |
| #### 6 | #### NCE - Mini Hydel | #### 38.25 | #### 14.26 | #### 33.69 | #### 61.77 | #### 147.96 |
| #### 7 | #### NCE - NCL Energy Ltd | #### 4.51 | #### 3.21 | #### 3.20 | #### 9.32 | #### 20.24 |
|  | #### Total Availability #### ( DISCOM-wise) | #### 1205.05 | #### 430.08 | #### 512.23 | #### 786.71 | #### 2934.07 |

### Losses external to APTRANSCO system

The losses external to the APTRANSCO system are estimated to be 5.10 %. This is applicable for procurement of power from Central Generating Stations and other short term purchases. However, external losses have not been considered for bilateral / inter-state purchases due to considering average landed power purchase cost at APTransco periphery.

### Summary

A summary of the source wise current estimate of dispatch for FY 11 H2 and FY 12 is presented below.

| Summary Energy Dispatch & External Purchases Table- MUs |  |  |  |
| --- | --- | --- | --- |
| S. No. | Sector | FY 11 H2 | FY 12 |
| 1 | APGENCO - Thermal | 14901.22 | 33008.51 |
| 2 | APGENCO – Hydel | 4003.69 | 7662.75 |
| 3 | CGS (SR & ER) | 10447.80 | 22442.47 |
| 4 | APGPCL | 137.46 | 278.70 |
| 5 | IPPs | 8868.85 | 17291.73 |
| 6 | NCE | 1306.69 | 2934.07 |
| 7 | Others | 163.26 | 329.07 |
| 8 | Bilateral Purchases | 1987.07 | 3433.68 |
|  | Total | 41,816.04 | 87,380.99 |

## 1.4 POWER PURCHASE TARIFFS

### APGENCO

The annual fixed costs for all APGENCO stations for FY 11 have been considered as the APERC approved values presented in Tariff Order 2010-11. Hence, the fixed costs for FY 11 H2 have been obtained by deducting actual costs for FY 11 H1 from annual fixed costs for FY 11. The fixed costs for existing stations FY 12 have been considered as the APGENCO filed figures for FY 2011-12.

The fixed costs for KTPP- I for FY 11 have been adjusted for six months as against the projected value in Tariff Order 2010-11 given for eight months as the plant considered to have started in October, 2010. The licensees have estimated the fixed costs for new stations namely, KTPS – VI and RTPP – III as per the APERC Regulation 8 of 2008, as Rs. 519.59 Cr. and Rs. 289 Cr. respectively. Since KTPS - VI is expected start in June 2011; the fixed cost has been adjusted for 10 months.

The fixed cost for Priyadarshini has been adjusted as it has been estimated in Tariff Order 2010-11 assuming commencement of only 3 units in 2010 but 4th unit has commenced on 8th October, 2010, 5th has commenced on 19th November 2010 and 6th is expected to commence on 15th January, 2010.

The total fixed costs for all the Thermal and Hydel APGENCO stations including both existing and new stations is Rs. 2070.91 Crs for H2 of FY 11 and Rs.4638.13 Crs for FY 12. The fixed costs for all APGENCO thermal and Hydel stations have been tabulated below:

| APGENCO | Fixed Costs for FY 11 H2 (Rs. Cr.) | Fixed Costs for FY 12 (Rs. Cr.) |
| --- | --- | --- |
| VTPS I | 72.1 | 155.6 |
| VTPS II | 72.1 | 155.6 |
| VTPS III | 72.1 | 155.6 |
| RTPP I | 110.0 | 219.5 |
| KTPS A | 61.5 | 117.5 |
| KTPS B | 61.5 | 117.5 |
| KTPS C | 61.5 | 117.5 |
| KTPS D | 109.7 | 214.0 |
| RTS B | 25.6 | 48.7 |
| RTPP-III | 0.0 | 289.0 |
| RTPP Stage-II | 219.6 | 437.8 |
| VTPS-IV | 332.8 | 519.9 |
| KTPS-VI | 0.0 | 433.0 |
| Kakatiya Thermal Power Plant Stage I | 363.8 | 649.0 |
| Kakatiya Thermal Power Plant Stage II | 0.0 | 0 |
| TOTAL THERMAL | 1562.10 | 3630.33 |
| MACHKUND PH AP Share | 8.9 | 13.5 |
| TUNGBHADRA PH AP Share | 6.1 | 9.3 |
| USL | 24.9 | 42.6 |
| LSR | 47.7 | 81.6 |
| DONKARAYI | 4.7 | 8.0 |
| SSLM | 80.3 | 157.6 |
| NSPH | 71.8 | 140.9 |
| NSRCPH | 7.9 | 15.5 |
| NSLCPH | 5.3 | 10.4 |
| POCHAMPAD PH | 4.6 | 15.7 |
| NIZAMSAGAR PH | 1.4 | 4.6 |
| PABM | 2.7 | 9.1 |
| MINI HYDRO&OTHERS | 2.4 | 9.3 |
| SINGUR | 2.1 | 6.8 |
| SSLM LCPH | 188.0 | 384.2 |
| Priyadarshini Jurala Hydro Electric Project | 51.5 | 98.7 |
| TOTAL HYDRO | 510.22 | 1007.80 |
| TOTAL APGENCO | 2072.33 | 4638.13 |

The variable costs for APGENCO thermal plants have been adopted from adjusting values obtained from actuals for FY 11 H1. The adjustments ensure that imported coal has not been considered in the projections and the resultant values are within the reasonable limits of the filed values in Tariff Order 2010-11 and not lower than the APERC approved values for FY 11. The station-wise variable rates that have been adopted for APGENCO thermal plants  for second half of FY 11 and for full FY 12 are as follows:

| Station | Variable rate (Rs./kWh) |
| --- | --- |
| VTPS (I, II, III) | 1.58 |
| VTPS-IV | 1.42 |
| RTPP-I | 1.77 |
| RTPP-II | 1.77 |
| RTPP-III | 1.77 |
| KTPS (A, B, C) | 1.28 |
| KTPS- D | 1.28 |
| KTPS-VI | 1.13 |
| RTS- B | 1.64 |
| KTPP-I | 1.16 |

The incentives for APGENCO thermal stations are calculated based on APERC Regulation No 1 of 2008, at a flat rate of 25 paisa/kWh for ex-bus scheduled energy corresponding to scheduled generation in excess of ex-bus energy corresponding to target Plant Load Factor. The target PLF for incentive calculation is 80%.

### CGS:

#### NTPC-TALCHER -II (2000 MW)

The fixed cost for this station has been projected based on the actuals for FY 11 H1. The CERC’s final orders to the control period of 2004-09 which was issued during Jan’10, and fixed charges are adopted in the ARR is twice the actuals for FY 11 H1 due to non-determination of tariff for the control period of  2009-14 based on new Tariff Regulations, 2009. The present allocation from this station is 21.70 %. The variable charge has been projected based on the actuals for FY 11 H1. Based on the above, the projected fixed charges payable per annum by AP DISCOMs for 434 MW is Rs. 119.49 Crs for FY 11 H1 and Rs.238.99 Crs for FY 12 respectively. The variable charge has been considered as Rs. 0.82/ kWh.

#### NTPC (SR) (2100 MW)

The fixed cost for this station has been projected based on the actuals for FY 11 H1. The CERC’s final orders to the control period of 2004-09 which was issued during Jan’10, and fixed charges are adopted in the ARR is twice the actuals for FY 11 H1 due to non-determination of tariff for the control period of  2009-14 based on new Tariff Regulations, 2009. The present allocation from this station is 34.80 %. The variable charge has been projected based on the actuals for FY 11 H1.  Based on the above, the projected fixed charges payable per annum by AP DISCOMs for 730.8 MW is Rs. 97.55 Crs for FY 11 H1 and Rs.195.09 Crs for FY 12 respectively. The variable charge has been considered as Rs. 1.23/ kWh.

#### NTPC (SR) STAGE-III (500 MW)

The fixed cost for this station has been projected based on the actuals for FY 11 H1. The CERC’s final orders to the control period of 2004-09 which was issued during Jan’10, and fixed charges are adopted in the ARR is twice the actuals for FY 11 H1 due to non-determination of tariff for the control period of  2009-14 based on new Tariff Regulations, 2009. The present allocation from this station is 36.55 %. The variable charge has been projected based on the actuals for FY 11 H1.  Based on the above, the projected fixed charges payable per annum by AP DISCOMs for 182.75 MW is Rs. 59.59 Crs for FY 11 H1 and Rs.119.17 Crs for FY 12 respectively. The variable charge has been considered as Rs. 1.26/ kWh.

#### NTPC- SIMHADRI (1000 MW)

The fixed cost for this station has been projected based on the actuals for FY 11 H1. The CERC’s final orders to the control period of 2004-09 which was issued during Jan’10, and fixed charges are adopted in the ARR is twice the actuals for FY 11 H1 due to non-determination of tariff for the control period of  2009-14 based on new Tariff Regulations, 2009. The variable charge has been projected based on the actuals for FY 11 H1.  Based on the above, the projected fixed charges payable per annum by AP DISCOMs for 1000 MW is Rs. 309.97 Crs for FY 11 H1 and Rs. 619.94 Crs for FY 12 respectively. The variable charge has been considered as Rs. 1.58/ kWh.

#### NLC TS II (1470 MW)

The fixed cost for this station has been projected based on the actuals for FY 11 H1. The CERC’s final orders to the control period of 2004-09 which was issued during Jan’10, and fixed charges are adopted in the ARR is twice the actuals for FY 11 H1 due to non-determination of tariff for the control period of  2009-14 based on new Tariff Regulations, 2009. The variable charge has been projected based on the actuals for FY 11 H1.

##### Stage –I (630 MW)

For the APDISCOMs share of 21.00 % of 630 MW, the fixed cost payable to NLC is Rs. 13.75 Crs and Rs. 27.51 Crs for FY 11 H2 and FY 12 respectively. The variable charge has been considered as Rs. 1.39/ kWh.

##### Stage –II (840 MW)

For the APDISCOMs share of 27.00 % of 840 MW, the fixed cost payable to NLC is Rs. 26.15 Crs and Rs. 52.31 Crs for FY 11 H2 and FY 12 respectively. The variable charge has been considered as Rs. 1.40/ kWh.

#### MADRAS ATOMIC POWER STATION (MAPS) (440 MW):

The Department of Atomic Energy (Power Section) under the Government of India, notified the tariff for supply of power from MAPS vide ‘Tariff Notification ‘dated 22.09.2006. The share of AP in MAPS was revised to 11 % w.e.f. 07.04.2007. The fixed cost (single part tariff) payable for this station by APDISCOMs for FY 11 H2 and FY 12 is Rs. 16.35 Crs and Rs. 41.27 Crs.

#### KAIGA ATOMIC POWER STATION 1 & 2 (KAPS) (440 MW):

The AP share from Kaiga 1 & 2 is 34%. The KAIGA 1 & 2 tariff as applicable for September 2009 has been adopted for arriving at projected costs for H2 of FY 11 and for ensuing year FY 12. The fixed cost payable by APDISCOMs to this station has been considered as Rs. 101.49 Crs and Rs. 198.75 Crs for FY 11 H2 and FY 12 respectively.

#### KAIGA ATOMIC POWER STATION 3 & 4 (KAPS) (440 MW):

The Unit 3 (220 MW) of KAIGA Atomic Power Station was declared under commercial operation w.e.f 06.05.07. The Unit 4 (220MW) is expected to come under commercial operation shortly. As the tariffs for KAIGA 3 & 4 haven’t been finalized yet by Department of Atomic Energy, the rates of KAIGA 1 & 2 have been adopted for making payments for supply of power from KAIGA 3 & 4. The share of AP in KAIGA 3 & 4 is 35 %. The fixed cost payable by APDISCOMs to this station has been considered as Rs. 53.05 Crs and Rs. 38.22 Crs for FY 11 H2 and FY 12 respectively. Unit 4 is yet to be commissioned.

#### NTPC- SIMHADRI II (1000 MW)

The fixed cost for this station has been estimated by licensees. The variable charge has been considered same as that for NTPC- Simhadri. The present allocation from this station is 34.0 %. The projected fixed charges payable per annum by AP DISCOMs for 1000 MW is Rs. 204.93 Crs for FY 12. The variable charge has been considered as Rs. 1.58/ kWh.

#### Other Costs for CGS (SR)

The Other Costs for CGS (SR) have been calculated based on the actuals for FY 11 H1 that the distribution licensees incurred. The other costs have been projected as twice the actuals of FY 11 HY for FY 12.

#### CGS (SR) incentive:

In the present scenario, incentives for CGS (SR) are being paid as per the regulation-2004 at a flat rate of 25.0 paisa / kWh for the excess ex-bus energy generated with respect to the ex-bus energy corresponding to target PLF. The target PLF for NTPC Stations is 80 % and for NLC is 75 %. Incentive component has not been considered for MAPS & KAIGA stations, as the new tariff orders have not been issued by CERC. The regulation of 2009, as issued by CERC, has included incentives in the capacity charges for the period 2009-2014. The difference in the incentive amount will be adjusted after the new tariff order is issued by CERC for these stations.

As per CERC orders, the incentive amount payable to NTPC & NLC is to be shared by the beneficiaries in the ratio of  energy scheduled beyond target PLF.

### APGPCL

The power purchase cost incurred by APDISCOMs for procurement from APGPCL for FY 12 is as per projections given by APGPCL:

The calculations were done on the basis of availability of 0.90 MSCMD of Natural Gas with the usage of part load i.e., about 172 MW (out of 272 MW). As a result, 100 MW was kept as idle for want of Natural Gas. Consequently, the fixed cost has gone up steeply.

Reasons for increase in fixed cost and variable cost for the year FY 12:

1. The Natural Gas Supply rate has been revised from US $ 1.85 per MMBTU [APM gas              rate] to US $ 4.20 per MMBTU which is equivalent to the price of Reliance Industries Ltd.

2. The O&M Charges were also revised [which is to be agreed by both the parties] which had contributed for increase in fixed cost.

3. For FY 12, it is proposed to take up the Stage-I & II for HGPI and Major inspection with a cost of Rs. 4218 lakhs and Rs. 4716 lakhs respectively. The increase in the repairs and maintenance cost also contributed for increase in the fixed cost. Further, as the plants will be under shut down for about 30 days during August, 2011, the generation will also be reduced, which again contributed for increase in fixed cost.

4. As plants are running with part load, the gas consumption i.e., the Specific fuel consumption is also more which is contributing for increase in the variable and fixed cost.

| Cost components for FY 12 |  |
| --- | --- |
| Stage-I |  |
| Fixed cost (Rs. Crs.) | 7.41 |
| Variable cost (Rs. / kWh) | 1.92 |
| Stage –II |  |
| Fixed cost (Rs. Crs.) | 16.71 |
| Variable cost (Rs. / kWh) | 1.72 |

### IPPs

#### GVK JEGURUPADU POWER PROJECT

The fixed cost is fully recoverable at 68.50 % PLF. The variable charge of Rs 1.67 / kWh has been considered based on gas supplies by GAIL from ONGC, Ravva Satellite Fields and Reliance Gas.

The capital cost of this plant is Rs. 816 Crs. The fixed cost is Rs. 94.24 Crs per annum for FY 11 and Rs.95.82 Crs for FY 12. The fixed cost includes foreign exchange variations payable by APDISCOMs to the generator as per the provisions of Power Purchase Agreement. The actual fixed cost as settled by the licensee may be different from the estimates as presented above on account of the monthly Foreign Exchange Rate Variation (FERV). The licensee submits to the Hon’ble Commission to allow the licensee to subsequently claim the change in fixed cost on account of FERV.

Deemed / Notional generation claims will be payable to the generator up to 85 % PLF as per the incentive formulae provided in the PPA.

Computation of incentive has been carried out based on the formula provided in the PPA.  The PLF used for estimating incentives is based on the generator’s projections of plant performance for FY 12 is 80%.

Incentive payment 	= Equity x (PLF - 68.50) x 0.00525;

Equity 	    	= Rs. 244.80 Crs;

Projected incentive for FY 11 is Rs. 14.78 Crs and for FY 12 is Rs. 0.00 Crs as there would be no additional units in excess of actual generation.

#### SPECTRUM

The fixed cost is fully recoverable at 68.50 % PLF. The variable charge of Rs.1.70/ kWh has been considered based on gas supplies by GAIL from ONGC, Ravva Satellite Fields and Reliance Gas.

The fixed cost of Rs. 86.78 Crs has been adopted for FY 11 and Rs.91.12 Crs for FY 12. The fixed cost is inclusive of foreign exchange variations payable by APDISCOMs to the generator as per the provisions of Power Purchase Agreement.

The actual fixed cost as settled by the licensee may be different from the estimates as presented above on account of the monthly Foreign Exchange Rate Variation (FERV). The licensee submits to the Hon’ble Commission to allow the licensee to subsequently claim the change in fixed cost on account of FERV.

Deemed / Notional generation claims will be payable to the generator up to 85% PLF as per the incentive formulae provided in the PPA.

Computation of incentive has been carried out based on the formula provided in the PPA.  The PLF used for estimating incentives is based on the generator’s projections of plant performance for FY 12 is 80%.

Incentive payment 	= Equity x (PLF - 68.50) x 0.004 (if PLF > 68.50 < 80.50);

Incentive payment 	= Equity x (PLF - 68.50) x 0.005 (if PLF > 80.50 < 85.50);

Incentive payment 	= Equity x (PLF - 68.50) x 0.006 (if PLF > 85.50);

Equity = Rs. 117.92 Crs;

Projected incentive for FY 11 is Rs. 6.78 Crs and for FY 12 is Rs. 0.00 Crs as there would be no additional units in excess of actual generation.

#### LANCO KONDAPALLI

The fixed charges are fully recoverable at 80% PLF. The variable charge of Rs 1.76 / kWh has been considered based on gas supplies by GAIL from ONGC, Ravva Satellite Fields & RIL.

Estimated fixed cost for FY 11:	Rs. 312.00 Crs.

Estimated fixed cost for FY 12:	Rs.  312.00Crs.

Incentive: In case the plant achieves a PLF (I) greater than 80% for a tariff year, then the Board shall pay to the generator incentive (as a percentage of the other fixed charges) for any additional unit generated beyond the actual generation in excess of a PLF (I) of 80%. The incentive structure is as shown below:

| PLF (I) % | Incentive (%) |
| --- | --- |
| Up to 80 % | Nil |
| Above 80 % and up to 85 % | 2 % for every 1 % increase in PLF(I) (i.e. for a PLF(I) of 85 %, the incentive will be 10 % of the Other Fixed Charge) |
| Above 85 % and up to 90 % | 3 % for every 1 % increase in PLF(I) (i.e. for a PLF(I) of 90 %, the Incentive will be 10 % + 15 % = 25 % of the Other Fixed Charge) |
| Above 90 % | Same as for 90% i.e. 25% of the Other Fixed Charge. |

Projected incentive for FY 11 is Rs. 0.31 Crs and for FY 12 is Rs. 0.00 Crs as there would be no additional units in excess of actual generation.

#### RELIANCE INFRASTRUCTURE LTD. (BSES)

The fixed charge is fully recoverable at 85 % PLF. The variable charge of Rs.1.65 / kWh has been considered based on gas supplies by GAIL from ONGC, Ravva Satellite Fields & RIL. Based on the formula provided in the PPA, the fixed cost payable to this generator is Rs. 159.37 Crs for FY 11 and for FY 12 is Rs.159.10 Crs.

Incentives: In case the plant achieves a PLF (I) greater than 85% for a tariff year, then the incentive (as a percentage of the other fixed charges) payable for any additional unit of actual generation in excess of a PLF (I) of 85 %. The incentive structure is as shown below:

| PLF (I) % | Incentive (%) |
| --- | --- |
| Up to 80 % | Nil |
| Above 80 % and up to 85 % | At “Committed Incentive Charge” |
| Above 85 % and up to 90 % | 2 % for every 1 % increase in PLF(I) (i.e. for a PLF(I) of 90 %, the Incentive will be 10 % of the Other Fixed Charge |
| Above 90 % | Same as for 90% i.e. 10 % of the Other Fixed Charge. |

Projected incentive for FY 11 is Rs. 0.00 Crs and for FY 12 is Rs. 0.00 Crs as there would be no additional units in excess of actual generation. The licensee shall not bear the tax on incentives payable to the generator.

### New IPPs

The projections for FY 11 H2 and FY 12 are based on existing gas supply position. The availability of energy from generating stations of GVK Extension, Vemagiri, Gautami and Konaseema have been projected at 80 % PLF based on the indications of gas supplies being made available from Reliance D-6 Fields. The fixed cost component for each of these stations is as mentioned in the table below:

| New IPPs | COD of Projects | FY 11 (Rs. Crs.) | FY 12 (Rs. Crs.) | Variable Cost (Rs./kWh) |
| --- | --- | --- | --- | --- |
| #### GVK Extension Project | 14/04/09 | 119.64 | 119.64 | 1.79 |
| Vemagiri Power Generation Ltd | 16/09/06 | 207.44 | 207.44 | 1.83 |
| Gautami Power Ltd | 05/06/09 | 364.15 | 364.15 | 1.79 |
| Konaseema EPS Oakwell Power Ltd. | 30.06.2010 | 260.14 | 260.14 | 1.80 |

Konaseema plant is presently operating in open-cycle mode and the plant is expected to be fully operational from 1st of July 2010. The power purchase cost from this plant, till end of June 2010, has been considered at average power purchase cost from other 3 new IPPs, as per order passed by the Hon’ble Commission.

The above availability of generation from new IPPs is based on the proposed plant maintenance works, as mentioned below, projected by IPPs. Other important assumptions too are as mentioned below:

- US $ / Rs. (Currency Conversion Rate) = 50.00	.

- Availability = 80% PLF.

- Per unit fixed cost of GVK as per bill= Rs. 0.97 & all other IPPs = Rs. 1.00

- The availability indicated above is subject to availability of Natural Gas from Reliance D-6 fields.

- Gautami proposed GT-11B inspection planned from 27.02.2011 to 02.03.2011 for 84 hrs.

- Gautami proposed GT-12 A inspection planned from 29.11.2010 to 02.12.2010 for 78 hrs.

- Vemagiri proposed to shut down for 3 days during December 2010.

- Projections are made with assumption of full gas availability.

- GVK proposed shutdown for its GT IV Hot Gas Path inspection and HRSG license renewal in July 11 for 5 days

- Gautami proposed GT11A inspection planned from 28.02.2012 to 02.03.2012 for 78 hrs.

- Gautami proposed GT12A inspection planned from 29.09.2011 to 02.10.2011 for 78 hrs.

- Gautami proposed HRSG-11 Boiler license renewal planned from 03.07.2011 to 04.07.2011 for 48 hrs.

- Gautami proposed HRSG-12 Boiler license renewal planned from 01.07.2011 to 02.07.2011 for 48 hrs.

### MINI POWER PLANTS

#### LVS POWER LTD (36.8 MW)

The fixed charges are fully recoverable at 80% PLF. The plant has been operational from 15.01.2009 onwards, in compliance with the Hon’ble Supreme Court orders dt.28.11.2008.  The variable cost for this station has been assumed as Rs. 7.77/ kWh. The fixed cost payable by APDISCOMs to this generator is Rs. 36.52 Crs for FY 11 and Rs.36.52 Crs for FY 12.

Incentive: In case the project achieves a PLF (I) greater than 80 % in a tariff year, then APEPDCL shall pay to the generator an incentive of Rs. 0.05 (Rupees Zero and Five Paise only) / kWh for any additional unit of actual generation of energy at the interconnection point in excess of a PLF (I) of 85 %. The projected incentives for both FY 11 and FY 12 are Rs. 0.00 Crs.

#### SRIVATHSA POWER PROJECTS LTD (17.202 MW)

The recovery of fixed charges is limited to the delivery of 110 MU energy units. The variable cost for this station has been considered as Rs.1.95 / kWh, based on gas supplies by GAIL from ONGC and Ravva Satellite Fields. The fixed cost payable is Rs. 6.19 Crs for FY 11 and Rs. 10.43 Crs for FY 12.

Incentives: In case the project achieves delivered energy in excess of 110 MU in a tariff year, the APDISCOMs shall pay to the generator, an incentive of Rs.0.05 (Rupees Zero and Five Paise only) / kWh for each additional unit of actual delivery of energy at the Interconnection Point.

### NON CONVENTIONAL ENERGY (NCE) SOURCES:

The Commission passed orders on 20.03.2004, fixing power purchase price applicable for NCE Projects from 01.04.2004 to 31.03.2009. The NCE Project Developers filed cases before the Appellate Tribunal against the APERC orders. The Appellate tribunal set aside APERC Orders dated: 20.03.2004. The APTRANSCO and DISCOMs filed Appeals before Supreme Court against ATE Orders. The Hon’ble Supreme Court passed Orders dated: 08.07.2010 setting aside ATE Orders. The Supreme Court remanded the matter to APERC with a direction to hear NCE Project Developers afresh and determine /fix tariff/power purchase price. The APERC initiated public hearing in the matter from 28.09.2010 onwards and it is going on.

The APERC passed orders on 31.3.2009 fixing variable cost applicable to existing Biomass, Bagasse & Industrial waste projects for the period from 1.4.2009 to 31.3.2014. The Commission also fixed single part tariff for existing Wind and Municipal waste projects for the period from 1.4.2009 to 31.3.2014. The DISCOMs have considered the Hon’ble Commission orders in factoring the costs. Some of the NCE project Developers and Public representatives have filed Review Petitions before the Commission against these orders. The review petitions were heard and orders are to be passed.

The Commission passed Renewable Power Purchase Obligation (RPPO) orders on 31.03.2009 directing that every Distribution Licensee shall be required to purchase Electricity, not less than 5 % of his consumption of energy, from NCE sources during each of the years 2009-10 to 2013-14 at the rates applicable for purchase of electricity from such NCE sources as per the orders of the Commission in force from time to time.

The Commission passed orders on 01.05.2009 fixing tariff of Rs. 3.50 per unit for new Wind power projects, which will enter into PPAs between 01-05-2009 and 31-03-2014. In compliance to the APERC orders, APDISCOMs are entering into PPAs with new Wind power project developers. The total weighted cost of each of the NCEs is shown in the table below.

| Project Type | Weighted average Variable Cost Considered for FY 12 (Rs. / kWh) |
| --- | --- |
| #### NCE – Bio-mass | #### 3.90 |
| #### NCE – Bagasse | #### 3.10 |
| #### NCE – Municipal Waste to Energy | #### 4.24 |
| #### NCE – Industrial Waste based power project | #### 4.07 |
| #### NCE – Wind Power | #### 3.40 |
| #### NCE – Mini Hydel | #### 2.09 |
| #### NCE – NCL Energy Ltd. | #### 1.78 |

### Bilateral Purchases

Month-wise shortfall has been estimated based on the availability and requirement. This deficit will be met from external sources such as UI, power traders and power exchange. The estimated purchases from such external sources are estimated to be 3,929.83 MU for FY 11 and 3,433.68 MU for FY 12. The cost of the above purchases would be Rs 1814.76 Crs in FY 11 and Rs 1,888.53 Crs in FY 12.

### D-D Purchases

Month-wise availability of each Discom has been calculated based on PPA allocation and the requirement of each Discom at APTRANSCO periphery has been calculated, by grossing up the sales with losses. The D-D purchases / sales for each Discom have been estimated. The D-D pool price has been calculated based on the average fixed cost of Rs 0.89 / kWh and the highest marginal cost station (Rs 1.94 / kWh). The D-D price has been estimated to be Rs. 2.93 / kWh.

## ENERGY REQUIREMENT

Based on the availability shown above and the energy requirement from all the DISCOMs, the actual energy to be purchased has been projected as follows:

| DISCOMS | FY 11 H2 | FY 12 |
| --- | --- | --- |
|  | MU | MU |
| EPDCL | 6,930 | 14,315 |
| SPDCL | 9,789 | 20,087 |
| CPDCL | 18,287 | 39,737 |
| NPDCL | 6,810 | 13,243 |
| Total | 41,816 | 87,381 |

The above energy requirement of the licensees has been arrived at by grossing up the licensee sales with transmission and distribution losses. (The external loss on the power purchased from CGS only has also been factored in the above energy requirement).

## SUMMARY OF POWER PURCHASE FOR CURRENT YEAR FY 11 AND ENSUING YEAR - FY 12

Based on the availability, requirement and costs for each source, the summary of power purchase cost for the State for FY 11 is projected as follows:

| FY 11 Projection (Current Year) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Station | Power Purchase | Fixed Cost | Variable Cost | Other Costs | Total Costs |
|  | MUs | Rs. Crs. | Rs. Crs. | Rs. Crs. | Rs. Crs. |
| APGENCO - Thermal | 26,595.17 | 2,670.84 | 4,211.75 | 47.19 | 6,929.78 |
| APGENCO - Hydel | 7,560.67 | 986.88 | - | 36.83 | 1,023.71 |
| CGS | 12,689.50 | 633.07 | 1,896.39 | 16.99 | 2,546.45 |
| NTPC Simhadri | 7,988.08 | 619.94 | 1,358.01 | 24.50 | 2,002.45 |
| IPPs | 17,151.07 | 1,603.76 | 3,069.66 | 22.37 | 4,695.79 |
| APGPCL | 357.69 | 8.18 | 63.59 | - | 71.77 |
| NCEs | 1,834.82 | 0 | 640.14 | 0 | 640.14 |
| Others ( Srivathsa, LVS) | 244.34 | 42.71 | 127.74 | 3 | 173.45 |
| Bilateral Purchases | 3,929.83 | 31.37 | 1,783.39 | - | 1,814.77 |
| Total | 78,351.15 | 6,596.76 | 13,150.67 | 150.89 | 19,898.32 |

Based on the availability, requirement and costs for each source, the summary of power purchase cost for the State for FY 12 is projected as follows:

| FY 12- Projection (Ensuing Year) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Station | Power Purchase | Fixed Cost | Variable Cost | Other Costs | Total Costs |
|  | MUs | Rs. Crs. | Rs. Crs. | Rs. Crs. | Rs. Crs. |
| APGENCO - Thermal | 33,008.51 | 3,630.33 | 4,784.78 | 68.64 | 8,483.76 |
| APGENCO - Hydel | 7,662.75 | 1,007.80 | - | 36.83 | 1,044.63 |
| CGS | 13,048.78 | 633.07 | 1,666.00 | 15.19 | 2,314.26 |
| NTPC Simhadri | 9,393.70 | 824.87 | 1,481.00 | 10.85 | 2,316.72 |
| IPPs | 17,291.73 | 1,609.41 | 3,127.25 | 0.66 | 4,737.32 |
| APGPCL | 278.70 | 24.11 | 49.44 | - | 73.56 |
| NCEs | 2934.07 | 0 | 1,029.13 | 0 | 1,029.13 |
| Srivathsa, LVS | 329.07 | 46.95 | 191.27 | 3.00 | 241.22 |
| External Purchases | 3,433.68 | - | 1,888.53 | - | 1,888.53 |
| Total | 87,380.99 | 7,776.54 | 14,217.41 | 135.17 | 22,129.12 |

Key Observations from the above analysis:

- The energy availability and fixed costs for APGENCO thermal stations have increased for FY 12 compared to FY 11 as 2 new stations namely, RTPP- III and KTPS- VI are expected to start in FY 12.

- The energy availability for hydro stations for FY 12 has been considered as 7662.75 MU.

- The energy availability and fixed costs for NTPC Simhadri have increased for FY 12 as compared to FY 11 due to expected addition of NTPC Simhadri III in April, 2011.

- The energy availability for IPPs has been considered at 80% PLF for FY 11 H2 and FY 12.

- The energy availability for APGPCL has decreased for FY 12 due to expected shortage of availability of gas. The fixed costs for APGPCL have increased due to increase in cost of gas.

The energy availability for NCEs has increased for FY 12 due to expected large scale additions in Wind energy.

## Losses

### Discom Losses

The Licensee has filed review petition before the Commission stating that the distribution loss reduction trajectory fixed stringent and requested for a review. Based on the Licensee’s representation, the Hon’ble Commission has revised the distribution loss trajectory for four years of the MYT period beginning with FY 2010-11. For the FY 2010-11 & 2011-12 the licensee has adopted the voltage wise loss levels, at the same level as passed revised order altering the MYT loss reduction trajectory by the Commission in Tariff Order for the FY 2010-11.

The table below provides the Discom losses including and excluding EHT sales for year 2009-10, year 2010-11 and year 2011-12.

|  | 2009-10 |  | 2010-11 |  | 2011-12 |
| --- | --- | --- | --- | --- | --- |
|  | APERC | Actual | APERC | Proj. | Proj. |
| Discom Losses (incl EHT) (%) | 12.22 | 14.53 | 12.81 | 13.13 | 12.23 |
| Discom Losses (Excl EHT) (%) | 14.52 | 16.46 | 14.98 | 15.13 | 14.42 |

[

### Transco Losses

The Transco losses for FY 2010-11 and FY 2011-12 have been taken based as per approved Transmission loss levels.

| Transmission Losses (2010-11) | Transmission Losses (2011-12) |
| --- | --- |
| 4.13% | 4.10% |

### PGCIL Losses

Based on the trajectory of losses in recent months, licensee has considered it to be at 5.21% for FY 2010-11 and 5.10% for FY 2011-12.

| External Losses (2009-10) | External Losses (2010-11) |
| --- | --- |
| 5.21% | 5.10% |

## Expenditure Projections

### Power Purchase and Procurement Cost

NPDCL would require 11,789 MU for 2010-11 and 13,243 MU for 2011-12 for sale to various categories aggregated by energy losses and the cost of this energy would be Rs.2,950 Cr. and Rs. 3,290 Cr. respectively after considering net of Pool transactions.

| Details | 2009-10 | 2010-11 | 2011-12 |
| --- | --- | --- | --- |
| Power Purchase (MU) | 11579.36 | 11789.29 | 13242.74 |
| Power Purchase / Procurement Cost (Rs. Cr.) | 3,001.19 | 2,949.76 | 3,290.03 |

### APTransco Charges

The licensee has adopted the Transmission capacity contracted and rate of Transmission charges per MW per month as per the MYT Order issued by the Hon’ble Commission for the 2nd control period. Hence, the Transmission charges are expected for 2010-11 and 2011-12 are Rs.133.66 Cr. and Rs.171.06 Cr. respectively.

| Details | 2010-11 | 2011-12 |
| --- | --- | --- |
| Capacity contracted (MW) | 2190 | 2246 |
| Rate (Rs. / KW / Month) | 50.86 | 63.47 |
| Transmission Charges (Rs. Cr.) | 133.66 | 171.06 |

### Power Grid & ULDC Charges

PGCIL and ULDC costs have been calculated based on the H1 actuals of FY 2010-11. The details of the PGCIL & ULDC charges are as shown in the table below:

| Details | 2010-11 | 2011-12 |
| --- | --- | --- |
| PGCIL & ULDC charges (Rs. Cr.) | 60.48 | 60.48 |

SLDC Charges

SLDC charges are calculated for the year 2010-11 and year 2011-12 at the rate and Transmission capacity contracted, as given in the MYT Order issued by the Hon’ble Commission for the 2nd control period. The charges are expected i.e., Rs.6.10 Cr. for 2010-11 and Rs.6.76 for 2011-12.

| Details | 2010-11 | 2011-12 |
| --- | --- | --- |
| Capacity contracted | 2190 | 2246 |
| Annual fee Rs./ MW / Year | 4540.95 | 5366.78 |
| Operating charges Rs./ MW / Month | 1506.66 | 1592.76 |
| SLDC Charges | 4.95 | 5.50 |

Distribution Cost

As per the Regulation No. 4 of 2005, APNPDCL has filed ARR for the Distribution Business for 2nd control period (5 years from 2009-10 to 2013-14) and the Hon’ble Commission issued Tariff Order accordingly. In this regard, the APNPDCL has considered the Distribution cost for year 2009-10 and year 2010-11 as approved in the MYT Order for the Distribution Business for second control period.

Hence, the total distribution cost has been considered as Rs. 603.67 Cr. and Rs. 702.38 Cr. for 2010-11 and 2011-12 respectively.

Interest on Consumer Security Deposits

As per the Regulation No. 6 of 2004, the licensee is collecting initial security deposit and additional security deposit from consumers and paying interest on the deposits at the rates as specified in the Regulation. The interest on consumer security deposit for 2010-11 is estimated at Rs. 17.32 Cr. and Rs.18.13 Cr. for 2011-12.

| Details (Rs. Cr.) | 2009-10 | 2010-11 | 2011-12 |
| --- | --- | --- | --- |
| Opening Balance | 248.79 | 281.84 | 295.49 |
| Additions during the Year | 33.05 | 13.66 | 13.84 |
| Closing Balance | 281.84 | 295.49 | 309.33 |
| Average Balance | 265.31 | 288.66 | 302.41 |
| Interest @ % p.a. | 6% | 6% | 6% |
| Interest Cost | 15.14 | 17.32 | 18.13 |

Supply Margin in Retail Supply Business

The licensee has proposed 2% on equity portion of approved regulatory rate bass (RRB) in MYT order for the second control period as Supply Margin in Retail Supply Business.

| Details (Rs. Cr.) | 2010-11 | 2011-12 |
| --- | --- | --- |
| Supply Margin in Retail Supply Business | 5.95 | 6.73 |

Other Cost

The licensee has proposed reactive power charges payable to southern grid under this head.

| Details (Rs. Cr.) | 2010-11 | 2011-12 |
| --- | --- | --- |
| Other Costs | 0.60 | 0.60 |

Aggregate Revenue Requirement for Retail Supply Business

The Aggregate Revenue Requirement for the Retail Supply Business is provided below for years 2009-10, 2010-11 and 2011-12.

| Details (Rs. Cr.) | 2009-10 | 2010-11 | 2011-12 |
| --- | --- | --- | --- |
| Transmission Cost | 117.94 | 133.66 | 171.06 |
| SLDC Cost | 4.47 | 4.95 | 5.50 |
| Distribution Cost | 619.06 | 603.67 | 702.38 |
| PGCIL & ULDC charges (Rs. Cr.) | 67.77 | 60.48 | 60.48 |
| Network and SLDC Cost | 809.24 | 802.77 | 939.41 |
| Power Purchase / Procurement Cost (Net) | 3,001.19 | 2,949.76 | 3,290.03 |
| Interest on Consumer Security Deposits | 15.14 | 17.32 | 18.14 |
| Supply Margin in Retail Supply Business | 5.17 | 5.95 | 6.73 |
| Other Costs, if any | 0.60 | 0.60 | 0.60 |
| Supply Related Cost | 3,022.09 | 2,973.63 | 3,315.50 |
| Aggregate Revenue Requirement | 3,831.33 | 3,776.39 | 4,254.92 |

- Revenue Projections

Sales Forecast

The licensee has adopted two different methodologies namely, end-user method and trend method for forecasting the sales in various categories. The trend method has been used predominantly except in the case of HT - I and HT-IV category services, for which the end-user method has been adopted.

### Trend Method

This method is a non-causal model of demand forecasting that assumes to follow the same trend as in the past. In the Licensee’s area, load relief has been given to all categories except LT-Category-V (Agriculture), HT- Category – IV Irrigation & Agriculture and HT-Category –V Railway Traction in 2009-10 & 2010-11. The licensee has projected unrestricted sales from October 2010 to March 2011 and for FY 2011-12. With these sales projections for FY 2011-12, the Licensee expects that there would not be any load relief for all categories of consumers. The load relief quantum that has been considered for estimating the unrestricted sales in the licensee’s area from October 2009 to March 2010 of FY 2009-10 is 295.7 MU and for April 2010 to September 2010 of 2010-11 is 290.80 MU. The 2009-10 load relief quanta has been added to 2009-10 actual sales to arrive at the unrestricted sale from October 2010 to March 2011, which has been used to project unrestricted sale from October 2010 to March 2011. Similarly, the licensee has added the April 2010 to September 2010 load relief quanta to the actual sales of April 2010 to September 2010 to arrive at the unrestricted sales for April 2010 to September 2010.  The unrestricted sales of H1 and  H2   of 2010-11 have been used to project the  sales for  FY 2011-12  by applying category-wise historical   compounded annual growth-rates (CAGR) of  FY 2006-07 to  FY 2010 to project the unrestricted sales for FY 2011-12 (April 2011 to March 2012).

### End-User Method

The licensee has adopted this methodology for HT – 1 (Industrial) and HT – IV (Irrigation and Agriculture) categories. For HT – I category, the licensee believes that the consumption can’t be projected based on historical growth-rate because of the nature of the industries in its area. For HT – IV, the sales are scheme dependent and hence, and forecasting the sales of this category, the licensee has considered the inputs as given by the Irrigation Department.

Category-wise Load Forecast

HT-I Industrial:

This category is predominantly driven by two types of industries: Singareni Collieries and Cement Industry. These industries contribute about 43% and 20% of the HT - I sales respectively.

Singareni Collieries: - In the recent past, they closed down some of their underground mines and the new operational mines have been based on Open Cast. As per the historical data, there has been a downward trend in consumption due to lower load requirement for opencast mining. In addition to the above, they have adopted energy conservation measures, which have resulted in reduction in energy consumption. The Compounding Average Growth Rate (CAGR) of sales for the last 8 years of this industry is negative i.e. (-)1%.  However, normal sales growth rates of this industry for 2009-10 over 2008-09 is 2%. The licensee expects 2% growth rate on sales of Singareni Collieries for 2010-11 (H2), which was 3 years CAGR. The same 2% growth is expected for the FY 2011-12 also, duly considering unrestricted power supply.

Cement industry:- In the FY 2009-10,  the sales of this industry has recorded negative growth rate i.e., (-) 12% due to impact of Global Economic Recession on construction industry. In the cement industry, about 80% of sales consumed by Orient Cement Industry consumer only but in the FY 2010-11, this consumer has opted captive generation by installing 2X25MW generators. Due to this reason, the cement industry power consumption has decreased by 50% in the 1st half of 2010-11. Considering the above factors, it is expected that the sales of cement industry FY 2010-11 H1 would be same for FY 2010-11 H2 and FY 2011-12.

Others: - In the sales of HT-I-Industrial Category, other industries apart from Singareni and Cement industries contribute about 35%. In this segment, the majority of the consumers avail supply at 11 KV and the growth in sales is due to increase in specific consumption of existing consumers and due to release of new services. Accordingly, the growth rate 14.5% is expected for the FY 2011-12.

Taking into account aforesaid factors the projected sales in this category are as follows.

(In MU)

| HT-I | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 711.2 | 742.6 | 290.3 | 396.7 | 687.1 | 725.6 |
| 33kV | 97.5 | 99.0 | 53.9 | 54.9 | 108.8 | 115.2 |
| 11kV | 245.6 | 285.8 | 115.4 | 168.4 | 283.9 | 337.0 |
| Total | 1054.2 | 1127.3 | 459.7 | 620.0 | 1079.7 | 1177.8 |

HT-II Non-Industrial:

In this category, there is one consumer at 220 KV who avails power from captive sources. At 33 KV, there are two consumers that consume about 1 MU per annum. The consumption of this category is mainly contributed by 11 KV consumers. The licensee has adopted the historical growth-rate of 7.5% for projecting the unrestricted sales for FY 2011-12 for 11 kV consumers.

(In MU)

| HT-II | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 3.5 | 1.8 | 0.8 | 1.1 | 1.9 | 2.0 |
| 33kV | 0.9 | 1.0 | 0.5 | 0.5 | 1.1 | 1.2 |
| 11kV | 72.2 | 86.9 | 42.3 | 40.2 | 82.5 | 92.6 |
| Total | 76.6 | 89.6 | 43.6 | 41.8 | 85.4 | 95.8 |

HT-IV Irrigation:

In APNPDCL, the following are major State Government Lift Irrigation Schemes, which were already released:

| Name of the LIS | Capacity MVA |
| --- | --- |
| Devadula | 56.76 |
| Arugula Rajaram Guthpa | 18.90 |
| Alisagar | 23.64 |
| CH Hanumantha Reddy | 6.57 |
| Others Major LIS | 37.39 |

The major lift irrigation schemes, with a contracted load of 137.81 MVA, have consumed 60.65 MU in the year 2009-10 and 36.80MU in H1 of the FY 2010-11. The year 2009-10 and first half of the year 2010-11 has witnessed less consumption by the aforesaid major LI Schemes due to non availability of water to lift and some of the services are under trial run and others due to technical issues. However, it is expected that the above services will run full-fledged in the FY 2011-12. Accordingly, the sales are projected for the above services for year 2011-12.

(In MU)

| HT-IV | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 56.9 | 310.0 | 30.1 | 284.5 | 314.6 | 695.9 |
| 33kV | 5.8 | 41.5 | 1.8 | 40.3 | 42.1 | 93.1 |
| 11kV | 29.0 | 32.2 | 5.0 | 20.2 | 25.2 | 65.0 |
| Total | 91.7 | 383.6 | 37.0 | 344.9 | 381.9 | 854.0 |

HT-V Traction:

In the year 2009-10, one new traction service has been released in Khammam circle with a CMD of 5000 KVA. Due to the release of above new service, sales for 2009-10 have increased by 10.74%.   For FY 2011-12, no new service is expected to be released; hence the nominal growth-rate of 3.55 % has been considered on the FY 2010-11 sales.

(In MU)

| HT-V | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 378.5 | 392.2 | 196.2 | 195.9 | 392.1 | 406.0 |
| 33kV | - | - | - | - | - | - |
| 11kV | - | - | - | - | - | - |
| Total | 378.5 | 392.2 | 196.2 | 195.9 | 392.1 | 406.0 |

HT-VI Colony Lighting:

The consumption in this category has increased by 7.39% during the FY 2009-10. This is mainly due to the release of new services (two services under 11 kV and one service under 33 kV). For projecting the unrestricted sales for FY 2011-12, the licensee has considered the historical growth-rate of 6.85 % on the unrestricted sales of FY 2010-11 (i.e. FY 2010-11 revised estimate + load-relief quanta for the period April 2010 to September 2010).

| HT-VI | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 76.4 | 82.8 | 49.0 | 38.6 | 87.6 | 92.2 |
| 33kV | 41.6 | 54.7 | 15.9 | 19.8 | 35.6 | 35.7 |
| 11kV | 14.5 | 18.8 | 10.3 | 9.2 | 19.5 | 24.7 |
| Total | 132.5 | 156.3 | 75.3 | 67.5 | 142.8 | 152.6 |

HT-VII Composite Protected Water Supply Schemes:

There are no services in 132 and 33KV voltage levels. The actual energy consumption by 11KV HT services pertaining to composite protected water supply schemes (CPWS) in rural areas during the H1 of 2010-11 and projections for H2 of 2010-11 and FY 2011-12  in anticipation of an additional consumption of 0.4MU during ensuing year  are as follows:

| HT-VII | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 33kV | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 11kV | 6.4 | 6.2 | 4.1 | 4.0 | 8.0 | 8.4 |
| Total | 6.4 | 6.2 | 4.1 | 4.0 | 8.0 | 8.4 |

HT- RESCO:

The consumption in this category has increased by 2.3% during the FY 2009-10 over 2008-09. For FY 2011-12, the growth rate of 6.5% on the unrestricted sales of FY 2010-11, has been adopted for estimating consumption for giving unrestricted supply in FY 2011-12.

(In MU)

| HT-Resco | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Voltage | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| 132kV | - | - | - | - | - | - |
| 33kV | - | - | - | - | - | - |
| 11kV | 480.49 | 573.32 | 230.33 | 287.95 | 518.27 | 573.50 |
| Total | 480.49 | 573.32 | 230.33 | 287.95 | 518.27 | 573.50 |

LT-I Domestic:

The Domestic category sales growth is contributed by two factors i.e. release of new service connections and increase in specific consumption. In FY 2009-10, the sales in this category recorded 18.57% growth over that of FY 2008-09. In the FY 2009-10, 147071 new domestic services were released. The aforesaid factors have given an impetus in increasing consumption of Domestic Category by 11.33% for H2 of 2010-11 over H2 of 2009-10 after adjusting the load relief quantum. The licensee has adopted the growth-rate of  9.50% for projecting unrestricted sales for FY 2011-12, on the unrestricted sales for FY 2010-11 (Actuals till Sep 2010 + Load-relief quanta till Sep 2010 + unrestricted sales projections for Oct 2010 to Mar 2011).  The unrestricted sales for FY 2011-12, are as shown in the table below. The revised estimate for FY 2010-11 is the actual sales till Sep 2010 and unrestricted sales projections for Oct 2010 to Mar 2011.

| LT-I | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 1763.36 | 2,002.13 | 1015.28 | 1026.25 | 2041.53 | 2328.36 |

LT-II Commercial:

In the year 2009-10, the consumption of this category is increased by 18.5 % over 2008-09 sales. The licensee expects the growth rate of 11 % for H2 of 2010-11 over H2 of 2009-10 after adjusting the load relief quantum. The licensee has adopted the growth-rate of 11.20% on the unrestricted sales of FY 2010-11 (Actuals till Sep 2010 + Load-relief quanta till Sep 2010 + unrestricted sales projections for Oct 2010 to Mar 2011) for projecting unrestricted sales for FY 2011-12, which are shown in the table below. The revised estimate for FY 2010-11 is the actual sales till Sep 2010 and unrestricted sales projections for Oct 2010 to Mar 2011.

| LT-II | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 358.58 | 430.95 | 215.67 | 212.15 | 427.82 | 495.94 |

LT-III Industrial:

In FY 2009-10, the growth rate in sales was confined to -2.51% compared to that of FY 2008-09. However, the sales in this category are expected by positive growth of 0.33% for H2 of 2010-11 over H2 of 2009-10 after adjusting the load relief quantum. The licensee has adopted the growth-rate of 1.42% on the unrestricted sales of FY 2010-11 (Actuals till Sep 2010 + Load-relief quanta till Sep 2010 + unrestricted sales projections for Oct 2010 to Mar 2011) for projecting unrestricted sales for FY 2011-12, which are shown in the table below. The revised estimate for FY 2010-11 is the actual sales till Sep 2010 and unrestricted sales projections for Oct 2010 to Mar 2011.

| LT-III | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 282.22 | 323.54 | 131.96 | 162.23 | 294.19 | 310.34 |

LT-IV Cottage Industries:

This category has very minimum sales per year of around 6 MU. However, the licensee expects the consumption of 7.31MU for the FY 2011-12.

| LT-IV | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 6.04 | 6.39 | 3.17 | 3.64 | 6.82 | 7.31 |

LT-V Agriculture:

For estimating the total sales for FY 2010-11, the licensee has considered a nominal increase over the sales of FY 2009-10. The growth-rate has been considered with regard to increase in specific consumption of existing consumers and release of new services in FY 2010-11. The licensee has considered only 7 hours of supply for estimating the sales for the year, 2011-12.  Accordingly the Licensee has projected 4154.16 MU for the FY year 2011-12 anticipating the same growth rate 5 % on sales of 2010-11.

| LT-V | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 3944.30 | 3,299.09 | 1498.34 | 2457.79 | 3956.13 | 4154.16 |

LT-VI Public Lighting & PWS Schemes:

In the FY 2009-10, the sales of this category have witnessed a good growth rate of 7.3%.  However, the licensee has projected sales for this category by using the growth rate of 15.92 % for H2 of 2010-11 over H2 of 2009-10 after adjusting the load relief quantum. The licensee has adopted the growth-rate of 15.50% for projecting unrestricted sales for FY 2011-12, on the unrestricted sales for FY 2010-11 (Actuals till Sep 2010 + Load-relief quanta till Sep 2010 + unrestricted sales projections for Oct 2010 to Mar 2011).  The unrestricted sales for FY 2011-12, are as shown in the table below. The revised estimate for FY 2010-11 is the actual sales till Sep 2010 and unrestricted sales projections for Oct 2010 to Mar 2011

| LT-VI | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 343.30 | 395.78 | 167.23 | 223.78 | 391.01 | 468.04 |

LT-VII General Purpose:

After considering the unrestricted supply, for FY 2011-12, the licensee expects a growth rate of 12.5% over the unrestricted sales for FY 2010-11(Actuals till Sep 2010 + Load-relief quanta till Sep 2010 + unrestricted sales projections for Oct 2010 to Mar 2011).  The unrestricted sales for FY 2011-12 are shown in the table below. The revised estimate for FY 2010-11 includes the actual sales till Sep 2010 and projection of unrestricted sales for H2 of FY2010-11 (Oct 2010 to Mar 2011)

| LT-VII | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 24.26 | 27.74 | 12.13 | 14.66 | 26.79 | 31.24 |

LT-VIII Temporary:

The sales projected for this category are as follows:

| LT-VIII | 2009-10 | 2010-11 | 2010-11H1 | 2010-11H2 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actuals | Tariff Order | Actuals | Estimation | Revised Estimation | Projections |
| Sales | 0.59 | 1.68 | 0.00 | 0.12 | 0.12 | 0.12 |

Abstract of category wise sales 2009-10, 2010-11 and 2011-12 is given below:

| Consumer category | 2009-10 | 2010-11 | 2010-11 | 2011-12 |
| --- | --- | --- | --- | --- |
|  | Actuals | APERC | Revised Estimate | Projection |
| Domestic Supply : Category I | 1763.36 | 2002.13 | 2041.53 | 2328.36 |
| Non-Domestic Supply : Category II | 358.58 | 430.95 | 427.82 | 495.94 |
| Industrial Supply : Category III | 282.22 | 323.54 | 294.19 | 310.34 |
| Cottage Industries : Category IV | 6.04 | 6.39 | 6.82 | 7.31 |
| Irrigation & Agriculture : Category V | 3944.30 | 3299.09 | 3956.13 | 4154.16 |
| Public Lighting : Category VI | 343.30 | 395.78 | 391.01 | 468.04 |
| General Purpose : Category VII | 24.26 | 27.74 | 26.79 | 31.24 |
| Temporary Supply : Category VIII | 0.59 | 1.68 | 0.12 | 0.12 |
| TOTAL 'LOW TENSION' | 6722.65 | 6487.30 | 7144.40 | 7795.51 |
| Industrial Segregated : Category I | 1054.22 | 1127.28 | 1079.74 | 1177.77 |
| Industrial Non-Segregated : Category II | 76.57 | 89.60 | 85.45 | 95.79 |
| Irrigation & Agriculture : Category IV | 91.71 | 383.64 | 381.91 | 854.01 |
| Railway Traction : Category V | 378.54 | 392.22 | 392.06 | 405.98 |
| Colony Lighting Category VI | 132.45 | 156.28 | 142.79 | 152.58 |
| CPWS Category VII | 6.36 | 6.24 | 8.03 | 8.43 |
| Electric Co-Op Societies | 480.49 | 573.32 | 518.27 | 573.50 |
| Temporary | 0.00 | 0.00 | 0.00 | 0.00 |
| TOTAL 'HIGH TENSION' | 2220.34 | 2728.58 | 2608.24 | 3268.06 |
| TOTAL (LT + HT) | 8942.99 | 9215.88 | 9752.64 | 11063.58 |

### Revenue from Current Tariffs

The computation of revenue at current tariff for the year 2011-12 for each customer category have been carried out as per the “Guidelines for Tariff Filling – Retail Supply of Electricity” issued by the Hon’ble Commission.  It is carried out as follows:

Revenue from Tariffs =

Energy Estimate * Approved Energy Charges … ……………………..……….. (a)

+ Demand Estimate * Approved Demand Charges …….……………………..... (b)

+ Incremental Revenue on account of Monthly Minimum Charges (‘MMC’) … (c)

+ Customer Charges ……………………………………………………………… (d)

+ Time of Day Charges ……………………………………………………………(e)

- Time of Day Incentive ……………………………………………………………(f)

+ Other Charges ………………………………………………………………….. (g)

Energy charges: For customer categories having telescopic energy tariffs, the energy estimates have been apportioned into the slabs and then have been multiplied with the corresponding slab tariff. The apportionment has been based on the historical break up of telescopic consumption into the various slabs as captured in the billing information database.

Demand/Fixed Charges: The estimate of demand has been made in “HP” or in “MVA” as the case maybe. Specifically, in the case of the HT Industrial (Segregated) and HT Industrial (Non-Segregated) categories, billing demand has been assumed to 80% of contracted maximum demand.

Monthly Minimum charges (MMC): The ‘incremental’ revenue due to MMC for each category is the difference between Cost of units recorded and computed units billed at the relevant tariff in respect of HT categories. In respect of LT categories, it is the difference between the cost of unit and monthly minimum charges notified in the tariff order.

Customer Charges: The customer charges are estimated by multiplying the customer charges rate with the number of consumers including the expected release of new consumers.

Time of Day Tariff: The Hon’ble Commission has approved Time of Day Tariff for HT-I category during the peak hours of 6:00PM to 10:00PM.  Based on the peak hour’s consumption % of the total consumption for the months of August & September 2010, the same percentage of the consumption is adopted for 2nd half of FY 2010-11 and FY 2011-12.

Time of Day Incentive: The licensee has proposed for the FY 2011-12 to give Time of Day Incentive for HT-I consumers during off-peak hours from months of June to January i.e., 12:00AM to 4:00AM.

Time of Season Tariff:  The licensee has proposed the Tome of Season (TOS) Tariff for following consumer category for the months of February to May in the ARR for 2011-12.

- Non-Domestic supply LT-II ( for  >100 units per month slab only)

- Industrial supply - LT - III

- Industrial segegrated - HT - I

- Industrial Non-segegrated –HT- II

- Railway Traction –HT-V

It is assumed that the 100%, 90% and 85% of the above month’s consumptions of LT-II, LT-III and remaining above HT categories respectively are calculated with Tome of Season Tariffs.

Other Charges: These are the charges other than the above charges. There are no “other charges” proposed for year 2011-12.

Based on the sales forecast made in the earlier paragraphs, the Revenue from Sale of Power is computed as per the year 2010-11 tariffs and actual proportions of sales in each slab under different categories in LT and voltage-wise sales in HT.

Revenue from sale of power with current Tariffs is arrived at Rs. 1782 Cr. and 2113 Cr. for 2010-11 and 2011-12 respectively. The Category-wise Energy charges, Fixed charges / Demand charges, customer charges and TOD charges for year 2010-11 and year 2011-12 are provided in the table below.

Revenue from Sale of Power for FY 2010-11:

| Consumer Category | Revenue from Current Tariffs |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Energy | Energy Charges | Demand / Fixed Charges | MMC | Customer Charges | Incentive | TOD Charges | Total Charges |
|  | MU | Crores |  |  |  |  |  |  |
| L T |  |  |  |  |  |  |  |  |
| Domestic supply | 2,041.53 | 422.35 | - | 11.48 | 59.81 | - |  | 493.64 |
| Non-Domestic supply | 427.82 | 245.17 | - | 0.07 | 6.19 | - |  | 251.42 |
| Industrial supply | 294.19 | 117.98 | 24.86 | - | 0.65 | - |  | 143.49 |
| Cottage Industries | 6.82 | 1.23 | 0.24 | - | 0.11 | - |  | 1.57 |
| Irrigation & Agriculture | 3,956.13 | 0.49 | - | - | 22.35 | - |  | 22.77 |
| Public Lighting | 391.01 | 52.09 | 0.28 | - | 0.91 | - |  | 53.29 |
| General Purpose | 26.79 | 10.39 | - | 0.01 | 0.35 | - |  | 10.76 |
| Temporary | 0.12 | 0.08 | - | - | - | - |  | 0.08 |
| Total L.T. | 7,144.40 | 849.77 | 25.37 | 11.56 | 90.38 | - |  | 977.01 |
| H T |  |  |  |  |  |  |  |  |
| Industrial segegrated | 1,079.74 | 330.11 | 69.04 | - | 0.61 | 0.85 | 13.26 | 412.17 |
| Non-segegrated | 85.45 | 39.35 | 8.72 | - | 0.19 | - |  | 48.26 |
| Irrigation & Agriculture | 381.91 | 99.15 | - | - | 0.15 | - |  | 99.30 |
| Railway Traction | 392.06 | 167.87 | - | - | 0.02 | - |  | 167.89 |
| Townships Colonies | 142.79 | 57.12 | - | - | 0.02 | - |  | 57.14 |
| CPWS Schemes | 8.03 | 0.28 |  |  |  |  |  | 0.28 |
| Resco | 518.27 | 20.03 | - | - | - | - |  | 20.03 |
| Temporary | - | - | - | - | - | - |  | - |
| HT TOTAL : | 2,608.24 | 713.91 | 77.77 | - | 0.98 | 0.85 |  | 805.07 |
| LT+HT TOTAL | 9,752.64 | 1,563.69 | 103.14 | 11.56 | 91.36 | 0.85 |  | 1,782.24 |

Revenue from Sale of Power at Current Tariffs for FY 2011-12:

| Consumer Category | Revenue from Current Tariffs |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Energy | Energy Charges | Demand / Fixed Charges | MMC | Customer Charges | TOD Charges | Total Charges |
|  | MU | Crores | Crores | Crores | Crores | Crores | Crores |
| L T |  |  |  |  |  |  |  |
| Domestic supply | 2,328.36 | 483.26 | - | 11.48 | 60.83 | - | 555.57 |
| Non-Domestic supply | 495.94 | 286.98 | - | 0.07 | 6.43 | - | 293.47 |
| Industrial supply | 310.34 | 128.16 | 25.48 | - | 0.66 | - | 154.31 |
| Cottage Industries | 7.31 | 1.32 | 0.24 | - | 0.11 | - | 1.67 |
| Irrigation & Agriculture | 4,154.16 | 0.52 | - | - | 23.57 | - | 23.99 |
| Public Lighting | 468.04 | 62.58 | 0.29 | - | 0.93 | - | 63.80 |
| General Purpose | 31.24 | 12.13 | - | 0.01 | 0.36 | - | 12.50 |
| Temporary | 0.12 | 0.08 | - | - | - | - | 0.08 |
| Total L.T. | 7,795.51 | 975.02 | 26.01 | 11.56 | 92.89 | - | 1,105.39 |
| H T |  |  |  |  |  |  |  |
| Industrial segegrated | 1,177.77 | 371.63 | 71.22 | - | 0.64 | 20.65 | 464.15 |
| Non-segegrated | 95.79 | 45.78 | 9.26 | - | 0.20 | - | 55.24 |
| Irrigation & Agriculture | 854.01 | 222.03 | - | - | 0.15 | - | 222.18 |
| Railway Traction | 405.98 | 180.66 | - | - | 0.02 | - | 180.68 |
| Townships Colonies | 152.58 | 61.03 | - | - | 0.02 | - | 61.05 |
| CPWS Schemes | 8.43 | 0.30 |  |  |  |  | 0.30 |
| Resco | 573.50 | 23.51 | - | - | - | - | 23.51 |
| Temporary | - | - | - | - | - | - | - |
| HT TOTAL : | 3,268.06 | 904.94 | 80.48 | - | 1.03 | 20.65 | 1,007.10 |
| LT+HT TOTAL | 11,063.58 | 1,879.96 | 106.49 | 11.56 | 93.92 | 20.65 | 2,112.66 |

Revenue from sale of power at proposed Tariffs:

The Licensee has proposed revenue from sale of power for the FY 2011-12 by considering the current Tariffs for four months and remaining eight months at new proposed Tariffs. Accordingly the revenue from sale of power for the FY 2011-12 is an amount of Rs 2,143.85 crores. The Category-wise Energy charges, Fixed charges / Demand charges and customer charges for year 2011-12 is provided in the table below.

| Consumer Category | Revenue from Proposed Tariffs |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Energy | Energy Charges | Demand / Fixed Charges | MMC | Customer Charges | TOD |  | TOS Tariff | Total Charges |
|  |  |  |  |  |  | Charge | Incentive |  |  |
|  | MU | Crores |  |  |  |  |  |  |  |
| L T |  |  |  |  |  |  |  |  |  |
| Domestic supply | 2,328.4 | 483.3 |  | 4.0 | 60.8 |  |  |  | 548.1 |
| Non-Domestic supply | 495.9 | 288.3 |  | 0.1 | 6.4 |  |  | 4.5 | 299.3 |
| Industrial supply | 310.3 | 128.2 | 23.4 |  | 0.7 |  |  | 4.9 | 157.2 |
| Cottage Industries | 7.3 | 1.3 | 0.2 |  | 0.1 |  |  |  | 1.7 |
| Irrigation & Agriculture | 4,154.2 | 0.4 |  |  | 23.6 |  |  |  | 24.0 |
| Public Lighting | 468.0 | 62.6 | 0.3 |  | 0.9 |  |  |  | 63.8 |
| General Purpose | 31.2 | 12.1 |  | 0.0 | 0.4 |  |  |  | 12.5 |
| Temporary | 0.1 | 0.1 |  |  |  |  |  |  | 0.1 |
| Total L.T. | 7,795.5 | 976.3 | 24.0 | 4.1 | 92.9 | - | - | 9.4 | 1,106.6 |
| H T |  |  |  |  |  |  |  |  |  |
| Industrial segegrated | 1,177.8 | 371.6 | 71.2 |  | 0.6 | 20.7 | 6.5 | 25.5 | 483.2 |
| Non-segegrated | 95.8 | 45.8 | 9.3 |  | 0.2 |  |  | 2.2 | 57.4 |
| Irrigation & Agriculture | 854.0 | 222.2 | - |  | 0.2 |  |  | - | 222.4 |
| Railway Traction | 406.0 | 180.7 | - |  | 0.0 |  |  | 8.8 | 189.5 |
| Townships Colonies | 152.6 | 61.0 | - |  | 0.0 |  |  |  | 61.1 |
| CPWS Schemes | 8.4 | 0.3 |  |  |  |  |  |  | 0.3 |
| Resco | 573.5 | 23.5 | - |  | - |  |  |  | 23.5 |
| Temporary | - | - |  |  |  |  |  |  | - |
| HT TOTAL : | 3,268.1 | 905.1 | 80.5 | - | 1.0 | 20.7 | 6.5 | 36.5 | 1,037.3 |
| LT+HT TOTAL | 11,063.6 | 1,881.4 | 104.4 | 4.1 | 93.9 | 20.7 | 6.5 | 45.9 | 2,143.85 |

### Non-tariff Income at Current Charges

| Details (Rs. Cr.) | 2009-10 | 2010-11 | 2011-12 |
| --- | --- | --- | --- |
| Recoveries from theft of power or malpractices | 5.11 | 0.00 | 0.00 |
| Interest Income from Bank Deposits / Investments etc. |  |  |  |
| Interest Income from Staff advances and Loans |  |  |  |
| Power Purchase Rebates earned | 37.27 | 0.00 | 0.00 |
| Securitization benefits | 0.00 | 0.00 | 0.00 |
| Miscellaneous / Other Receipts | 13.28 | 13.55 | 13.82 |
| Total | 55.66 | 13.55 | 13.82 |

Recoveries from Theft of Power:

The licensee would like to state that it is not appropriate to include this item in the ARR. This is because the forecasts are made assuming that there will be no theft or malpractice. The discom has been provided a distribution loss target under the MYT and this is the basis of ARR computation. Any instances of theft or malpractice will have a bearing on the loss target achievement and since that is not subject to true up, revenue from theft and malpractice should not be considered.

Miscellaneous /Other Receipts  :

Miscellaneous receipts for retail supply business comprise mainly of the following receipts-

- Supervision charges

- Capacitor Surcharge

- Reconnection fees

- Application fees

- Miscellaneous receipts for the FY 2009-10 are Rs. 13.28 Crs as per the audited accounts.  Projections for FY 2010-11 Rs. 13.51 Crs and FY 2011-12 Rs. 13.82 Crs have been made based on past trend.

### Revenue at Current Tariffs and Charges

From the foregoing paragraphs the total revenue of the Discom comes to Rs.1,795.79 Cr. for 2010-11 and Rs.2,126.48 Cr. for 2011-12.

| Details (Rs. Cr.) | 2010-11 | 2011-12 |
| --- | --- | --- |
| Revenue from Tariff Income | 1782.24 | 2112.66 |
| Revenue from Non-Tariff Income | 13.55 | 13.82 |
| Total Income | 1,795.79 | 2,126.48 |

### Revenue at Proposed Tariffs and Charges

| Details (Rs. Cr.) | 2011-12 |
| --- | --- |
| Revenue from Tariff Income | 2143.85 |
| Revenue from Non-Tariff Income | 13.82 |
| Total Income | 2157.67 |

## Revenue Gap

### Revenue Deficit / Surplus at Current Tariff and Charges

| Details | 2010-11 |  | 2011-12 |
| --- | --- | --- | --- |
|  | Tariff Order | Revised Estimate | Projection |
| Aggregate Revenue Requirement (Rs. Crs.) | 3,221.89 | 3,776.39 | 4,254.92 |
| Revenue from Current Tariffs (Rs. Crs.) | 1794.69 | 1,782.24 | 2,112.66 |
| Non - Tariff Income (Rs. Crs.) | 24.74 | 13.55 | 13.82 |
| Revenue (Deficit) / Surplus at Current Tariffs (Rs. Crs.) | (1,402.46) | (1,980.60) | (2,128.43) |

Revenue Deficit / Surplus at Proposed Tariffs and Charges

| Details | 2011-12 |
| --- | --- |
| Aggregate Revenue Requirement (Rs. Crs) | 4254.92 |
| Revenue from Current Tariffs (Net of incentives) (Rs. Crs.) | 2112.66 |
| Non - Tariff Income (Rs. Crs.) | 13.82 |
| Revenue Deficit(-) / Surplus(+) at Current Tariff (Rs. Crs) | -2128.43 |
| Revenue changed through proposed tariff (Rs.Crs) | 31.18 |
| Net -Deficit / +Surplus (Rs.Crs) | -2097.25 |

# Proposed Tariffs and modifications for Retail Supply business for FY 2011-12                                                                                                      Summary of changes in Tariff Proposal

The licensee proposes to introduce following changes in the tariff structure:

- Reduction of minimum charges for LT-I Domestic Category:

- LT-I Domestic: The licensee proposes reduction of minimum charges for this category for connected load above 250W from Rs. 50 per month to Rs.25 per month.

- Time of Season (ToS) tariff for the period Feb – May:

The licensee proposes introduction of Time of Season (ToS) tariff for the months of Apr-May of 2011 and Feb-Mar of 2012. This is mainly for the purpose of better management of load by the licensee during the peak season.

North Delhi Power Limited (NDPL) has already introduced Time of Season tariffs for the period from April – September for industrial consumers. The relevant Commission has observed that:

“The Commission, therefore, feels that to prune the peak demand, some section of the consumers can be encouraged by way of a tariff surcharge/rebate to shift their demand from peak hours to off peak hours. The Commission is, therefore, inclined to introduce seasonal tariffs for industrial category of consumers to make a beginning in this area.”

In view of the above, an additional tariff is being proposed over the existing tariff on the following categories for the months mentioned above:

LT Categories:

An additional tariff of 50 paise/unit is being proposed  over the existing tariff on the following LT categories:

- LT-II: Non-domestic/Commercial – Applicable to all consumers whose consumption exceeds“>100” units/month. This will be levied on consumption exceeding 100 units/ month

- LT-III: Industrial – Applicable to all consumers in III (A) and III (B) except sugar-cane crushing units and pisciculture & prawn units (with contracted load below 10 HP).

HT Categories:

An additional tariff of 75 paise/unit is being proposed over the existing tariff on the following HT categories:

- HT-I: Industrial Segregated/Ferro-alloys

- HT-II: Industrial Non-segregated

- HT-V: Traction

- Time of day Incentive (12.00 midnight – 4.00 AM):

- HT I (A) Industry General: The licensee proposes Time-of-Day (ToD) incentive at 50 paise/unit during the time-block 12:00 AM (midnight) to 4:00 AM for HT-1(A) Industry General category for the period from June to January (8 Months). This incentive shall be applicable only on the consumption during the time-block mentioned.

- Increase in contracted load limit from 75 HP to 100 HP for rice mills.

In view of the requests received from Rice Millers Associations, the licensee proposes to enhance the maximum contracted load from existing 75 HP to 100 HP to avail supply under LT Cat III (A) exclusively for rice mills.

- Voltage-wise differential tariff for HT – I(B) Ferro Alloys Category

The current tariff structure for HT-I (B) Ferro Alloys is uniform across all voltage levels. This implies that the tariff is not a true representative of the CoS to this category. Hence, the licensee would like to propose differential tariffs based on the connected voltage of the consumers similar to other HT categories.

- Creation of a sub-category under LT-II Commercial for Advertisement hoardings

Advertising hoardings are currently categorized under the LT-II Commercial category. Since advertising hoardings largely operate during the evening system peak, a higher tariff is being proposed for these consumers by way of creation of a new sub-category. The licensee would like to propose a new category for the same with a flat tariff of Rs.7.50 / kWh.

- Introduction of kVAh based billing

As per the directives issued by APERC in T.O 2010-11, the licensee would like to propose kVAh based billing for FY 2011-12 for categories where Low Power Factor Surcharge is applicable. The existing tariff structure for these consumer categories is a three part tariff structure:

- Demand charges

- Energy charges

- LPF (Low power factor) charges

With the new proposal, licensee would like to move to a two part tariff i.e. demand charges and kVAh charges by removing the LPF charges. Similarly, the licensee would like to propose a single part tariff in place of a two part tariff where LPF surcharge is applicable. Further, licensees would like to continue with the proposed tariffs by replacing kWh with kVAh. This tariff is applicable only on kVAh (lag) component while kVAh (lead) component would be blocked.

# Detailed Tariff Proposal for Retail Supply Business for FY 2011-12

The licensee proposes to change / modify tariffs for consumers in LT II – Non-Domestic / Commercial, LT III (A) & (B) – Industrial, HT I (A) – Industrial, HT I (B) – Ferro Alloys, HT II – Commercial, HT IV (A) – Government Lift Irrigation Schemes and HT V – Traction categories. The changes / modifications in tariff for consumers in these categories are proposed due to increase in cost-to-serve for the respective tariff categories. The distribution licensee expects to gain Rs. 31.18 crores, additionally due to these changes / modifications in tariff. Other than the changes / modifications in tariff for the consumer categories mentioned below, the other aspects of tariff / charges such as demand charges (if any), customer charges (if any), belated payment charges (if any), power factor surcharge (if any), load factor incentives (if any), voltage surcharge (if any), minimum charges (if any), additional charges for exceeding the contracted demand (if any), fuel-surcharge adjustment (if any), fixed charges (if any), service connection charges (if any), reconnection charges (if any), testing charges (if any), service call charges (if any), miscellaneous charges (if any) to be levied from all consumers are proposed to remain the same as mentioned in tariff order for FY 2010-11. The changes / modifications in tariff for consumers in these categories are as detailed in sections below.

## LT (I) – Domestic

- The licensee proposes not to change the tariffs for this category of consumers.

- The licensee proposes reduction in minimum charges from Rs. 50 / month to Rs. 25 / month for consumers with connected load greater than 250W.

- The expected decrease in revenue due to this change for the licensee is Rs. 7.5 Crores.

## LT (II-A) Commercial/Non Domestic

The following changes are proposed in this category:

- The licensee proposes to introduce Time of Season tariff for the months of Apr-May of 2011 and Feb-Mar of 2012 for the slab >100 units in this category. Additional tariff of Rs. 0.50 / kWh shall be levied over the existing tariff during these 4 months.

- The licensees propose creation of a sub-category under LT (II) Commercial. Hence, this category is proposed be named as LT (II-A) Commercial.

- The expected revenue increase for the licensee due to the above change is Rs. 4.48 crores.

Proposed vis-à-vis Present telescopic Energy Charge structure is as shown below:

| Slabs | Proposed Energy Charges (Rs. / kWh) |  | Present Energy Charges (Rs. / kWh) |
| --- | --- | --- | --- |
|  | Feb-May | Jun-Jan | Full year |
| 0 to 50 Units | 3.85 | 3.85 | 3.85 |
| 51 to 100 Units | 6.20 | 6.20 | 6.20 |
| Above 100 Units | 7.00 | 6.50 | 6.50 |

## LT (II-B) Advertisement Hoardings

The distribution licensee proposes creation of a separate sub-category under LT (II) Commercial for advertisement hoardings, namely, LT (II-B) Advertisement Hoardings. This category shall include consumers availing for electricity supply at LT for Advertisement hoardings, which includes electricity used for the purpose of advertisements, hoardings and other conspicuous consumption such as external flood light, displays, neon signs at departmental stores, commercial establishments, malls, multiplexes, theatres, clubs, hotels, and other such entertainment/leisure establishments. The licensee proposes a flat tariff of Rs. 7.50 / kWh for this category. The expected revenue gain from this change is Rs. 1.36 Crores.

## LT (III – A & B) Industrial

The following tariff changes are proposed in this category:

- The licensee proposes to introduce Time of Season tariff for the months of April-May of 2011 and February-March of 2012 for all consumers except sugarcrane crushing units and pisciculture and prawn units in this category. Additional tariff of Rs. 0.50 / kWh shall be levied over the existing tariff during these 4 months.

- The licensee proposes no change in the demand charges. The demand charges shall be the same as what is mentioned in tariff order for FY 2010-11.

- The expected revenue increase for the licensee due to the above changes is Rs. 4.90 crores.

- Under LT (III – A), the licensee proposes increase of maximum contracted demand from 75 HP to 100 HP for rice mill consumers exclusively.

- The expected decrease of revenue for the licensee due to this change is Rs. 2.05 crores

Proposed vis-à-vis Present Energy Charges structure is as shown below:

| Industry Type | Proposed Energy Charges (Rs. / kWh) |  | Present Energy Charges (Rs. / kWh) |
| --- | --- | --- | --- |
|  | Feb – May | Jun – Jan | Full year |
| Industry (Normal) | 4.63 | 4.13 | 4.13 |
| Industry (Optional) | 4.63 | 4.13 | 4.13 |
| Pisciculture & Prawn Culture Units with Contracted load below 10 HP | 0.90 | 0.90 | 0.90 |
| Sugar-cane crushing | 0.50 | 0.50 | 0.50 |
| Poultry Farms with more than 1000 birds | 4.63 | 4.13 | 4.13 |
| Mushroom production farms, Rabbit farms | 4.63 | 4.13 | 4.13 |
| Floriculture in Green-houses | 4.63 | 4.13 | 4.13 |
| LT – III (B) Industrial | 4.63 | 4.13 | 4.13 |

## LT (IV) – Cottage Industries & Dhobighats

The licensee proposes not to change the tariffs for these consumers. No change in fixed charges for this category is proposed. Fixed charges shall be levied as being done in the present scenario, as per tariff order for FY 2010-11.

## LT (V – A & B) – Irrigation & Agriculture

The licensee proposes not to change the tariffs for these consumers.

## LT (VI) – Local Bodies, Street Lighting & Public Water Schemes

The licensee proposes not to change the tariffs for these consumers.

## LT (VII) – General Purpose

The licensee proposes not to change the tariffs for these consumers.

## LT (VIII) – Temporary Supply

The licensee proposes not to change the tariffs for these consumers.

## HT I (A) – Industrial

The following changes in tariff are proposed for consumers in this category:

- The licensee proposes to introduce Time of Season tariff for the months of April-May of 2011 and February-March of 2012 for this category. Additional tariff of Rs. 0.75 / kWh shall be levied over the existing tariff during these 4 months. Hence, the revised energy charges to be levied for this category are as follows:

| Voltage | Proposed Energy Charges (Rs. / kWh) |  | Present Energy Charges (Rs. / kWh) |
| --- | --- | --- | --- |
|  | Feb – May | Jun – Jan | Full Year |
| 11 kV | 4.27 | 3.52 | 3.52 |
| 33 kV | 4.00 | 3.25 | 3.25 |
| 132 kV & Above | 3.72 | 2.97 | 2.97 |

- However, there shall be no change in present demand charges being levied from these consumers.

- The expected increase in revenue due to increase in energy charges is Rs. 25.49 crores.

- The licensee proposes to introduce Time-of-Day (TOD) incentive for the months of June – January of FY 2011-12. This incentive is applicable only in the time-block as mentioned below in the table.

| Time-Block | Time-of-Day Incentive (Rs. / kWh) Jun - Jan |
| --- | --- |
| 12 AM (midnight) to 4 AM | 0.50 |

- The expected decrease of revenue impact due to Time-of-Day incentive for the licensee is Rs. 6.48 crores

- The total revenue increase expected due to levy of Time of Season tariff and Time-of-Day incentive is Rs. 19.01 crores.

## HT I (B) – Ferro Alloys

The following tariff change is proposed in this sub-category:

- The licensee proposes to voltage wise tariff for HT I (B) consumers as shown in the table below:

| Voltage Type | Proposed Energy Charges (Rs. / kWh) | Present Energy Charges (Rs. / kWh) |
| --- | --- | --- |
| 11 kV | 3.25 | 2.65 |
| 33 kV | 2.80 | 2.65 |
| 132 kV | 2.65 | 2.65 |

- In addition, the licensee proposes to introduce Time of Season tariff for the months of April-May of 2011 and February-March of 2012 for this category. Additional tariff of Rs. 0.75 / kWh shall be levied over the existing tariff during these 4 months. Hence, the revised energy charges to be levied are as follows:

| Voltage Type | Proposed Energy Charges (Rs. / kWh) |  | Present Energy Charges (Rs. / kWh) |
| --- | --- | --- | --- |
|  | Feb – May | Jun – Jan | Full Year |
| 11 kV | 4.00 | 3.25 | 2.65 |
| 33 kV | 3.55 | 2.80 | 2.65 |
| 132 kV | 3.40 | 2.65 | 2.65 |

- No revenue gain is expected for the licensee due to the above changes as there are no such services in APNPDCL.

## HT (II) Commercial

The following tariff change is proposed in this category:

- The licensee proposes to introduce Time of Season tariff for the months of April-May of 2011 and February-March of 2012 for this category. Additional tariff of Rs. 0.75 / kWh shall be levied over the existing tariff during these 4 months. Hence, the revised energy charges to be levied are as follows:

| Voltage Type | Proposed Energy Charges (Rs. / kWh) |  | Present Energy Charges (Rs. / kWh) |
| --- | --- | --- | --- |
|  | Feb – May | Jun – Jan | Full Year |
| 11 kV | 5.55 | 4.80 | 4.80 |
| 33 kV | 5.05 | 4.30 | 4.30 |
| 132 kV | 4.85 | 4.10 | 4.10 |

- The expected revenue increase for the licensee due to the above changes is Rs. 2.18 crores.

## HT IV (A) – Government Lift Irrigation Schemes

The licensee proposes not to change the tariffs for these consumers.

## HT V – Traction

The following tariff change is proposed in this category:

- The licensee proposes to introduce Time of Season tariff for the months of April-May of 2011 and February-March of 2012 for this category. Additional tariff of Rs. 0.75 / kWh shall be levied over the existing tariff during these 4 months. Hence, the revised energy charges to be levied are as follows:

| Voltage Type | Proposed Energy Charges (Rs. / kWh) |  | Present Energy Charges (Rs. / kWh) |
| --- | --- | --- | --- |
|  | Feb – May | Jun – Jan | Full Year |
| 132 kV | 5.20 | 4.45 | 4.45 |

- The expected revenue increase for the licensee due to the above change is Rs. 8.81 crores.

# Other Miscellaneous Proposals/Requests for Retail Supply Business for FY 2011-12

The licensee proposes/requests the following miscellaneous proposals in addition to the tariff related proposals detailed above.

## A. Provisional Collection of Fuel Surcharge Adjustment (FSA)

- The licensee submits that the Hon’ble Commission has determined the Fuel Surcharge Adjustment (FSA) to be collected on quarterly basis from non-agricultural consumers for FY 2008-09.

- The licensee has submitted the FSA proposal for the four quarters of FY 2009-10 and the first two quarters of FY 2010-11. These proposals are at the disposal of the Hon’ble Commission.

- In view of the financial position of the licensee, it is requested that the Hon’ble Commission may allow collection of provisional FSA of Rs. 0.25 / kWh from non-agricultural consumers till such time the orders on FSA for FY 2009-10 and H1 of FY 2010-11 are issued.

## B.Determination of Cross-subsidy surcharge for Open Access consumers

- As per section 42(2) of the Electricity Act, 2003 and clause 17.1(iii) of APERC Regulation No. 2 of 2005, open access consumers of distribution business shall pay cross subsidy surcharge in addition to the wheeling charges as determined by the Hon’ble Commission from time to time.

- The Hon’ble Commission has determined cross subsidy surcharge for open access consumers up to FY 2007-08. No further orders have been issued by the Hon’ble Commission on the same.

- In view of the increase in the number of open access transactions in recent years, the licensee requests the Hon’ble Commission to expedite the possibility to determine the cross-subsidy surcharge for open access consumers along with the tariff order starting from FY 2011-12 similar to other states such as Maharashtra, Gujarat etc.

## C. Consideration of month on month losses for arriving power purchase requirement

- The licensee submits that for calculation of the power purchase requirement, voltage-wise month-wise sales have been grossed up with voltage-wise month-wise losses to determine the power purchase requirement.

- This is in view of the fact that the transmission and distribution system losses in the network would be directly proportional to the square of the current /energy handled by the system.

- Hence, there is a month on month variation in the losses which must be accounted for appropriately while determining the power purchase requirement.

Therefore, the licensee requests the Hon’ble Commission to approve the methodology and consider the same for determination of the power purchase requirement for FY 2011-12.

D. Declaration of season period under Seasonal Industries of HT & LT:

In the present tariff conditions, there is a condition that the seasonal period once declared cannot be changed during the Tariff year in which it is declared. But there is no mention on declaration of seasonal period that is to be done either before commencement of Tariff year or during a Tariff year and also whether the seasonal industrial consumers are needed to declare season period every year or while entering into an agreement.

In this regard, the licensee requests the Hon’ble Commission to include a new condition on declaration of season period that the seasonal industrial consumer has to declare his seasonal period for every Tariff year before commencement of the tariff year. If declaration of seasonal period is not done by the consumer, he shall not be entitled to this concession during the current year.

# Tariff Schedule

Electricity Tariffs Proposal for the FY 2011-12

| Category | Purpose | Rates for FY 2010-11 |  | Proposed Rates for FY 2011-12 |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Fixed/Demand Charges | Energy Charges Ps/Unit | Fixed/Demand Charges | Energy Charges Ps/Unit |
| Low Tension Category |  |  |  |  |  |
| I | Domestic |  |  |  |  |
|  | 0 – 50 Units/Month | --- | 145 | --- | 145 |
|  | 51 - 100 Units/Month | --- | 280 | --- | 280 |
|  | 101 - 200 Units/Month | --- | 305 | --- | 305 |
|  | 201 -300 Units/Month | --- | 475 | --- | 475 |
|  | Above 300 Units/Month | --- | 550 | --- | 550 |
| II(A)** | Non-Domestic / Commercial |  |  |  |  |
|  | 0 -50 Units/Month | --- | 385 | --- | 385 |
|  | 51-100 Units/Month | --- | 620 | --- | 620 |
|  | Above 100 Units/Month | --- | 650 | --- | 650 |
| II(B) | Advertisement Hoardings | --- | --- | --- | 750 |
| III (A)** | (I) Industrial - Normal Upto 75 HP Connected Load | Rs.37/HP/Month of connected load | 413 | Rs.37/HP/Month of connected load | 413 |
|  | (ii) Industrial – Optional Demand Tariff (50 to 75 HP) | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 413 | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 413 |
|  | (iii) Pisiculture and Prawn culture below 10 HP contracted load |  | 90 |  | 90 |
|  | (iv) Sugarcane Crushing |  | 50 |  | 50 |
|  | (v) Poultry Farms with more than 1000 birds. | Rs.37/HP/Month of connected load | 413 | Rs.37/HP/Month of connected load | 413 |
|  | (vi) Mushroom production Farms, Rabbit Farms | Rs.37/HP/Month of connected load | 413 | Rs.37/HP/Month of connected load | 413 |
|  | (vii) Floriculture in Green Houses | Rs.37/HP/Month of connected load | 413 | Rs.37/HP/Month of connected load | 413 |
|  | Off-Seasonal tariff for Seasonal loads for item -(i) | Rs.37/HP/Month on 30% of Contracted Load | 480 | Rs.37/HP/Month on 30% of Contracted Load | 480 |
|  | Off-Seasonal tariff for Seasonal loads for item -(ii) | Rs.100/KVA/Month on 30% of CMD or RMD whichever is higher | 480 | Rs.100/KVA/Month on 30% of CMD or RMD whichever is higher | 480 |
| III (B)** | Industrial –(Above 75 HP upto 150 HP) |  |  |  |  |
|  | Above 75 HP upto 150 HP | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 413 | Rs.100/KVA/Month of RMD or 80% of Contracted Demand whichever is higher | 413 |
|  | Off-Seasonal tariff for Seasonal loads | Rs.100/KVA/Month of recorded demand or 30% of contracted demand whichever is higher | 480 | Rs.100/KVA/Month of recorded demand or 30% of contracted demand whichever is higher | 480 |
| IV(A) | Cottage Industry and Dhobhi Ghats | Rs.10/HP/Month of Contracted Load subj. to min of Rs. 30 per month | 180 | Rs.10/HP/Month of Contracted Load subj. to min of Rs. 30 per month | 180 |
| IV(B) | Poultry Farming Units upto 1000 Birds |  | 180 |  | 180 |
| V(A) | Agriculture @ |  |  |  |  |
|  |  | With DSM measures |  | With DSM measures |  |
|  |  | Dry Land Farmers (Connection<=3 Nos) |  | Dry Land Farmers (Connection<=3 Nos) |  |
|  |  | Fixed - 0 | 0 | Fixed - 0 | 0 |
|  |  | Dry Land Farmers (Connection > 3 Nos) |  | Dry Land Farmers (Connection > 3 Nos) |  |
|  |  | Fixed - *210/HP/Yr | 20 | Fixed - *210/HP/Yr | 20 |
|  |  | Wet Land Farmers (Holding<=2.5 Acres) |  | Wet Land Farmers (Holding<=2.5 Acres) |  |
|  |  | Fixed - 0 | 0 | Fixed - 0 | 0 |
|  |  | Wet Land Farmers (Holding > 2.5 Acres) |  | Wet Land Farmers (Holding > 2.5 Acres) |  |
|  |  | Fixed - *210/HP/Yr | 20 | Fixed - *210/HP/Yr | 20 |
|  |  | Corporate & IT Assesses |  | Corporate & IT Assesses |  |
|  |  | Fixed - 0 | 100 | Fixed - 0 | 100 |
|  |  | Without DSM measures |  | Without DSM@ measures |  |
|  |  | Dry Land Farmers (Connection<=3 Nos) |  | Dry Land Farmers (Connection<=3 Nos) |  |
|  |  | Fixed - *210 | 20 | Fixed - *210/HP/Yr | 20 |
|  |  | Dry Land Farmers (Connection > 3 Nos) |  | Dry Land Farmers (Connection > 3 Nos) |  |
|  |  | Fixed - *525/HP/Yr | 50 | Fixed - *525/HP/Yr | 50 |
|  |  | Wet Land Farmers (Holding<=2.5 Acres) |  | Wet Land Farmers (Holding<=2.5 Acres) |  |
|  |  | Fixed - *210 | 20 | Fixed - *210/HP/Yr | 20 |
|  |  | Wet Land Farmers (Holding > 2.5 Acres) |  | Wet Land Farmers (Holding > 2.5 Acres) |  |
|  |  | Fixed - *525/HP/Yr | 50 | Fixed - *525/HP/Yr | 50 |
|  |  | Corporate & IT Assesses |  | Corporate & IT Assesses |  |
|  |  | Fixed - 0 | 200 | Fixed - 0 | 200 |
| LT-V(A)(i) | Salt Farming Units with connected load upto 15HP $ |  | 100 |  | 100 |
| LT-V(A)(ii) | Rural Horticulture Nurseries |  | 100 |  | 100 |
| $ -Units with connected load more than15 HP shall be billed under LT Category III(A) Industrial Normal tariff. * Equivalent Flat rate Tariff in the absence of Metering |  |  |  |  |  |
| V(B) | Out of turn allotment - Metered tariff (Mandatory) | Tatkal (with DSM) | 0 | Tatkal (with DSM) | 0 |
| VI (A) | Local Bodies/ street Lighting |  |  |  |  |
|  | Minor Panchayats | --- | 156 | --- | 156 |
|  | Major Panchayats | --- | 208 | --- | 208 |
|  | Nagarapalikas and | --- | 274 | --- | 274 |
|  | Muncipalities - Gr.3 |  |  |  |  |
|  | Muncipalities - Gr.1 & 2 | --- | 326 | --- | 326 |
|  | Muncipalities, Selection & Special Grade | --- | 353 | --- | 353 |
|  | Corporations | --- | 379 | --- | 379 |
| VI(B) | Local Bodies/ PWS Schemes |  |  |  |  |
|  | Minor/ Major Panchayats |  |  |  |  |
|  | Upto 2500 units/Year | --- | 20 | --- | 20 |
|  | Above 2500 units/ Year | --- | 50 | --- | 50 |
|  | Nagarapalikas and Muncipalities Gr 1,2,3 and Spl./ Selection Grade |  |  |  |  |
|  | Up to 1000 units/month | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 375 | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 375 |
|  | Balance units |  | 405 |  | 405 |
|  | Corporations |  |  |  |  |
|  | Upto 1000 units/month | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 405 | Rs.20/HP/Month of Contracted Load subj. to Min of Rs.100. | 405 |
|  | Balance units |  | 460 |  | 460 |
| VII(A) | General Purpose | --- | 400 | --- | 400 |
| VII(B) | Religious Places |  |  |  |  |
|  | 0-200 Units/Month |  | 200 |  | 200 |
|  | >200 Units/Month |  | 400 |  | 400 |
|  | Minimum charges shall not levied on LT-VII(B) Religious places consumers |  |  |  |  |
| VIII | Temporary Supply |  |  |  |  |
|  | - Agriculture Purpose | --- | 230 | --- | 230 |
|  | - Other than Agriculture | --- | 682 | --- | 682 |
| High Tension Categories |  |  |  |  |  |
| I** | (A) Industrial - General |  |  |  |  |
|  | 132 kV and above | 250/KVA/Month | 297 | 250/KVA/Month | 297 |
|  | 33kV | 250/KVA/Month | 325 | 250/KVA/Month | 325 |
|  | 11kV | 250/KVA/Month | 352 | 250/KVA/Month | 352 |
|  | Fans & Lighting |  |  |  |  |
|  | 132 kV and above |  | 467 |  | 467 |
|  | 33kV |  | 470 |  | 470 |
|  | 11kV |  | 472 |  | 472 |
|  | Colony Consumption |  | 400 |  | 400 |
|  | Seasonal Industries (Off-Seasonal tariff)# |  |  |  |  |
|  | 132 kV and above | 250/KVA/Month | 410 | 250/KVA/Month | 410 |
|  | 33kV | 250/KVA/Month | 430 | 250/KVA/Month | 430 |
|  | 11kV and below | 250/KVA/Month | 480 | 250/KVA/Month | 480 |
|  | Time of Day Tariff |  |  |  |  |
|  | Charges | 6PM to 10PM | 100 | 6PM to 10PM | 100 |
|  | Incentive | 12AM to 4AM | - | 12AM to 4AM | 50 |
|  | (B) Ferro Alloys |  |  |  |  |
|  | 132 kV and above |  | 265 |  | 265 |
|  | 33 kV |  | 265 |  | 280 |
|  | 11 kV |  | 265 |  | 325 |
| II** | Others |  |  |  |  |
|  | 132 kV and above | 250/KVA/Month | 410 | 250/KVA/Month | 410 |
|  | 33kV | 250/KVA/Month | 430 | 250/KVA/Month | 430 |
|  | 11kV and below | 250/KVA/Month | 480 | 250/KVA/Month | 480 |
| IV | Irrigation & Agriculture |  |  |  |  |
| IV(A) | Govt. Lift Irrigation Schemes | --- | 260 | --- | 260 |
| IV(B) | Agriculture |  | 0 |  | 0 |
| V** | Railway Traction | -- | 445 | -- | 445 |
| VI | Townships/Colonies | -- | 400 | -- | 400 |
| VII | Composite Public water supply scheme |  | 35 |  | 35 |
| VIII | Green Power |  | 670 |  | 670 |
|  | Temporary supply | $ |  | $ |  |

@ Farmers eligible for free supply under Dry land as well as Wetlands have to comply with DSM measures as applicable to his pumping system (Viz. Submersible and surface pumpsets) failing which they shall not be eligible for free supply.

DSM measures frictionless foot valve, capacitor of adequate rating, HDPE or RPVC piping at suction and/or delivery and ISI-marked monobloc or submersible pumpset.

Free supply shall not be allowed for Paddy in second crop. New connections shall be given only with DSM measures and with meters only.

**The licensee proposes to introduce Time of Season tariff for the months of April-May of 2011 and February-March of 2012 for these categories

LT-II(A) (>100Units)         Rs. 0.50/Unit

LT-III                            Rs. 0.50/Unit

HT-I, HT-II, and HT-V Rs. 0.75/Unit

# Based on the Recorded maximum Demand or 30% of CMD whichever is higher

## The demand charge will be levied at each metering point based on the individual billing demand at that point. However in the event of supply failure by the licensee at a supply point and power is drawn from an alternate traction supply point, the period of such supply failure shall not be taken into account for the purpose of working out the maximum demand as far as the alternate traction supply point is concerned.

$ Temporary supply or temporary increase in supply to existing consumers ordinarily limited to a period not exceeding 6 months at rates 50% in excess of HT tariffs.

HV Metering for LT services: For LT consumers having HV side metering as per Tariff conditions, no concession need to be provided.

Minimum charges Schedule:

| LT categories |  |  |  |
| --- | --- | --- | --- |
| Category No. | Purpose |  |  |
| I | Domestic | Single Phase |  |
|  |  | upto 250 W | Rs.25/Month |
|  |  | above 250W | Rs.25/Month |
|  |  | Three Phase |  |
|  |  |  | Rs.150/Month |
|  |  | Single Phase |  |
| II | Non-domestic/ |  | Rs.65/Month |
|  | Commercial | Three Phase | Rs.200/Month |
| III (A) III (B) | Industrial Optional 75–150HP |  | Recorded demand during the month or 80% of contracted demand whichever is higher and 50 Units/KVA of Billing Demand per month |
|  |  | Panchayats |  |
| VI (A) | Street Lighting |  | Rs.2/Point/Month |
|  |  | Municipalities and Corpns. | Rs.6/Point/Month |
| VII | General Purpose | Single Phase | Rs.50/Month |
|  |  | Three Phase | Rs.150/Service/Month |
| VIII | Temporary Supply |  |  |
|  | Other than agriculture |  | Rs. 125 per kW or part thereof of contracted load for first 30 days or part thereof and Rs. 75 per kW or part thereof of contracted load for every subsequent period of 15 days or part thereof |
|  | Agriculture |  | Minimum charge Rs. 100 per HP of contracted load for the first 30 days or part thereof and Rs. 50 per HP of contracted load for every subsequent period of 15 days or part thereof. |
| HT Categories |  |  |  |
| Min. Billing Demand |  |  | Recorded demand during the month or 80% of contracted demand, whichever is higher |
| Min.Energy Charges |  |  |  |
| I (A) | Industrial-General |  | 50 Units/KVA of billing demand per month |
| I (B) | Ferro alloy |  | Guaranteed energy off-take at annual 85% load factor on contracted demand or actual demand whichever is higher during the year. |
| II | Non-Industrial |  | 25 Units/KVA of billing demand per month |
| V | Railway Traction |  | 32 Units/KVA of Contracted demand per month |
| VI | Townships/Colonies |  | 25 Units/KVA of contracted demand per month |

| VOLTAGE SURCHARGE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| (A) H.T consumers who are now getting supply at voltage different from the declared voltages and who want to continue taking supply at the same voltage will be charged as per the rates indicated below: |  |  |  |  |  |
| Sl. No. | Contracted Demand with Licensee and other sources (in kVA) | Voltage at which Supply should be availed (in kV) | Voltage at which Consumer is availing Supply (in KV) | Rates % extra over the normal rates |  |
|  |  |  |  | Demand Charges | Energy Charges |
| 1 | 70 to 1500 | 11 | 6.6 or below | 12% | 10% |
| 2 | 1501 to 5000 | 33 | 11 or below | 12% | 10% |
| 3 | Above 5000 | 132 or 220 | 66 or below | 12% | 10% |
| (B). For H.T. Consumers availing supply through independent feeders. |  |  |  |  |  |
| 1 | 70 -2500 | 11 | 6.6 or below | 12% | 10% |
| 2 | 2501-10000 | 33 | 11 or below | 12% | 10% |
| 3 | Above 10000 | 132 or 220 | 66 or below | 12% | 10% |
| Customer Charges: |  |  |  |  |  |
| The customer charges are as given below: |  |  |  |  |  |
| For All LT Categories inclusive of Agricultural Services* |  |  |  | Rs. 20/- per month |  |
| *Domestic consumers in the first slab and connected load less than 250 watts |  |  |  | Rs. 15/- per month |  |
| HT Categories |  |  |  |  |  |
| (a) 66kV and below |  |  |  | Rs. 750/- month |  |
| (b) 132/220kV |  |  |  | Rs. 1500/- per month |  |
| All other conditions as per in the Annexure D of the Tariff Order will be applicable for the respective categories under LT and HT supply. |  |  |  |  |  |

RETAIL SUPPLY FORMATS

PERFORMANCE PARAMETERS

STATUS OF IMPLEMENTATION OF DIRECTIVES