## SOP_Regulation
Format - 1 : Compensation Paid Consumers under SOP Regulations for the year 2009-10 (as on 30.09.2009)
Service Area | Compensation paid to Consumers in Rs.
| WGL | KNR | KMM | NZB | ADB | APNPDCL
Normal Fuse - off
Over head Line/cable breakdowns
Under ground cable breakdowns
DTR's Failure
Schedule Outage
Voltage fluctuations
Meter Complaints
Release of Supply
Transfer of ownership and conversion of Services
i) Name Change | 1700 |  |  |  |  | 1700
ii) Category Change | 2100 |  |  |  |  | 2100
Consumers Bills
Reconnection of supply following disconnection due to non-payment of bills
Total | 3800 |  |  |  |  | 3800
Format - 1 : Compensation Paid Consumers under SOP Regulations for the year 2008-09
Service Area | Compensation paid to Consumers in Rs.
| WGL | KNR | KMM | NZB | ADB | APNPDCL
Normal Fuse - off
Over head Line/cable breakdowns
Under ground cable breakdowns
DTR's Failure
Schedule Outage
Voltage fluctuations
Meter Complaints
Release of Supply
Transfer of ownership and conversion of Services
i) Name Change
ii) Category Change | 200 | 150 | 4150 |  |  | 4150
Consumers Bills
Reconnection of supply following disconnection due to non-payment of bills
Total | 200 | 150 | 4150 |  |  | 4150

## El_Accidents_Comp
Format - II : Electrical Accidents
Sl. No. | Circle | During 2008-09 |  |  |  |  | During 2009-10 (Upto September-2009)
|  | No. of Accidents |  |  | Exgratia Paid |  | No. of Accidents |  |  | Exgratia Paid
|  | Fatal Accidents |  | Non-fatal Accidents | Fatal Accidents |  | Fatal Accidents |  | Non-fatal Accidents | Fatal Accidents
|  | Human beings | Animals |  | Human beings | Animals | Human beings | Animals |  | Human beings | Animals
1 | Warangal | 30 | 24 | 14 | 8 | 18 | 21 | 31 | 7 | 2 | 14
2 | Karimnagar | 28 | 84 | 18 | 6 | 69 | 23 | 128 | 10 | 4 | 34
3 | Khammam | 33 | 58 | 4 | 8 | 44 | 11 | 44 | 5 | 7 | 44
4 | Nizamabad | 101 | 21 | 45 | 3 | 21 | 42 | 30 | 19 | 0 | 12
5 | Adilabad | 23 | 60 | 6 | 1 | 33 | 25 | 85 | 11 | 0 | 4
NPDCL Total |  | 215 | 247 | 87 | 26 | 185 | 122 | 318 | 52 | 13 | 108

## DTR_Failures
Format - III DTRs Failures
Circle | No. of DTRs As on 31-03-2009 |  | No. of DTRs Failed during 2008-09 |  | No. of Failed DTRs replaced furing 2008-09 |  | No. of Additional DTRs installed during 2008-09
| Three Phase | Single Phase | Three Phase | Single Phase | Three Phase | Single Phase | Three Phase | Single Phase
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Warangal | 20964 | 12739 | 4583 | 300 | 4583 | 300 | 1284 | 520
Karimnagar | 19988 | 7547 | 3001 | 265 | 3001 | 265 | 2694 | 177
Khammam | 11896 | 7603 | 1678 | 100 | 1678 | 100 | 690 | 460
Nizamabad | 23459 | 7384 | 4063 | 456 | 4063 | 456 | 1500 | 108
Adilabad | 9525 | 6185 | 1653 | 417 | 1653 | 417 | 709 | 553
NPDCL | 85832 | 41458 | 14978 | 1538 | 14978 | 1538 | 6877 | 1818
Circle | No. of DTRs As on 30-09-2009 |  | No. of DTRs Failed during 2009-10 (upto Sep-2009) |  | No. of Failed DTRs replaced furing 2009-10 (upto Sep-2009) |  | No. of Additional DTRs installed during 2009-10 (upto Sep-2009)
| Three Phase | Single Phase | Three Phase | Single Phase | Three Phase | Single Phase | Three Phase | Single Phase
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Warangal | 22410 | 13000 | 1855 | 217 | 1855 | 217 | 1446 | 261
Karimnagar | 20814 | 7682 | 1696 | 151 | 1696 | 151 | 826 | 135
Khammam | 12375 | 8303 | 691 | 175 | 691 | 175 | 479 | 700
Nizamabad | 23868 | 7445 | 1875 | 60 | 1875 | 60 | 409 | 61
Adilabad | 10713 | 6888 | 851 | 115 | 851 | 115 | 1188 | 703
NPDCL | 90180 | 43318 | 6968 | 718 | 6968 | 718 | 4348 | 1860

## Faulty Meters
Format - IV : Faulty Meters (Stuck-up & Burnt)
Circle | Opening Balance (As on 30.09.2008) |  | Replaced |  | Accurued |  | Closing Balance (As on 31.10.2009)
| Single Phase | Three Phase | Single Phase | Three Phase | Single Phase | Three Phase | Single Phase | Three Phase
Warangal | 4761 | 56 | 3780 | 31 | 3405 | 31 | 4386 | 56
Karimnagar | 3672 | 9 | 1604 | 0 | 1609 | 0 | 3677 | 9
Khammam | 10001 | 38 | 3471 | 20 | 6852 | 18 | 13382 | 36
Nizamabad | 19403 | 926 | 804 | 583 | 1961 | 599 | 20560 | 942
Adilabad | 36705 | 7 | 5091 | 1 | 7943 | 2 | 39557 | 8
Total | 74542 | 1036 | 14750 | 635 | 21770 | 650 | 81562 | 1051

## Fuse Off Calls
Format -V: Fuse off Calls
Circle | During 2008-09 | [5 empty] | During 2009-10 (Up to Sep-2009)
| Urban |  |  | Rural |  |  | Urban |  |  | Rural
| No. of Complaints received | No. of Complaints attended with in time frame | No. of Complaints attended beyond in time frame | No. of Complaints received | No. of Complaints attended with in time frame | No. of Complaints attended beyond in time frame | No. of Complaints received | No. of Complaints attended with in time frame | No. of Complaints attended beyond in time frame | No. of Complaints received | No. of Complaints attended with in time frame | No. of Complaints attended beyond in time frame
Warangal | 6814 | 6783 | 31 | 8042 | 7984 | 58 | 488 | 488 | 0 | 482 | 482 | 0
Karimnagar | 8141 | 8119 | 22 | 12534 | 12499 | 35 | 621 | 621 | 0 | 882 | 882 | 0
Khammam | 5492 | 5471 | 21 | 7569 | 7510 | 59 | 209 | 209 | 0 | 307 | 307 | 0
Nizamabad | 8002 | 7964 | 38 | 9065 | 8987 | 78 | 1229 | 1229 | 0 | 398 | 398 | 0
Adilabad | 5317 | 5301 | 16 | 6531 | 6502 | 29 | 709 | 709 | 0 | 228 | 228 | 0
NPDCL | 33766 | 33638 | 128 | 43741 | 43482 | 259 | 3256 | 3256 | 0 | 2297 | 2297 | 0

## BD_Town-Indl2009-10
11 KV Feeders Towns & Industrial Breakdowns Particulars during the Year 2009-10 (Upto September-09)
Sl. No. | Circle | No. of 11 KV Feeders Existing Town | 11 KV TOWN | [9 empty] | 11 KV Town
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
1 | Warangal | 62 | 1584 | 1900-03-25 23:47 | 1041 | 1900-02-01 04:53 | 209 | 1900-01-14 22:02 | 2244 | 1900-01-05 04:55 | 2940 | 1900-02-23 07:22 | 8018 | 1900-07-14 14:59
2 | Karimnagar | 31 | 154 | 1900-01-14 16:56 | 408 | 1900-01-13 01:00 | 20 | 1899-12-31 09:05 | 334 | 1900-01-01 05:19 | 0 | 0 | 916 | 1900-02-01 08:20
3 | Khammam | 21 | 0 | 0.77778 | 212 | 1900-01-11 20:20 | 24 | 1899-12-31 11:25 | 315 | 1899-12-31 08:25 | 0 | 0 | 551 | 1900-01-15 10:50
4 | Nizamabad | 27 | 0 | 1900-01-03 04:46 | 564 | 1900-01-24 02:25 | 201 | 1900-01-20 05:52 | 258 | 1899-12-31 01:15 | 166 | 1900-01-02 11:30 | 1189 | 1900-02-23 01:48
5 | Adilabad | 30 | 603 | 1900-06-13 10:58 | 1089 | 1900-08-20 04:44 | 276 | 1900-02-18 21:44 | 2226 | 1900-03-31 06:35 | 212 | 1900-02-01 06:52 | 4406 | 1901-07-27 02:52
| NPDCL Total | 171 | 2341 | 1900-09-28 03:07 | 3314 | 1900-11-13 09:22 | 730 | 1900-03-30 22:08 | 5377 | 1900-04-11 02:29 | 3318 | 1900-04-01 01:44 | 15080 | 1902-05-24 14:49
Sl. No. | Circle | No. of 11 KV Feeders Existing Indl. | 11 KV INDL | [9 empty] | 11 KV INDL.
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
f | Warangal | 16 | 2129 | 1900-02-02 10:23 | 502 | 1900-01-21 01:51 | 134 | 1900-01-08 02:59 | 863 | 1900-01-02 19:27 | 414 | 1900-01-12 16:03 | 4042 | 1900-03-23 02:43
2 | Karimnagar | 8 | 693 | 1900-02-28 13:13 | 92 | 1900-01-03 09:12 | 37 | 1900-01-02 20:17 | 426 | 1899-12-31 22:00 | 0 | 0 | 1248 | 1900-03-10 16:42
3 | Khammam | 24 | 56 | 1900-01-03 19:00 | 78 | 1900-01-01 15:00 | 0 | 0 | 135 | 0.70486 | 0 | 0 | 269 | 1900-01-07 02:55
4 | Nizamabad | 5 | 0 | 0 | 235 | 1900-01-12 04:00 | 63 | 1900-01-05 12:16 | 98 | 0.6625 | 897 | 1900-02-14 03:18 | 1293 | 1900-03-06 11:28
5 | Adilabad | 8 | 113 | 1900-01-14 20:38 | 106 | 1900-01-19 08:54 | 18 | 1899-12-31 08:59 | 501 | 1900-01-12 21:08 | 227 | 1900-02-26 20:22 | 965 | 1900-04-19 08:01
| NPDCL Total | 61 | 2991 | 1900-04-24 15:14 | 1013 | 1900-03-02 14:57 | 252 | 1900-01-19 20:31 | 2023 | 1900-01-19 23:24 | 1538 | 1900-04-27 15:43 | 7817 | 1900-12-03 17:49
Formulas:
Duration = [Time]+[Time]+[Time]+[Time]+[Time]
Duration = O6+O7+O8+O9+[Duration, row above]
Time = SUM(E6:[Time, row above])
Time = SUM(G6:[Time, row above])

## BD_RUR-MHQ2009-10
11 KV Feeders Rural & MHQ Breakdown & Interruptions Particulars during the Year 2009-10 (Upto September-09)
Sl. No. | Circle | No. of 11 KV Feeders Existing Rural | 11 KV Rural | [9 empty] | Total
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
1 | Warangal | 522 | 915 | 1900-02-12 15:52 | 207 | 1900-01-08 01:37 | 130 | 1900-01-05 15:45 | 1327 | 1900-01-06 02:06 | 1174 | 1900-01-16 16:59 | 3753 | 1900-03-25 04:19
2 | Karimnagar | 542 | 2852 | 1901-04-24 18:28 | 3034 | 1900-08-29 13:33 | 210 | 1900-01-18 00:10 | 2944 | 1900-01-09 06:13 | 5321 | 1900-08-05 12:32 | 14361 | 1902-08-28 02:56
3 | Khammam | 239 | 647 | 1900-02-08 14:00 | 181 | 1900-03-17 02:12 | 735 | 1900-03-10 20:19 | 2094 | 1900-01-08 00:45 | 133 | 1900-01-04 08:00 | 3790 | 1900-07-20 21:16
4 | Nizamabad | 573 | 370 | 1900-01-29 14:00 | 1020 | 1900-06-27 04:48 | 338 | 1900-03-16 12:18 | 331 | 1900-01-02 07:22 | 206 | 1900-02-06 08:25 | 2265 | 1900-11-22 22:53
5 | Adilabad | 274 | 2041 | 1900-12-27 02:02 | 4154 | 1900-09-01 05:30 | 2178 | 1900-07-30 20:49 | 5507 | 1900-03-11 18:47 | 1750 | 1900-05-11 07:41 | 15630 | 1902-10-20 06:49
| Total | 2150 | 6825 | 1902-08-15 16:22 | 8596 | 1902-01-22 03:40 | 3591 | 1901-01-19 21:21 | 12203 | 1900-04-10 11:13 | 8584 | 1901-02-15 05:37 | 39799 | 1907-02-23 10:13
Sl. No. | Circle | No. of 11 KV Feeders Existing MHQ | 11 KV MHQ | [9 empty] | Total
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
f | Warangal | 41 | 507 | 1900-01-27 04:39 | 142 | 1900-01-04 09:26 | 86 | 1900-01-03 06:08 | 923 | 1900-01-02 22:44 | 0 | 0 | 1658 | 1900-02-09 18:57
2 | Karimnagar | 41 | 8843 | 1900-11-17 17:44 | 184 | 1900-01-09 11:31 | 51 | 1900-01-03 11:26 | 1579 | 1900-01-03 19:00 | 1445 | 1900-02-13 11:01 | 12102 | 1901-01-21 22:42
3 | Khammam | 39 | 0 | 0 | 356 | 1900-01-14 21:20 | 124 | 1900-01-06 14:50 | 417 | 1899-12-31 23:20 | 109 | 1900-01-05 01:55 | 1006 | 1900-01-30 13:25
4 | Nizamabad | 32 | 24 | 1899-12-31 08:00 | 161 | 1900-02-23 06:59 | 138 | 1900-01-10 19:18 | 103 | 1899-12-31 21:21 | 49 | 1900-01-03 01:07 | 475 | 1900-03-14 08:45
5 | Adilabad | 45 | 1063 | 1900-12-16 13:36 | 828 | 1900-02-17 11:49 | 311 | 1900-01-24 00:53 | 1388 | 1900-01-24 23:18 | 1108 | 1900-05-25 12:52 | 4698 | 1901-08-20 14:28
| Total | 198 | 10437 | 1901-12-03 19:59 | 1671 | 1900-05-15 13:05 | 710 | 1900-02-21 04:35 | 4410 | 1900-02-06 13:43 | 2711 | 1900-07-20 02:55 | 19939 | 1903-02-07 06:17
Formulas:
Duration = [Time]+[Time]+[Time]+[Time]+[Time]
Duration = O6+O7+O8+O9+[Duration, row above]
Time = SUM(E6:[Time, row above])
Time = SUM(G6:[Time, row above])

## BD_RUR_MHQ2008-09
11 KV Feeders Rural & MHQ Breakdown & Interruptions Particulars during the Year 2008-09
Sl. No. | Circle | No. of 11 KV Feeders Existing Rural | 11 KV Rural | [9 empty] | Total
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
1 | Warangal | 522 | 15497 | 1902-01-20 13:59 | 620 | 1900-01-29 07:15 | 376 | 1900-01-20 17:42 | 1413 | 1900-01-12 22:08 | 1550 | 1900-02-14 12:15 | 19456 | 1902-05-13 01:19
2 | Karimnagar | 542 | 1268 | 1900-06-29 02:00 | 6525 | 1900-11-27 23:25 | 1066 | 1900-03-21 01:25 | 4691 | 1900-01-28 09:40 | 5664 | 1900-12-05 08:10 | 19214 | 1902-08-21 20:40
3 | Khammam | 239 | 1952 | 1900-05-28 19:40 | 871 | 1900-02-11 10:30 | 885 | 1900-02-20 19:15 | 1637 | 1900-01-21 07:45 | 962 | 1900-02-11 21:00 | 6307 | 1900-11-07 06:10
4 | Nizamabad | 573 | 10654 | 1907-11-30 10:00 | 3349 | 1902-04-18 12:03 | 842 | 1900-07-08 00:40 | 579 | 1900-01-11 21:26 | 6769 | 1903-12-12 18:00 | 22193 | 1914-09-19 14:09
5 | Adilabad | 274 | 10847 | 1900-06-08 16:10 | 2618 | 1900-04-06 13:27 | 1250 | 1900-02-28 08:00 | 6749 | 1900-02-18 06:24 | 3123 | 1900-06-03 21:29 | 24587 | 1901-06-07 17:30
| Total | 2150 | 40218 | 1911-04-26 13:49 | 13983 | 1903-09-04 18:40 | 4419 | 1901-02-08 23:02 | 15069 | 1900-05-07 19:23 | 18068 | 1905-07-21 08:54 | 91757 | 1922-01-06 11:48
Sl. No. | Circle | No. of 11 KV Feeders Existing MHQ | 11 KV MHQ | [9 empty] | Total
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
f | Warangal | 41 | 1478 | 1900-04-08 04:11 | 367 | 1900-01-11 21:59 | 112 | 1900-01-05 11:31 | 702 | 1900-01-03 09:36 | 236 | 1900-01-12 01:12 | 2895 | 1900-05-15 00:29
2 | Karimnagar | 41 | 6005 | 1900-11-28 20:50 | 677 | 1900-02-05 21:50 | 461 | 1900-02-07 22:45 | 2491 | 1900-01-06 10:42 | 2218 | 1900-03-22 23:15 | 11852 | 1901-05-16 03:22
3 | Khammam | 39 | 964 | 1900-11-11 10:30 | 733 | 1900-01-27 12:20 | 338 | 1900-01-17 19:40 | 921 | 1900-01-07 11:05 | 817 | 1900-02-14 06:50 | 3773 | 1901-02-21 12:25
4 | Nizamabad | 32 | 1335 | 1902-08-11 22:00 | 474 | 1900-02-26 17:45 | 233 | 1900-01-19 06:06 | 183 | 1900-01-06 19:30 | 424 | 1900-01-23 01:52 | 2649 | 1902-11-30 19:13
5 | Adilabad | 45 | 2295 | 1901-05-10 23:20 | 1344 | 1900-02-12 18:12 | 448 | 1900-01-10 01:08 | 2948 | 1900-01-04 13:07 | 1918 | 1900-04-16 19:50 | 8953 | 1901-10-27 03:37
| Total | 198 | 12077 | 1906-01-09 08:51 | 3595 | 1900-06-30 20:06 | 1592 | 1900-04-05 13:10 | 7245 | 1900-02-01 16:00 | 5613 | 1900-09-30 04:59 | 30122 | 1907-08-19 15:06
Formulas:
Duration = [Time]+[Time]+[Time]+[Time]+[Time]
Duration = O6+O7+O8+O9+[Duration, row above]
Time = SUM(E6:[Time, row above])
Time = SUM(G6:[Time, row above])

## BD_Town-Indl2008-09
11 KV Feeders Towns & Industrial Breakdowns Particulars during the Year 2008-09
Sl. No. | Circle | No. of 11 KV Feeders Existing Town | 11 KV TOWN | [9 empty] | 11 KV Town
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
1 | Warangal | 62 | 4862 | 1900-12-02 02:00 | 1798 | 1900-03-22 17:07 | 227 | 1900-01-13 04:58 | 3148 | 1900-01-10 23:52 | 4657 | 1900-04-27 15:31 | 14692 | 1901-07-17 15:28
2 | Karimnagar | 31 | 1373 | 1900-03-25 06:10 | 700 | 1900-01-28 18:34 | 94 | 1900-01-04 12:12 | 1699 | 1900-01-14 15:42 | 103 | 1900-01-03 09:50 | 3969 | 1900-05-19 14:28
3 | Khammam | 21 | 362 | 1900-01-25 15:15 | 853 | 1900-02-19 15:40 | 228 | 1900-01-16 03:15 | 784 | 1900-01-06 01:10 | 0 | 0 | 2227 | 1900-04-11 11:20
4 | Nizamabad | 27 | 0 | 0 | 625 | 1900-01-31 13:20 | 149 | 1900-01-10 09:43 | 123 | 1899-12-31 13:40 | 240 | 1900-01-03 22:20 | 1137 | 1900-02-18 11:03
5 | Adilabad | 30 | 868 | 1900-02-19 05:10 | 1682 | 1900-02-11 18:22 | 156 | 1900-01-06 21:41 | 2749 | 1900-01-15 16:32 | 1043 | 1900-02-05 23:04 | 6498 | 1900-06-05 12:49
| Total | 171 | 7465 | 1901-05-14 04:35 | 5658 | 1900-08-27 11:03 | 854 | 1900-02-24 03:49 | 8503 | 1900-02-20 22:56 | 6043 | 1900-06-13 22:45 | 28523 | 1902-10-11 17:08
Sl. No. | Circle | No. of 11 KV Feeders Existing Indl. | 11 KV INDL | [9 empty] | 11 KV INDL.
|  |  | LR | Time | LC | Time | B/D | Time | EL/OL | Time | ISF | Time | Nos. | Duration
f | Warangal | 16 | 352 | 1900-01-19 15:38 | 780 | 1900-01-31 08:51 | 112 | 1900-01-09 07:39 | 1144 | 1900-01-06 17:32 | 1348 | 1900-02-10 17:14 | 3736 | 1900-04-22 18:54
2 | Karimnagar | 8 | 278 | 1900-01-21 14:10 | 127 | 1900-01-04 17:30 | 10 | 1899-12-31 04:20 | 795 | 1900-01-02 07:25 | 0 | 0 | 1210 | 1900-01-31 19:25
3 | Khammam | 24 | 128 | 1900-01-17 09:00 | 107 | 1900-01-04 00:35 | 0 | 0 | 334 | 1900-01-01 00:30 | 0 | 0 | 569 | 1900-01-24 10:05
4 | Nizamabad | 5 | 0 | 0 | 125 | 1900-01-05 16:57 | 28 | 1900-01-03 04:25 | 79 | 0.32431 | 633 | 1900-01-24 14:06 | 865 | 1900-02-04 19:15
5 | Adilabad | 8 | 72 | 1899-12-31 02:00 | 170 | 1900-01-03 12:44 | 25 | 0.7125 | 686 | 1900-01-01 01:50 | 726 | 1900-01-24 11:55 | 1679 | 1900-02-01 21:35
| Total | 61 | 830 | 1900-03-02 16:48 | 1309 | 1900-02-22 08:37 | 175 | 1900-01-15 09:30 | 3038 | 1900-01-14 11:04 | 2707 | 1900-04-02 19:15 | 8059 | 1900-08-29 17:14
Formulas:
Duration = [Time]+[Time]+[Time]+[Time]+[Time]
Duration = O6+O7+O8+O9+[Duration, row above]
Time = SUM(E6:[Time, row above])
Time = SUM(G6:[Time, row above])

## Safety
PROCUREMENT OF SAFETY ITEMS FOR THE YEAR 2008-09
Sl. No. | Name of the Material | Qty. | Rate/ Each | Total Value | P.O. No. & Date | Remarks
1 | Outdoor Type Tube Light Fixtures with Tube Lights | 3,000 Nos. | 700 | 20.80, 000.00 | PM-2873, Dt: 30.08.08 | Supplied
2 | Rubber Hand Gloves |  |  |  |  | Not procured
3 | Discharge Rods 3’ | 2,000 Nos. | 213 | 4,26,000.00 | PM-2988, Dt:10.12.08 | Supplied
4 | Safety Belts for Lineman | 1500 Nos | 644.8 | 9,67,000.00 | PM-2806, Dt: 22.04.08 | Supplied
1. Helmet.
2. Safety Belt
3. Cutting Player 8" (Taparia)
4. Tester (Taparia).
5. Screw Driver (Taparia)
6. Hand Gloves 15 ".
7. Bag
5 | Gum Boots | 2,000 Pairs | 83 | 166000 | PM-2774, Dt: 25.03.08 | Supplied
6 | CO2 Cylinders 6.8 Kgs. | 800 Nos. | 3982.86 | 31,86,288.00 | PM-2785, Dt: 31.03.08 | Supplied
7 | Danger Boards 33000V | 500 Nos. | 26.9 | 13450 | PM-2795, Dt:10.04.08 | Supplied
| Danger Boards 11000V | 1,00,000 Nos. | 26.9 | 26,90,000.00
| Danger Boards 6,300V | 30,000 Nos. | 26.9 | 8,07,000.00
| Danger Boards 440 V | 10,000 Nos. | 21.25 | 2,12,500.00
| Double Feeding Point | 1,000 Nos. | 26.9 | 26900
| Line Clear Board | 1,000 Nos. | 26.9 | 26900
| Men Online Board | 1,000 Nos. | 26.9 | 26900
8 | Re-chargeable Torch Lights | 1,000 Nos. | 280 | 2,80,000.00 | PM-2769, Dt:13-03-08 | Supplied
9 | Rain Coats with caps | 2,000 Nos | 174 | 3,49,760.00 | PM-2962, Dt:05-12-08 | Supplied
TOTAL |  |  |  | 1,12,58,698.00
PROCUREMENT OF SAFETY ITEMS FOR THE YEAR 2009-10
Sl. No. | Name of the Material | Qty. | Rate/ Each | Total Value | P.O. No. & Date | Remarks
1 | Outdoor Type Tube Light Fixtures with Tube Lights |  |  |  |  | Not procured
2 | Discharge Rods 10’ | 5,000 Nos. | L1,Rs.358.00 | 17,95,000.00 |  | Tender Under Process
3 | Safety Belts for Lineman | 1500 Nos | 644.8 | 9,67,000.00 | PM-2806, Dt:22.04.08 | Supplied
1. Helmet.
2. Safety Belt
3. Cutting Player 8" (Taparia)
4. Tester (Taparia).
5. Screw Driver (Taparia)
6. Hand Gloves 15 ".
7. Bag
4 | Gum Boots | 2,000 Pairs | 104.8 | 2,09,600.00 | PM-3206, Dt:17.08.09 | Supplied
5 | Fire Extingusher | 100 Nos. | 1399 | 1,39,900.00 |  | Tender Under Process
6 | Rubber Hand Glouves | 5,000 Pairs | 105 | 525000 |  | Tender Under Process
7 | Danger Boards 33000V | 1500 Nos. | 25.15 | 37725 | PM-3208, Dt:17.08.09 | Supplied
8 | Danger Boards 11000V |  |  | Not Procured |  | Not Procured
| Danger Boards 6,300V |  |  | Not Procured
| Danger Boards 440 V |  |  | Not Procured
| Double Feeding Point | 5,000 Nos. | 23.83 | 1,19,150.00 | PM-3208, Dt:17.08.09 | Supplied
| Line Clear Board | 15,000 Nos. | 23.83 | 3,57,450.00
| Men Online Board | 1,000 Nos. | 23.83 | 23830
9 | Re-chargeable Torch Lights |  |  |  |  | Not Procured
10 | Rain Coats with caps |  |  |  |  | Not Procured
TOTAL |  |  |  | 41,74,655.00

## Arrears Statement
ABSTRACT
Statement showing circle wise arrears of consumers over Rs50000/- pending for over 6 months
(Rupees in Lakhs)
Sl. No. | Name of the Circle | LT Services |  | HT Services |  | Total
|  | SCs | Amount | Scs | Amount | Scs | Amount
1 | Warangal | 252 | 273.2 | 23 | 120.19 | 275 | 393.4
2 | Karimnagar | 335 | 361.74 | 21 | 4743.21 | 356 | 5104.95
3 | Khammam | 217 | 241.86 | 44 | 462.14 | 261 | 704
4 | Nizamabad | 215 | 387.09 | 50 | 1863.27 | 265 | 2250.36
5 | Adilabad | 378 | 344.54 | 18 | 94.24 | 396 | 438.77
| Total | 1397 | 1608.43 | 156 | 7283.05 | 1553 | 8891.48

## DPE Cases
NORTHERN POWER DISTRIBUTION COMPANY OF A.P LIMITED : WARANGAL
STAEMENT SHOWING THE CIRCLE WISE CASES REPORTED DURING THE MONTH OF APRIL'08 TO MARCH '09 IN RESPECT OF NPDCL - WARANGAL.
Sl. No | Name of the Circle | No of cases Reported |  | Thef of material cases | Total | Case Registered Category Wise | [5 empty] | Total | Provisional Assessment Amount |  | Total | Realised Assessment Amount |  | Total | No of cases Compounded |  | Total | No. of Cases Compounded Category Wise |  |  |  |  | Total | Compounding fee collected | Persons arrested
|  | Opera- tion | DPE |  |  | I | II | III | IV | V | Oth- ers |  | Opera- tion | DPE |  | Opera- tion | DPE |  | Opera- tion | DPE |  | I | II | III | V | Others
1 | Warangal | 6535 | 2659 | 3 | 9197 | 8492 | 480 | 13 | 14 | 194 | 4 | 9197 | 6787550 | 8377566 | 15165116 | 3325668 | 3468547 | 6794215 | 3827 | 1621 | 5448 | 4986 | 325 | 10 | 121 | 6 | 5448 | 4125905 | 9
2 | Karimnagar | 6193 | 1261 | 8 | 7462 | 7271 | 172 | 4 | 0 | 0 | 15 | 7462 | 4681490 | 4667024 | 9348514 | 2818454 | 2178672 | 4997126 | 3575 | 735 | 4310 | 4184 | 119 | 2 | 1 | 4 | 4310 | 3339185 | 0
3 | Khammam | 5388 | 1708 | 2 | 7098 | 6713 | 190 | 2 | 0 | 189 | 4 | 7098 | 4776727 | 3437725 | 8214452 | 2815571 | 2045614 | 4861185 | 3049 | 1039 | 4088 | 3845 | 108 | 3 | 129 | 3 | 4088 | 2942500 | 0
4 | Nizamabad | 4734 | 1335 | 0 | 6069 | 5754 | 298 | 6 | 0 | 11 | 0 | 6069 | 7015841 | 3556905 | 10572746 | 3566037 | 2105438 | 5671475 | 3538 | 1231 | 4769 | 4503 | 238 | 14 | 13 | 1 | 4769 | 4665000 | 0
5 | Adilabad | 1103 | 3907 | 3 | 5013 | 4835 | 172 | 3 | 0 | 0 | 3 | 5013 | 3892940 | 4089423 | 7982363 | 1123382 | 1704692 | 2828074 | 1584 | 834 | 2418 | 2329 | 84 | 4 | 1 | 0 | 2418 | 2020000 | 0
| Total | 23953 | 10870 | 16 | 34839 | 33065 | 1312 | 28 | 14 | 394 | 26 | 34839 | 27154548 | 24128643 | 51283191 | 13649112 | 11502963 | 25152075 | 15573 | 5460 | 21033 | 19847 | 874 | 33 | 265 | 14 | 21033 | 17092590 | 9

## DPE Case
NORTHERN POWER DISTRIBUTION COMPANY OF A.P LIMITED : WARANGAL
STAEMENT SHOWING THE CIRCLE WISE CASES REPORTED DURING THE MONTH OF APRIL' 2009 to SEPTEMBER, 2009 IN RESPECT OF APNPDCL
Sl. No | Name of the Circle | No of cases Reported |  | Thef of material cases | Total | Case Registered Category Wise | [5 empty] | Total | Provisional Assessment Amount |  | Total | Realised Assessment Amount |  | Total | No of cases Compounded |  | Total | No. of Cases Compounded Category Wise |  |  |  |  | Total | Compounding fee collected | Persons arrested
|  | Opera- tion | DPE |  |  | I | II | III | IV | V | Oth- ers |  | Opera- tion | DPE |  | Opera- tion | DPE |  | Opera- tion | DPE |  | I | II | III | V | Others
1 | Warangal | 2357 | 1126 | 0 | 3483 | 3269 | 175 | 10 | 1 | 28 | 0 | 3483 | 2368223 | 3969459 | 6337682 | 1928964 | 2559095 | 4488059 | 2205 | 1142 | 3347 | 3074 | 200 | 9 | 62 | 2 | 3347 | 2581000 | 0
2 | Karimnagar | 2553 | 850 | 1 | 3404 | 3286 | 96 | 4 | 0 | 8 | 10 | 3404 | 2210017 | 2682513 | 4892530 | 2311777 | 1809118 | 4120895 | 2718 | 560 | 3278 | 3169 | 91 | 3 | 6 | 9 | 3278 | 2415500 | 0
3 | Khammam | 2542 | 722 | 2 | 3266 | 3154 | 96 | 0 | 0 | 16 | 0 | 3266 | 2343847 | 1565998 | 3909845 | 1701081 | 1326333 | 3027414 | 1907 | 711 | 2618 | 2454 | 81 | 0 | 82 | 1 | 2618 | 1839000 | 0
4 | Nizamabad | 1954 | 877 | 3 | 2834 | 2698 | 127 | 6 | 0 | 3 | 0 | 2834 | 3505667 | 2484128 | 5989795 | 2834392 | 1620317 | 4454709 | 2076 | 810 | 2886 | 2756 | 120 | 5 | 3 | 2 | 2886 | 2813000 | 0
5 | Adilabad | 427 | 1877 | 0 | 2304 | 2213 | 89 | 2 | 0 | 0 | 0 | 2304 | 2693453 | 1415521 | 4108974 | 1718155 | 767672 | 2485827 | 1186 | 302 | 1488 | 1425 | 60 | 3 | 0 | 0 | 1488 | 1887500 | 0
| Total | 9833 | 5452 | 6 | 15291 | 14620 | 583 | 22 | 1 | 55 | 10 | 15291 | 13121207 | 12117619 | 25238826 | 10494369 | 8082535 | 18576904 | 10092 | 3525 | 13617 | 12878 | 552 | 20 | 153 | 14 | 13617 | 11536000 | 0

## Court_Lanco
Cases/Petitions pending before High Court of AP/APERC
M/s. Lanco Kondapalli Power Private Limited:
Sl. No. | Nature of claim | Petition No. | Present Status of the Petition & other detials
1 | To declare that M/s Lanco is liable for levy of Liquidated Damages for delay in achieving COD of the Project, and to direct the lanco to pay balance amount. | Filed by A.P.TRANSCO O.P.No.23/05 | APPCC filed petition in O.P. No. 23/2005 on 19.12.2005. The company filed I.A. No. 6/07 in O.P. No. 23/05 instead of filing counter to the above petition. M/s.Lanco accepted the principle of Gujarat Urja Vikas Nigam Limited Case and withdrawn the I.A. No. 6/07 of O.P. No. 23/05. APERC in its order dated 11.11.2008 dismissed the above I.A. Finally M/s Lanco filed counter with counter claim on 10.11.2008 in the O.P. No. 23/05 filed by APPCC. The arguments were concluded by both the parties on 30th June'2009 and reserved for judgment by APERC.
| Counter Claim for return of deducted amount. | Counter Filed by M/s Lanco
| To declare the deduction of Liquidated Damages amount as illegal and for return of deducted amount. | W.P.No.27101/ 2005 prosecuting in High Court | Pending in Hon'ble High Court of AP
2 | Refixinig of Installed Capacity from 368.144 MW to 351.49 MW | Filed by A.P.TRANSCO O.P (S.R) No.10/2004 | Pending before APERC as the Company filed W.P.No.7838/04 on jurisdiction of APERC in the Hon'ble High Court of A.P.
| Re fixing of Installed Capacity from 368.144 MW to 351.49 MW | Filed by Lanco W.P.No.7838/ 2004 | Pending in Hon'ble High Court of AP
C.M.A No.1284/08
3 | Revision of tariff as per capital cost approved by CEA in Finan Financial Package (FFP) | C.M.A No.1285/08 | Pending in the Hon'ble High Court of A.P
4 | Minimum Alternate Tax | Filed by Lanco O.P.No.18/2009 | Counter filed by APPCC before the Hon'ble APERC to the petition filed by M/s Lanco. The case is posted for hearing on 22.12.09
5 | Capacity Charges | Filed by Lanco O.P.No.33/2009 | APPCC filed I.A No.19 of 2009 on 27.07.2009 before the Hon'ble APERC and the Company filed counter to the I.A on 24.11.2009. The Case is posted for hearing on 19.12.2009
Sl. No. | Nature of claim | Petition No. | Present Status of the Petition & other detials
6 | Deletion of Naphtha, LSHS, Furnace Oil as primary fuel and as alternate fuel. | Filed by A.P.TRANSCO | Yet to be registered by APERC
7(a) | Revision of Capacity Charges as per the capital cost approved by CEA in final Financial Package. | Filed by A.P.TRANSCO | Yet to be registered by APERC
7(b) | Filed additional representation on revision of capacity charges being paid to M/s Lanco Kondapalli Power Project Ltd. in compliance with the proceedings of C.E.A dt.12.08.1999 | Filed by A.P.TRANSCO | Yet to be registered by APERC
8(a) | Revision of Tariff and operating parameters on par with new IPPs like Station Heat, Auxiliary Consumption & Revision of Fixed Cost Petition u/s 62 of the Electricity Act, 2003 read with Section 61, 86(a) and (b) and 174 of the Electricity Act 2003 and Sec | Filed by A.P.TRANSCO | Yet to be registered by APERC
8(b) | Filed additional representation on revision of tariff of Lanco Kondapalli Power Pvt. Ltd. | Filed by A.P.TRANSCO | Yet to be registered by APERC
9 | Finace and Procurement Charges | Filed by Lanco S.R.No.40/2009 | Yet to be registered by APERC
M/s. LVS Power Ltd
1 | Contempt Case towards payment of differential amount | Filed by LVS C.CNo.698/2009 | The arguments were concluded by both the parties and reserved for judgment by A.P High Court.

## Court_APERC
Cases / Petitions pending before APERC
M/s SPECTRUM POWER GENERATION LIMITED:
Sl No. | Petition No: O.P.No: | Subject
Petitions filed by APTRANSCo
1 | 17//09 | Limiting the working capital to actual borrowing or as per the provisions of the PPA whichever is less. (O.P.(SR) No.15/04)
2 | 22//09 | Incentive formulas contemplated in the PPA dtd 23.01.97.O.P.(SR). No. 12/04
3 | 20//09 | Reduction in the Capital Cost of 208 MW gas based power project at kakinada of M/s SPGL.O.P(SR).No. 18/04
4 | 28//06 | Excess Paid ROE
5 | 39//06 | Ineligible Insurance Premia
6 | 29//09 | Revision of station operating parameters and deletion of provision for usage of naptha(O.P.SR.No.25/04)
7 | 30//09 | Revision of norms for tariff payable to M/s SPGL .O.P(SR)No.64/04.
Petitions filed by M/s SPECTRUM POWER GENERATION LIMITED:
1 | 6//08 | MGO charges of Naphtha
2 | 7//08 | Incentive for the Tariff Year 2006-07
3 | 9//08 | Difference of Fixed Charges for the Tariff Year 2007-08
4 | 10//08 | Insurance Premia
5 | 4//09 | Reduction of Capital cost
6 | 32//09 | Seeking directions to treat additional amount brough by the promoters of the company as equity in terms of clause 1.1. (xx) of PPA.
M/s GVK INDUSTRIES LIMITED:
Petitions filed by APTRANSCo
1 | 19//09 | Limiting the working caoital amount to actual borrowings or as per PPA provsions which ever is less O.P(SR).No. 16/04
2 | 26//09 | Revision of norms for tariff payable to M/s GVK.O.P(SR)No. 64/04
3 | 28//09 | Revision of station operating parameters and deletion of provision for usage of naptha.
4 | 10//07 | Ineligible Insurance Premia
Petitions filed by M/s GVK INDUSTRIES LIMITED:
1 | 4//08 | Completed Capital cost of the project
2 | 12//08 | In the matter of Minimum Alternate Tax(MAT),Minimum Garunteed fuel off take (MGO) charges etc.

## Court_High_Court
Cases/Petitions Pending before High Court as on 29.11.09
M/s GVK Industries Limited
Sl. No | Petition No: O.P.No: | Subject
Petitions filed by APTRANSCo
1 | CMA No.59/05 | Limiting the Working Capital to Actual Borrowings on PPA provisions whichever is less
Petitions filed by M/s GVK Industries Limited
1 | 19316/03 | On Adjustment of Return on Equity

## APERC
LIST OF CASES PENDING AT APERC, HYDERABAD
Issue: Petitions filed against APTRANSCO for calculating 80% PLF at generator terminals including auxiliary consumption & captive consumption for payment of fixed cost
Sl. No. | Nature of Court case. | Petition Number | Parties involved |  | Name of the Court/ jurisdiction pending with | Amount involved (Rs. in lakhs) | Present status of the case & other details | Advocate for Licensees | Remarks
|  |  | Functional head(s) of APTRANSCO | Other than APTRANSCO
1 | M/s Vensa Biotek Limited filed gainst APTRANSCO for calculating 80% PLF at generator terminals including auxiliary consumption & captive consumption for payment of fixed cost | 11/05 | CMD / APTRANSCO | -- | APERC, Hyderabad | -- | APTRANSCO filed counter affidavit. The NCE tariff order dt: 20.3.2004 has been set aside by Appellate Tribunal vide its order dt: 2.6.2006. APTRANSCO and DISCOMs have filed appeals against the orders of Apellate Tribunal before Supreme Court. The appeals are heard on 24.7.2006 and notice has been issued to the Respondents to file their counter. In view of the above, APERC postponed the hearing of the petition to 23.01.2010. | Sri N. Jayasurya | The developer is contesting on the methodology of calculating threshold PLF.
2 | M/s. RPP Limited filed petition on banked energy issue | 30/06 | CMD / APTRANSCO | CMD / APSPDCL | APERC, Hyderabad | -- | Appellate Tribunal has re-directed the case to APERC for settlement of Banked energy issue. APERC heard the case and reserved for orders. | Sri P.Shiva Rao | Adjudication sought on settlement of banked energy.
Issue : Petitions filed by APTRANSCO/APDISCOMS for objections/suggestions on Wind power Evacuation
1 |  | 40 of 2009 | CMD / APTRANSCO | DISCOMS | APERC, Hyderabad | -- | Hearing of the petition is scheduled on 17.12.2009. | Sri P.Shiva Rao
Issue : Review petitions filed by some Minihydel ,Bagasse ,Bio-mass Developers and Punna Rao on NCE Tariff Issues.
1 | Review Petitions filed by some Minihydel, Bagasse, Bio-mass developers & Punna Rao on NCE Tariff Issues. | R.P.No 1 to 7 0f 2009. | CMD / APTRANSCO | DISCOMS | APERC, Hyderabad | -- | Hearing of the petition on 16.12.2009.

## app-tribunal
LIST OF CASES PENDING AT APPELLATE TRIBUNAL FOR ELECTRICITY, NEW DELHI
Issue: APERC NCE Tariff orders dated 20.3.2004 in RP No. 84/2003 in OP No. 1075/2000
Sl. No. | Nature of Court case. | Petition Number | Parties involved |  | Name of the Court/jurisdiction pending with | Amount involved (Rs. in lakhs) | Present status of the case & other details | Advocate for Licensees | Remarks
|  |  | Functional head(s) of APTRANSCO | Other than APTRANSCO
1 | The developer, M/s Velagapudi Power Limited filed an appeal against the order of APERC of 12/2008. | 47/2009 | CMD / APTRANSCO | CMD / APSPDCL, APERC | Appellate Tribunal for Electricity, New Delhi | -- | The counter affidavit filed on 12.08.09. the case was posted for hearing on 02.12.2009. | Sri Sanjay Sen | Tariff related matter (the case was disposed off against to M/s Velagapudi in APERC in 12/2008)

## highcourt
NCE PROJECTS - LIST OF CASES PENDING AT A.P HIGH COURT
Issue: APERC NCE directions dated 15.11.2003 on calculation of PLF for NCE projects (30 minutes PLF)
S.No. | Petitioner | Petition Number |  |  |  |  | Status | Advocate for Licensees
1 | M/s Perpetual energy Systems Ltd., | W.P.No. 3411/2005 |  |  |  |  | High Court on 21.3.2006 disposed the case. High Court set aside APERC orders dated 15.11.2003 and giving liberty to the Developer file objections before APERC within 3 weeks and APERC to dispose the matter within 4 weeks thereafter. | Sri T. Ananta Babu, Sr. Advocate
2 | M/s B.Seenaiah & Company Ltd | W.P.No. 3435/2005 |  |  |  |  | -do- | -do-
3 | M/s Indur Green Power Ltd. | W.P.No. 3410/2005 |  |  |  |  | -do- | -do-
4 | M/s Rithwik Energy Systems Ltd. | W.P.No.1816/2005 |  |  |  |  | -do- | -do-
5 | M/s GMR Industries Limited | W.P.No. 19174 of 2005 |  |  |  |  | -do- | -do-
6 | M/s Sagar Sugars & Allied Products Ltd | [5 empty] | -do- | -do-
7 | M/s Kakatiya Cement Sugar & Industries Ltd. | [5 empty] | -do- | -do-
Issue: APERC NCE Tariff orders dated 20.3.2004 in RP No. 84/2003 in OP No. 1075/2000
Sl. No. | Nature of the Court case | Court case no. pending against APTRANSCO | Parties involved |  | Name of the Court/jurisdiction pending with | Amount involved (Rs. in lakhs) | Present status of the case & other details | Advocate for Licensees | Remarks
|  |  | Functional head(s) of APTRANSCO | Other than APTRANSCO
1 | M/s Gayatri Agro Power Ltd.filed petition against APERC NCE Tariff orders dated 20.3.2004 in RP No. 84/2003 in OP No. 1075/2000 | WP MP No. 27739 of 2004 in WP No. 9536 of 2004 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | Interim orders are issued to pay 50% differential amount till disposal of case. Interim directions were complied and Counter was filed. The case is yet to be disposed of by the High Court. SLA/APTRANSCO was sought to request the High Court of AP,arranged for the disposal of case. | SLA , O.Manohar Reddy | NCE tariff related matter (the mail appeal C.A.No. 2926/06 is pending in Hon'ble Supreme Court.
2 | M/s Jyothi Bio Energy Limited filed petition against APERC NCE Tariff orders dated 20.3.2004 in RP No. 84/2003 in OP No. 1075/2000 | WP MP No. 15598/2004 in WP No. 12283/2004 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | Interim orders are issued. Stay vacate petitions are filed. The counter was filed and the case is yet to be disposed off by the High Court. SLA/ APTRANSCO was sought to request the High Court of AP, arranged for the disposal of case. | SLA , O.Manohar Reddy | NCE tariff related matter (the mail appeal C.A.No. 2926/06 is pending in Hon'ble Supreme Court.
Issue: Wheeling charges as per APERC orders dated 20.03.2002
1 | M/s Kakatiya Sugars & Industries Limited filed petition on wheeling charges as per APERC orders dated 20.03.2002 | WPMP No. 27849/2004 in WP No. 21192/2004 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | High Court issued interim orders to collect wheeling charges at 2% on par with other NCE project developers. APTRANSCO filed counter affidavit. Hon'ble high Court in its interim direction order APTRANSCO to continue to collect 2% wheeling charges in kind from the developer. The case is yet to be disposed by the Court. | SLA , O.Manohar Reddy
2 | M/s KCSIL file petition on wheeling of utilized bank energy. | WP.No. 26105/08 | CMD / APTRANSCO | DISCOMs | High Court of A.P, Hyderabad | -- | Counter affidavit along with an application for vacation of interim orders is filed by APTRANSCO & DISCOMs. Case is yet to be heard. | SLA , O.Manohar Reddy
3 | M/s KCSIL file petition on wheeling of utilized bank energy. | WP.No. 17113/09 | CMD / APTRANSCO | DISCOMs | High Court of A.P, Hyderabad | -- | High Court issued interim orders on 21.10.2009 instucting not to take coercive steps such as recovering penalty or disconneciton of the power supply. Para wise remarks are prepared and handed over to SLA with a request to finalize and file counter affidavit. Discussions with SLA were held along with APNPDCL officers. The case is posted on 08.12.2009.
Issue: Change of scheduled consumers in Power Wheeling Agreements
1 | M/s Trident Power Systems Limited filed petition on Change of scheduled consumers in Power Wheeling Agreements | WPMP No. 15671/2002 in WP No. 12607/2002 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | High Court issued interim orders to permit change of scheduled consumers. APTRANSCO implemented High Court orders and permitted change of consumers. High Court disposed similar cases recently as infructuous. Instructions are issued to SLA for disposal of case on similar lines. | SLA , O. Manohar Reddy
2 | M/s RPP Ltd. filed petition on Change of scheduled consumers in Power Wheeling Agreements | WP NO. 11765/ 2003 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | Counter Affidavit was filed. The case is yet to be heard by the High Court. | SLA , O. Manohar Reddy
3 | M/s. Sudhalagunta Sugars Limited filed petition on Change of scheduled consumers in Power Wheeling Agreements | W.P.No. 8231/2004 | CMD / APTRANSCO and CE/IPC | -- | High Court of A.P, Hyderabad | -- | Company filed WP in High Court requesting to adjust the excess energy utilised by them against their banked energy. Counter affidavit is filed by APTRANSCO. Case is yet to be heard. | SLA , O. Manohar Reddy
4 | M/s Jyothi Bio-Energy Ltd. filed petition on Change of scheduled consumers in Power Wheeling Agreements | W.P.No. 8215/2003 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | High Court issued interim orders to permit change of scheduled consumers. APTRANSCO implemented High Court orders and permitted change of consumers. High Court disposed similar cases recently as infructuous. Instructions are issued to SLA for disposal of case on similar lines. | SLA , O. Manohar Reddy
5 | M/s Rayalaseema Green Energy Ltd. filed petition on Change of scheduled consumers in Power Wheeling Agreements | W.P.No. 7761/2003 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | -do- | SLA , O. Manohar Reddy
6 | M/s Manihamsa Power Ltd. filed petition on Change of scheduled consumers in Power Wheeling Agreements | W.P.No. 23694/2003 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | -do- | SLA , O. Manohar Reddy
7 | M/s HCL Agro Ltd. filed petition on Change of scheduled consumers in Power Wheeling Agreements | W.P.No. 23949/2003 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | -do- | SLA , O. Manohar Reddy
Issue: To pay for energy supplied prior to Commercial Operation Date (COD)
1 | M/s Chodavaram Co-operative Sugars Ltd. filed petition seeking to pay for energy supplied prior to Commercial Operation Date (COD) | W.P.No. 23515/2004 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | Counter affidavit is filed. Case yet to be heard. | SLA , O.Manohar Reddy
Issue: Against GoAP orders transfer of Project to APGENCO
1 | M/s Orissa Power Consortium Limited filed petition against GoAP orders transfer of Project to APGENCO | WP No. 24560/2004 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | High Court rejected to issue any stay order but noted that any action taken in pursuance of the present petition is subject to final orders in the case. APTRANSCO filed counter affidavit and case is yet to be disposed. The Case came to hearing on 20.06.09 & 27.06.09 directed GoAP to take decision on whether the project to be taken up by being handed over to APGENCO or not and communicate to OPCL on the same. | SLA , O.Manohar Reddy
Issue: APERC NCE orders dated 20.6.2001 in OP No. 1075/2000 disallowing 3rd party sales by NCE projects
1 | M/s NATL Power Ltd. filed petition against APERC NCE orders dated 20.6.2001 in OP No. 1075/2000 disallowing 3rd party sales by NCE projects | CMP No. 12879 of 2001 in AAO 1753 of 2001 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | High Court issued interim orders suspending APERC orders. APTRANSCO filed vacate stay petitions. The batch of cases came up for hearing before Court on 26.6.2007 and the same are disposed of on 2.7.2007 considering the appeals as infructuous. SLA/APTRANSCO has been requested to take action for disposal of cases on similar lines. | Sri N. Subba Reddy, Sr. Advocate
Issue : Against DISCOM for entering into PPAs
Issue: Restriciton of delivered energy upto 100% PLF during every 30 minutes time block.
1 | M/s Gayatri Agro industries Ltd. filed petition against APTRANSCO on the action of restriciton of delivered energy upto 100% PLF during every 30 minutes time block. | WP No. 12388/2004 | CMD / APTRANSCO | -- | High Court of A.P, Hyderabad | -- | The SLA has been requested to apprise the Hon'ble Court about the pendency of appeal in CA No. 358/2007 before Supreme Court on 30 minutes time block, filed against Tribunal orders and sought for disposal of the same. | SLA , O.Manohar Reddy | 30 minutes PLF case(the mail appeal C.A.No 358/07 is pending in Hon'ble Supreme Court)
Issue: Petitions filed by some mini-hydel developers on IBSC passed by APERC in Op.No 2 of 2006 on banking facility.
1 | M/s Akshay profiles, Tirumala Hydel Projects Limited,Shree Jayalakshmi Power Corporation Limited,Trident Power systems Limited,Kallam Spinning Mills Limited | WP No. 17653,18553, 18554,18555, 18556 of 2009 | CMD / APTRANSCO | APSPDCL,APEPDCL & APNPDCL | High Court of A.P, Hyderabad | -- | Counter affidavit is to be filed and Case to be heard. | SLA , O.Manohar Reddy

## S.C
LIST OF CASES PENDING AT SUPREME COURT, NEW DELHI
Issue: APERC NCE Tariff orders dated 20.3.2004 in RP No. 84/2003 in OP No. 1075/2000
Sl. No. | Nature of Court case. | Court case no. pending against APTRANSCO | Parties involved |  | Name of the Court/jurisdiction pending with | Amount involved (Rs. in lakhs) | Present status of the case & other details | Advocate for Licensees | Remarks
|  |  | Functional head(s) of APTRANSCO | Other than APTRANSCO
1 | APTRANSCO & DISCOMs filed appeal against Appellate Tribunal orders dt: 2.6.2006 on NCE Tariff. | Appeal No. 2926/2006 | CMD / APTRANSCO | CMDs / 4 DISCOMS | Supreme Court of India, New Delhi | Approximately Rs. 400 Crores | The appeal was heard on 24.7.2006 and the Court issued notice that "No coervice steps shall be taken until further orders. Learned counsel for the respondent is granted 4 weeks time to file counter affidavit. There after learned counsel for the petitioner is granted 3 weeks time to file rejoinder affidavit. Call after 8 weeks". Sri.E.Punna Rao is permitted by Supreme Court to implead in the CA. The implead application filed by GoAP before Supreme Court is admitted. Appeal is yet to be heard. The advocate has been addressed to take necessary action for early listing of case.Application is filed for early hearing of cases. | Sri. A. Subba Rao, Advocate is the Advocate on record.CMD instructed to engage Sri Gopal Subramanyam, SG of GOI to engage a Senior Advocate. A letter was addressed to Sri A.Subba Rao ,AOR duly informing the same. | The appeal matter is expected to be listed shortly.
2 | APTRANSCO & DISCOMs filed appeal against Appellate Tribunal orders dt: 2.6.2006 on NCE Tariff, dismissing the appeals filed without considering the merits such as allowing ROE of 14% against 16% allowed by APERC, fixing 62% threshold PLF agasint 55% fixed by APERC for Bagasse projects, fixing incentive of 10 paise agasint a higher incentive of 25 paise per unit fixed by APERC. | Appeal No. 3091/2006 | CMD / APTRANSCO | CMDs / 4 DISCOMS | Supreme Court of India, New Delhi | -- | The appeal was heard on 24.7.2006 and the Court issued notice that "No coervice steps shall be taken until further orders. Learned counsel for the respondent is granted 4 weeks time to file counter affidavit. Thereafter learned counsel for the petitioner is granted 3 weeks time to file rejoinder affidavit.Call after 8 weeks". Appeals are yet to be heard.Application is filed for early hearing of cases. | Sri. A. Subba Rao, Advocate is the Advocate | The matter is related to NCE tariff appeals.
3 | Appeals filed against Appellate Tribunal orders dt: 5.7.2006 on the appeals filed by M/s Jeypore Sugars & 4 other NCE Developers in terms of its earlier order dated 2.6.2006. | Appeal No. 3910/2006 | CMD / APTRANSCO | CMDs / 4 DISCOMS | Supreme Court of India, New Delhi | -- | The Supreme Court on 18.9.2006 heard the appeals and issued notice that No coervice steps shall be taken until further orders. Lerned Counsel for the respondents is granted four weeks time to file counter affidavit. Thereafter learned counsel for the petitioner is granted three weeks time to file rejoinder affidavit. Dasti, in addition, is permitted. Tag with C.A.No. 2926/2006. Call after eight weeks.Appeals are yet to be heard. | Sri A. Subba Rao | The matter is related to NCE tariff appeals.
4 | APTRANSCO & DISCOMS filed appeals before Supreme Court against ATE orders in Apeal No.113/2007 filed by Chodavaram. | Appeal No. 4610/200 | CMD / APTRANSCO |  | Supreme Court of India, New Delhi |  | The Supreme Court on 13.7.2009 heard the appeals and issued notice that No coervice steps shall be taken until further orders against the appellants. Tag with C.A.No. 2926/2006. Appeals are yet to be heard. | Sri A. Subba Rao | The matter is related to NCE tariff appeals.
Issue: Billing of imported energy at actual recorded demand instead of monthly average demand
1 | APRTANSCO/APEPDCL filed appeal in SUpreme Court against M/s. GMR Industries limited on the Appellate Tribunal orders dated 07.03.2007 in Appeal No.203/2005. | Civil appeal No. 1989/2009. | CMD / APTRANSCO | CMD / APEPDCL | Supreme Court of India, New Delhi | -- | The appeal is admitted. | Sri. Sanjay Sen, Advocate New Delhi
Issue: APERC directions to Licensees to purchase surplus energy from NCE projects on account of reduction in captive use
1 | APTRANSCO/APDISCOMs have filed appeal in Supreme Court against the Appellate Tribunal orders dt: 28.9.2006 in Appeal No. 4 of 2006 and batch (10 appeals), where in the Tribunal dismissed the appeals filed by APTRANSCO and DISCOMs. | Appeal No. 1754D/2007 | CMD / APTRANSCO | CMD of APEPDCL, APSPDCL and APNPDCL. | Supreme Court of India, New Delhi | -- | The appeal was heard on 7.4.2008. The Hon'ble Court ordered its Office to issue a notice to the respondents. | Sri. Sanjay Sen, Advocate New Delhi | The appeal is pending. AOR is pursuing the case.
Issue: To consider commercial operation of the plant from the date of synchronisation of power plant without establishing sugar plant
| M/s Sagar Sugar & Allied Products Ltd. filed the case in Supreme Court seeling to consider commercial operation of the plant from the date of synchronisation of power plant without establishing sugar plant | Civil Appeal No. 5159/2005 in SLP No.s 22024 & Civil Appeal No. 5157/2005 in SLP No. 22028 of 2004 | CMD / APTRANSCO | -- | Supreme Court of India, New Delhi | -- | APTRANSCO filed counter affidavits in SLPs. Hon'ble supreme Court on 8.2.2006 issued interim orders in I.A.No. 3/2006 filed by the Company directing APTRANSCO to pay @ Rs.3.11 and the differential amounts to pay within 6 weeks i.e., on or before 22.3.2006 from the date of the orders. APTRANSCO filed an IA No. 4/2006 on 10.3.2006 for setting aside of the orders. The application filed by APTRANSCO/ APSPDCL is dismissed by the Hon'ble Supreme Court. APTRANSCO has complied with the orders of the Supreme Court and paid the power purchase bills to the Company. The appeal is yet to be heard. | Sri Rakesh Sharma, AOR. Sri. Snjay Sen is providing advisory services.